## PUN
NPRR 945 draft report of GR in PUN 11-10-2020
SUBSTATION | GEN_NAME | REAL_POWER_RATING_MW
AMOCOOIL | AMOCO_1 | 92.4
AMOCOOIL | AMOCO_2 | 92.4
AMOCOOIL | AMOCO_5 | 59.62
AMOCOOIL | AMOCO_G1 | 172.89
AMOCOOIL | AMOCO_G2 | 172.89
AMOCOOIL | AMOCO_G3 | 172.89
AMOCOOIL | AMOCO_S1 | 102.45
AMOCOOIL | AMOCO_S2 | 250
BTE | BTE_G1 | 270
BTE | BTE_G2 | 219.3
BTE | BTE_G3 | 219.3
BTE | BTE_G4 | 219.3
BYU | BYU_G1 | 79.6
BYU | BYU_G2 | 79.6
BYU | BYU_G3 | 79.6
BYU | BYU_G4 | 79.6
BYU | BYU_G8 | 4.68
CAL | CALGT1 | 173.4
CAL | CALSTG1 | 87.5
CARBN | BSP_1 | 25.1
CCEC | GT1 | 198.9
CCEC | GT2 | 198.9
CCEC | ST1 | 195.5
CHE | CHEGT1 | 208.8
CHE | CHEST1 | 242.25
CHE | GT2 | 208.8
CHE | GT3 | 208.8
DIB | DIB_G1 | 103
DIB | DIB_G2 | 103
DIB | DIB_G3 | 82.6
DIB | DIB_G4 | 82
DOWGEN | DOW_G37 | 75
DOWGEN | DOW_G61 | 94.56
DOWGEN | DOW_G63 | 94.56
DOWGEN | DOW_G66 | 119
DOWGEN | DOW_G67 | 119
DOWGEN | DOW_G81 | 105.12
DOWGEN | DOW_G82 | 105.12
DOWGEN | DOW_G83 | 105.12
DOWGEN | DOW_GT96 | 207
DOWGEN | DOW_ST64 | 64.8
DOWGEN | DOW_ST65 | 111.35
DOWGEN | DOW_ST84 | 204.75
DOWGEN | DOW_ST95 | 81
EXN | EXN_G1 | 46.3
EXN | EXN_G10 | 30.4
EXN | EXN_G11 | 30.4
EXN | EXN_G12 | 30.4
EXN | EXN_G13 | 51
EXN | EXN_G14 | 190
EXN | EXN_G15 | 7.5
EXN | EXN_G2 | 46.3
EXN | EXN_G3 | 46.3
EXN | EXN_G4 | 118.7
EXN | EXN_G8 | 51
EXN | EXN_G9 | 30.4
FORMOSA | FORMOSG1 | 82.99
FORMOSA | FORMOSG10 | 85.85
FORMOSA | FORMOSG11 | 155
FORMOSA | FORMOSG12 | 155
FORMOSA | FORMOSG13 | 39.8
FORMOSA | FORMOSG14 | 100.3
FORMOSA | FORMOSG15 | 100.3
FORMOSA | FORMOSG2 | 82.99
FORMOSA | FORMOSG3 | 82.99
FORMOSA | FORMOSG4 | 82.99
FORMOSA | FORMOSG5 | 82.99
FORMOSA | FORMOSG6 | 32.5
FORMOSA | FORMOSG7 | 66.3
FORMOSA | FORMOSG8 | 36.17
FORMOSA | FORMOSG9 | 55
INGLCOSW | CTG1 | 170
INGLCOSW | CTG2 | 170
INGLCOSW | STG | 176.8
LHM | CVC_G4 | 192.1
NCARBIDE | NCARBIG1 | 35.066
NCARBIDE | NCARBIG2 | 35.066
NCARBIDE | NCARBIG3 | 37.61
NCARBIDE | NCARBIG5 | 14.4
NCARBIDE | NCARBIG6 | 6.725
NCARBIDE | NCARBIG7 | 14.4
NCARBIDE | NCARBIG8 | 16.43
OXY_CC | OXY_CCG1 | 40
PNPI | GT2 | 82.16
PR | PR_G2 | 35
PSA | PSA_G1 | 77.24
PSA | PSA_G2 | 77.24
PSA | PSA_G3 | 77.24
PSA | PSA_G4 | 77.24
PSA | PSA_G5 | 77.24
PSA | PSA_G6 | 89.9
PSA | PSA_G7 | 129.2
SCLPCOGN | SCLPC_1 | 135
SCLPCOGN | SCLPC_2 | 135
SCLPCOGN | SCLPC_3 | 135
SCLPCOGN | SCLPC_4 | 135
SL | SL_G1 | 88.2
SL | SL_G2 | 88.2
SL | SL_G3 | 45.9
SL | SL_G4 | 45.9
TC | TCHP1 | 60.5
UCC_COGN | UCC_C_2 | 38

## SOG
NPRR 945 draft report of SOG in PUN 11-10-2020
SUBSTATION | GEN_NAME | REAL_POWER_RATING_MW
AK | GT01 | 41.5
BFM | HYD_ST1 | 19.3
BSF | GN | 81.6
CELANEBI | CELANEG1 | 42
DUPV1 | DUPV1_G1 | 96
HUD | CTG1 | 61.2
HUD | CTG2 | 61.2
LEVEE | GTG1 | 87.13
MIN | RNPCOGEN | 15.79
MSN | TG | 46.1
NA | CTG1 | 5.6
NA | CTG2 | 5.6
NA | STG1 | 0.57
OXYSOLAR | SOLAR_1 | 16.8
SPPKM | CTA | 60.5
SPPKM | CTB | 60.5
SPPKM | STG | 33
TAM | GTG1 | 38.1
TAM | STG2 | 11.55
VISTRON | TG1 | 23.8
VISTRON | TG2 | 15
WRN | TARGA_1 | 16 | No modeled rating on the RARF using HRL