## EPS Meter Test Report
EPS Meter Test Report
[11 empty] | Version 6.0 |  | 2020-11-18
FACILITY | [7 empty] | TDSP
UNIT OR LOAD NAME | [7 empty] | TDSP PROJECT #
TO COMPANY | [7 empty] | FROM COMPANY
REASON FOR TEST REPORT |  | Annual / Periodic |  | Meter Reprogram |  |  | Meter Exchange |  | Phase Angle Verification |  | Other-Explain in Comments
METER DATA | [5 empty] | PHASE ROTATION ABC or CBA | PHASE ANGLE INFORMATION ( VOLTAGE LEADING CURRENT) |  |  |  | OUT OF SERVICE TIME RECORD (Central Prevailing Time)
SER. NUMBER | [6 empty] | 4 wire 3 phase wye |  | 3 wire 3 phase delta |  | Device | From | To
FIRMWARE VERSION |  |  | KVA |  |  |  | V a-n Ia |  | V a-b Ia |  | Meter
MV90 METER MULT. |  |  | KW |  |  | Meter Instantaneous values | V a-n Ib |  | V a-b Ic |  | Recorder
PHASE |  |  | KVAR |  |  |  | V a-n Ic |  | V c-b Ic |  | Customer
WIRE |  |  | SECONDARY VOLTS |  |  |  | V b-n Ib |  | V c-b Ia |  | TEST STANDARD INFORMATION
TEST AMP |  |  | V a-n |  | V a-b |  | V c-n Ic |  | NIST TRACEABILITY DATE | SERIAL NUMBER
CLASS |  |  | V b-n |  | V b-c |  | VTR
VOLTS |  |  | V c-n |  | V c-a |  | CTR |  | MFG. |  | TYPE
MFG |  |  | SECONDARY AMPS |  |  |  | Applied Test Burden (in OHMs) | Pass / Fail | TDSP EPS METER INSPECTOR INFORMATION
TYPE |  |  | I A | [5 empty] | NAME
PRI/BU/ONLY Meter |  |  | I B
TEST CONST. (Kt) |  |  | I C | [5 empty] | TEST DATE
METER READING INFORMATION | [7 empty] | By submitting this form, you certify that this EPS Metering Facility meets the standards and requirements for EPS Metering Facilities as documented in the ERCOT Protocols, and the Settlement Metering Operating Guides, except as specifically noted in the comments section of this form. Further, you acknowledge that providing a false certification may constitute a material breach of your Standard Form Market Participant Agreement with ERCOT.
FUNCTION |  | AS FOUND |  |  | AS LEFT
KWH (flowing out of ERCOT)
KvarH (flowing out of ERCOT)
KvarH (flowing into ERCOT) | [7 empty] | COMMENTS
KWH (flowing into ERCOT)
ENERGY FLOWING OUT OF THE ERCOT GRID
TEST LOAD | Meter Test Pulses |  | WH FUNCTION AS FOUND |  |  | WH FUNCTION AS LEFT
|  |  | Meter % Reg |  |  | Meter % Reg
FULL
PF
LIGHT
TEST LOAD | Meter Test Pulses |  | VARH FUNCTION AS FOUND |  |  | VARH FUNCTION AS LEFT |  | RESOURCE ENTITY CALCULATED AUXILIARY LOAD
|  |  | Meter % Reg |  |  | Meter % Reg |  | LOCATION OF WSL CALCULATION FROM TELEMETERED AUXILIARY LOAD |  |  | In the Meter
FULL | [10 empty] | ERCOT Data Agg
LIGHT | [10 empty] | Not Applicable
ENERGY FLOWING INTO THE ERCOT GRID | [7 empty] | LOSS COMPENSATION INFORMATION
TEST LOAD | Meter Test Pulses |  | WH FUNCTION AS FOUND |  |  | WH FUNCTION AS LEFT |  | THE METER % REGISTRATION VALUES RECORDED ON THIS TEST REPORT REPRESENT THE METER ACCURACY WITH LOSS COMPENSATION PROGRAMMED INTO THE METER (NOTE: IF YES, DOCUMENTATION OF THE METER % REGISTRATION CALCULATIONS MUST BE INCLUDED WITH THIS TEST REPORT ONLY IF CALCULATIONS HAVE CHANGED SINCE LAST SUBMITTED TEST). |  |  |  |  | YES
|  |  | Meter % Reg |  |  | Meter % Reg | [6 empty] | NO
FULL
PF | [7 empty] | SEAL NUMBERS FOUND
LIGHT
TEST LOAD | Meter Test Pulses |  | VARH FUNCTION AS FOUND |  |  | VARH FUNCTION AS LEFT
|  |  | Meter % Reg |  |  | Meter % Reg |  | SEAL NUMBERS LEFT
FULL
LIGHT
Revisions to the EPS Meter Report shall be made according to the approval process as prescribed in the Settlement Metering Guide Section 3.4, EPS Metering Facility Processes and Forms.