## Slide 1
Meter Working Group
November 18, 2020

## Slide 2: Anti-Trust Admonition
  Antitrust Admonition
  To avoid raising concerns about antitrust liability, participants in ERCOT activities should refrain from proposing any action or measure that would exceed ERCOT’s authority under federal or state law. For additional information, stakeholders should consult the Statement of Position on Antitrust Issues for Members of ERCOT Committees, Subcommittees, and Working Groups, which is posted on the ERCOT website. http://www.ercot.com/about/governance/index.html
Disclaimer
All presentations and materials submitted by Market Participants or any other Entity to ERCOT staff for this meeting are received and posted with the acknowledgement that the information will
be considered public in accordance with the ERCOT Websites Content Management Operating Procedure.

## Slide 3: Attendance Roll-call and Introductions
  Brief review of WebEx attendees and meeting format

## Slide 4: Previous Action Item Update
  Action Items from previous MWG that are deferred to a future meeting.
    Voltage Throw over schemes: ERCOT is following up with TDSPs as needed.
    Design Proposal Updates to remove RARF reference: updates will be made and presented to the MWG once RIOO transition is complete.
    TDSP read metering and nodal pricing for settlement only energy storage:
      NPRR 995: PRS recommended approval of NPRR995 as amended by the 10/28/20 ERCOT comments on November 11

## Slide 5: Standing Reminder on NPRR949 Implementation
  As a reminder, NPRR949 was approved 8/13/2019. Protocol 10.12.1 will be updated effective 1/1/2023. See updated language below.
[NPRR949: Replace Section 10.12.1 above with the following on January 1, 2023:] 10.12.1 ERCOT Acquisition of ERCOT-Polled Settlement (EPS) Meter Data (1) ERCOT shall acquire ERCOT-Polled Settlement (EPS) Meter data via the following communication links: (a) ERCOT private communication network established by ERCOT for ERCOT Real-Time metered Entities; or (b) Other ERCOT-approved communication technology provided by the Transmission Service Provider (TSP) or Distribution Service Provider (DSP).
10.12.1 ERCOT Acquisition of Meter Data
(1) ERCOT shall acquire meter data via the following communication links:
(a) ERCOT private communication network established by ERCOT for ERCOT Real-Time metered Entities; and
(b) Standard voice telephone circuit or other ERCOT-approved communication technology provided by the Transmission Service Provider (TSP) or Distribution Service Provider (DSP) for ERCOT-Polled Settlement (EPS) Meters.

## Slide 6: Percentage of EPS Meters using IP Communication
TDSP | % OF METERS ON TCP/IP as of JANUARY 2020 | % OF METERS ON TCP/IP as of OCTOBER 2020 | % OF METERS STILL ON PHONE LINE AS OF OCTOBER 2020*
TDSP O | 100% | 100.00% | 0.00%
TDSP A | 100% | 100.00% | 0.00%
TDSP V | 100% | 100.00% | 0.00%
TDSP U | 100% | 100.00% | 0.00%
TDSP T | 100% | 100.00% | 0.00%
TDSP C | 100% | 100.00% | 0.00%
TDSP F | 100% | 100.00% | 0.00%
TDSP B | 100% | 100.00% | 0.00%
TDSP Q | 46% | 83.33% | 16.67%
TDSP K | 50% | 61.54% | 38.46%
TDSP D | 58% | 58.33% | 41.67%
TDSP I | 50% | 54.05% | 45.95%
TDSP N | 43% | 46.00% | 54.00%
TDSP M | 3% | 43.06% | 56.94%
TDSP P | 37% | 43.04% | 56.96%
TDSP R | 25% | 36.92% | 63.08%
TDSP H | 5% | 4.17% | 95.83%
TDSP S | 0% | 0.00% | 100.00%
TDSP L | 0% | 0.00% | 100.00%
TDSP W | 0% | 0.00% | 100.00%
TDSP E | 0% | 0.00% | 100.00%
TDSP J | 0% | 0.00% | 100.00%
*Indicates sorted by this column in lowest to highest order

## Slide 7: Line Loss Compensation Discussion
  Meter Working Group discussion on possible language for loss compensation update in protocol and SMOG.
    Action Item from 10/20 meeting: ERCOT will work on language for a potential NPRR/SMOGRR change based on % watt cooper less than 0.001% as determined by site maximum energy.
  See key document “3. Line Loss Compensation Language Draft”
  Review language to see if further edits are needed or MWG would like to continue with the proposed language.

## Slide 8: Tesla/TNMP Update on Telemetry Events to MV-90
  Action Item from 10/20 meeting: Tesla will check with TNMP regarding testing of loss of and restoration of telemetry events reported to ERCOT MDAS.

## Slide 9: Documents for Review
Review draft documents requiring update to support NPRR1020 and SMOGRR for possible MWG endorsement
See Key documents:
  5A. EPS Metering Design Proposal 3.0 REDLINE
  5B. EPS Metering Design Proposal 3.0
  6. ERCOT Polled Settlement MDAS Configuration Form 6.0
  7. EPS Site Certification 5.0
  8. EPS Meter Test Report 6.0
  9. RE Access to Auxiliary Load Telemetry System 1.0

## Slide 10: SMOG Updates Required to Supplement NPRR 1020
Draft of potential SMOG updates to facilitate MWG discussion
  See key document “10. SMOG Update 11_18_20”
Items still requiring finalization:
  Events of 6.5.4(1)(l)&(m): Loss and Restoration of Telemetry.
  CenterPoint update on investigation into SMOG changes needed to support using a stand alone meter to report auxiliary load calculation data. Note in SMOG draft Section 4.1(1)
Is the MWG ready to endorse for submittal?

## Slide 11: New or Other Business Items
  SMOGRR023 Update to MWG:
    Approved by TAC 10/28/20.
    SMOG Updated Effective 11/1/2020 SMOGRR023.
  Request for any new or other business items

## Slide 12: Meeting Summary and Closing Remarks
  Thank you for your attendance and participation.
  Notes from this meeting will be posted on the ERCOT website under the key documents for this meeting.
    http://www.ercot.com/calendar/2020/11/18/215456-MWG