| NPRR Number | 994 | NPRR Title | Clarify Generator Interconnection Neutral Project Classification |
| --- | --- | --- | --- |
| Date of Decision |  | November 11, 2020 |  |
| Action |  | Recommended Approval |  |
| Timeline |  | Normal |  |
| Proposed Effective Date |  | To be determined |  |
| Priority and Rank Assigned |  | To be determined |  |
| Nodal Protocol Sections Requiring Revision |  | 3.11.4.3, Categorization of Proposed Transmission Projects 3.11.6, Generation Interconnection Process |  |
| Related Documents Requiring Revision/Related Revision Requests |  | None |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) clarifies which transmission improvement projects associated with the interconnection of new Generation Resources should be classified as “neutral” projects, including new substations. This NPRR also provides clarity in regards to which Generation Resource interconnection Transmission Facilities are considered when determining if ERCOT should perform an economic analysis pursuant to paragraph (2) of Section 3.11.6. |  |
| Reason for Revision |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: Clarification of existing language (please select all that apply) |  |
| Business Case |  | At its November 2017 meeting, the Planning Working Group (PLWG) discussed three options for clarifying the language regarding the categorization of transmission projects associated with generator interconnection projects. Subsequently, the Wind Coalition submitted NPRR913, Generator Interconnection Neutral Project Classification, which adopted the concept of “Option B” from the November 2017 PLWG meeting. This concept would have allowed additional transmission upgrade projects to be considered as “neutral” projects when compared to the status quo. NPRR913 was not recommended for approval at the April 2019 PRS meeting. This NPRR seeks to provide clarification by adopting the “Option A” concept from the November 2017 PLWG meeting. Option A clarifies the language and maintains status quo with respect to which transmission projects associated with Generation Resource interconnection projects are considered “neutral”. |  |
| Credit Work Group Review |  | To be determined |  |
| PRS Decision |  | On 2/13/20, PRS unanimously voted to table NPRR994 and refer the issue to ROS. All Market Segments were present for the vote. On 6/11/20, PRS voted via roll call to table NPRR994 and refer the issue to WMS. There were three opposing votes from the Investor-Owned Utility (IOU) (2) (Oncor, AEP) and Independent Generator (Calpine) Market Segments, and three abstentions from the Cooperative (Pedernales) and Independent Generator (2) (Luminant, EDP Renewables) Market Segments. All Market Segments were present for the vote. On 11/11/20, PRS voted via roll call to recommend approval of NPRR994 as amended by the 4/15/20 ERCOT comments. There were two opposing votes from the Independent Generator (EDP Renewables) and Independent Power Marketer (IPM) (Morgan Stanley) Market Segments, and four abstentions from the Independent Generator (3) (ENGIE, Broad Reach Power, Enel Green Power NA) and IPM (Tenaska Power Services) Market Segments. All Market Segments were present for the vote. |  |
| Summary of PRS Discussion |  | On 2/13/20, ERCOT Staff provided an overview of NPRR994, and noted that the item is scheduled for discussion at the 2/18/20 PLWG meeting. On 6/11/20, participants reviewed the 4/15/20 ERCOT and 6/8/20 ROS comments to NPRR994, and acknowledged the need for additional review of market issues at WMS. On 11/11/20, there was no discussion. |  |

| Sponsor |  |
| --- | --- |
| Name | Jeff Billo |
| E-mail Address | jbillo@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-6334 |
| Cell Number |  |
| Market Segment | Not applicable |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Phillip Bracy |
| E-Mail Address | Phillip.bracy@ercot.com |
| Phone Number | 512-248-6917 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| ERCOT 041520 | Clarified that NPRR994’s language also applies to Energy Storage Resources (ESRs) and Settlement Only Generators (SOGs) |
| ROS 060820 | Endorsed NPRR994 as amended by the 4/15/20 ERCOT comments |
| TCPA/TIEC 070620 | Supported NPRR994 as amended by the 4/15/20 ERCOT comments |
| WMS 071420 | Requested PRS continue to table NPRR994; noted intent for further discussion at an upcoming workshop |
| APA 090220 | Proposed partial/alternative solution to enable more open access and attract new generation |
| WMS 090420 | Requested PRS continue to table NPRR994 |
| TSP Joint 110220 | Supported NPRR994 as amended by the 4/15/20 ERCOT comments |
| WMS 110620 | Endorsed NPRR994 as amended by the 4/15/20 ERCOT comments |

Market Rules Notes

Please note that the baseline Protocol language in the following section(s) has been updated to reflect the incorporation of the following NPRR(s) into the Protocols:

- NPRR837, Regional Planning Group (RPG) Process Reform (unboxed 7/1/20)

  - Section 3.11.4.3

Proposed Protocol Language

3.11.4.3	Categorization of Proposed Transmission Projects

(1)	ERCOT classifies all proposed transmission projects into one of four categories (or Tiers).  Each Tier is defined so that projects with a similar cost and impact on reliability and the ERCOT market are grouped into the same Tier.  For Tier classification, the total estimated cost of the project shall be used which includes costs borne by another party.

(a) 	A project shall be classified as Tier 1 if the estimated capital cost is greater than or equal to $100,000,000, unless the project is considered to be a neutral project pursuant to paragraph (e) below.

(b)	A project shall be classified as Tier 2 if the estimated capital cost is less than $100,000,000 and a Certificate of Convenience and Necessity (CCN) is required, unless the project is considered to be a neutral project pursuant to paragraph (e) below.

(c)	A project shall be classified as Tier 3 if any of the following are true:

(i)	The estimated capital cost is less than $100,000,000 and greater than or equal to $25,000,000 and a CCN is not required, unless the project is considered to be a neutral project pursuant to paragraph (e) below; or

(ii)	The estimated capital cost is less than $25,000,000, a CCN is not required, and the project includes 345 kV circuit reconductor of more than one mile, additional 345/138 kV autotransformer capacity, or a new 345 kV substation, unless the project is considered to be a neutral project pursuant to paragraph (f) below.

(d)	A project with an estimated capital cost greater than or equal to $25,000,000 that is proposed for the purpose of replacing aged infrastructure or storm hardening shall be processed as a Tier 3 project and shall be reclassified as a Tier 4, neutral project upon ERCOT’s determination that any concerns, questions or objections raised during the comment process have been resolved satisfactorily.

(e)	A project shall be classified as Tier 4 if it does not meet the requirements to be classified as Tier 1, 2, or 3 or if it is considered a neutral project pursuant to paragraph (e) below.

(f)	A project shall be considered a neutral project if it consists entirely of:

(i)	The addition of or upgrades to radial transmission circuits;

(ii)	The addition of equipment that does not affect the transfer capability of a circuit;

(iii)	Repair and replacement-in-kind projects;

(iv)	Transmission Facilities needed to connect a new Generation Resource, Energy Storage Resource (ESR), or Settlement Only Generator (SOG) to a new or existing substation on the existing ERCOT Transmission Grid, including the substation;

(v)	The addition of static reactive devices;

(vi)	A project to serve a new Load, unless such project would create a new transmission circuit connection between two stations (other than looping an existing circuit into the new Load-serving station);

(vii)	Replacement of failed equipment, even if it results in a ratings and/or impedance change; or

(viii)	Equipment upgrades resulting in only ratings changes.

(2)	ERCOT may use its reasonable judgment to increase the level of review of a proposed project (e.g., from Tier 3 to Tier 2) from that which would be strictly indicated by these criteria, based on stakeholder comments, ERCOT analysis or the system impacts of the project.

(a) 	A project with an estimated capital cost greater than or equal to $50,000,000 that requires a CCN shall be reclassified and processed as a Tier 1 project upon request by a Market Participant during the comment period per Planning Guide Section 3.1.5, Regional Planning Group Comment Process.

(3)	Any project that would be built by an Entity that is exempt (e.g., a Municipally Owned Utility (MOU)) from getting a CCN for transmission projects but would require a CCN if it were to be built by a regulated Entity will be treated as if the project would require a CCN for the purpose of defining the Tier of the project.

(4)	If during the course of ERCOT’s independent review of a project, the project scope changes, ERCOT may reclassify the project into the appropriate Tier.

3.11.6	Generation Interconnection Process

(1)	The generation interconnection process facilitates the interconnection of new generation units in the ERCOT Region by assessing the transmission upgrades necessary for new generating units to operate reliably.  The process to study interconnecting new generation or modifying an existing generation interconnection to the ERCOT Transmission Grid is covered in the Planning Guide.  The generation interconnection study process primarily addresses the direct connection of generation Facilities to the ERCOT Transmission Grid and directly-related projects.  Projects that are identified through this process and are regional in nature may be reviewed through the RPG Project Review process upon recommendation by the TSP or ERCOT, subject to the confidentiality provisions in Section 1.3, Confidentiality.

(2)	ERCOT shall perform an independent economic analysis of the Transmission Facilities needed to connect a new Generation Resource, ESR, or SOG to a new or existing substation on the existing ERCOT Transmission Grid, including the substation, that are identified through this process that are expected to cost more than $25,000,000.  This economic analysis is performed only for informational purposes; as such, no ERCOT endorsement will be provided.  The results of the economic analysis shall be included in the interconnection study posting.

(3)	Additional upgrades to the ERCOT Transmission Grid that might be cost-effective as a result of new or modified generation may be initiated by any stakeholder through the RPG Project Review procedure described in Section 3.11.4, Regional Planning Group Project Review Process, at the appropriate time, subject to the confidentiality provisions of the generation interconnection procedure.