Date:	November 18, 2020

To:	Technical Advisory Committee (TAC) Representatives

From:	Martha Henson, Protocol Revision Subcommittee (PRS) Chair

Subject: Nodal Protocol Revision Requests (NPRRs)

##### Issue: ##### Consideration of the following NPRRs recommended for approval by PRS: - NPRR1001, Clarification of Definitions of Operating Condition Notice, Advisory, Watch, Emergency Notice, and Related Clarifications [ERCOT] - NPRR1007, RTC – NP 3: Management Activities for the ERCOT System – URGENT [ERCOT] - NPRR1008, RTC – NP 4: Day-Ahead Operations – URGENT [ERCOT] - NPRR1009, RTC – NP 5: Transmission Security Analysis and Reliability Unit Commitment – URGENT [ERCOT] - NPRR1010, RTC – NP 6: Adjustment Period and Real-Time Operations – URGENT [ERCOT] - NPRR1011, RTC – NP 8: Performance Monitoring – URGENT [ERCOT] - NPRR1012, RTC – NP 9: Settlement and Billing – URGENT [ERCOT] - NPRR1013, RTC – NP 1, 2, 16, and 25: Overview, Definitions and Acronyms, Registration and Qualification of Market Participants, and Market Suspension and Restart – URGENT [ERCOT] - NPRR1014, BESTF-4 Energy Storage Resource Single Model – URGENT [ERCOT] - NPRR1026, BESTF-7 Self-Limiting Facilities [ERCOT] - NPRR1029, BESTF-6 DC-Coupled Resources – URGENT [ERCOT] - NPRR1039, Replace the Term MIS Public Area with ERCOT Website [ERCOT] - NPRR1042, Planned Capacity Adjustment in the Report on Capacity, Demand and Reserves in the ERCOT Region [Reliant] - NPRR1043, Clarification of NPRR986 Language Related to Wholesale Storage Load [ERCOT] - NPRR1046, Additional Revisions to Remove Dynamically Scheduled Resource (DSR) from the Protocols [ERCOT] - NPRR1047, Consolidate Greybox re NPRR973 and NPRR1016 [ERCOT] - NPRR1055, Market Notice and ERCOT Discretion re Late-Filed NOIE Eligibility Attestations for PTP Obligations with Links to an Option Bid Awards – URGENT [ERCOT]

##### Background/History: Unless otherwise noted: (i) all Market Segments were present for each vote and (ii) ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed the revision request and do not believe it requires changes to credit monitoring activity or the calculation of liability. Revision Requests Recommended for Approval - NPRR1001, Clarification of Definitions of Operating Condition Notice, Advisory, Watch, Emergency Notice, and Related Clarifications [ERCOT] Proposed Effective Date: January 1, 2021 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; ERCOT grid operations and practices will be updated. Revision Description: This NPRR clarifies that an Emergency Notice is the type of communication that will be issued when ERCOT is operating in an Emergency Condition, that the issuance of an Operating Condition Notice (OCN), Advisory, or Watch does not mean that ERCOT is operating in an Emergency Condition, and it makes a few minor associated clarifications. PRS Decision: On 10/15/20, PRS unanimously voted via roll call to recommend approval of NPRR1001 as amended by the 9/2/20 ERCOT comments. On 11/11/20, PRS unanimously voted via roll call to endorse and forward to TAC the 10/15/20 PRS Report and Impact Analysis for NPRR1001. - NPRR1007, RTC – NP 3: Management Activities for the ERCOT System – URGENT [ERCOT] Proposed Effective Date: Upon system implementation of the Real-Time Co-Optimization (RTC) Project – Priority 2020; Rank 235 ERCOT Impact Analysis: Between $50M - $55M; ERCOT staffing impacts to Market Credit (0.1 FTE), EMMS Development (0.25 FTE), EMMS Production Support (1.6 FTE), Quality Assurance & Testing (0.2 FTE), IT Integration Support Services (0.5 FTE), Enterprise Information Services (0.25 FTE), Business Intelligence & Analytics (0.25 FTE), and Commercial Application Services (0.25 FTE); impacts to Market Management Systems (MMS), Energy Management System (EMS), Integration, Data and Information Products (DAIP), Settlements & Billing (S&B), Network Model Management System (NMMS), Credit Monitoring and Management (CMM), Operator Training Simulator (OTS), CRM & Registration System (REG), Data Access & Transparency, BI & Data Analytics, Data Management, and External Public; ERCOT business processes will be updated; ERCOT grid operations and practices will be updated. Revision Description: This NPRR updates the management activities for the ERCOT System in the Protocols to address changes associated with the implementation of RTC. PRS Decision: On 11/11/20, PRS unanimously voted via roll call to grant NPRR1007 Urgent status; to recommend approval of NPRR1007 as amended by the 10/23/20 ERCOT comments; and to forward to TAC NPRR1007 and the Impact Analysis with a recommended priority of 2020 and rank of 235. Credit WG: See 11/17/20 Credit WG Comments - NPRR1008, RTC – NP 4: Day-Ahead Operations – URGENT [ERCOT] Proposed Effective Date: Upon system implementation of the RTC Project ERCOT Impact Analysis: See Impact Analysis for NPRR1007 Revision Description: This NPRR updates Day-Ahead operations in the Protocols to address changes associated with the implementation of RTC. PRS Decision: On 11/11/20, PRS unanimously voted via roll call to grant NPRR1008 Urgent status; to recommend approval of NPRR1008 as amended by the 10/23/20 ERCOT comments as revised by PRS; and to forward to TAC NPRR1008 and the Impact Analysis. Credit WG: See 11/17/20 Credit WG Comments to NPRR1007 - NPRR1009, RTC – NP 5: Transmission Security Analysis and Reliability Unit Commitment – URGENT [ERCOT] Proposed Effective Date: Upon system implementation of the RTC Project ERCOT Impact Analysis: See Impact Analysis for NPRR1007 Revision Description: This NPRR updates transmission security analysis and Reliability Unit Commitment (RUC) to address changes associated with the implementation of RTC. PRS Decision: On 11/11/20, PRS unanimously voted via roll call to grant NPRR1009 Urgent status; to recommend approval of NPRR1009 as amended by the 10/23/20 ERCOT comments; and to forward to TAC NPRR1009 and the Impact Analysis. Credit WG: See 11/17/20 Credit WG Comments to NPRR1007 - NPRR1010, RTC – NP 6: Adjustment Period and Real-Time Operations – URGENT [ERCOT] Proposed Effective Date: Upon system implementation of the RTC Project ERCOT Impact Analysis: See Impact Analysis for NPRR1007 Revision Description: This NPRR updates the Adjustment Period and Real-Time operations in the Protocols to address changes associated with the implementation of RTC. PRS Decision: On 11/11/20, PRS unanimously voted via roll call to grant NPRR1010 Urgent status; to recommend approval of NPRR1010 as amended by the 10/23/20 ERCOT comments; and to forward to TAC NPRR1010 and the Impact Analysis. Credit WG: See 11/17/20 Credit WG Comments to NPRR1007 - NPRR1011, RTC – NP 8: Performance Monitoring – URGENT [ERCOT] Proposed Effective Date: Upon system implementation of the RTC Project ERCOT Impact Analysis: See Impact Analysis for NPRR1007 Revision Description: This NPRR updates performance monitoring in the Protocols to address changes associated with the implementation of RTC. PRS Decision: On 11/11/20, PRS unanimously voted via roll call to grant NPRR1011 Urgent status; to recommend approval of NPRR1011 as amended by the 10/23/20 ERCOT comments; and to forward to TAC NPRR1011 and the Impact Analysis. Credit WG: See 11/17/20 Credit WG Comments to NPRR1007 - NPRR1012, RTC – NP 9: Settlement and Billing – URGENT [ERCOT] Proposed Effective Date: Upon system implementation of the RTC Project ERCOT Impact Analysis: See Impact Analysis for NPRR1007 Revision Description: This NPRR updates Settlement and billing in the Protocols to address changes associated with the implementation of RTC. PRS Decision: On 11/11/20, PRS unanimously voted via roll call to grant NPRR1012 Urgent status; to recommend approval of NPRR1012 as amended by the 8/18/20 ERCOT comments; and to forward to TAC NPRR1012 and the Impact Analysis. Credit WG: See 11/17/20 Credit WG Comments to NPRR1007 - NPRR1013, RTC – NP 1, 2, 16, and 25: Overview, Definitions and Acronyms, Registration and Qualification of Market Participants, and Market Suspension and Restart – URGENT [ERCOT] Proposed Effective Date: Upon system implementation of the RTC Project ERCOT Impact Analysis: See Impact Analysis for NPRR1007 Revision Description: This NPRR updates the Protected Information provisions, definitions and acronyms, registration and qualification of Market Participants, and Market Suspension and Restart in the Protocols to address changes associated with the implementation of RTC. PRS Decision: On 11/11/20, PRS unanimously voted via roll call to grant NPRR1013 Urgent status; to recommend approval of NPRR1013 as amended by the 10/23/20 ERCOT comments; and to forward to TAC NPRR1013 and the Impact Analysis. Credit WG: See 11/17/20 Credit WG Comments to NPRR1007 - NPRR1014, BESTF-4 Energy Storage Resource Single Model – URGENT [ERCOT] Proposed Effective Date: Upon system implementation – Priority 2020; Rank 3015 ERCOT Impact Analysis: Between $3.5M - $5.5M; no impacts to ERCOT staffing; impacts to EMS, MMS, DAIP, S&B, Outage Scheduler (OS), Integration, BI & Data Analytics, NMMS, Resource Integration, Data Access & Transparency, External Public, and REG; ERCOT business processes will be updated; ERCOT grid operations and practices will be updated. Revision Description: This NPRR enables the integration of Energy Storage Resources (ESRs) into the ERCOT core systems as a single-model Resource, replacing the existing “combination model” paradigm in which ESRs are treated as two Resources: a Generation Resource and a Controllable Load Resource. This NPRR will be developed concurrently and implemented simultaneously with the NPRRs associated with RTC and with the upgrade to the ERCOT EMS. PRS Decision: On 11/11/20, PRS voted via roll call to grant NPRR1014 Urgent status; to recommend approval of NPRR1014 as amended by the 10/27/20 ERCOT comments as revised by PRS; and to forward to TAC NPRR1014 and the Impact Analysis with a recommended priority of 2020 and rank of 3015. There were six opposing votes from the Independent Generator (5) (Broad Reach Power, Enel Green Power, Key Capture Energy, Tesla, EDP Renewables) and Municipal (CPS Energy) Market Segments and seven abstentions from the Consumer (Sierra Club), Cooperative (LCRA), Independent Generator (ENGIE), Independent Power Marketer (IPM) (Tenaska Power Services), Independent Retail Electric Provider (IREP) (Reliant Energy), and Municipal (2) (DME, Austin Energy) Market Segments. - NPRR1026, BESTF-7 Self-Limiting Facilities [ERCOT] Proposed Effective Date: Upon system implementation – Priority 2020; Rank 3010 ERCOT Impact Analysis: Between $200k and $250k; no impacts to ERCOT staffing; impacts Resource Integration, EMS, OTS, DAIP, BI & Data Analytics, External Public, and Data Access & Transparency; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR establishes rules for and enables the integration of Self-Limiting Facilities into the ERCOT markets and core systems, as described in Key Topic and Concept #13 which achieved consensus support at the Battery Energy Storage Task Force (BESTF) and was approved by the TAC by email vote which concluded on April 3, 2020. PRS Decision: On 10/15/20, PRS unanimously voted via roll call to recommend approval of NPRR1026 as amended by the 9/22/20 ERCOT comments. On 11/11/20, PRS unanimously voted via roll call to endorse and forward to TAC the 10/15/20 PRS Report and Impact Analysis for NPRR1026 with a recommended priority of 2020 and rank of 3010. - NPRR1029, BESTF-6 DC-Coupled Resources – URGENT [ERCOT] Proposed Effective Date: Upon system implementation – Priority 2020; Rank 3015 ERCOT Impact Analysis: Between $800k - $1.2M; no impacts to ERCOT staffing; impacts to EMS, OS, S&B, MMS, BI & Data Analytics, Integration, Resource Integration, DAIP, OTS, NMMS, and REG; ERCOT business processes will be updated; ERCOT grid operations and practices will be updated. Revision Description: This NPRR enables the integration of DC-Coupled Resources into ERCOT’s core systems. DC-Coupled Resources are defined as a type of ESR and will be required to follow all rules associated with ESRs in addition to meeting the additional requirements in this NPRR. The language in this NPRR applies to both the current combo model era, in which ESRs are treated in ERCOT systems as two Resources—a Generation Resource and a Controllable Load Resource—as well as the future single model era described in NPRR1014. PRS Decision: On 11/11/20, PRS unanimously voted via roll call to grant NPRR1029 Urgent status; to recommend approval of NPRR1029 as amended by the 10/30/20 ERCOT comments; and forward to TAC NPRR1029 and the Impact Analysis with a recommended priority of 2020 and rank of 3015. - NPRR1039, Replace the Term MIS Public Area with ERCOT Website [ERCOT] Proposed Effective Date: Upon project implementation of PR170-07, ECAP - ECMS Implementation Phase 2 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; impacts to Data Access & Transparency; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR removes the defined term Market Information System (MIS) Public Area from the Protocols and replaces any references to MIS Public Area with “ERCOT website.” PRS Decision: On 10/15/20, PRS unanimously voted via roll call to recommend approval of NPRR1039 as amended by the 10/13/20 ERCOT comments. On 11/11/20, PRS unanimously voted via roll call to endorse and forward to TAC the 10/15/20 PRS Report and Impact Analysis for NPRR1039. - NPRR1042, Planned Capacity Adjustment in the Report on Capacity, Demand and Reserves in the ERCOT Region [Reliant] Proposed Effective Date: January 1, 2021 ERCOT Impact Analysis: Less than $5k (O&M); no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; ERCOT grid operations and practices will be updated. Revision Description: This NPRR adjusts the planned capacity in the Report on Capacity, Demand and Reserves in the ERCOT Region to remove previously mothballed or retired Generation Resources that may be repowered but do not have an owner that intends to operate them. PRS Decision: On 10/15/20, PRS unanimously voted via roll call to recommend approval of NPRR1042 as submitted. On 11/11/20, PRS unanimously voted via roll call to endorse and forward to TAC the 10/15/20 PRS Report and Impact Analysis for NPRR1042. - NPRR1043, Clarification of NPRR986 Language Related to Wholesale Storage Load [ERCOT] Proposed Effective Date: Upon system implementation of NPRR986, BESTF-2 Energy Storage Resource Energy Offer Curves, Pricing, Dispatch, and Mitigation ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR provides necessary clarification regarding Settlement of ESRs as developed in NPRR986, which received ERCOT Board approval on February 11, 2020, and is currently in the early phase of development. Specifically, this NPRR clarifies that the charging Load (excluding auxiliary Load) withdrawn by an ESR shall be settled based on the nodal price, similar to its injections, even if the ESR does not seek or cannot qualify for Wholesale Storage Load (WSL) treatment. It does so by replacing the term “ESR Load that is not WSL,” which appears in several places in the original NPRR986 language, replacing that term with a defined term, “Non-WSL ESR Charging Load.” The Non-WSL ESR Charging Load will be priced at nodal but, unlike ESRs receiving WSL treatment, will be subject to applicable Load Ratio Share (LRS)-based charges. PRS Decision: On 10/15/20, PRS unanimously voted via roll call to recommend approval of NPRR1043 as submitted. On 11/11/20, PRS unanimously voted via roll call to endorse and forward to TAC the 10/15/20 PRS Report and Impact Analysis for NPRR1043. - NPRR1046, Additional Revisions to Remove Dynamically Scheduled Resource (DSR) from the Protocols [ERCOT] Proposed Effective Date: Upon system implementation of NPRR1000, Elimination of Dynamically Scheduled Resources ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR removes additional uses of the term “Dynamically Scheduled Resource (DSR)” in alignment with the intent of NPRR1000, which was approved by the ERCOT Board on August 11, 2020. PRS Decision: On 10/15/20, PRS unanimously voted via roll call to recommend approval of NPRR1046 as submitted. On 11/11/20, PRS unanimously voted via roll call to endorse and forward to TAC the 10/15/20 PRS Report and Impact Analysis for NPRR1046. - NPRR1047, Consolidate Greybox re NPRR973 and NPRR1016 [ERCOT] Proposed Effective Date: January 1, 2021 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR consolidates some greybox language related to NPRR973, Add Definitions for Generator Step-Up and Main Power Transformer, and NPRR1016, Clarify Requirements for Distribution Generation Resources (DGRs) and Distribution Energy Storage Resources (DESRs). PRS Decision: On 10/15/20, PRS unanimously voted via roll call to recommend approval of NPRR1047 as submitted. On 11/11/20, PRS unanimously voted via roll call to endorse and forward to TAC the 10/15/20 PRS Report and Impact Analysis for NPRR1047. - NPRR1055, Market Notice and ERCOT Discretion re Late-Filed NOIE Eligibility Attestations for PTP Obligations with Links to an Option Bid Awards – URGENT [ERCOT] Proposed Effective Date: December 9, 2020 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR gives ERCOT the discretion to accept for good cause attestations from NOIEs under paragraph (3) of Section 4.4.6.3, PTP Obligations with Links to an Option DAM Award Eligibility, after the October 1, 2020 annual deadline, and removes the same on January 1, 2021. Further, the NPRR requires ERCOT to post a Market Notice by September 1 of each year reminding NOIEs of the annual deadline. PRS Decision: On 11/11/20, PRS voted to grant NPRR1055 Urgent status; to recommend approval of NPRR1055 as revised by PRS; and to forward to TAC NPRR1055 and the Impact Analysis. There were two opposing votes from the Independent Generator (Luminant) and IPM (Morgan Stanley) Market Segments and four abstentions from the Independent Generator (2) (Key Capture Energy, Calpine), IPM (Tenaska), and IREP (Direct Energy) Market Segments. Revision Requests Rejected None Revision Requests Withdrawn None Status of Pending Revision Requests (For Information Purposes Only): Revision Requests Scheduled for Impact Analysis Review and Priority Assignment (if applicable) at PRS - NPRR994, Clarify Generator Interconnection Neutral Project Classification [ERCOT] - NPRR995, RTF-6 Create Definition and Terms for Settlement Only Energy Storage [Broad Reach Power] - NPRR1034, Frequency-Based Limits on DC Tie Imports or Exports [Southern Cross] - NPRR1048, Clarification on NPRR978 Short-Term Adequacy Reports [ERCOT] - NPRR1049, Management of DC Tie Load Zone Modifications [ERCOT] - NPRR1050, Change to the Summer Commercial Operations Date Deadline for Including Planned Generation Capacity in Reports on the Capacity, Demand and Reserves in the ERCOT Region [ERCOT] - NPRR1051, Removal of the Price Floor Applied to Day-Ahead Settlement Point Prices [ERCOT] - NPRR1052, Load Zone Pricing for Settlement Only Storage Prior to NPRR995 Implementation [ERCOT] Revision Requests Deferred or Tabled and/or Pending Input from Another Subcommittee - NPRR956, Designation of Providers of Transmission Additions [ERCOT] - NPRR979, Incorporate State Estimator Standards and Telemetry Standards into Protocols [ERCOT] - NPRR981, Day-Ahead Market Price Correction Process [Luminant] - NPRR1005, Clarify Definition of Point of Interconnection (POI) and Add Definition Point of Interconnection Bus (POIB) [ERCOT] - NPRR1017, Management of Congestion Revenue Rights (CRRs) and Resource Node Removals [ERCOT] - NPRR1023, Change to CRR Repossession Process [ERCOT] - NPRR1024, Determination of Significance with Respect to Price Correction [ERCOT] - NPRR1040, Compliance Metrics for Ancillary Service Supply Responsibility [LCRA, STEC, and Reliant] - NPRR1044, Enhancement of SSR Mitigation Requirement [ERCOT] - NPRR1045, Transmission Operator Definition and Designation [ERCOT] New Revision Requests Scheduled for Consideration at PRS - NPRR1053, BESTF-9 Exemption from Ancillary Service Supply Compliance Requirements for Energy Storage Resources Affected by EEA Level 3 Charging Suspensions [ERCOT] - NPRR1054, Removal of Oklaunion Exemption Language [AEP] These Revision Requests and supporting materials are posted on the ERCOT website at the following links: http://www.ercot.com/mktrules/issues/nprr