DRAFT
Minutes of the Technical Advisory Committee (TAC) Meeting

Webex Only

Wednesday, October 28, 2020 – 9:30 a.m.

| Attendance |  |  |
| --- | --- | --- |
| Members: |  |  |
| Barnes, Bill | Reliant Energy Retail Services |  |
| Blakey, Eric | Just Energy |  |
| Boyd, Phillip | City of Lewisville |  |
| Brewster, Chris | City of Eastland |  |
| Bunch, Kevin | EDF Trading North America |  |
| Carpenter, Jeremy | Tenaska Power Services |  |
| Claiborn-Pinto, Shawnee | OPUC |  |
| Easton, Eric | CenterPoint Energy | Alt. Rep. for Walter Bartel |
| Franklin, Russell | Garland Power and Light | Alt. Rep. for Dan Bailey |
| Gaytan, Jose | Denton Municipal Electric |  |
| Goff, Eric | Residential Consumer |  |
| Greer, Clayton | Morgan Stanley |  |
| Haley, Ian | Luminant Generation |  |
| Helton, Bob | ENGIE |  |
| Henson, Martha | Oncor | Alt. Rep. for Collin Martin |
| Jolly, Emily | LCRA | Alt. Rep. for John Dumas |
| Kee, David | CPS Energy |  |
| Kent, Garret | CMC Steel Texas |  |
| Lange, Clif | South Texas Electric Cooperative |  |
| Loving, Alicia | Austin Energy |  |
| Martin, Collin | Oncor Electric Delivery |  |
| McClendon, Shannon | Demand Control 2 |  |
| Morris, Sandy | Direct Energy |  |
| Nix, Keith | Texas-New Mexico Power Company |  |
| Ross, Richard | AEP Service Corporation |  |
| Sams, Bryan | Calpine Corporation |  |
| Smith, Bill | Air Liquide |  |
| Surendran, Resmi | Shell Energy |  |
| True, Roy | Brazos Electric Cooperative |  |
| Wise, Michael | Golden Spread Electric Cooperative |  |

The following proxy was assigned:

- Colin Meehan to Bob Helton

- Kevin Bunch to Clayton Greer

| Guests: |  |  |
| --- | --- | --- |
| Aldridge, Ryan | AB Power Advisors |  |
| Alford, Anthony | CenterPoint Energy |  |
| Allen, Thresa | Avangrid |  |
| Ashley, Kristy | Customized Energy Solutions |  |
| Bennett, Stacie | Lone Star Transmission |  |
| Benson, Mariah | PUCT |  |
| Bivens, Carrie | Potomac Economics |  |
| Bruce, Mark | Cratylus Advisors |  |
| Burke, Tom | Invenergy |  |
| Chhajed, Pushkar | LCRA |  |
| Cochran, Seth | DC Energy |  |
| Coleman, Diana | CPS Energy |  |
| Coleman, Katie | TIEC |  |
| Coutas, Ann | Enel |  |
| Crouch, Rebekah | NBU |  |
| Daigneault, Ralph | Potomac Economics |  |
| Detelich, David | CPS Energy |  |
| Donohoo, Kenneth | EPE Consulting |  |
| Downey, Martin |  |  |
| Dreyfus,Mark | MD Energy Consulting |  |
| Dwyer, Davida | PUCT |  |
| Emery, Keith | Tenaska Power Services |  |
| English, Barksdale | PUCT |  |
| Fogarty, Audrey | Jupiter Power |  |
| Gross, Blake | AEP Service Corporation |  |
| Hamilton, Brooks | TNMP |  |
| Harvey, Julia | TEC |  |
| Henderson, Natasha | GSEC |  |
| Henderson, Norris | FERC |  |
| Hendrix, Chris | Demand Control 2 |  |
| Henson, Martha | Oncor |  |
| Huynh, Thuy | Potomac Economics |  |
| Jackson, Jimmy | CPS Energy |  |
| Jewell, Michael | Jewell and Associates |  |
| Kelly, Matthew | 8Minute |  |
| Kleckner, Tom | RTO Insider |  |
| Krajecki, Jim | Customized Energy Solutions |  |
| Lee, Jim | AEP TX |  |
| Matt, Kevin | NRG |  |
| McClellan, Suzi | Good Company and Associates |  |
| Mulholland, Chad | NRG |  |
| Musher, Danny | Key Capture Energy |  |
| Nguyen, Andy | Lower Colorado River Authority |  |
| Parker, Ryan | Calpine |  |
| Peters, Patrick | CenterPoint Energy |  |
| Powell, Christian | Pedernales Electric Cooperative |  |
| Pushkar, Chhajed | LCRA |  |
| Rainwater, Kim | LCRA |  |
| Reedy, Steve | Potomac Economics |  |
| Reid, Walter | Advanced Power Alliance |  |
| Rich, Katie | Golden Spread Electric Cooperative |  |
| Richmond, Michele | TCPA |  |
| Roth, Werner | PUCT |  |
| Rowley, Chris | Oncor |  |
| Scott, Kathy | CenterPoint Energy |  |
| Schauer, Trent | AB Power Advisors |  |
| Siddiqi, Shams | Crescent Power Consulting |  |
| Sithuraj, Murali | Austin Energy |  |
| Simpson, Lori | Exelon |  |
| Smith, Caitlin | AB Power Advisors |  |
| Smith, Chase | Southern Power |  |
| Smith, Chris | Austin Energy |  |
| Totten, Jess | Osprey Energy |  |
| Turner, Lucas | South Texas Electric Cooperative |  |
| Velasquez, Ivan | Oncor |  |
| Villasana, Kristi | NBU |  |
| Watson, Mark | SP Global |  |
| White, Laurie | AEP |  |
| Wittmeyer, Bob | Longhorn Power |  |

| ERCOT Staff: |  |  |
| --- | --- | --- |
| Adadjo, Fred |  |  |
| Albracht, Brittney |  |  |
| Anderson, Connor |  |  |
| Anderson, Troy |  |  |
| Barati, Camron |  |  |
| Bigbee, Nathan |  |  |
| Billo, Jeff |  |  |
| Boren, Ann |  |  |
| Boswell, Bill |  |  |
| Bracy, Phil |  |  |
| Castillo, Leo |  |  |
| Clifton, Suzy |  |  |
| Comstock, Read |  |  |
| Day, Betty |  |  |
| Du, Pengwei |  |  |
| Fohn, Douglas |  |  |
| Ganjoo, Shalesh |  |  |
| Gonzalez, Ino |  |  |
| Hanson, Kevin |  |  |
| Hobbs, Kristi |  |  |
| Holden, Curry |  |  |
| Huang, Fred |  |  |
| Hughes, Lindsey |  |  |
| Hull, Gibson |  |  |
| Jones, Dan |  |  |
| Kane, Erica |  |  |
| Lasher, Warren |  |  |
| Lawson, John |  |  |
| Levine, Jonathan |  |  |
| Maggio, Dave |  |  |
| Mago, Nitika |  |  |
| Mereness, Matt |  |  |
| Moorty, Sai |  |  |
| Morehead, Juliana |  |  |
| Moreno, Alfredo |  |  |
| Ögelman, Kenan |  |  |
| Parakkuth, Jayapal |  |  |
| Patterson, Mark |  |  |
| Phillips, Cory |  |  |
| Ragsdale, Kenneth |  |  |
| Rickerson, Woody |  |  |
| Rios, Diana |  |  |
| Rosel, Austin |  |  |
| Ruane, Mark |  |  |
| Sharma, Sandip |  |  |
| Shaw, Pamela |  |  |
| Stice, Clayton |  |  |
| Thomas, Shane |  |  |
| Tirupati, Venkat |  |  |
| Troublefield, Jordan |  |  |
| Tucker, Don |  |  |
| Villarreal, Rachel |  |  |
| Wattles, Paul |  |  |

Unless otherwise indicated, all Market Segments were present for a vote.

- Bob Helton called the October 28, 2020 meeting to order at 9:30 a.m.

Antitrust Admonition

Mr. Helton directed attention to the displayed Antitrust Admonition and noted that the Antitrust Guidelines are available for review on the ERCOT website.

Approval of TAC Meeting Minutes (see Key Documents)

September 23, 2020

Market Participants reviewed the September 23, 2020 TAC Meeting Minutes.  Mr. Helton noted this item could be considered in the Combined Ballot.

October Board Update

Mr. Helton reviewed the reviewed events of the October 13, 2020 Urgent ERCOT Board of Directors meeting and reminded Market Participants that on November 5, 2020, ERCOT would release its final Seasonal Assessment of Resource Adequacy for the ERCOT Region (SARA) for the upcoming winter season and preliminary assessment for the spring season.

Protocol Revision Subcommittee (PRS) Report (see Key Documents)

Martha Henson reviewed recent PRS activities, noted the 2020 and 2021 release targets, and presented revision requests for TAC consideration.

Nodal Protocol Revision Request (NPRR) 945, Net Metering Requirements

Katie Coleman summarized NPRR945 and the 10/27/20 TIEC comments. Ian Haley summarized the 10/27/2020 Luminant comments to NPRR945.  Some Market Participants expressed concern that Market Participants may not yet understand the potential impacts of implementing NPRR945, specifically the expansion of Private Use Networks to avoid transmission cost allocations, and asserted that Private Use Networks generally do not support price formation, and that NPRR945 represents a significant change in policy for metering without cost sharing.  ERCOT Staff summarized the historical interpretation of the term “associated Load” and ERCOT’s role should NPRR945 be implemented.  Other Market Participants noted that NPRR945 had been discussed in numerous forums for more than one year, including a workshop, countered that NPRR945 is well understood by the market, and supported advancing the NPRR as recommended by PRS.

Michael Wise moved to table NPRR945.  Mr. Haley seconded the motion.  The motion failed via roll call vote with 22 objections from the Consumer (6) (OPUC, Residential Consumer, City of Lewisville, City of Eastland, CMC, Air Liquide), Cooperative (LCRA), Independent Generator (2) (ENGIE, First Solar), Independent Power Marketer (IPM) (2) (Tenaska, Shell), Independent Retail Electric Provider (IREP) (3) (Reliant, Just, Demand Control 2), Investor Owned Utility (IOU) (4) (CenterPoint, Oncor, TNMP, AEP), and Municipal (4) (Garland, Denton, Austin, CPS) Market Segments.  (Please see ballot posted with Key Documents.)

Shannon McClendon moved to recommend approval of NPRR945 as recommended by PRS in the 10/15/20 PRS Report.  Garret Kent seconded the motion.  The motion carried via roll call vote with five objections from the Cooperative (3) (STEC, Brazos, GSEC), Independent Generator (Luminant), and IPM (Morgan Stanley) Market Segments and two abstentions from the Independent Generator (Calpine) and IPM (EDF Trading) Market Segments.  (Please see ballot posted with Key Documents.)

NPRR1028, RUC Process Alignment with Resource Limits

NPRR1041, Adjust Expiration of Protected Information Status for Wholesale Storage Load (WSL) Data

Market Participants reviewed NPRR1028 and NPRR1041.  Mr. Helton noted these items could be considered in the Combined Ballot.

NPRR1031, Notices for Curtailment of Load

Market Participants discussed clarifications to NPRR1031 to replace the term “MIS Public Area” with “ERCOT website” in consideration of NPRR1039, Replace the Term MIS Public Area with ERCOT Website.  Mr. Helton noted this item could be considered in the Combined Ballot.

NPRR1032, Consideration of Physical Limits of DC Ties in RUC Optimization and Settlements

Market Participants reviewed NPRR1032’s Business Case.  Mr. Helton noted this item could be considered in the Combined Ballot.

System Change Request (SCR) 812, Create Intermittent Renewable Generation Integration Report

Market Participants reviewed SCR812.  Mr. Helton noted this item could be considered in the Combined Ballot.

Revision Requests Tabled at TAC (see Key Documents)

Other Binding Document Revision Request (OBDRR) 020, RTC – Methodology for Setting Maximum Shadow Prices for Network and Power Balance Constraints

Resource Registration Glossary Revision Requests (RRGRR) 023, Related to NPRR1002, BESTF-5 Energy Storage Resource Single Model Registration and Charging Restrictions in Emergency Conditions

TAC took no action on this item.

Other Binding Document Revision Requests (see Key Documents)

OBDRR025, Clarification for the RRS Limit on Individual Non-Thermal Generation Resources

Chad Mulholland summarized OBDRR025 and discussions at the August 20 and September 8, 2020 Performance, Disturbance, Compliance Working Group (PDCWG) meetings.  Audrey Fogarty summarized the 10/27/20 Jupiter Power comments.  Bill Barnes summarized the 10/28/20 NRG comments.  Market Participants discussed potential impacts to current projects in development and the historical data justifying the 125 megawatts (MWs) limit proposal, and requested additional review of the issues by the Reliability and Operations Subcommittee (ROS).  Mr. Helton noted this item could be considered in the Combined Ballot.

ROS Report (see Key Documents)

Kevin Bunch reviewed recent ROS activities, including transmission issues related to generation constraints and presented revision requests for TAC consideration.

RGRR025, Related to NPRR1005, Clarify Definition of Point of Interconnection (POI) and Add Definition Point of Interconnection Bus (POIB)

Nodal Operating Guide Revision Request (NOGRR) 207, Related to NPRR1001, Clarification of Definitions of Operating Condition Notice, Advisory, Watch, Emergency Notice, and Related Clarifications

NOGRR210, Related to NPRR1005, Clarify Definition of Point of Interconnection (POI) and Add Definition Point of Interconnection Bus (POIB)

NOGRR217, Related to NPRR1039, Replace the Term MIS Public Area with ERCOT Website

PGRR084, Related to NPRR1039, Replace the Term MIS Public Area with ERCOT Website

Market Participants noted the need to table RGRR025, NOGRR207, NOGRR210, NOGRR217, and PGRR084 to consider concurrently with the related NPRRs.  Mr. Helton noted these items could be considered in the Combined Ballot.

PGRR083, Add RPG Number and TPIT Revisions

Market Participants reviewed PGRR083 and the 10/20/20 ERCOT comments.  Mr. Helton noted this item could be considered in the Combined Ballot.

Wholesale Market Working Group (WMS) Report (see Key Documents)

David Kee reviewed recent WMS activities, including changes in planned project in-service cut-off dates

for the Capacity, Demand and Reserves (CDR) and SARA reports and presented revision requests for TAC consideration.

Commercial Operations Market Guide Revision Request (COPMGRR) 048, Related to NPRR1039, Replace the Term MIS Public Area with ERCOT Website

Verifiable Cost Manual Revision Request (VCMRR) 030, Related to NPRR1039, Replace the Term MIS Public Area with ERCOT Website

Market Participants noted the need to table COPMGRR048 and VCMRR030 to consider concurrently with the related NPRRs.  Mr. Helton noted these items could be considered in the Combined Ballot.

Settlement Metering Operating Guide Revision Request (SMOGRR) 023, Updates to Nameplate Information Requirements

Mr. Helton noted this item could be considered in the Combined Ballot.

Retail Market Subcommittee (RMS) Report (see Key Documents)

Eric Blakey reviewed recent RMS activities, including the Texas Standard Electronic Transaction (Texas SET) Version 5.0 release and potential project timeline, and summarized the October 14, 2020 Transmission and/or Distribution Service Provider (TDSP) Solar Workshop.

Real-Time Co-optimization Task Force (RTCTF) Report (see Key Documents)

Matt Mereness presented the Real-Time Co-optimization Task Force (RTCTF) Revision Request summary, reviewed the timeline, and summarized the next steps for RTCTF NPRRs 1007 through 1013, NOGRR211, along with Battery Energy Storage Task Force (BESTF) NPRRs 1014 and 2029.  Dave Maggio summarized and OBDRR020 and the 10/23/20 ERCOT comments.  Mr. Mereness noted that ERCOT will request Urgent status and consideration for these items at the November 18, 2020 TAC meeting so that they can remain on a timeline to be considered at the December ERCOT Board meeting.

BESTF Report (see Key Documents)

Kenneth Ragsdale summarized recent BESTF activities.

ERCOT Reports (see Key Documents)

Day-Ahead Market (DAM) Performance (DAM delays)

Kenan Ögelman presented analyses and summarized complexities leading to increased Day-Ahead Market (DAM) performance delays, reviewed efforts undertaken to reduce Point-to-Point (PTP) Option Bids, noted that all potential solutions have drawbacks and requested TAC direction on the issues.  Mr. Helton requested WMS review the issues.

Combined Ballot

Shawnee Claiborn-Pinto moved to approve the Combined Ballot as follows:

- To approve the September 23,  2020 TAC Meeting Minutes as submitted

- To recommend approval of NPRR1028 as recommended by PRS in the 10/15/20 PRS Report

- To recommend approval of NPRR1031 as recommended by PRS in the 10/15/20 PRS Report as revised by TAC

- To recommend approval of NPRR1032 as recommended by PRS in the 10/15/20 PRS Report

- To recommend approval of NPRR1041 as recommended by PRS in the 10/15/20 PRS Report

- To recommend approval of SCR812 as recommended by PRS in the 10/15/20 PRS Report

- To table OBDRR025

- To table RRGRR025

- To table NOGRR207

- To table NOGRR210

- To table NOGRR217

- To recommend approval of PGRR083 as recommended by ROS in the 10/8/20 ROS Report as amended by the 10/20/20 ERCOT comments

- To table PGRR084

- To table COPMGRR048

- To approve SMOGRR023 as recommended by WMS in the 10/7/20 WMS Report

- To table VCMRR030

Mr. Haley seconded the motion.  The motion carried unanimously via roll call vote.  (Please see ballot posted with Key Documents.)

Other Business

2021 Membership/Segment Elections

Suzy Clifton reminded Market Participants that the membership date of record is Friday, November 6, 2020, highlighted changes in membership and fee submittal due to COVID19 restrictions, and stated that 2021 Segment Representative Elections would begin on Monday, November 9, 2020.

Mr. Helton adjourned the October 28, 2020 TAC meeting at 12:51 p.m.

- Key Documents referenced in these minutes may be accessed on the ERCOT website at:

http://www.ercot.com/calendar/2020/10/28/186878-TAC