## Slide 1
Chronic Congestion Verification
Joel Koepke
Grid Coordination Support and Development
11/12/2020

## Slide 2: Chronic Congestion – Nodal Protocols 3.20 (Current)
3.20 - Identification of Chronic Congestion
  A constraint that has been active or binding on three or more Operating Days within a rolling 30-day period shall be considered to be experiencing chronic congestion.
3.20.2 – Topology and Model Verification
  (1) …ERCOT shall discuss and validate with the appropriate TSP and RE that the data from the Network Operations Model and Updated Network Model are correct, including the Ratings of the Transmission Facility causing an active or binding transmission constraint. When analysis differs between ERCOT and a TSP or Resource Entity, ERCOT shall verify the configuration of the ERCOT Transmission Grid matches that of the model in use by the TSP or Resource Entity.

## Slide 3: Upcoming Efforts
ERCOT Modeling will begin reaching out to MPs to specifically validate equipment associated to Chronic Congestion
  Validation will focus on ratings, impedances, and connectivity
  Goal is to initiate validation discussion of October congestion by the end of November
  This will remain an ongoing monthly effort
ERCOT is drafting an NPRR to change, at a minimum, the 30-day rolling window to a calendar month. Other potential items to address:
  Handling of congestion which recurs across months
  Additional thresholds (% overloads, SCED interval counts, Congestion Rent) to clarify “chronic” issues