## Slide 1
Fuel Limitation Forced Outages for Winter SARA Report
Fred Khodabakhsh
November, 2020

## Slide 2: Introduction:
The fuel limitation adders in winter SARA report were based on 2014 outage scheduler data, time to revisit based on more recent information
Methodology Overview:
  The resources analyzed are the same ones used for the 2014 winter analysis
  The fuel limitation outages are based on the more recent cold weather events from 2014 through winter 2019
  The adders apply to the SARA extreme peak load scenario
  Analysis was based on the Outage Scheduler’s “nature of work” field, focusing on Fuel Limitation/Lack of Fuel Availability

## Slide 3: Methodology Continue:
  For typical forced outage adder the north central weather zone temperature range from 25 to 30 degrees were used
  For extreme forced outage adder the Jan 17, 2018 winter cold snap was used which represented both the winter peak load and low winter temperatures
This Cell Include the Typical Generation Outage Adder for Fuel Limitation
This Cell Include the Extreme Generation Outage Adder for Fuel Limitation
Snap Shot of Scenarios Tab from Winter SARA Report

## Slide 4: List of the units included in this analysis vulnerable to winter fuel limitation, North Central Zone resources most likely to have fuel limitation

## Slide 5: Fuel Limitation Forced Outage MWs and North Central Weather Zone Temperature

## Slide 6: Fuel Limitation Forced Outage MWs and North Central Weather Zone Temperature

## Slide 7: Jan 2018 Winter Cold Snap

## Slide 8: Jan 2018 Winter Cold Snap

## Slide 9: Forced outage MW and North Central Weather Zone Temperature, sorted based on temperature from low to high – 2014 to 2019

## Slide 10: Monthly comparison of the forced outage, temperature and load

## Slide 11: Monthly comparison of the forced outage, temperature and load

## Slide 12: The average forced outage for the temperature range from 25 to 30 degree were used for the “Typical Generation Outages During Extreme Peak Load” scenario
Forced Outage MWs and ERCOT Winter Daily Peak Load (GW)

## Slide 13: Calculation of the adder for typical generation outages during Extreme Peak Load scenario
The 917 MW represent the adder for the typical fuel limitation forced outage for the Winter SARA extreme peak load scenario
The average forced outages for the resources in the North Central Weather Zone region

## Slide 14: Calculation of the adder for extreme generation outages during Extreme Peak Load scenario
The 2,216 MW represent the adder for the extreme forced outage for the Winter SARA extreme peak load scenario
The average forced outages for the resources in the North Central Weather Zone region during Jan 2018 winter cold snap with high winter peak load
North central zone resources listed in Outage Scheduler with fuel limitation/lack of fuel availability Nature of Work were excluded for the scenarios that included typical and extreme generation outages to avoid double-counting