- Section 2:

RRGRR022 – Related to NPRR973, Add Definitions for Generator Step-Up and Main Power Transformer

This Resource Registration Glossary Revision Request (RRGRR) clarifies language by use of Nodal Protocol Revision Request (NPRR) 973-proposed defined terms Generation Step-Up (GSU) and Main Power Transformer (MPT).

Revised Subsections:  Protection; Transformer Data (as applicable) [effective upon system implementation of NPRR973]

RRGRR024 – Related to NPRR1003, Elimination of References to Resource Asset Registration Form

This Resource Registration Glossary Revision Request (RRGRR) aligns the Resource Registration Glossary with changes proposed in Nodal Protocol Revision Request (NPRR) 1003 by replacing all remaining references to the Resource Asset Registration Form (“RARF”) with more general language in anticipation of the elimination of the RARF.

Revised Subsections:  Reactive Capability; Protection; Line Data (as applicable); Breaker Switch Data (as applicable); Transformer Data (as applicable); Static Var Compensator Data (as applicable); Station; Miscellaneous

RRGRR026 – Related to NPRR1016, Clarify Requirements for Distribution Generation Resources (DGRs) and Distribution Energy Storage Resources (DESRs)

This Resource Registration Glossary Revision Request (RRGRR) adds a new data point to support implementation of an interim solution for representing DGRs and DESRs in the ERCOT Network Operations Model.

Revised Subsections:  GENERAL_SITE_ESIID_Information - General and Site Information