| RMGRR Number |  | RMGRR Title | Eliminate Section 7.13, IDR Meter Removal and Installation Process |
| --- | --- | --- | --- |
| Date Posted |  |  |  |
| Requested Resolution |  | Normal |  |
| Retail Market Guide Sections Requiring Revision |  | 7.13, Interval Data Recorder Meter Removal and Installation Process |  |
| Related Documents Requiring Revision/Related Revision Requests |  | NPRRXXX, Modify IDR Meter Requirement and Eliminate IDR Meter Requirement Report |  |
| Revision Description |  | Describe the basic function of the Revision Request. |  |
| Reason for Revision |  | X Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). X Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain) (please select all that apply) |  |
| Business Case |  | Retail Market Guide Section 7.13 was created prior to the implementation of Advanced Metering Systems (AMS) and as such was created to define the business rules/processes that were to be followed when transitioning an IDR Meter to an NIDR profile type. With the advent of AMS, customers seeking IDR Meter removals will now be transitioned to an AMS profile type which includes 15-minute interval data rather than an NIDR which only allows monthly meter reads. Furthermore, NPRR877, which was approved by the ERCOT BOD on 8/7/2018, clearly defines the process to be followed when transitioning IDR Meters to an AMS profile type. |  |

| Sponsor |  |
| --- | --- |
| Name |  |
| E-mail Address |  |
| Company |  |
| Phone Number |  |
| Cell Number |  |
| Market Segment |  |

| Market Rules Staff Contact |  |
| --- | --- |
| Name |  |
| E-Mail Address |  |
| Phone Number |  |

Proposed Guide Language Revision

(b)	If the request does not meet the Protocol requirements, the CR shall inform the Customer that the request cannot be honored, per paragraph (3) of Section 7.13.1.3, Transmission and/or Distribution Service Provider Processing.

(

TDSP = Transmission and/or Distribution Service Provider