## Summary
PEAK AVERAGE SOLAR CAPACITY PERCENTAGES, SUMMER PEAK SEASONS
Summer Peak Ave. Solar Capacity Percentages
Top Twenty Peak Hours for Each year |  |  | SOLARPEAKPCT Values *
Year | Average Solar Cap Percentage | MW Solar Capacity | 79.59%
2020 | 83.65% | 2442
2019 | 73.66% | 1637
2018 | 79.42% | 1255
* The methodology for calculating SOLARPEAKPCT values is outlined in ERCOT Protocol Section 3.2.6.2.2. See:http://www.ercot.com/content/wcm/current_guides/53528/03-090118_Nodal.docx

## S2020
HOUR ENDING | 2020-07-13 15:00 | 2020-07-13 16:00 | 2020-07-13 17:00 | 2020-07-13 18:00 | 2020-07-16 17:00 | 2020-08-12 16:00 | 2020-08-12 17:00 | 2020-08-12 18:00 | 2020-08-13 15:00 | 2020-08-13 16:00 | 2020-08-13 17:00 | 2020-08-13 18:00 | 2020-08-14 16:00 | 2020-08-14 17:00 | 2020-08-14 18:00 | 2020-08-15 18:00 | 2020-08-16 18:00 | 2020-08-28 15:00 | 2020-08-28 16:00 | 2020-08-28 17:00
TOTAL HSL (MW) | 2147.1474 | 2094.2282 | 1861.1767 | 1969.2959 | 2231.6681 | 2207.9945 | 2176.222 | 2071.1833 | 2250.655 | 2229.4252 | 2205.9662 | 2128.5303 | 2051.0365 | 1956.6885 | 1842.0466 | 1670.426 | 1304.3206 | 2186.7068 | 2153.5248 | 2115.56
TOTAL CAPACITY (MW) | 2442 | 2442 | 2442 | 2442 | 2442 | 2442 | 2442 | 2442 | 2442 | 2442 | 2442 | 2442 | 2442 | 2442 | 2442 | 2442 | 2442 | 2442 | 2442 | 2442
CAPACITY FACTOR | 87.93% | 85.76% | 76.22% | 80.64% | 91.39% | 90.42% | 89.12% | 84.82% | 92.16% | 91.3% | 90.33% | 87.16% | 83.99% | 80.13% | 75.43% | 68.4% | 53.41% | 89.55% | 88.19% | 86.63%
CAPACITY FACTOR AVG | 2020-07-13 15:00: 83.65%

## S2019
HOUR ENDING | 2019-08-07 17:00 | 2019-08-07 18:00 | 2019-08-09 16:00 | 2019-08-09 17:00 | 2019-08-12 15:00 | 2019-08-12 16:00 | 2019-08-12 17:00 | 2019-08-12 18:00 | 2019-08-12 19:00 | 2019-08-13 15:00 | 2019-08-13 16:00 | 2019-08-13 17:00 | 2019-08-13 18:00 | 2019-08-19 16:00 | 2019-08-19 17:00 | 2019-08-19 18:00 | 2019-08-26 16:00 | 2019-08-26 17:00 | 2019-08-26 18:00 | 2019-08-26 19:00
TOTAL HSL (MW) | 1181.1139 | 1139.5029 | 1364.8861 | 1302.3164 | 1363.602 | 1277.1883 | 1211.4917 | 1146.3818 | 1007.7062 | 1396.7481 | 1149.695 | 897.5447 | 924.9653 | 1393.3935 | 1370.3589 | 1311.7377 | 1251.5637 | 1229.4165 | 1247.5943 | 982.155
TOTAL CAPACITY (MW) | 1637 | 1637 | 1637 | 1637 | 1637 | 1637 | 1637 | 1637 | 1637 | 1637 | 1637 | 1637 | 1637 | 1637 | 1637 | 1637 | 1648 | 1648 | 1648 | 1648
CAPACITY FACTOR | 72.15% | 69.61% | 83.38% | 79.56% | 83.3% | 78.02% | 74.01% | 70.03% | 61.56% | 85.32% | 70.23% | 54.83% | 56.5% | 85.12% | 83.71% | 80.13% | 75.94% | 74.6% | 75.7% | 59.6%
CAPACITY FACTOR AVG | 2019-08-07 17:00: 73.66%

## S2018
HOUR ENDING | 2018-07-18 16:00 | 2018-07-18 17:00 | 2018-07-18 18:00 | 2018-07-18 19:00 | 2018-07-19 15:00 | 2018-07-19 16:00 | 2018-07-19 17:00 | 2018-07-19 18:00 | 2018-07-19 19:00 | 2018-07-20 16:00 | 2018-07-20 17:00 | 2018-07-20 18:00 | 2018-07-20 19:00 | 2018-07-22 17:00 | 2018-07-22 18:00 | 2018-07-23 15:00 | 2018-07-23 16:00 | 2018-07-23 17:00 | 2018-07-23 18:00 | 2018-07-23 19:00
TOTAL HSL (MW) | 1111.8978 | 1091.9782 | 1054.7692 | 924.7754 | 996.2114 | 1022.5175 | 992.016 | 933.4702 | 838.6268 | 1063.614 | 1044.4603 | 1018.8959 | 915.7052 | 1066.523 | 1038.3418 | 1081.3266 | 1063.8684 | 1001.9495 | 923.1167 | 751.0958
TOTAL CAPACITY (MW) | 1255 | 1255 | 1255 | 1255 | 1255 | 1255 | 1255 | 1255 | 1255 | 1255 | 1255 | 1255 | 1255 | 1255 | 1255 | 1255 | 1255 | 1255 | 1255 | 1255
CAPACITY FACTOR | 88.6% | 87.01% | 84.05% | 73.69% | 79.38% | 81.48% | 79.05% | 74.38% | 66.82% | 84.75% | 83.22% | 81.19% | 72.96% | 84.98% | 82.74% | 86.16% | 84.77% | 79.84% | 73.56% | 59.85%
CAPACITY FACTOR AVG | 2018-07-18 16:00: 79.42%