## Summary
PEAK AVERAGE WIND CAPACITY PERCENTAGES, SUMMER PEAK SEASONS
WINDPEAKPCT Values *
Summer Peak Ave. Wind Capacity Percentages and Total Unit Capacities | [6 empty] | Summer, Coastal | Summer, Panhandle | Summer, Other
Top Twenty Peak Hours for Each year | [6 empty] | 60.52% | 28.86% | 18.69%
CDR Wind Region | Coastal |  | Panhandle |  | Other
Year | Capacity Contribution Percentage | Capacity (MW) | Capacity Contribution Percentage | Capacity (MW) | Capacity Contribution Percentage | Capacity (MW) | * The methodology for calculating WINDPEAKPCT values is outlined in ERCOT Protocol Section 3.2.6.2.2. See: http://www.ercot.com/content/wcm/current_guides/53528/03-101819_Nodal.docx
2020 | 47.63% | 2999 | 25.67% | 4406 | 26.62% | 14887
2019 | 74.23% | 2530 | 34.13% | 4196 | 23.3% | 12413
2018 | 51.75% | 2329 | 25.59% | 4196 | 18.04% | 11722
2017 | 62.95% | 1852 | 24.51% | 4022 | 21.75% | 10264
2016 | 72.33% | 1555 | 48.44% | 2870 | 19.31% | 8791
2015 | 53.15% | 1390 | 17.28% | 1776 | 10.38% | 7345
2014 | 60.96% | 1389 | 21.17% | 207 | 18.69% | 6547
2013 | 76.06% | 990 | 10.93% | 207 | 12.6% | 6328
2012 | 52.26% | 784 | 10.13% | 207 | 7.702% | 5968
2011 | 63.43% | 784 | 12.54% | 207 | 12.14% | 5968

## S2020 Coastal
HOUR ENDING | 2020-07-13 15:00 | 2020-07-13 16:00 | 2020-07-13 17:00 | 2020-07-13 18:00 | 2020-07-16 17:00 | 2020-08-12 16:00 | 2020-08-12 17:00 | 2020-08-12 18:00 | 2020-08-13 15:00 | 2020-08-13 16:00 | 2020-08-13 17:00 | 2020-08-13 18:00 | 2020-08-14 16:00 | 2020-08-14 17:00 | 2020-08-14 18:00 | 2020-08-15 18:00 | 2020-08-16 18:00 | 2020-08-28 15:00 | 2020-08-28 16:00 | 2020-08-28 17:00
TOTAL HSL (MW) | 1092.4573 | 1312.626 | 1596.5456 | 1971.8587 | 2182.2085 | 1368.4115 | 1674.9216 | 1934.0787 | 754.4671 | 1067.5769 | 1361.4293 | 1517.474 | 890.4761 | 1325.2165 | 1638.3027 | 1388.8692 | 1135.1573 | 1158.1931 | 1384.8079 | 1812.2379
TOTAL CAPACITY (MW) | 2999 | 2999 | 2999 | 2999 | 2999 | 2999 | 2999 | 2999 | 2999 | 2999 | 2999 | 2999 | 2999 | 2999 | 2999 | 2999 | 2999 | 2999 | 2999 | 2999
CAPACITY FACTOR | 36.43% | 43.77% | 53.24% | 65.75% | 72.76% | 45.63% | 55.85% | 64.49% | 25.16% | 35.6% | 45.4% | 50.6% | 29.69% | 44.19% | 54.63% | 46.31% | 37.85% | 38.62% | 46.18% | 60.43%
CAPACITY FACTOR AVG | 2020-07-13 15:00: 47.63%

## S2020 Panhandle
HOUR ENDING | 2020-07-13 15:00 | 2020-07-13 16:00 | 2020-07-13 17:00 | 2020-07-13 18:00 | 2020-07-16 17:00 | 2020-08-12 16:00 | 2020-08-12 17:00 | 2020-08-12 18:00 | 2020-08-13 15:00 | 2020-08-13 16:00 | 2020-08-13 17:00 | 2020-08-13 18:00 | 2020-08-14 16:00 | 2020-08-14 17:00 | 2020-08-14 18:00 | 2020-08-15 18:00 | 2020-08-16 18:00 | 2020-08-28 15:00 | 2020-08-28 16:00 | 2020-08-28 17:00
TOTAL HSL (MW) | 1794.5497 | 1298.2347 | 956.0143 | 1042.9157 | 1108.4279 | 937.8492 | 932.2486 | 900.7206 | 762.6792 | 530.2888 | 460.8433 | 390.6104 | 615.7077 | 1474.862 | 2565.7206 | 1278.7738 | 2318.5219 | 1315.8308 | 1059.8311 | 877.2367
TOTAL CAPACITY (MW) | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406
CAPACITY FACTOR | 40.73% | 29.47% | 21.7% | 23.67% | 25.16% | 21.29% | 21.16% | 20.44% | 17.31% | 12.04% | 10.46% | 8.865% | 13.97% | 33.47% | 58.23% | 29.02% | 52.62% | 29.86% | 24.05% | 19.91%
CAPACITY FACTOR AVG | 2020-07-13 15:00: 25.67%

## S2020 Other
HOUR ENDING | 2020-07-13 15:00 | 2020-07-13 16:00 | 2020-07-13 17:00 | 2020-07-13 18:00 | 2020-07-16 17:00 | 2020-08-12 16:00 | 2020-08-12 17:00 | 2020-08-12 18:00 | 2020-08-13 15:00 | 2020-08-13 16:00 | 2020-08-13 17:00 | 2020-08-13 18:00 | 2020-08-14 16:00 | 2020-08-14 17:00 | 2020-08-14 18:00 | 2020-08-15 18:00 | 2020-08-16 18:00 | 2020-08-28 15:00 | 2020-08-28 16:00 | 2020-08-28 17:00
TOTAL HSL (MW) | 6732.3613 | 6263.1981 | 6091.8913 | 6224.3504 | 4491.7696 | 3963.65 | 4012.8585 | 4449.5735 | 4925.1229 | 4791.8611 | 4817.5981 | 4989.9793 | 1253.7039 | 1343.6579 | 1759.8277 | 3397.2581 | 2856.7666 | 2716.6365 | 2162.0868 | 2020.5819
TOTAL CAPACITY (MW) | 14887 | 14887 | 14887 | 14887 | 14887 | 14887 | 14887 | 14887 | 14887 | 14887 | 14887 | 14887 | 14887 | 14887 | 14887 | 14887 | 14887 | 14887 | 14887 | 14887
CAPACITY FACTOR | 45.22% | 42.07% | 40.92% | 41.81% | 30.17% | 26.62% | 26.96% | 29.89% | 33.08% | 32.19% | 32.36% | 33.52% | 8.421% | 9.026% | 11.82% | 22.82% | 19.19% | 18.25% | 14.52% | 13.57%
CAPACITY FACTOR AVG | 2020-07-13 15:00: 26.62%

## S2019 Coastal
HOUR ENDING | 2019-08-07 17:00 | 2019-08-07 18:00 | 2019-08-09 16:00 | 2019-08-09 17:00 | 2019-08-12 15:00 | 2019-08-12 16:00 | 2019-08-12 17:00 | 2019-08-12 18:00 | 2019-08-12 19:00 | 2019-08-13 15:00 | 2019-08-13 16:00 | 2019-08-13 17:00 | 2019-08-13 18:00 | 2019-08-19 16:00 | 2019-08-19 17:00 | 2019-08-19 18:00 | 2019-08-26 16:00 | 2019-08-26 17:00 | 2019-08-26 18:00 | 2019-08-26 19:00
TOTAL HSL (MW) | 1818.1571 | 1774.2158 | 2089.4734 | 2094.8025 | 1444.0678 | 1740.5728 | 2033.2979 | 2039.9065 | 2064.365 | 1279.9876 | 1529.5377 | 1811.6194 | 1929.4471 | 1855.1023 | 2046.6865 | 2143.1969 | 1720.7916 | 1909.3316 | 2081.6281 | 2156.5591
TOTAL CAPACITY (MW) | 2530 | 2530 | 2530 | 2530 | 2530 | 2530 | 2530 | 2530 | 2530 | 2530 | 2530 | 2530 | 2530 | 2530 | 2530 | 2530 | 2530 | 2530 | 2530 | 2530
CAPACITY FACTOR | 71.86% | 70.13% | 82.59% | 82.8% | 57.08% | 68.8% | 80.37% | 80.63% | 81.6% | 50.59% | 60.46% | 71.61% | 76.26% | 73.32% | 80.9% | 84.71% | 68.02% | 75.47% | 82.28% | 85.24%
CAPACITY FACTOR AVG | 2019-08-07 17:00: 74.23%

## S2019 Panhandle
HOUR ENDING | 2019-08-07 17:00 | 2019-08-07 18:00 | 2019-08-09 16:00 | 2019-08-09 17:00 | 2019-08-12 15:00 | 2019-08-12 16:00 | 2019-08-12 17:00 | 2019-08-12 18:00 | 2019-08-12 19:00 | 2019-08-13 15:00 | 2019-08-13 16:00 | 2019-08-13 17:00 | 2019-08-13 18:00 | 2019-08-19 16:00 | 2019-08-19 17:00 | 2019-08-19 18:00 | 2019-08-26 16:00 | 2019-08-26 17:00 | 2019-08-26 18:00 | 2019-08-26 19:00
TOTAL HSL (MW) | 2104.738 | 1868.1101 | 527.3328 | 1404.9229 | 780.5989 | 1173.7582 | 1397.2535 | 1279.1629 | 1039.2147 | 711.7325 | 641.7107 | 616.715 | 598.1934 | 2474.6665 | 2574.9562 | 2238.422 | 1614.7961 | 1708.8898 | 1744.0415 | 2144.8554
TOTAL CAPACITY (MW) | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196
CAPACITY FACTOR | 50.16% | 44.52% | 12.57% | 33.48% | 18.6% | 27.97% | 33.3% | 30.49% | 24.77% | 16.96% | 15.29% | 14.7% | 14.26% | 58.98% | 61.37% | 53.35% | 38.48% | 40.73% | 41.56% | 51.12%
CAPACITY FACTOR AVG | 2019-08-07 17:00: 34.13%

## S2019 Other
HOUR ENDING | 2019-08-07 17:00 | 2019-08-07 18:00 | 2019-08-09 16:00 | 2019-08-09 17:00 | 2019-08-12 15:00 | 2019-08-12 16:00 | 2019-08-12 17:00 | 2019-08-12 18:00 | 2019-08-12 19:00 | 2019-08-13 15:00 | 2019-08-13 16:00 | 2019-08-13 17:00 | 2019-08-13 18:00 | 2019-08-19 16:00 | 2019-08-19 17:00 | 2019-08-19 18:00 | 2019-08-26 16:00 | 2019-08-26 17:00 | 2019-08-26 18:00 | 2019-08-26 19:00
TOTAL HSL (MW) | 2017.5813 | 2512.8332 | 3389.4254 | 3708.8832 | 2271.6669 | 2421.9276 | 2705.9598 | 3211.2109 | 3826.4491 | 1390.2766 | 1550.9145 | 1937.2738 | 2763.6581 | 2463.9875 | 2727.8264 | 3201.8336 | 3800.4992 | 3667.4666 | 3806.354 | 4459.4384
TOTAL CAPACITY (MW) | 12413 | 12413 | 12413 | 12413 | 12413 | 12413 | 12413 | 12413 | 12413 | 12413 | 12413 | 12413 | 12413 | 12413 | 12413 | 12413 | 12413 | 12413 | 12413 | 12413
CAPACITY FACTOR | 16.25% | 20.24% | 27.31% | 29.88% | 18.3% | 19.51% | 21.8% | 25.87% | 30.83% | 11.2% | 12.49% | 15.61% | 22.26% | 19.85% | 21.98% | 25.79% | 30.62% | 29.55% | 30.66% | 35.93%
CAPACITY FACTOR AVG | 2019-08-07 17:00: 23.3%

## S2018 Coastal
HOUR ENDING | 2018-07-18 16:00 | 2018-07-18 17:00 | 2018-07-18 18:00 | 2018-07-18 19:00 | 2018-07-19 15:00 | 2018-07-19 16:00 | 2018-07-19 17:00 | 2018-07-19 18:00 | 2018-07-19 19:00 | 2018-07-20 16:00 | 2018-07-20 17:00 | 2018-07-20 18:00 | 2018-07-20 19:00 | 2018-07-22 17:00 | 2018-07-22 18:00 | 2018-07-23 15:00 | 2018-07-23 16:00 | 2018-07-23 17:00 | 2018-07-23 18:00 | 2018-07-23 19:00
TOTAL HSL (MW) | 1172.6338 | 1304.8207 | 1503.947 | 1687.9731 | 1070.4045 | 1415.9976 | 1593.6358 | 1582.7146 | 1617.7936 | 1219.7557 | 1364.531 | 1398.7537 | 1410.68 | 987.4825 | 1145.335 | 594.3703 | 503.895 | 687.0392 | 900.9226 | 943.9898
TOTAL CAPACITY (MW) | 2329 | 2329 | 2329 | 2329 | 2329 | 2329 | 2329 | 2329 | 2329 | 2329 | 2329 | 2329 | 2329 | 2329 | 2329 | 2329 | 2329 | 2329 | 2329 | 2329
CAPACITY FACTOR | 50.35% | 56.02% | 64.57% | 72.48% | 45.96% | 60.8% | 68.43% | 67.96% | 69.46% | 52.37% | 58.59% | 60.06% | 60.57% | 42.4% | 49.18% | 25.52% | 21.64% | 29.5% | 38.68% | 40.53%
CAPACITY FACTOR AVG | 2018-07-18 16:00: 51.75%

## S2018 Panhandle
HOUR ENDING | 2018-07-18 16:00 | 2018-07-18 17:00 | 2018-07-18 18:00 | 2018-07-18 19:00 | 2018-07-19 15:00 | 2018-07-19 16:00 | 2018-07-19 17:00 | 2018-07-19 18:00 | 2018-07-19 19:00 | 2018-07-20 16:00 | 2018-07-20 17:00 | 2018-07-20 18:00 | 2018-07-20 19:00 | 2018-07-22 17:00 | 2018-07-22 18:00 | 2018-07-23 15:00 | 2018-07-23 16:00 | 2018-07-23 17:00 | 2018-07-23 18:00 | 2018-07-23 19:00
TOTAL HSL (MW) | 407.7045 | 381.7208 | 414.4483 | 551.6084 | 1057.3751 | 896.8595 | 811.1399 | 832.6532 | 855.5633 | 1621.1471 | 1428.8781 | 1494.6499 | 1673.7588 | 643.9484 | 577.8055 | 1720.1432 | 1738.9327 | 1682.3485 | 1483.0939 | 1197.5409
TOTAL CAPACITY (MW) | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196
CAPACITY FACTOR | 9.717% | 9.097% | 9.877% | 13.15% | 25.2% | 21.37% | 19.33% | 19.84% | 20.39% | 38.64% | 34.05% | 35.62% | 39.89% | 15.35% | 13.77% | 40.99% | 41.44% | 40.09% | 35.35% | 28.54%
CAPACITY FACTOR AVG | 2018-07-18 16:00: 25.59%

## S2018 Other
HOUR ENDING | 2018-07-18 16:00 | 2018-07-18 17:00 | 2018-07-18 18:00 | 2018-07-18 19:00 | 2018-07-19 15:00 | 2018-07-19 16:00 | 2018-07-19 17:00 | 2018-07-19 18:00 | 2018-07-19 19:00 | 2018-07-20 16:00 | 2018-07-20 17:00 | 2018-07-20 18:00 | 2018-07-20 19:00 | 2018-07-22 17:00 | 2018-07-22 18:00 | 2018-07-23 15:00 | 2018-07-23 16:00 | 2018-07-23 17:00 | 2018-07-23 18:00 | 2018-07-23 19:00
TOTAL HSL (MW) | 956.0058 | 935.0525 | 1074.1384 | 1327.7642 | 1430.3267 | 1343.422 | 1335.9126 | 1539.4133 | 1789.7552 | 1853.9726 | 2096.0081 | 2550.6048 | 2911.7642 | 977.4765 | 1028.1521 | 2533.9363 | 3108.9281 | 3846.8235 | 4693.3249 | 4966.2518
TOTAL CAPACITY (MW) | 11722 | 11722 | 11722 | 11722 | 11722 | 11722 | 11722 | 11722 | 11722 | 11722 | 11722 | 11722 | 11722 | 11722 | 11722 | 11722 | 11722 | 11722 | 11722 | 11722
CAPACITY FACTOR | 8.156% | 7.977% | 9.163% | 11.33% | 12.2% | 11.46% | 11.4% | 13.13% | 15.27% | 15.82% | 17.88% | 21.76% | 24.84% | 8.339% | 8.771% | 21.62% | 26.52% | 32.82% | 40.04% | 42.37%
CAPACITY FACTOR AVG | 2018-07-18 16:00: 18.04%

## S2017 Coastal
HOUR ENDING | 2017-07-20 15:00 | 2017-07-20 16:00 | 2017-07-20 17:00 | 2017-07-20 18:00 | 2017-07-21 16:00 | 2017-07-21 17:00 | 2017-07-21 18:00 | 2017-07-25 17:00 | 2017-07-26 17:00 | 2017-07-27 16:00 | 2017-07-27 17:00 | 2017-07-27 18:00 | 2017-07-28 15:00 | 2017-07-28 16:00 | 2017-07-28 17:00 | 2017-07-28 18:00 | 2017-07-28 19:00 | 2017-07-29 17:00 | 2017-07-29 18:00 | 2017-08-16 17:00
TOTAL HSL (MW) | 676.9203 | 1071.9763 | 1246.4351 | 1275.6651 | 1241.6858 | 1313.4146 | 1339.5048 | 1556.7476 | 435.3516 | 1193.5868 | 1191.5025 | 1153.0876 | 739.081 | 971.9795 | 1220.0224 | 1360.7922 | 1374.8978 | 1102.5305 | 1222.0763 | 1629.3066
TOTAL CAPACITY (MW) | 1852 | 1852 | 1852 | 1852 | 1852 | 1852 | 1852 | 1852 | 1852 | 1852 | 1852 | 1852 | 1852 | 1852 | 1852 | 1852 | 1852 | 1852 | 1852 | 1852
CAPACITY FACTOR | 36.55% | 57.88% | 67.3% | 68.88% | 67.05% | 70.92% | 72.33% | 84.06% | 23.51% | 64.45% | 64.34% | 62.26% | 39.91% | 52.48% | 65.88% | 73.48% | 74.24% | 59.53% | 65.99% | 87.98%
CAPACITY FACTOR AVG | 2017-07-20 15:00: 62.95%

## S2017 Panhandle
HOUR ENDING | 2017-07-20 15:00 | 2017-07-20 16:00 | 2017-07-20 17:00 | 2017-07-20 18:00 | 2017-07-21 16:00 | 2017-07-21 17:00 | 2017-07-21 18:00 | 2017-07-25 17:00 | 2017-07-26 17:00 | 2017-07-27 16:00 | 2017-07-27 17:00 | 2017-07-27 18:00 | 2017-07-28 15:00 | 2017-07-28 16:00 | 2017-07-28 17:00 | 2017-07-28 18:00 | 2017-07-28 19:00 | 2017-07-29 17:00 | 2017-07-29 18:00 | 2017-08-16 17:00
TOTAL HSL (MW) | 1732.6906 | 1609.6222 | 1357.4777 | 1160.3768 | 1620.2364 | 1585.0988 | 1582.7281 | 2185.79 | 1392.0728 | 107.599 | 296.5316 | 462.8245 | 194.6595 | 218.3271 | 270.9931 | 597.6471 | 694.6185 | 1200.9731 | 1268.5307 | 176.6181
TOTAL CAPACITY (MW) | 4022 | 4022 | 4022 | 4022 | 4022 | 4022 | 4022 | 4022 | 4022 | 4022 | 4022 | 4022 | 4022 | 4022 | 4022 | 4022 | 4022 | 4022 | 4022 | 4022
CAPACITY FACTOR | 43.08% | 40.02% | 33.75% | 28.85% | 40.28% | 39.41% | 39.35% | 54.35% | 34.61% | 2.675% | 7.373% | 11.51% | 4.84% | 5.428% | 6.738% | 14.86% | 17.27% | 29.86% | 31.54% | 4.391%
CAPACITY FACTOR AVG | 2017-07-20 15:00: 24.51%

## S2017 Other
HOUR ENDING | 2017-07-20 15:00 | 2017-07-20 16:00 | 2017-07-20 17:00 | 2017-07-20 18:00 | 2017-07-21 16:00 | 2017-07-21 17:00 | 2017-07-21 18:00 | 2017-07-25 17:00 | 2017-07-26 17:00 | 2017-07-27 16:00 | 2017-07-27 17:00 | 2017-07-27 18:00 | 2017-07-28 15:00 | 2017-07-28 16:00 | 2017-07-28 17:00 | 2017-07-28 18:00 | 2017-07-28 19:00 | 2017-07-29 17:00 | 2017-07-29 18:00 | 2017-08-16 17:00
TOTAL HSL (MW) | 2126.9984 | 2062.5163 | 2111.3993 | 2371.2386 | 3334.0703 | 3615.9011 | 3841.8997 | 3532.5515 | 3720.4309 | 1606.6327 | 1887.2353 | 2348.6041 | 1266.2769 | 1198.5081 | 1167.1549 | 1291.7514 | 1509.2915 | 1528.2879 | 1807.5769 | 2326.2237
TOTAL CAPACITY (MW) | 10264 | 10264 | 10264 | 10264 | 10264 | 10264 | 10264 | 10264 | 10264 | 10264 | 10264 | 10264 | 10264 | 10264 | 10264 | 10264 | 10264 | 10264 | 10264 | 10264
CAPACITY FACTOR | 20.72% | 20.09% | 20.57% | 23.1% | 32.48% | 35.23% | 37.43% | 34.42% | 36.25% | 15.65% | 18.39% | 22.88% | 12.34% | 11.68% | 11.37% | 12.59% | 14.7% | 14.89% | 17.61% | 22.66%
CAPACITY FACTOR AVG | 2017-07-20 15:00: 21.75%

## S2016 Coastal
HOUR ENDING | 2016-08-08 15:00 | 2016-08-08 16:00 | 2016-08-08 17:00 | 2016-08-08 18:00 | 2016-08-09 16:00 | 2016-08-09 17:00 | 2016-08-09 18:00 | 2016-08-10 15:00 | 2016-08-10 16:00 | 2016-08-10 17:00 | 2016-08-10 18:00 | 2016-08-10 19:00 | 2016-08-11 15:00 | 2016-08-11 16:00 | 2016-08-11 17:00 | 2016-08-11 18:00 | 2016-08-11 19:00 | 2016-08-12 15:00 | 2016-08-12 16:00 | 2016-08-12 17:00
TOTAL HSL (MW) | 602.7089 | 933.8481 | 1101.8659 | 1206.3262 | 820.6687 | 1073.8324 | 1275.281 | 1094.0755 | 1259.4911 | 1298.5241 | 1255.3281 | 1207.4378 | 959.8044 | 1160.1208 | 1339.2851 | 1376.2023 | 1376.3275 | 853.7299 | 1058.9388 | 1241.2337
TOTAL CAPACITY (MW) | 1555 | 1555 | 1555 | 1555 | 1555 | 1555 | 1555 | 1555 | 1555 | 1555 | 1555 | 1555 | 1555 | 1555 | 1555 | 1555 | 1555 | 1555 | 1555 | 1555
CAPACITY FACTOR | 38.76% | 60.05% | 70.86% | 77.58% | 52.78% | 69.06% | 82.01% | 70.36% | 81% | 83.51% | 80.73% | 77.65% | 61.72% | 74.61% | 86.13% | 88.5% | 88.51% | 54.9% | 68.1% | 79.82%
CAPACITY FACTOR AVG | 2016-08-08 15:00: 72.33%

## S2016 Panhandle
HOUR ENDING | 2016-08-08 15:00 | 2016-08-08 16:00 | 2016-08-08 17:00 | 2016-08-08 18:00 | 2016-08-09 16:00 | 2016-08-09 17:00 | 2016-08-09 18:00 | 2016-08-10 15:00 | 2016-08-10 16:00 | 2016-08-10 17:00 | 2016-08-10 18:00 | 2016-08-10 19:00 | 2016-08-11 15:00 | 2016-08-11 16:00 | 2016-08-11 17:00 | 2016-08-11 18:00 | 2016-08-11 19:00 | 2016-08-12 15:00 | 2016-08-12 16:00 | 2016-08-12 17:00
TOTAL HSL (MW) | 1426.6951 | 1534.3244 | 1472.4584 | 2078.8741 | 862.0032 | 732.8527 | 953.6064 | 1398.8751 | 1261.9743 | 1386.9469 | 1676.5241 | 1920.737 | 1032.0717 | 1129.4703 | 1270.5932 | 1457.4517 | 1413.374 | 1698.8366 | 1598.3412 | 1497.2787
TOTAL CAPACITY (MW) | 2870 | 2870 | 2870 | 2870 | 2870 | 2870 | 2870 | 2870 | 2870 | 2870 | 2870 | 2870 | 2870 | 2870 | 2870 | 2870 | 2870 | 2870 | 2870 | 2870
CAPACITY FACTOR | 49.71% | 53.46% | 51.31% | 72.43% | 30.03% | 25.53% | 33.23% | 48.74% | 43.97% | 48.33% | 58.42% | 66.92% | 35.96% | 39.35% | 44.27% | 50.78% | 49.25% | 59.19% | 55.69% | 52.17%
CAPACITY FACTOR AVG | 2016-08-08 15:00: 48.44%

## S2016 Other
HOUR ENDING | 2016-08-08 15:00 | 2016-08-08 16:00 | 2016-08-08 17:00 | 2016-08-08 18:00 | 2016-08-09 16:00 | 2016-08-09 17:00 | 2016-08-09 18:00 | 2016-08-10 15:00 | 2016-08-10 16:00 | 2016-08-10 17:00 | 2016-08-10 18:00 | 2016-08-10 19:00 | 2016-08-11 15:00 | 2016-08-11 16:00 | 2016-08-11 17:00 | 2016-08-11 18:00 | 2016-08-11 19:00 | 2016-08-12 15:00 | 2016-08-12 16:00 | 2016-08-12 17:00
TOTAL HSL (MW) | 1274.0633 | 1498.3609 | 1782.0762 | 1804.4206 | 1815.756 | 2117.293 | 2430.4771 | 1303.304 | 2011.2647 | 1978.0418 | 1519.2141 | 1561.2102 | 814.8782 | 1021.8715 | 1163.9897 | 1646.9542 | 2332.0757 | 1874.0166 | 1962.2573 | 2032.1247
TOTAL CAPACITY (MW) | 8791 | 8791 | 8791 | 8791 | 8791 | 8791 | 8791 | 8791 | 8791 | 8791 | 8791 | 8791 | 8791 | 8791 | 8791 | 8791 | 8791 | 8791 | 8791 | 8791
CAPACITY FACTOR | 14.49% | 17.04% | 20.27% | 20.53% | 20.65% | 24.08% | 27.65% | 14.83% | 22.88% | 22.5% | 17.28% | 17.76% | 9.269% | 11.62% | 13.24% | 18.73% | 26.53% | 21.32% | 22.32% | 23.12%
CAPACITY FACTOR AVG | 2016-08-08 15:00: 19.31%

## S2015 Coastal
HOUR ENDING | 2015-08-05 16:00 | 2015-08-05 17:00 | 2015-08-05 18:00 | 2015-08-06 16:00 | 2015-08-06 17:00 | 2015-08-06 18:00 | 2015-08-07 16:00 | 2015-08-07 17:00 | 2015-08-07 18:00 | 2015-08-10 15:00 | 2015-08-10 16:00 | 2015-08-10 17:00 | 2015-08-10 18:00 | 2015-08-10 19:00 | 2015-08-11 15:00 | 2015-08-11 16:00 | 2015-08-11 17:00 | 2015-08-11 18:00 | 2015-08-12 16:00 | 2015-08-12 17:00
TOTAL HSL (MW) | 1000.3636 | 1106.9682 | 1191.8638 | 1076.2077 | 1171.2491 | 1175.8242 | 1064.2577 | 1138.7446 | 1176.9672 | 392.39 | 548.1568 | 630.6881 | 594.2407 | 576.1025 | 234.2476 | 298.6134 | 363.6885 | 478.0866 | 227.5934 | 328.1318
TOTAL CAPACITY (MW) | 1390 | 1390 | 1390 | 1390 | 1390 | 1390 | 1390 | 1390 | 1390 | 1390 | 1390 | 1390 | 1390 | 1390 | 1390 | 1390 | 1390 | 1390 | 1390 | 1390
CAPACITY FACTOR | 71.97% | 79.64% | 85.75% | 77.43% | 84.26% | 84.59% | 76.57% | 81.92% | 84.67% | 28.23% | 39.44% | 45.37% | 42.75% | 41.45% | 16.85% | 21.48% | 26.16% | 34.39% | 16.37% | 23.61%
CAPACITY FACTOR AVG | 2015-08-05 16:00: 53.15%

## S2015 Panhandle
HOUR ENDING | 2015-08-05 16:00 | 2015-08-05 17:00 | 2015-08-05 18:00 | 2015-08-06 16:00 | 2015-08-06 17:00 | 2015-08-06 18:00 | 2015-08-07 16:00 | 2015-08-07 17:00 | 2015-08-07 18:00 | 2015-08-10 15:00 | 2015-08-10 16:00 | 2015-08-10 17:00 | 2015-08-10 18:00 | 2015-08-10 19:00 | 2015-08-11 15:00 | 2015-08-11 16:00 | 2015-08-11 17:00 | 2015-08-11 18:00 | 2015-08-12 16:00 | 2015-08-12 17:00
TOTAL HSL (MW) | 83.1976 | 65.2757 | 51.4001 | 350.4521 | 288.5093 | 308.9597 | 554.7497 | 641.1749 | 830.7837 | 430.3774 | 490.6404 | 427.686 | 345.059 | 272.1423 | 150.7178 | 132.1723 | 152.461 | 170.667 | 187.3845 | 205.23
TOTAL CAPACITY (MW) | 1776 | 1776 | 1776 | 1776 | 1776 | 1776 | 1776 | 1776 | 1776 | 1776 | 1776 | 1776 | 1776 | 1776 | 1776 | 1776 | 1776 | 1776 | 1776 | 1776
CAPACITY FACTOR | 4.685% | 3.675% | 2.894% | 19.73% | 16.24% | 17.4% | 31.24% | 36.1% | 46.78% | 24.23% | 27.63% | 24.08% | 19.43% | 15.32% | 8.486% | 7.442% | 8.585% | 9.61% | 10.55% | 11.56%
CAPACITY FACTOR AVG | 2015-08-05 16:00: 17.28%

## S2015 Other
HOUR ENDING | 2015-08-05 16:00 | 2015-08-05 17:00 | 2015-08-05 18:00 | 2015-08-06 16:00 | 2015-08-06 17:00 | 2015-08-06 18:00 | 2015-08-07 16:00 | 2015-08-07 17:00 | 2015-08-07 18:00 | 2015-08-10 15:00 | 2015-08-10 16:00 | 2015-08-10 17:00 | 2015-08-10 18:00 | 2015-08-10 19:00 | 2015-08-11 15:00 | 2015-08-11 16:00 | 2015-08-11 17:00 | 2015-08-11 18:00 | 2015-08-12 16:00 | 2015-08-12 17:00
TOTAL HSL (MW) | 599.3017 | 534.6892 | 614.4275 | 1037.5944 | 974.7309 | 924.6735 | 1337.0307 | 1508.9007 | 1706.0122 | 255.1144 | 474.6087 | 607.2423 | 797.6601 | 1057.1589 | 266.5601 | 325.6487 | 446.029 | 526.6315 | 489.644 | 768.3387
TOTAL CAPACITY (MW) | 7345 | 7345 | 7345 | 7345 | 7345 | 7345 | 7345 | 7345 | 7345 | 7345 | 7345 | 7345 | 7345 | 7345 | 7345 | 7345 | 7345 | 7345 | 7345 | 7345
CAPACITY FACTOR | 8.159% | 7.28% | 8.365% | 14.13% | 13.27% | 12.59% | 18.2% | 20.54% | 23.23% | 3.473% | 6.462% | 8.267% | 10.86% | 14.39% | 3.629% | 4.434% | 6.073% | 7.17% | 6.666% | 10.46%
CAPACITY FACTOR AVG | 2015-08-05 16:00: 10.38%

## S2014 Coastal
HOUR ENDING | 2014-08-07 17:00 | 2014-08-08 15:00 | 2014-08-08 16:00 | 2014-08-08 17:00 | 2014-08-08 18:00 | 2014-08-15 17:00 | 2014-08-21 16:00 | 2014-08-21 17:00 | 2014-08-21 18:00 | 2014-08-22 16:00 | 2014-08-22 17:00 | 2014-08-22 18:00 | 2014-08-25 15:00 | 2014-08-25 16:00 | 2014-08-25 17:00 | 2014-08-25 18:00 | 2014-08-25 19:00 | 2014-08-26 16:00 | 2014-08-26 17:00 | 2014-09-10 17:00
TOTAL HSL (MW) | 1169.7451 | 837.3696 | 983.5719 | 1098.8381 | 751.4693 | 613.4364 | 1001.9534 | 1070.7095 | 1222.3034 | 1032.4964 | 1101.9408 | 1150.5058 | 401.9588 | 529.9663 | 602.0174 | 664.6806 | 634.8325 | 497.39 | 665.4697 | 905.0323
TOTAL CAPACITY (MW) | 1389 | 1389 | 1389 | 1389 | 1389 | 1389 | 1389 | 1389 | 1389 | 1389 | 1389 | 1389 | 1389 | 1389 | 1389 | 1389 | 1389 | 1389 | 1389 | 1389
CAPACITY FACTOR | 84.21% | 60.29% | 70.81% | 79.11% | 54.1% | 44.16% | 72.13% | 77.08% | 88% | 74.33% | 79.33% | 82.83% | 28.94% | 38.15% | 43.34% | 47.85% | 45.7% | 35.81% | 47.91% | 65.16%
CAPACITY FACTOR AVG | 2014-08-07 17:00: 60.96%

## S2014 Panhandle
HOUR ENDING | 2014-08-07 17:00 | 2014-08-08 15:00 | 2014-08-08 16:00 | 2014-08-08 17:00 | 2014-08-08 18:00 | 2014-08-15 17:00 | 2014-08-21 16:00 | 2014-08-21 17:00 | 2014-08-21 18:00 | 2014-08-22 16:00 | 2014-08-22 17:00 | 2014-08-22 18:00 | 2014-08-25 15:00 | 2014-08-25 16:00 | 2014-08-25 17:00 | 2014-08-25 18:00 | 2014-08-25 19:00 | 2014-08-26 16:00 | 2014-08-26 17:00 | 2014-09-10 17:00
TOTAL HSL (MW) | 12.4478 | 3.7318 | 5.2058 | 30.8453 | 59.1028 | 60.3678 | 67.8251 | 63.7174 | 71.5143 | 58.7657 | 67.2482 | 67.3358 | 55.7457 | 40.0532 | 34.5596 | 33.1852 | 22.0227 | 13.6277 | 15.7288 | 93.5102
TOTAL CAPACITY (MW) | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207
CAPACITY FACTOR | 6.013% | 1.803% | 2.515% | 14.9% | 28.55% | 29.16% | 32.77% | 30.78% | 34.55% | 28.39% | 32.49% | 32.53% | 26.93% | 19.35% | 16.7% | 16.03% | 10.64% | 6.583% | 7.598% | 45.17%
CAPACITY FACTOR AVG | 2014-08-07 17:00: 21.17%

## S2014 Other
HOUR ENDING | 2014-08-07 17:00 | 2014-08-08 15:00 | 2014-08-08 16:00 | 2014-08-08 17:00 | 2014-08-08 18:00 | 2014-08-15 17:00 | 2014-08-21 16:00 | 2014-08-21 17:00 | 2014-08-21 18:00 | 2014-08-22 16:00 | 2014-08-22 17:00 | 2014-08-22 18:00 | 2014-08-25 15:00 | 2014-08-25 16:00 | 2014-08-25 17:00 | 2014-08-25 18:00 | 2014-08-25 19:00 | 2014-08-26 16:00 | 2014-08-26 17:00 | 2014-09-10 17:00
TOTAL HSL (MW) | 876.0844 | 778.8444 | 1049.7414 | 1043.8825 | 1219.7721 | 607.0046 | 2191.9157 | 2231.5866 | 2510.7917 | 2307.9352 | 2414.75 | 2755.2966 | 299.7645 | 349.2416 | 520.8069 | 657.3562 | 933.121 | 298.2515 | 636.0386 | 790.4343
TOTAL CAPACITY (MW) | 6547 | 6547 | 6547 | 6547 | 6547 | 6547 | 6547 | 6547 | 6547 | 6547 | 6547 | 6547 | 6547 | 6547 | 6547 | 6547 | 6547 | 6547 | 6547 | 6545
CAPACITY FACTOR | 13.38% | 11.9% | 16.03% | 15.94% | 18.63% | 9.271% | 33.48% | 34.09% | 38.35% | 35.25% | 36.88% | 42.08% | 4.579% | 5.334% | 7.955% | 10.04% | 14.25% | 4.556% | 9.715% | 12.08%
CAPACITY FACTOR AVG | 2014-08-07 17:00: 18.69%

## S2013 Coastal
HOUR ENDING | 2013-07-31 17:00 | 2013-08-01 16:00 | 2013-08-01 17:00 | 2013-08-01 18:00 | 2013-08-05 16:00 | 2013-08-05 17:00 | 2013-08-05 18:00 | 2013-08-06 16:00 | 2013-08-06 17:00 | 2013-08-06 18:00 | 2013-08-07 15:00 | 2013-08-07 16:00 | 2013-08-07 17:00 | 2013-08-07 18:00 | 2013-08-07 19:00 | 2013-08-08 16:00 | 2013-08-08 17:00 | 2013-08-08 18:00 | 2013-08-09 17:00 | 2013-08-30 17:00
TOTAL HSL (MW) | 560.125 | 379.9583 | 467.7 | 530.6333 | 902.4 | 917.5167 | 929.5917 | 910.1833 | 925.6083 | 941.5833 | 774.7167 | 836.9917 | 886.0083 | 926.5917 | 925.4917 | 720.0167 | 855.0083 | 941.3417 | 436.1417 | 292.925
TOTAL CAPACITY (MW) | 990 | 990 | 990 | 990 | 990 | 990 | 990 | 990 | 990 | 990 | 990 | 990 | 990 | 990 | 990 | 990 | 990 | 990 | 990 | 990
CAPACITY FACTOR | 56.58% | 38.38% | 47.24% | 53.6% | 91.15% | 92.68% | 93.9% | 91.94% | 93.5% | 95.11% | 78.25% | 84.54% | 89.5% | 93.6% | 93.48% | 72.73% | 86.36% | 95.09% | 44.05% | 29.59%
CAPACITY FACTOR AVG | 2013-07-31 17:00: 76.06%

## S2013 Panhandle
HOUR ENDING | 2013-07-31 17:00 | 2013-08-01 16:00 | 2013-08-01 17:00 | 2013-08-01 18:00 | 2013-08-05 16:00 | 2013-08-05 17:00 | 2013-08-05 18:00 | 2013-08-06 16:00 | 2013-08-06 17:00 | 2013-08-06 18:00 | 2013-08-07 15:00 | 2013-08-07 16:00 | 2013-08-07 17:00 | 2013-08-07 18:00 | 2013-08-07 19:00 | 2013-08-08 16:00 | 2013-08-08 17:00 | 2013-08-08 18:00 | 2013-08-09 17:00 | 2013-08-30 17:00
TOTAL HSL (MW) | 14.6 | 10.8667 | 15.0667 | 10.5917 | 55.6 | 47.8083 | 54.05 | 19.425 | 17.8 | 16.225 | 20.3583 | 13.3333 | 17.0333 | 19.9917 | 13.025 | 13.075 | 11.05 | 48.525 | 25.9667 | 7.9667
TOTAL CAPACITY (MW) | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207
CAPACITY FACTOR | 7.053% | 5.25% | 7.279% | 5.117% | 26.86% | 23.1% | 26.11% | 9.384% | 8.599% | 7.838% | 9.835% | 6.441% | 8.229% | 9.658% | 6.292% | 6.316% | 5.338% | 23.44% | 12.54% | 3.849%
CAPACITY FACTOR AVG | 2013-07-31 17:00: 10.93%

## S2013 Other
HOUR ENDING | 2013-07-31 17:00 | 2013-08-01 16:00 | 2013-08-01 17:00 | 2013-08-01 18:00 | 2013-08-05 16:00 | 2013-08-05 17:00 | 2013-08-05 18:00 | 2013-08-06 16:00 | 2013-08-06 17:00 | 2013-08-06 18:00 | 2013-08-07 15:00 | 2013-08-07 16:00 | 2013-08-07 17:00 | 2013-08-07 18:00 | 2013-08-07 19:00 | 2013-08-08 16:00 | 2013-08-08 17:00 | 2013-08-08 18:00 | 2013-08-09 17:00 | 2013-08-30 17:00
TOTAL HSL (MW) | 228.6917 | 161.6667 | 331.975 | 505.7083 | 1288.825 | 1228.2667 | 1213.2917 | 744.95 | 883.0417 | 981.05 | 361.2333 | 547.1083 | 624.4917 | 952.0167 | 1475.0667 | 922.025 | 1510.175 | 1521.1083 | 286.2583 | 179.5417
TOTAL CAPACITY (MW) | 6328 | 6328 | 6328 | 6328 | 6328 | 6328 | 6328 | 6328 | 6328 | 6328 | 6328 | 6328 | 6328 | 6328 | 6328 | 6328 | 6328 | 6328 | 6328 | 6328
CAPACITY FACTOR | 3.614% | 2.555% | 5.246% | 7.992% | 20.37% | 19.41% | 19.17% | 11.77% | 13.95% | 15.5% | 5.708% | 8.646% | 9.869% | 15.04% | 23.31% | 14.57% | 23.86% | 24.04% | 4.524% | 2.837%
CAPACITY FACTOR AVG | 2013-07-31 17:00: 12.6%

## S2012 Coastal
HOUR ENDING | 2012-06-26 15:00 | 2012-06-26 16:00 | 2012-06-26 17:00 | 2012-06-26 18:00 | 2012-06-27 16:00 | 2012-06-27 17:00 | 2012-06-27 18:00 | 2012-07-31 16:00 | 2012-07-31 17:00 | 2012-07-31 18:00 | 2012-08-01 16:00 | 2012-08-01 17:00 | 2012-08-01 18:00 | 2012-08-02 16:00 | 2012-08-02 17:00 | 2012-08-02 18:00 | 2012-08-09 16:00 | 2012-08-09 17:00 | 2012-08-09 18:00 | 2012-08-14 17:00
TOTAL HSL (MW) | 68.4083 | 116.0667 | 131.6917 | 163.7917 | 214.6083 | 265.7917 | 302.6833 | 501.15 | 531.8167 | 565.2333 | 493.0417 | 516.4833 | 588.925 | 653.1333 | 663.7583 | 669.425 | 433.9417 | 379.7667 | 317.525 | 617.6167
TOTAL CAPACITY (MW) | 784 | 784 | 784 | 784 | 784 | 784 | 784 | 784 | 784 | 784 | 784 | 784 | 784 | 784 | 784 | 784 | 784 | 784 | 784 | 784
CAPACITY FACTOR | 8.726% | 14.8% | 16.8% | 20.89% | 27.37% | 33.9% | 38.61% | 63.92% | 67.83% | 72.1% | 62.89% | 65.88% | 75.12% | 83.31% | 84.66% | 85.39% | 55.35% | 48.44% | 40.5% | 78.78%
CAPACITY FACTOR AVG | 2012-06-26 15:00: 52.26%

## S2012 Panhandle
HOUR ENDING | 2012-06-26 15:00 | 2012-06-26 16:00 | 2012-06-26 17:00 | 2012-06-26 18:00 | 2012-06-27 16:00 | 2012-06-27 17:00 | 2012-06-27 18:00 | 2012-07-31 16:00 | 2012-07-31 17:00 | 2012-07-31 18:00 | 2012-08-01 16:00 | 2012-08-01 17:00 | 2012-08-01 18:00 | 2012-08-02 16:00 | 2012-08-02 17:00 | 2012-08-02 18:00 | 2012-08-09 16:00 | 2012-08-09 17:00 | 2012-08-09 18:00 | 2012-08-14 17:00
TOTAL HSL (MW) | 2.3833 | 3.7833 | 6.175 | 10.4417 | 12.8833 | 26.325 | 38.2583 | 5.35 | 4.6167 | 5.6917 | 13.975 | 14.0917 | 15.2417 | 32.75 | 32.5 | 29.9 | 10.8 | 22.175 | 20.1167 | 112.1
TOTAL CAPACITY (MW) | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207
CAPACITY FACTOR | 1.151% | 1.828% | 2.983% | 5.044% | 6.224% | 12.72% | 18.48% | 2.585% | 2.23% | 2.75% | 6.751% | 6.808% | 7.363% | 15.82% | 15.7% | 14.44% | 5.217% | 10.71% | 9.718% | 54.15%
CAPACITY FACTOR AVG | 2012-06-26 15:00: 10.13%

## S2012 Other
HOUR ENDING | 2012-06-26 15:00 | 2012-06-26 16:00 | 2012-06-26 17:00 | 2012-06-26 18:00 | 2012-06-27 16:00 | 2012-06-27 17:00 | 2012-06-27 18:00 | 2012-07-31 16:00 | 2012-07-31 17:00 | 2012-07-31 18:00 | 2012-08-01 16:00 | 2012-08-01 17:00 | 2012-08-01 18:00 | 2012-08-02 16:00 | 2012-08-02 17:00 | 2012-08-02 18:00 | 2012-08-09 16:00 | 2012-08-09 17:00 | 2012-08-09 18:00 | 2012-08-14 17:00
TOTAL HSL (MW) | 52.2417 | 66.3333 | 83.5917 | 116.7667 | 297.6417 | 417.1083 | 628.6667 | 125.25 | 128.5833 | 141.3667 | 292.4667 | 352.4833 | 415.4 | 979.8833 | 867.9083 | 815.525 | 278.875 | 481.0833 | 693.675 | 1958.675
TOTAL CAPACITY (MW) | 5968 | 5968 | 5968 | 5968 | 5968 | 5968 | 5968 | 5968 | 5968 | 5968 | 5968 | 5968 | 5968 | 5968 | 5968 | 5968 | 5968 | 5968 | 5968 | 5968
CAPACITY FACTOR | 0.8754% | 1.111% | 1.401% | 1.957% | 4.987% | 6.989% | 10.53% | 2.099% | 2.155% | 2.369% | 4.901% | 5.906% | 6.96% | 16.42% | 14.54% | 13.66% | 4.673% | 8.061% | 11.62% | 32.82%
CAPACITY FACTOR AVG | 2012-06-26 15:00: 7.702%

## S2011 Coastal
HOUR ENDING | 2011-08-01 17:00 | 2011-08-02 16:00 | 2011-08-02 17:00 | 2011-08-02 18:00 | 2011-08-03 16:00 | 2011-08-03 17:00 | 2011-08-03 18:00 | 2011-08-04 17:00 | 2011-08-04 18:00 | 2011-08-08 17:00 | 2011-08-09 16:00 | 2011-08-09 17:00 | 2011-08-09 18:00 | 2011-08-17 17:00 | 2011-08-18 16:00 | 2011-08-18 17:00 | 2011-08-18 18:00 | 2011-08-19 16:00 | 2011-08-19 17:00 | 2011-08-23 17:00
TOTAL HSL (MW) | 344.0833 | 404.5667 | 448.2417 | 508.4167 | 451.8214 | 517.2533 | 598.7 | 648.4333 | 654.5667 | 703.3923 | 616.5308 | 653.8833 | 683.2333 | 444.9667 | 284.8417 | 347.4583 | 425.65 | 320.2333 | 363.6083 | 526.3667
TOTAL CAPACITY (MW) | 784 | 784 | 784 | 784 | 784 | 784 | 784 | 784 | 784 | 784 | 784 | 784 | 784 | 784 | 784 | 784 | 784 | 784 | 784 | 784
CAPACITY FACTOR | 43.89% | 51.6% | 57.17% | 64.85% | 57.63% | 65.98% | 76.36% | 82.71% | 83.49% | 89.72% | 78.64% | 83.4% | 87.15% | 56.76% | 36.33% | 44.32% | 54.29% | 40.85% | 46.38% | 67.14%
CAPACITY FACTOR AVG | 2011-08-01 17:00: 63.43%

## S2011 Panhandle
HOUR ENDING | 2011-08-01 17:00 | 2011-08-02 16:00 | 2011-08-02 17:00 | 2011-08-02 18:00 | 2011-08-03 16:00 | 2011-08-03 17:00 | 2011-08-03 18:00 | 2011-08-04 17:00 | 2011-08-04 18:00 | 2011-08-08 17:00 | 2011-08-09 16:00 | 2011-08-09 17:00 | 2011-08-09 18:00 | 2011-08-17 17:00 | 2011-08-18 16:00 | 2011-08-18 17:00 | 2011-08-18 18:00 | 2011-08-19 16:00 | 2011-08-19 17:00 | 2011-08-23 17:00
TOTAL HSL (MW) | 37.2833 | 25.8417 | 22.35 | 25.4333 | 3.1 | 4.7333 | 16.7333 | 6.1167 | 8.0917 | 12.9231 | 22.1385 | 42.0333 | 65.825 | 19.1917 | 11.2167 | 24.1333 | 56.2417 | 37.8417 | 51.7583 | 26.0667
TOTAL CAPACITY (MW) | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207
CAPACITY FACTOR | 18.01% | 12.48% | 10.8% | 12.29% | 1.498% | 2.287% | 8.084% | 2.955% | 3.909% | 6.243% | 10.69% | 20.31% | 31.8% | 9.271% | 5.419% | 11.66% | 27.17% | 18.28% | 25% | 12.59%
CAPACITY FACTOR AVG | 2011-08-01 17:00: 12.54%

## S2011 Other
HOUR ENDING | 2011-08-01 17:00 | 2011-08-02 16:00 | 2011-08-02 17:00 | 2011-08-02 18:00 | 2011-08-03 16:00 | 2011-08-03 17:00 | 2011-08-03 18:00 | 2011-08-04 17:00 | 2011-08-04 18:00 | 2011-08-08 17:00 | 2011-08-09 16:00 | 2011-08-09 17:00 | 2011-08-09 18:00 | 2011-08-17 17:00 | 2011-08-18 16:00 | 2011-08-18 17:00 | 2011-08-18 18:00 | 2011-08-19 16:00 | 2011-08-19 17:00 | 2011-08-23 17:00
TOTAL HSL (MW) | 524.2917 | 685.6167 | 592.6667 | 563.4 | 765.8071 | 809.48 | 837.4 | 328.875 | 367.15 | 379.8154 | 794.1308 | 955.5333 | 1121.4333 | 549.225 | 525.8 | 580.6833 | 599.625 | 1504.675 | 1526.1917 | 467.8333
TOTAL CAPACITY (MW) | 5838 | 5968 | 5968 | 5968 | 5968 | 5968 | 5968 | 5968 | 5968 | 5968 | 5968 | 5968 | 5968 | 5968 | 5968 | 5968 | 5968 | 5968 | 5968 | 5968
CAPACITY FACTOR | 8.981% | 11.49% | 9.931% | 9.44% | 12.83% | 13.56% | 14.03% | 5.511% | 6.152% | 6.364% | 13.31% | 16.01% | 18.79% | 9.203% | 8.81% | 9.73% | 10.05% | 25.21% | 25.57% | 7.839%
CAPACITY FACTOR AVG | 2011-08-01 17:00: 12.14%