## Slide 1: MWG Update to WMS
December 2, 2020
Presented by: Gabriel Godinez
MWG Chair

## Slide 2: ERCOT Analysis of Line Loss Data
ERCOT presented ERCOT draft of line loss compensation protocol and SMOG language changes.
  Consensus made to move forward with changes presented in draft language.
  ERCOT Legal still needs to review draft language.

## Slide 3: Loss of Telemetry Indication Update
Tesla indicated final testing has not yet been performed. An alternate solution involving a register versus a discreet event has been considered but not yet tested.
MREADS indicated that the event as currently seen on TNMP’s event log has been sent to ITRON to see if it’s an event that can be seen during polling.
Additional updates to SMOG 6.5.4(1)(l)&(m) might be needed once testing can be completed.

## Slide 4: ERCOT Form Updates for NPRR 1020 Discussion
Draft of Design Proposal 3.0 with new section for auxiliary load telemetry was reviewed; MWG accepted document as drafted.
Draft of MDAS Configuration Form 6.0 was reviewed; MWG accepted document as drafted.
Draft of Site Certification Form 5.0 and Meter Test Report 6.0 was reviewed.
  ERCOT recommended only adopting one form to capture that the meter point has auxiliary load telemetry. TDSP feedback was to utilize Site Certification and discard changes to Meter Test form. MWG accepted Site Certification as drafted.
Draft of Resource Entity Access to Auxiliary Load Telemetry System 1.0 was reviewed; MWG accepted document as drafted.
All aforementioned forms will not be official until SMOGRR to support NPRR1020 is approved.

## Slide 5: SMOGRR Updates for NPRR 1020 Discussion
Section 6.5.4(1)(l)&(m) concerning loss and restoration of telemetry events will be left as previously edited. If further testing and implementation requires an update, the update will be made as soon as feasible.
MWG no longer considering standalone meter option for auxiliary load telemetry.
Appendix A was updated to clarify the requirement for resource entities after accessing facilities. Update included notification requirements and a clear delineation between what is submitted by the TDSP and what is submitted by an RE depending on access.

## Slide 6: SMOGRR Updates for NPRR 1020 Discussion (cont’d)
Changes made by ERCOT to Appendix D were reviewed and accepted by MWG as drafted.
MWG is in consensus that the SMOG as edited on 11/18 represents a viable path forward to implement in support of NPRR1020.
If issues are identified during implementation of the new site types, a future SMOGRR might be needed to provide clarity or corrections.

## Slide 7: New or Other Business Items
ERCOT revisited requirements to zero meter data. When new sites have telemetry that indicates energy flow, TDSPs will need to provide positive ongoing confirmation of no energy or actual meter data.
ERCOT also reminded TDSPs that when downloading and submitting meter data manually, the meter event log needs to be included.
Meeting adjourned.