## Slide 1: PLWG report to ROS December 3, 2020
Report based on PLWG November 9th, 2020
WebEx only meeting

## Slide 2: PGRR088 Include Financial Security Amount in the Monthly Generator Interconnection Status Report
  PGRR088 intent is to increase transparency of generation interconnection facility cost by including in the Monthly GIS Report the Financial Security amount associated with funding the interconnection facilities.
  To be discuss further at the next PLWG Meeting.

## Slide 3: NPRR1044 Enhancement of SSR Mitigation Requirement
  Requires Generation Resources and ESRs to develop and implement SSR Mitigation plans to address SSR vulnerabilities in the event six or fewer concurrent transmission Outages, instead of the current threshold of four or fewer Outages.
  ERCOT submitted comments on 11/23/2020 to provide additional background info discussed at PLWG 11/9/2020 meeting.
  PLWG reached consensus that this PGRR could move forward.

## Slide 4: ERCOT Follow Up Presentation from Transmission Constraints for Generators Workshop
From the workshop there was a proposal to have ERCOT perform Semi-Annual Stability Assessment to determine stability limits.
ERCOT reviewed the existing Stability Assessments they perform and asked for comments and concepts by November 30, 2020 on a new stability study. (send to Fred Huang at shuang@ercot.com)
The presentation is posted on the Nov 9th PLWG Meeting page on the ERCOT website.
ERCOT plans to provide a summary of received comments and potential concepts at a future PLWG meeting.

## Slide 5: Presentation on Transmission Project Cost Comparison Improvement
For both reliability and economic projects, ERCOT compares the capital cost (overnight cost) of project options during the project alternative selection process, even when the alternatives utilize different technologies.
ERCOT presented a method to adjust for different technologies having different life expectancies.
The presentation is posted on the Nov 9th PLWG Meeting page on the ERCOT website.
Comments may be sent to Jeff Billo at jbillo@ercot.com.