## Slide 1
Generation Resource Energy and Regulation Deployment Performance Report for November 2020

## Slide 2: Non-IRR GREDP < 85% – November 2020
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 306 | 0 | 1 | 5.67 | 0.00
Unit 307 | 0 | 1 | 0.47 | 0.00

## Slide 3: IRR Summary – November 2020
IRR | Fleet | < 95% | > 100 INT, < 95%
GREDP Average (%) | 85.61 | 69.37 | 83.33
GREDP Median (%) | 96.71 | 79.20 | 89.09
Average MW Error | 3.29 | 3.45 | 4.01
Median MW Error | 3.10 | 3.00 | 3.27
Total Intervals Scored | 108,429 | 42,988 | 42,080
100+ Intervals Scored | 104 | 147 | 48
Total Intervals Scored Average | 430.27 | 558.29 | 876.67

## Slide 4: IRR ≥ 95%, ≥ 100 Scored Intervals – Nov. 2020
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 1 | 3,796 | 3,800 | 4.85 | 99.89
Unit 2 | 3,536 | 3,618 | 3.53 | 97.73
Unit 3 | 3,292 | 3,322 | 4.26 | 99.10
Unit 6 | 2,613 | 2,676 | 2.70 | 97.65
Unit 7 | 2,535 | 2,592 | 3.11 | 97.80
Unit 8 | 2,388 | 2,406 | 3.30 | 99.25
Unit 11 | 2,304 | 2,305 | 2.63 | 99.96
Unit 12 | 2,137 | 2,185 | 5.45 | 97.80
Unit 14 | 2,117 | 2,118 | 3.01 | 99.95
Unit 16 | 1,982 | 2,028 | 2.57 | 97.73
Unit 17 | 1,820 | 1,835 | 1.58 | 99.18
Unit 19 | 1,701 | 1,764 | 2.51 | 96.43
Unit 21 | 1,713 | 1,717 | 0.85 | 99.77
Unit 22 | 1,522 | 1,525 | 3.32 | 99.80
Unit 23 | 1,368 | 1,433 | 4.19 | 95.46
Unit 24 | 1,424 | 1,432 | 1.92 | 99.44
Unit 25 | 1,331 | 1,382 | 2.42 | 96.31

## Slide 5: IRR ≥ 95%, ≥ 100 Scored Intervals – Nov. 2020
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 26 | 1,336 | 1,365 | 2.15 | 97.88
Unit 27 | 1,304 | 1,341 | 3.36 | 97.24
Unit 29 | 1,278 | 1,317 | 5.49 | 97.04
Unit 30 | 1,249 | 1,256 | 3.96 | 99.44
Unit 31 | 1,214 | 1,236 | 1.10 | 98.22
Unit 33 | 1,194 | 1,216 | 2.73 | 98.19
Unit 34 | 1,171 | 1,172 | 4.32 | 99.91
Unit 35 | 1,104 | 1,150 | 2.95 | 96.00
Unit 37 | 1,101 | 1,143 | 3.34 | 96.33
Unit 39 | 1,120 | 1,135 | 3.55 | 98.68
Unit 41 | 1,094 | 1,123 | 4.17 | 97.42
Unit 42 | 1,104 | 1,108 | 1.11 | 99.64
Unit 43 | 1,034 | 1,057 | 3.04 | 97.82
Unit 46 | 946 | 975 | 2.83 | 97.03
Unit 47 | 946 | 970 | 2.82 | 97.53
Unit 55 | 670 | 702 | 4.92 | 95.44
Unit 57 | 664 | 683 | 3.13 | 97.22

## Slide 6: IRR ≥ 95%, ≥ 100 Scored Intervals – Nov. 2020
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 58 | 671 | 678 | 2.71 | 98.97
Unit 61 | 613 | 622 | 2.26 | 98.55
Unit 62 | 595 | 595 | 2.00 | 100.00
Unit 64 | 504 | 506 | 4.74 | 99.60
Unit 65 | 479 | 493 | 3.80 | 97.16
Unit 66 | 479 | 491 | 0.89 | 97.56
Unit 67 | 474 | 482 | 3.58 | 98.34
Unit 76 | 352 | 365 | 3.30 | 96.44
Unit 77 | 347 | 359 | 3.01 | 96.66
Unit 78 | 349 | 358 | 3.42 | 97.49
Unit 83 | 311 | 327 | 1.37 | 95.11
Unit 85 | 309 | 309 | 2.49 | 100.00
Unit 87 | 285 | 300 | 1.08 | 95.00
Unit 89 | 276 | 279 | 3.40 | 98.92
Unit 90 | 247 | 250 | 2.58 | 98.80
Unit 92 | 246 | 246 | 1.85 | 100.00
Unit 95 | 225 | 225 | 3.95 | 100.00

## Slide 7: IRR ≥ 95%, ≥ 100 Scored Intervals – Nov. 2020
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 97 | 214 | 218 | 2.01 | 98.17
Unit 98 | 209 | 216 | 1.32 | 96.76
Unit 99 | 207 | 209 | 2.03 | 99.04
Unit 101 | 172 | 172 | 3.01 | 100.00
Unit 102 | 151 | 158 | 5.22 | 95.57

## Slide 8: IRR < 95%, ≥ 100 Scored Intervals – Nov. 2020
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 4 | 2,743 | 2,980 | 4.95 | 92.05
Unit 5 | 2,678 | 2,933 | 3.25 | 91.31
Unit 9 | 1,429 | 2,354 | 6.09 | 60.71
Unit 10 | 2,037 | 2,319 | 10.34 | 87.84
Unit 13 | 1,819 | 2,148 | 2.45 | 84.68
Unit 15 | 1,972 | 2,095 | 2.71 | 94.13
Unit 18 | 1,707 | 1,798 | 1.94 | 94.94
Unit 20 | 1,254 | 1,762 | 4.63 | 71.17
Unit 28 | 1,205 | 1,325 | 4.28 | 90.94
Unit 32 | 1,133 | 1,222 | 3.57 | 92.72
Unit 36 | 309 | 1,147 | 5.93 | 26.94
Unit 38 | 1,060 | 1,141 | 2.34 | 92.90
Unit 40 | 916 | 1,133 | 4.13 | 80.85
Unit 44 | 912 | 992 | 2.10 | 91.94
Unit 45 | 872 | 992 | 3.12 | 87.90
Unit 48 | 847 | 899 | 8.61 | 94.22
Unit 49 | 845 | 894 | 1.65 | 94.52

## Slide 9: IRR < 95%, ≥ 100 Scored Intervals – Nov. 2020
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 50 | 639 | 886 | 13.96 | 72.12
Unit 51 | 633 | 875 | 3.36 | 72.34
Unit 52 | 816 | 873 | 1.41 | 93.47
Unit 53 | 752 | 814 | 0.85 | 92.38
Unit 54 | 687 | 786 | 4.11 | 87.40
Unit 56 | 609 | 699 | 2.51 | 87.12
Unit 59 | 621 | 675 | 1.95 | 92.00
Unit 60 | 625 | 668 | 3.98 | 93.56
Unit 63 | 488 | 549 | 4.40 | 88.89
Unit 68 | 289 | 464 | 2.30 | 62.28
Unit 69 | 401 | 440 | 3.09 | 91.14
Unit 70 | 371 | 438 | 1.10 | 84.70
Unit 71 | 265 | 437 | 2.30 | 60.64
Unit 72 | 309 | 436 | 4.80 | 70.87
Unit 73 | 188 | 429 | 9.09 | 43.82
Unit 74 | 399 | 428 | 3.04 | 93.22
Unit 75 | 362 | 389 | 3.10 | 93.06

## Slide 10: IRR < 95%, ≥ 100 Scored Intervals – Nov. 2020
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 79 | 252 | 347 | 2.61 | 72.62
Unit 80 | 313 | 343 | 1.10 | 91.25
Unit 81 | 303 | 334 | 0.51 | 90.72
Unit 82 | 263 | 333 | 0.62 | 78.97
Unit 84 | 265 | 323 | 5.53 | 82.04
Unit 86 | 274 | 306 | 5.37 | 89.54
Unit 88 | 267 | 298 | 4.21 | 89.60
Unit 91 | 229 | 246 | 5.88 | 93.09
Unit 93 | 190 | 238 | 1.78 | 79.83
Unit 94 | 179 | 226 | 3.29 | 79.20
Unit 96 | 200 | 224 | 3.29 | 89.29
Unit 100 | 178 | 191 | 15.75 | 93.19
Unit 103 | 122 | 147 | 4.25 | 82.99
Unit 104 | 82 | 104 | 0.60 | 78.85