## Slide 1
RFP for a Study to Evaluate the Need for Limitations on Resources Providing RRS-PFR
ERCOT Staff
Dec. 9, 2020
PDCWG meeting

## Slide 2: Previous Discussion at PDCWG
ERCOT has had a limit of 20% of capacity on a single thermal generation resource providing PFR, due to the 5% governor droop.
  This has historically resulted in a distribution of RRS-PFR across multiple Resources
  Recently, technologies such as ESRs and CLRs have qualified to provide RRS-PFR.
    Because of these resources’ characteristics, there is the potential that these Resources could technically provide up to 100% of their capacity as RRS-PFR.
    As the size of these resources grow, there could be negative outcomes of various types resulting from too much RRS-PFR from a single resource/site.
PDCWG at its April 2020 meeting had asked ERCOT to provide analysis in order to consider to establish a RRS-PFR limit on non-thermal Resources and Energy Storage Resources. ERCOT presented an analysis at the August PDCWG meeting, and recognized that a more thorough analysis was needed.
PDCWG suggested and sought comments on a proposal to limit non-thermal Generation Resource and Energy Storage Resources providing RRS-PFR to a maximum of 125 MW per Resource, based on historically acceptable quantities per Resource, until a more thorough analysis could be completed.
Some Market Participants emphasized the urgency of determining any such limits, to remove uncertainties for future investment on these Resources.

## Slide 3: RFP for Study of Need for RRS-PFR Limits
ERCOT intends to issue an RFP for consulting services to aid in determining any limitations that are needed for Resources providing RRS PFR
Objectives in Issuing the RFP
  To identify any reliability-related limitations that need to be imposed on Resources providing RRS-PFR
  To look at the problem from a broad, technology-neutral perspective to identify the reliability reason(s) to impose such a limit
  To take into account the technology trends and the changes planned for the ERCOT grid in the foreseen future
  To leverage model, data, or operational experiences from other systems
  To recognize the urgency of determining any such limitations

## Slide 4: Scope of Work
Investigate whether there is a reliability reason to establish one or more types of limits on resource providing RRS-PFR limit per Resource, group, and/or at system level for different technologies or the limit on the number of Resources providing RRS-PFR
Determine drivers for quantifying any such RRS-PFR limits. Some drivers may include, but are not limited to:
  Transmission limitations following deployment
  Frequency response resulting from deployment or lack of deployment
  Single point of failures (including transmission, resources, and resource control systems)
Perform appropriate types of studies for each of the drivers and determine any appropriate limitations to put on resources providing RRS-PFR which are needed to meet established reliability criteria

## Slide 5: Dos and Don’ts in RFP
Don’ts
  Do not pre-assume that any such limits exist for the ERCOT grid
  Do not prescribe what model, data and approach should be used in study
  Do not redesign AS Products
Dos
  Consider any needed limitations under both current and future market paradigms (e.g. RTC launched in 2024)
  Study need for limitations in the context of both NERC standards and ERCOT Protocols
  Consider the characteristics of different technologies when providing RRS-PFR (e.g. speed of droop response, single points of failure of resource, control system, or transmission)
  Perform sensitivity studies for key assumptions or parameters as needed
  Provide practical rule(s) or procedures for management of RRS-PFR limit, if it exists, that ERCOT could easily implement

## Slide 6: Evaluation of Bidders
Proposed study scope and plan
Track record of performing studies with similar or greater scope of work or complexities
Experience and knowledge in the operations of different technologies, specifically with regard to provision of PFR.
Expertise of key personal leading and performing this type of study
Familiarity with the ERCOT grid and market
Timeline and schedule of delivery

## Slide 7: Proposed Timeline
Dec 2020 – ERCOT solicits stakeholder input on RFP scope
Jan.-Feb. 2021 - Issue an RFP
Feb.-March 2021 - Receive and evaluate the responses to RFP, interview and select awardee
March-April 2021 - Commission the study/work
ERCOT will present status reports at PDCWG during study
The awardee will present study results to stakeholders once the study is completed
Issue an RFP
Jan.-Feb. 2021
Select awardee
Feb.-March 2021
Commission study
March-April 2021
Completion of study

## Slide 8: Proposed Interim Solution
The RRS-PFR limit, if it exists, will be subject to the periodic review of the reliability need for the ERCOT grid
New Resources may seek RRS-PFR qualification before the study is complete.
  ERCOT proposes to limit RRS-PFR qualification to the value observed in historical data (125 MW per resource) as an interim solution before the completion of the study

## Slide 9: Comments
Send comments to pengwei.du@ercot.com by Dec. 16, 2020

## Slide 10: Questions + Discussions