Board Report

	NPRR Number
	1042
	NPRR Title
	Planned Capacity Adjustment in the Report on Capacity, Demand and Reserves in the ERCOT Region

	Date of Decision
	December 8, 2020

	Action
	Approved

	Timeline
	Normal 

	Effective Date
	January 1, 2021

	Priority and Rank Assigned
	Not Applicable

	Nodal Protocol Sections Requiring Revision 
	3.2.6.2.2, Total Capacity Estimate

	Related Documents Requiring Revision/Related Revision Requests
	None

	Revision Description
	This Nodal Protocol Revision Request (NPRR) adjusts the planned capacity in the Report on Capacity, Demand and Reserves in the ERCOT Region to remove previously mothballed or retired Generation Resources that may be repowered but do not have an owner that intends to operate them.

	Reason for Revision
	[image: image1.wmf]

X

  Addresses current operational issues.

[image: image2.wmf]

  Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board).

[image: image3.wmf]

  Market efficiencies or enhancements

[image: image4.wmf]

  Administrative

[image: image5.wmf]

  Regulatory requirements

[image: image6.wmf]

  Other:  (explain)

(please select all that apply)

	Business Case
	For previously mothballed or retired Generation Resources that may be repowered, the hurdle for including their planned capacity in the Report on Capacity, Demand and Reserves in the ERCOT Region should reflect a commitment that includes an owner that intends to operate the resource.  The language changes proposed in this NPRR were reviewed by the Supply Analysis Working Group (SAWG).

	Credit Work Group Review
	ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed NPRR1042 and do not believe that it requires changes to credit monitoring activity or the calculation of liability.

	PRS Decision
	On 9/10/20, PRS voted unanimously via roll call to table NPRR1042 and refer the issue to WMS.  All Market Segments were present for the vote.

On 10/15/20, PRS voted unanimously via roll call to recommend approval of NPRR1042 as submitted.  All Market Segments were present for the vote.

On 11/11/20, PRS voted unanimously via roll call to endorse and forward to TAC the 10/15/20 PRS Report and Impact Analysis for NPRR1042.  All Market Segments were present for the vote.

	Summary of PRS Discussion
	On 9/10/20, participants noted that the SAWG had reviewed NPRR1042, and requested WMS provided additional review of mothball scenarios.
On 10/15/20, there was no discussion.

On 11/11/20, there was no discussion.

	TAC Decision
	On 11/18/20, TAC voted unanimously via roll call to recommend approval of NPRR1042 as recommended by PRS in the 11/11/20 PRS Report.  All Market Segments were present for the vote.

	Summary of TAC Discussion
	On 11/18/20, there was no discussion.

	ERCOT Opinion
	ERCOT supports the approval of NPRR1042.

	Board Decision
	On 12/8/20, the ERCOT Board approved NPRR1042 as recommended by TAC in the 11/18/20 TAC Report.


	Sponsor

	Name
	Bill Barnes

	E-mail Address
	bill.barnes@nrg.com 

	Company
	Reliant Energy Retail Services LLC

	Phone Number
	512-691-6137

	Cell Number
	315-885-5925

	Market Segment
	Independent Retail Electric Provider (IREP)


	Market Rules Staff Contact

	Name
	Brittney Albracht

	E-Mail Address
	Brittney.Albracht@ercot.com 

	Phone Number
	512-225-7027


	Comments Received

	Comment Author
	Comment Summary

	WMS 101320
	Endorsed NPRR1042 as submitted


	

	Market Rules Notes


Please note the baseline Protocol language in the following sections has been updated to reflect the incorporation of the following NPRR into the Protocols:

· NPRR1003, Elimination of References to Resource Asset Registration Form
· Section 3.2.6.2.2 (incorporated 9/1/20)
Please note that the following NPRR(s) also propose revisions to the following section(s):

· NPRR1005, Clarify Definition of Point of Interconnection (POI) and Add Definition Point of Interconnection Bus (POIB) 

· Section 3.2.6.2.2
	

	Proposed Protocol Language Revision


3.2.6.2.2

Total Capacity Estimate
(1)
The total capacity estimate shall be determined based on the following equation:

TOTCAP s ,i
=
INSTCAP s, i + PUNCAP s, i + WINDCAP s, i, r  + HYDROCAP s, i + SOLARCAPs, i + RMRCAP s, i + DCTIECAP s + PLANDCTIECAP s + SWITCHCAP s, i + MOTHCAP s, i + PLANNON s, i + PLANIRR s, i, r – LTOUTAGE s, i – UNSWITCH s, i – RETCAP s, i 

The above variables are defined as follows:

	Variable
	Unit
	Definition

	TOTCAP s, i
	MW
	Total Capacity—Estimated total capacity available during the Peak Load Season s for the year i.

	INSTCAP s, i
	MW
	Seasonal Net Max Sustainable Rating—The Seasonal net max sustainable rating for the Peak Load Season s as reported in the approved Resource Registration process for each operating Generation Resource for the year i excluding WGRs, hydro Generation Resource capacity, solar unit capacity, Resources operating under RMR Agreements, and Generation Resources capable of “switching” from the ERCOT Region to a non-ERCOT Region.

	PUNCAP s, i
	MW
	Private Use Network Capacity—The forecasted generation capacity available to the ERCOT Transmission Grid, net of self-serve load, from Generation Resources and Settlement Only Generators (SOGs) in Private Use Networks for Peak Load Season s and year i. The capacity forecasts are developed as follows. First, a base capacity forecast, determined from Settlement data, is calculated as the average net generation capacity available to the ERCOT Transmission Grid during the 20 highest system-wide peak Load hours for each preceding three year period for Peak Load Season s and year i. The base capacity forecast is then adjusted by adding the aggregated incremental forecasted annual changes in net generation capacity as of the start of the summer Peak Load Season s for forecast year i reported for Private Use Networks pursuant to Section 10.3.2.4, Reporting of Net Generation Capacity.  This calculation is limited to Generation Resources and SOGs in Private Use Networks (1) with a Resource Commissioning Date that occurs no later than the start of the most current Peak Load Season used for the calculation, and (2) that have not been permanently retired by the start of the most current Peak Load Season used for the calculation. 

	WINDPEAKPCT s, r
	%
	Seasonal Peak Average Wind Capacity as a Percent of Installed Capacity—The average WGR capacity available for the summer and winter Peak Load Seasons s and region r, divided by the installed capacity for region r, expressed as a percentage.  The Seasonal Peak Average, derived from Settlement data, is first calculated as the average capacity during the 20 highest system-wide peak Load hours for a given year’s summer and winter Peak Load Seasons. The final value is the weighted average of the previous ten eligible years of Seasonal Peak Average values where each year is weighted by its installed capacity. Eligible years include 2009 through the most recent year for which COP data is available for the summer and winter Peak Load Seasons.  If the number of eligible years is less than ten, the average shall be based on the number of eligible years available.  This calculation is limited to WGRs (1) with a Resource Commissioning Date that occurs no later than the start of the most current Peak Load Season used for the calculation, and (2) that have not been permanently retired by the start of the most current Peak Load Season used for the calculation.

	WINDCAP s, i, r
	MW
	Existing WGR Capacity—The capacity available for all existing WGRs for the summer and winter Peak Load Seasons s, year i, and region r, multiplied by WINDPEAKPCT for summer and winter Peak Load Seasons s and region r.

	HYDROCAPs, i
	MW
	Hydro Unit Capacity—The average hydro Generation Resource capacity available, as determined from the COP, during the highest 20 peak Load hours for each preceding three year period for Peak Load Season s and year i.  This calculation is limited to hydro Generation Resources (1) with a Resource Commissioning Date that occurs no later than the start of the most current Peak Load Season used for the calculation, and (2) that have not been permanently retired by the start of the most current Peak Load Season used for the calculation.

	SOLARPEAKPCT s
	%
	Seasonal Peak Average Solar Capacity as a Percent of Installed Capacity—The average PVGR capacity available for the summer and winter Peak Load Seasons s, divided by the installed capacity, expressed as a percentage.  The Seasonal Peak Average, derived from Settlement data, is first calculated as the average capacity during the 20 highest system-wide peak Load hours for a given year’s summer and winter Peak Load Seasons.  The final value is the weighted average of the previous three years of Seasonal Peak Average values where each year is weighted by its installed capacity.  This calculation is limited to PVGRs (1) with a Resource Commissioning Date that occurs no later than the start of the most current Peak Load Season used for the calculation, and (2) that have not been permanently retired by the start of the most current Peak Load Season used for the calculation.

	SOLARCAPs, i
	MW
	Existing PVGR Capacity—The capacity available for all existing PVGRs for the summer and winter Peak Load Season s and year i, multiplied by SOLARPEAKPCT for summer and winter Peak Load Seasons s.

	RMRCAP s, i
	MW
	Seasonal Net Max Sustainable Rating for Generation Resource providing RMR Service—The Seasonal net max sustainable rating for the Peak Load Season s as reported in the approved Resource Registration process for each Generation Resource providing RMR Service for the year i until the approved exit strategy for the RMR Resource is expected to be completed.  

	DCTIEPEAKPCT s
	%
	Seasonal Peak Average Capacity for existing DC Tie Resources as a Percent of Installed DC Tie Capacity—The average net emergency DC Tie imports for the summer and winter Peak Load Seasons s, divided by the total installed DC Tie capacity for Peak Load Seasons s, expressed as a percentage.  The average net emergency DC Tie imports is calculated for the SCED intervals during which ERCOT declared an Energy Emergency Alert (EEA).  This calculation is limited to the most recent single summer and winter Peak Load Seasons in which an EEA was declared.  The total installed DC Tie capacity is the capacity amount at the start of the Peak Load Seasons used for calculating the net DC Tie imports.

	DCTIECAP s
	MW
	Expected Existing DC Tie Capacity Available under Emergency Conditions—DCTIEPEAKPCT s multiplied by the installed DC Tie capacity available for the summer and winter Peak Load Seasons s, adjusted for any known capacity transfer limitations.

	PLANDCTIECAP s
	MW
	Expected Planned DC Tie Capacity Available under Emergency Conditions—DCTIEPEAKPCT s multiplied by the maximum peak import capacity of planned DC Tie projects included in the most recent Steady State Working Group (SSWG) base cases, for the summer and winter Peak Load Seasons s.  The import capacity may be adjusted to reflect known capacity transfer limitations indicated by transmission studies.

	SWITCHCAP s, i
	MW
	Seasonal Net Max Sustainable Rating for Switchable Generation Resource—The Seasonal net max sustainable rating for the Peak Load Season s as reported in the approved Resource Registration process for each Generation Resource for the year i that can electrically connect (i.e., “switch”) from the ERCOT Region to another power region.

	MOTHCAP s, i
	MW
	Seasonal Net Max Sustainable Rating for Mothballed Generation Resource—The Seasonal net max sustainable rating for the Peak Load Season s as reported in the approved Resource Registration process for each Mothballed Generation Resource for the year i based on the lead time and probability information furnished by the owners of Mothballed Generation Resources pursuant to Section 3.14.1.9, Generation Resource Status Updates.  If the value furnished by the owner of a Mothballed Generation Resource pursuant to Section 3.14.1.9 is greater than or equal to 50%, then use the Seasonal net max sustainable rating for the Peak Load Season s as reported in the approved Resource registration process for the Mothballed Generation Resource for the year i.  If the value furnished by the owner of a Mothballed Generation Resource pursuant to Section 3.14.1.9 is less than 50%, then exclude that Resource from the Total Capacity Estimate.

	PLANNON s, i
	MW
	New, non-IRR Generating Capacity—The amount of new, non-IRR generating capacity for the Peak Load Season s and year i that:  (a) has a Texas Commission on Environmental Quality (TCEQ)-approved air permit, (b) has a federal Greenhouse Gas permit, if required, (c) has obtained water rights, contracts or groundwater supplies sufficient for the generation of electricity at the Resource, and (d) has a signed Standard Generation Interconnect Agreement (SGIA), or a public, financially-binding agreement between the Resource owner and TSP under which generation interconnection facilities would be constructed; or for a Municipally Owned Utility (MOU) or Electric Cooperative (EC), a public commitment letter to construct a new Resource.  New, non-IRR generating capacity is excluded if the Generation Interconnection or Change Request (GINR) project status in the online Resource Integration and Ongoing Operations (RIOO) interconnection services system is set to “Cancelled” or “Inactive” or if the Resource was previously mothballed or retired and does not have an owner that intends to operate it.  For the purposes of this section, ownership of a mothballed or retired Resource for which a new generation interconnection is sought can only be satisfied by proof of site control as described in paragraph (1)(a), (b), or (d) of Planning Guide Section 5.4.9, Proof of Site Control.

	PLANIRR s, i, r
	MW
	New IRR Capacity—For new WGRs, the capacity available for the summer and winter Peak Load Seasons s, year i, and region r, multiplied by WINDPEAKPCT for summer and winter Load Season s and region r.  For new PVGRs, the capacity available for the summer and winter Peak Load Seasons s and year i, multiplied by SOLARPEAKPCT for summer and winter Load Seasons s.  New IRRs must have an SGIA or other public, financially binding agreement between the Resource owner and TSP under which generation interconnection facilities would be constructed or, for a MOU or EC, a public commitment letter to construct a new IRR.  New IRR capacity is excluded if the GINR project status in the online RIOO interconnection services system is set to “Cancelled,” or “Inactive.”

	LTOUTAGE s, i
	MW
	Forced Outage Capacity Reported in a Notification of Suspension of Operations—For non-IRRs whose operation has been suspended due to a Forced Outage as reported in a Notification of Suspension of Operations (NSO), the sum of Seasonal net max sustainable ratings for Peak Load Seasons s for year i, as reported in the NSO forms.  For IRRs, use the PLANIRR s, i, r calculated for each IRR.

	UNSWITCH s, i 
	MW
	Capacity of Unavailable Switchable Generation Resource—The amount of capacity reported by the owners of a switchable Generation Resource that will be unavailable to ERCOT during the Peak Load Season s and year i pursuant to paragraph (2) of Section 16.5.4, Maintaining and Updating Resource Entity Information.

	RETCAP s, i
	MW
	Capacity Pending Retirement—The amount of capacity in Peak Load Season s of year i that is pending retirement based on information submitted on an NSO form (Section 22, Attachment E, Notification of Suspension of Operations) pursuant to Section 3.14.1.11, Budgeting Eligible Costs, but is under review by ERCOT pursuant to Section 3.14.1.2, ERCOT Evaluation Process, that has not otherwise been considered in any of the above defined categories.  For Generation Resources and SOGs within Private Use Networks, the retired capacity amount is the peak average capacity contribution included in PUNCAP.  For reporting of individual Generation Resources and SOGs in the Report on the Capacity, Demand and Reserves in the ERCOT Region, only the summer net max sustainable rating included in the NSO shall be disclosed. 

	i
	None
	Year.

	s
	None
	Summer and winter Peak Load Seasons for year i.

	r
	None
	Coastal, Panhandle, and Other wind regions. WGRs are classified into regions based on the county that contains their Point of Interconnection (POI). The Coastal region is defined as the following counties: Aransas, Brazoria, Calhoun, Cameron, Kenedy, Kleberg, Matagorda, Nueces, Refugio, San Patricio, and Willacy.  The Panhandle region is defined as the following counties:  Armstrong, Bailey, Briscoe, Carson, Castro, Childress, Cochran, Collingsworth, Crosby, Dallam, Deaf Smith, Dickens, Donley, Floyd, Gray, Hale, Hall, Hansford, Hartley, Hemphill, Hockley, Hutchinson, Lamb, Lipscomb, Lubbock, Moore, Motley, Ochiltree, Oldham, Parmer, Potter, Randall, Roberts, Sherman, Swisher, and Wheeler.  The Other region consists of all other counties in the ERCOT Region.


�Please note NPRR1005 also proposes revisions to this section.





PRR_Template.doc
Page 2 of 2
PRR_Template.doc
Page 2 of 2
1042NPRR-13 Board Report 120820
Page 7 of 7
PUBLIC

_1669222048.unknown

_1669222049.unknown

_1669222046.unknown

_1669222047.unknown

_1669222045.unknown

_1669222044.unknown

