Board Report

	NOGRR Number
	217
	NOGRR Title
	Related to NPRR1039, Replace the Term MIS Public Area with ERCOT Website

	Date of Decision
	December 8, 2020

	Action
	Approved

	Timeline 
	Normal

	Effective Date
	Upon implementation of Nodal Protocol Revision Request (NPRR) 1039, Replace the Term MIS Public Area with ERCOT Website

	Priority and Rank Assigned
	Not Applicable

	Nodal Operating Guide Sections Requiring Revision 
	1.5.6, ERCOT Operator Certification Program

2.2.9.1, Time Error

4.2.1, Operating Condition Notice

4.2.2, Advisory

4.2.3, Watch

4.2.4, Emergency Notice

4.5.3.3, EEA Levels

7.2.2, Metric of Availability

9.4.2 Resource-Specific Responsive Reserve Performance

10.1, Direct Current Tie Outage Information

	Related Documents Requiring Revision/Related Revision Requests
	NPRR1039
Commercial Operations Market Guide Revision Request (COPMGRR) 048, Related to NPRR1039, Replace the Term MIS Public Area with ERCOT Website

Planning Guide Revision Request (PGRR) 084, Related to NPRR1039, Replace the Term MIS Public Area with ERCOT Website

Verifiable Cost Manual Revision Request (VCMRR) 030, Related to NPRR1039, Replace the Term MIS Public Area with ERCOT Website
Section 4.5.3.3, EEA Levels

	Revision Description
	This Nodal Operating Guide Revision Request (NOGRR) removes the defined term Market Information System (MIS) Public Area from the Nodal Operating Guide and replaces any references to MIS Public Area with “ERCOT website.”

	Reason for Revision
	[image: image1.wmf]

  Addresses current operational issues.

[image: image2.wmf]

  Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board).

[image: image3.wmf]

X

  Market efficiencies or enhancements

[image: image4.wmf]

  Administrative

[image: image5.wmf]

  Regulatory requirements

[image: image6.wmf]

  Other:  (explain)

(please select all that apply)

	Business Case
	As of January 1, 2021, ERCOT will no longer support a public section of the MIS, and will instead post publicly available information to the ERCOT website.

	ROS Decision
	On 9/3/20, ROS voted unanimously via roll call to recommend approval of NOGRR217 as submitted.  All Market Segments were present for the vote.

On 10/8/20, ROS voted unanimously via roll call to endorse and forward to TAC the 9/3/20 ROS Report and Impact Analysis for NOGRR217.  All Market Segments were present for the vote.

	Summary of ROS Discussion
	On 9/3/20, there was no discussion.

On 10/8/20, there was no discussion.

	TAC Decision
	On 10/28/20, TAC voted unanimously via roll call to table NOGRR217.  All Market Segments were present for the vote.

On 11/18/20, TAC voted unanimously via roll call to recommend approval of NOGRR217 as recommended by ROS in the 10/8/20 ROS Report as amended by the 11/13/20 ERCOT comments.  All Market Segments were present for the vote.

	Summary of TAC Discussion
	On 10/28/20, participants discussed tabling NOGRR217 to await the related NPRR1039.

On 11/18/20, participants reviewed the 11/13/20 ERCOT comments.

	ERCOT Opinion
	ERCOT supports approval of NOGRR217.

	Board Decision
	On 12/8/20, the ERCOT Board approved NOGRR217 as recommended by TAC in the 11/18/20 TAC Report.


	Sponsor

	Name
	Amy Lofton

	E-mail Address
	Amy.Lofton@ercot.com

	Company
	ERCOT

	Phone Number
	512-248-3904

	Cell Number
	

	Market Segment
	Not Applicable


	Market Rules Staff Contact

	Name
	Brittney Albracht

	E-Mail Address
	Brittney.Albracht@ercot.com 

	Phone Number
	512-636-1852


	Comments Received

	Comment Author
	Comment Summary

	ERCOT 111320
	Proposed revisions to Section 2.2.9.1 and to revert language in Section 4.5.3.3


	Market Rules Notes


Please note that Section 2.9.1, Additional Voltage Ride-Through Requirements for Intermittent Renewable Resources, required no revisions pursuant to NPRR1039 and has been removed from NOGRR217.

Please note the baseline language in the following sections has been updated to reflect the incorporation of the following NOGRR(s) into the Nodal Operating Guide:

· NOGRR216, Alignment Changes for September 1, 2020 Nodal Operating Guide – NPRR1002 (incorporated 9/1/20)
· Section 4.5.3.3
Please note that the following NOGRR(s) also propose revisions to the following section(s):

· NOGRR199, Related to NPRR979, Incorporate State Estimator Standards and Telemetry Standards into Protocols

· Section 7.2.2

· NOGRR207, Related to NPRR1001, Clarification of Definitions of Operating Condition Notice, Advisory, Watch, Emergency Notice, and Related Clarifications

· Section 4.2.2
· Section 4.2.3
	Proposed Guide Language Revision


1.5.6
ERCOT Operator Certification Program 

(1)
ERCOT shall maintain and administer the ERCOT operator certification program, which includes the ERCOT Fundamentals Training Manual and certification exam.  The purpose of the program is to prepare operators within the ERCOT Region to reliably operate the ERCOT System.  ERCOT shall maintain the ERCOT Fundamentals Training Manual to serve as a reference for persons preparing for the ERCOT operator certification exam.  ERCOT shall post the ERCOT Fundamentals Training Manual to the ERCOT website.

2.2.9.1
Time Error

(1)
Sustained frequency deviations from scheduled frequency result in Time Error.  Time Error will be monitored and controlled in ERCOT as follows:

(a)
Time Error Monitoring - ERCOT will monitor accumulated Time Error and initiate time corrections.  The instantaneous Time Error is available to all QSEs on the ERCOT website. 

(b)
Time Error Correction - ERCOT may conduct Time Error correction at any time.  However, ERCOT must promptly initiate Time Error correction if the Time Error exceeds +/- 30 seconds, unless operational circumstances require otherwise.  ERCOT will initiate and terminate Time Error correction via Hotline call to QSEs representing Resources.  The call initiating Time Error correction will include the frequency offset (- 0.02 Hz for fast and + 0.02 Hz for slow) and the start time.  The Time Error correction may end when:

(i)
The Time Error is within +/- 0.5 seconds of the target reference; 
(ii)
System events mandate termination; 
(iii)
The period of correction reaches five hours; or 
(iv)
After any hour without at least a 0.5 second error reduction.
4.2.1
Operating Condition Notice

(1)
An Operating Condition Notice (OCN) shall be issued by ERCOT in accordance with Protocol Section 6.5.9.3.1, Operating Condition Notice.  OCNs are for communication purposes only.  

(2)
ERCOT may require information from Qualified Scheduling Entities (QSEs) and Transmission Operators (TOs).  Typical information requested may include, but is not limited to:

(a)
Resource fuel capabilities;

(b)
Resource condition details; and

(c)
Actual weather conditions.

(3)
ERCOT will provide verbal notice of an OCN to all TOs and QSEs representing Resources and post the message electronically to the ERCOT website.  When an OCN is issued, it does not place ERCOT in an Emergency Condition.  QSEs should notify appropriate Resources, Retail Electric Providers (REPs) and Load Serving Entities (LSEs).  TOs should notify their represented Transmission Service Providers (TSPs) as appropriate.

	[NOGRR177:  Replace paragraph (3) above with the following upon system implementation of NPRR857:]

(3)
ERCOT will provide verbal notice of an OCN to all TOs and QSEs representing Resources and post the message electronically to the ERCOT website.  When an OCN is issued, it does not place ERCOT in an Emergency Condition.  QSEs should notify appropriate Resources, Retail Electric Providers (REPs) and Load Serving Entities (LSEs).  TOs should notify their represented Transmission Service Providers (TSPs) and Direct Current Tie Operators (DCTOs) as appropriate.


4.2.2

Advisory

(1)
An Advisory will be issued by ERCOT in accordance with Protocol Section 6.5.9.3.2, Advisory, when it recognizes that conditions are developing or have changed such that QSE and/or TO actions may be prudent in response to impending Emergency Conditions. 

(2)
ERCOT may require information from QSEs and TOs.  Typical information requested may include, but is not limited to: 

(a)
Resource fuel capabilities;

(b)
Resource condition details; and

(c)
Actual weather conditions.

(3)
When an Advisory is issued for Physical Responsive Capability (PRC) below 3,000 MW and ERCOT expects system conditions to deteriorate to the extent that an Energy Emergency Alert (EEA) Level 2 or 3 may be experienced, ERCOT shall evaluate constraints active in Security-Constrained Economic Dispatch (SCED) and determine which constraints have the potential to limit generation output.  

(a)
Upon identification of such constraints, ERCOT shall coordinate with the TSPs that own or operate the overloaded Transmission Facilities associated with those constraints, as well as the Resource Entities whose generation output may be limited, to determine whether:

	[NOGRR177:  Replace paragraph (a) above with the following upon system implementation of NPRR857:]

 (a)
Upon identification of such constraints, ERCOT shall coordinate with the TSPs and DCTOs that own or operate the overloaded Transmission Facilities associated with those constraints, as well as the Resource Entities whose generation output may be limited, to determine whether:


(i) 
A 15-Minute Rating is available that allows for additional transmission capacity for use in congestion management, if an EEA Level 2 or 3 is declared, and post-contingency actions can be taken within 15 minutes to return the flow to within the Emergency Rating.  Such actions may include, but are not limited to, reducing the generation that increased output as a result of enforcing the 15-Minute Rating rather than the Emergency Rating; 

(ii)
Post-contingency loading of the Transmission Facilities is expected to be at or below Normal Rating within two hours; or
(iii)
Additional transmission capacity could allow for additional output from a limited Generation Resource by taking one of the following actions:

(A) Restoring Transmission Elements that are out of service:

(B) Reconfiguring the transmission system; or

(C) Making adjustments to phase angle regulator tap positions.

If ERCOT determines that one of the above-mentioned actions allows for additional output from a limited Generation Resource, ERCOT may instruct the TSPs to take the action(s) during the Advisory to allow for additional output from the limited Generation Resource. 
(b) 
ERCOT shall also coordinate with TSPs who own and operate the Transmission Facilities associated with the double-circuit contingencies for the constraints identified above to determine whether the double-circuit failures are at a high risk of occurring due to system conditions, which may include: severe weather conditions forecasted by ERCOT in the vicinity of the double-circuit, weather conditions that indicate a high risk of insulator flashover on the double-circuit, repeated Forced Outages of the individual circuits that are part of the double-circuit in the preceding 48 hours, or fire in progress in the right of way of the double-circuit. 
	[NOGRR177:  Replace paragraph (b) above with the following upon system implementation of NPRR857:]

(b) 
ERCOT shall also coordinate with TSPs and DCTOs who own and operate the Transmission Facilities associated with the double-circuit contingencies for the constraints identified above to determine whether the double-circuit failures are at a high risk of occurring due to system conditions, which may include: severe weather conditions forecasted by ERCOT in the vicinity of the double-circuit, weather conditions that indicate a high risk of insulator flashover on the double-circuit, repeated Forced Outages of the individual circuits that are part of the double-circuit in the preceding 48 hours, or fire in progress in the right of way of the double-circuit. 


(c)
The actions detailed in this Section shall be supplemental to the development and maintenance of Constraint Management Plans (CMPs) as otherwise directed by the Protocols or Operating Guides.
(4)
ERCOT shall provide verbal notice of an Advisory to all TOs and QSEs representing Resources and shall post the message electronically to the ERCOT website.  When an Advisory is issued, it does not place ERCOT in an Emergency Condition.  QSEs shall notify appropriate Resources, REPs and LSEs of Advisories.  TOs should notify their represented TSPs as appropriate of Advisories.

	[NOGRR177:  Replace paragraph (4) above with the following upon system implementation of NPRR857:]

 (4)
ERCOT shall provide verbal notice of an Advisory to all TOs and QSEs representing Resources and shall post the message electronically to the ERCOT website.  When an Advisory is issued, it does not place ERCOT in an Emergency Condition.  QSEs shall notify appropriate Resources, REPs, and LSEs of Advisories.  TOs should notify their represented TSPs or DCTOs as appropriate of Advisories.


4.2.3

Watch

(1)
A Watch may be issued by ERCOT in accordance with Protocol Section 6.5.9.3.3, Watch, when it recognizes that conditions have developed such that an Emergency Condition exists or is imminent.

(2)
ERCOT may require information from QSEs and TOs.  Typical information requested may include, but is not limited to:

(a)
Resource fuel capabilities;

(b)
Resource condition details; and

(c)
Actual weather conditions.

(3)
When a post-contingency overload of an element cannot be rectified, including through the use of CMPs, ERCOT shall issue a Watch.

(4)
ERCOT shall provide verbal notice of the Watch to all TOs and QSEs representing Resources and shall post the message electronically to the ERCOT website.  QSEs shall notify appropriate Resources, REPs and LSEs.  TOs shall notify their represented TSPs.  

	[NOGRR177:  Replace paragraph (4) above with the following upon system implementation of NPRR857:]

(4)
ERCOT shall provide verbal notice of the Watch to all TOs and QSEs representing Resources and shall post the message electronically to the ERCOT website.  QSEs shall notify appropriate Resources, REPs, and LSEs.  TOs shall notify their represented TSPs or DCTOs.


4.2.4
Emergency Notice

(1)
An Emergency Notice will be issued by ERCOT in accordance with Protocol Section 6.5.9.3.4, Emergency Notice, when ERCOT is operating in an Emergency Condition.  This includes when ERCOT is considered to be in an insecure state when ERCOT Transmission Grid status is such that a Credible Single Contingency event presents the threat of uncontrolled separation of cascading Outages and/or large-scale service disruption to Load (other than Load being served from a single-feed transmission service) and/or overload of a Transmission Facility, and no timely solution is obtainable from the market.

(2)
ERCOT shall provide verbal notice of an Emergency Notice to all TOs and QSEs representing Resources and shall post the message electronically to the ERCOT website.

(3)
When an Emergency Notice is issued, ERCOT is operating in an Emergency Condition.  QSEs shall notify appropriate Resources, REPs and LSEs.  TOs shall notify their represented TSPs and LSEs.  

	[NOGRR177:  Replace paragraph (3) above with the following upon system implementation of NPRR857:]

(3)
When an Emergency Notice is issued, ERCOT is operating in an Emergency Condition.  QSEs shall notify appropriate Resources, REPs and LSEs.  TOs shall notify their represented TSPs, DCTOs, and LSEs.  


4.5.3.3
EEA Levels
(1)
ERCOT will declare an EEA Level 1 when PRC falls below 2,300 MW and is not projected to be recovered above 2,300 MW within 30 minutes without the use of the following actions that are prescribed for EEA Level 1: 

(a)
ERCOT shall take the following steps to maintain steady state system frequency near 60 Hz and maintain PRC above 1,750 MW:

(i)
Request available Generation Resources, that can perform within the expected timeframe of the emergency, to come On-Line by initiating manual HRUC or through Dispatch Instructions;

(ii)
Use available DC Tie import capacity that is not already being used; 

(iii)
Issue a Dispatch Instruction for Resources to remain On-Line which, before start of emergency, were scheduled to come Off-Line; and

(iv)
At ERCOT’s discretion, deploy available contracted Emergency Response Service (ERS)-30 via an Extensible Markup Language (XML) message followed by a Verbal Dispatch Instruction (VDI) to the all-QSE Hotline.  The ERS-30 ramp period shall begin at the completion of the VDI.
	[NOGRR213:  Replace paragraph (iv) above with the following upon system implementation of NPRR998:]
(iv)
At ERCOT’s discretion, deploy available contracted Emergency Response Service (ERS)-30 via an Extensible Markup Language (XML) message followed by a Verbal Dispatch Instruction (VDI) to the all-QSE Hotline.  ERCOT shall post a message electronically to the Market Information System (MIS) Public Area that ERS-30 has been deployed.  The ERS-30 ramp period shall begin at the completion of the VDI.


(A)
If less than 500 MW of ERS-30 is available for deployment, ERCOT shall deploy it as a single block.  

(B)
If the amount of ERS-30 available for deployment equals or exceeds 500 MW, ERCOT, at its discretion, may deploy ERS-30 as a single block or by group designation.  ERCOT shall develop a random selection methodology for determining how to place ERS Resources in ERS-30 into groups, and shall describe the methodology in a document posted to the Market Information System (MIS) Public Area.  Prior to the start of an ERS Contract Period for ERS-30, ERCOT shall notify QSEs representing ERS Resources in ERS-30 of their ERS Resources’ group assignments.

(C)
ERS-30 may be deployed at any time in a Settlement Interval.

(D)
Upon deployment, QSEs shall instruct their ERS Resources in ERS-30 to perform at contracted levels consistent with the criteria described in Section 8.1.3.1.4, Event Performance Criteria for Emergency Response Service Resources, until either ERCOT releases the ERS-30 deployment or the ERS-30 Resources have reached their maximum deployment time.  

(E)
ERCOT shall notify QSEs of the release of ERS-30 via an XML message followed by VDI to the all-QSE Hotline.  The VDI shall represent the official notice of ERS-30 release.  ERCOT may release ERS-30 as a block or by group designation. 
	[NOGRR213:  Replace paragraph (E) above with the following upon system implementation of NPRR998:]
(E)
ERCOT shall notify QSEs of the release of ERS-30 via an XML message followed by VDI to the all-QSE Hotline.  ERCOT shall post a message electronically to the MIS Public Area that ERS-30 has been recalled.  The VDI shall represent the official notice of ERS-30 release.  ERCOT may release ERS-30 as a block or by group designation. 


(F)
Upon release, an ERS Resource in ERS-30 shall return to a condition such that it is capable of meeting its ERS performance requirements as soon as practical, but no later than ten hours following the release.
(b)
QSEs shall:

(i)
Ensure COPs and telemetered High Sustained Limits (HSLs) are updated and reflect all Resource delays and limitations; and

(ii)
Suspend any ongoing ERCOT-required Resource performing testing.

	[NOGRR216:  Replace paragraph (b) above with the following upon system implementation of NPRR1002:]

(b)
QSEs shall:

(i)
Ensure COPs and telemetered HSLs are updated and reflect all Resource delays and limitations;

(ii)
Suspend any ongoing ERCOT required Resource performing testing; and

(iii)
Ensure that each of its ESRs suspends charging until the EEA is recalled, except under the following circumstances:

(A)
The ESR has a current SCED Base Point Instruction, Load Frequency Control Dispatch Instruction, or manual Dispatch Instruction to charge the ESR; 

(B)
The ESR is actively providing Primary Frequency Response; or 

(C)
The ESR is co-located behind a Point of Interconnection (POI) with onsite generation that is incapable of exporting additional power to the ERCOT System, in which case the ESR may continue to charge as long as maximum output to the ERCOT System is maintained. 


(2)
ERCOT may declare an EEA Level 2 when the clock-minute average system frequency falls below 59.91 Hz for 15 consecutive minutes.  ERCOT will declare an EEA Level 2 when PRC falls below 1,750 MW and is not projected to be recovered above 1,750 MW within 30 minutes without the use of the following actions that are prescribed for EEA Level 2: 
(a)
In addition to the measures associated with EEA Level 1, ERCOT shall take the following steps to maintain steady state system frequency at a minimum of 59.91 Hz and maintain PRC above 1,430 MW:

(i)
Instruct TSPs and Distribution Service Providers (DSPs) or their agents to reduce Customer Load by using distribution voltage reduction measures, if deemed beneficial by the TSP, DSP or their agents;

(ii)
Instruct TSPs and DSPs to implement any available Load management plans to reduce Customer Load;

(iii)
Instruct QSEs to deploy available contracted ERS-10 Resources, undeployed ERS-30 and/or deploy RRS supplied from Load Resources (controlled by high-set under-frequency relays).  ERCOT may deploy ERS-10, ERS-30 or RRS simultaneously or separately, and in any order.  ERCOT shall issue such Dispatch Instructions in accordance with the deployment methodologies described in paragraphs (iv) and (v) below and, if deploying ERS-30, the methodologies described in paragraph (1)(a)(iv) above.

	 [NOGRR186:  Replace paragraph (iii) above with the following upon system implementation of NPRR863:]
(iii)
Instruct QSEs to deploy available contracted ERS-10 Resources, undeployed ERS-30, and/or deploy ERCOT Contingency Reserve Service (ECRS) or RRS (controlled by high-set under-frequency relays) supplied from Load Resources.  ERCOT may deploy ERS-10, ERS-30, ECRS, or RRS simultaneously or separately, and in any order.  ERCOT shall issue such Dispatch Instructions in accordance with the deployment methodologies described in paragraphs (iv) and (v) below and, if deploying ERS-30, the methodologies described in paragraph (1)(a)(iv) above.


(iv)
ERCOT shall deploy ERS-10 via an XML message followed by a VDI to the all-QSE Hotline.  The ERS-10 ramp period shall begin at the completion of the VDI. 
	[NOGRR213:  Replace paragraph (iv) above with the following upon system implementation of NPRR998:]
(iv)
ERCOT shall deploy ERS-10 via an XML message followed by a VDI to the all-QSE Hotline.  ERCOT shall post a message electronically to the MIS Public Area that ERS-10 has been deployed.  The ERS-10 ramp period shall begin at the completion of the VDI. 


(A)
If less than 500 MW of ERS-10 is available for deployment, ERCOT shall deploy all ERS-10 Resources as a single block.  

(B)
If the amount of ERS-10 available for deployment equals or exceeds 500 MW, ERCOT, at its discretion, may deploy ERS-10 Resources as a single block or by group designation.  ERCOT shall develop a random selection methodology for determining how to place ERS-10 Resources into groups, and shall describe the methodology in a document posted to the MIS Public Area.  Prior to the start of an ERS-10 Contract Period, ERCOT shall notify QSEs representing ERS-10 Resources of their ERS-10 Resources’ group assignments.

(C)
ERS-10 may be deployed at any time in a Settlement Interval.

(D)
Upon deployment, QSEs shall instruct ERS-10 Resources to perform at contracted levels consistent with the criteria described in Protocol Section 8.1.3.1.4 until ERCOT releases the ERS-10 deployment or the ERS-10 Resources have reached their maximum deployment times.  

(E)
ERCOT shall notify QSEs of the release of ERS-10 via an XML message followed by VDI to the all-QSE Hotline.  The VDI shall represent the official notice of ERS-10 release. ERCOT may release ERS-10 as a block or by group designation.

	[NOGRR213:  Replace paragraph (E) above with the following upon system implementation of NPRR998:]
(E)
ERCOT shall notify QSEs of the release of ERS-10 via an XML message followed by VDI to the all-QSE Hotline.  ERCOT shall post a message electronically to the MIS Public Area that ERS-10 has been recalled.  The VDI shall represent the official notice of ERS-10 release.  ERCOT may release ERS-10 as a block or by group designation.


(F)
Upon release, an ERS-10 Resource shall return to a condition such that it is capable of meeting its ERS performance requirements as soon as practical, but no later than ten hours following the release.

 (v)
ERCOT shall deploy RRS capacity supplied by Load Resources (controlled by high-set under-frequency relays) in accordance with the following:
	[NOGRR186:  Replace paragraph (v) above with the following upon system implementation of NPRR863:]
(v)
Load Resources providing ECRS that are not controlled by high set under-frequency relays shall be deployed prior to Group 1 deployment.  ERCOT shall deploy ECRS and RRS capacity supplied by Load Resources (controlled by high-set under-frequency relays) in accordance with the following:


(A)
Instruct QSEs to deploy half of the RRS that is supplied from Load Resources (controlled by high-set under-frequency relays) by instructing the QSE representing the specific Load Resource to interrupt Group 1 Load Resources providing RRS.  QSEs shall deploy Load Resources according to the group designation and will be given some discretion to deploy additional Load Resources from Group 2 if Load Resource operational considerations require such.  ERCOT shall issue notification of the deployment via XML message.  ERCOT shall follow this XML notification with a Hotline VDI, which shall initiate the ten-minute deployment period;  

	[NOGRR186 and NOGRR198:  Replace applicable portions of paragraph (A) above with the following upon system implementation of NPRR863 or NPRR939:]
(A)
Instruct QSEs to deploy RRS with a Group 1 designation and all of the ECRS that is supplied from Load Resources (controlled by high-set under-frequency relays) by instructing the QSE representing the specific Load Resources to interrupt Group 1 Load Resources providing ECRS and RRS.  QSEs shall deploy Load Resources according to the group designation and will be given some discretion to deploy additional Load Resources from any of the groups not designated for deployment if Load Resource operational considerations require such.  ERCOT shall issue notification of the deployment via XML message.  ERCOT shall follow this XML notification with a Hotline VDI, which shall initiate the ten-minute deployment period;  


(B)
At the discretion of the ERCOT Operator, instruct QSEs to deploy the remaining RRS that is supplied from Load Resources (controlled by high-set under-frequency relays) by instructing the QSE representing the specific Load Resource to interrupt Group 2 Load Resources providing RRS.  ERCOT shall issue notification of the deployment via XML message.  ERCOT shall follow this XML notification with a Hotline VDI, which shall initiate the ten-minute deployment period;   

	[NOGRR198:  Replace paragraph (B) above with the following upon system implementation of NPRR939:]
(B)
At the discretion of the ERCOT Operator, instruct QSEs to deploy RRS that is supplied from Load Resources (controlled by high-set under-frequency relays) by instructing the QSE representing the specific Load Resource to interrupt additional Load Resources providing RRS based on their group designation. ERCOT shall issue notification of the deployment via XML message.  ERCOT shall follow this XML notification with a Hotline VDI, which shall initiate the ten-minute deployment period;   


(C)
The ERCOT Operator may deploy both of the groups of Load Resources providing RRS at the same time.  ERCOT shall issue notification of the deployment via XML message.  ERCOT shall follow this XML notification with a Hotline VDI, which shall initiate the ten-minute deployment period; and

	[NOGRR186 and NOGRR198:  Replace applicable portions of paragraph (C) above with the following upon system implementation of NPRR863 or NPRR939:]
(C)
The ERCOT Operator may deploy Load Resources providing only ECRS (not controlled by high-set under-frequency relays) and all groups of Load Resources providing RRS and ECRS at the same time.  ERCOT shall issue notification of the deployment via XML message.  ERCOT shall follow this XML notification with a Hotline VDI, which shall initiate the ten-minute deployment period; and


(D)
ERCOT shall post a list of Load Resources on the MIS Certified Area immediately following the Day-Ahead Reliability Unit Commitment (DRUC) for each QSE with a Load Resource obligation which may be deployed to interrupt under paragraph (A), Group 1 and paragraph (B), Group 2.  ERCOT shall develop a process for determining which individual Load Resource to place in Group 1 and which to place in Group 2.  ERCOT procedures shall select Group 1 and Group 2 based on a random sampling of individual Load Resources.  At ERCOT’s discretion, ERCOT may deploy all Load Resources at any given time during EEA Level 2. 

	[NOGRR198:  Replace paragraph (D) above with the following upon system implementation of NPRR939:]
(D)
ERCOT shall post a list of Load Resources on the MIS Certified Area immediately following the DRUC for each QSE with a Load Resource obligation which may be deployed to interrupt under paragraph (A) and paragraph (B).  ERCOT shall develop a process for determining which individual Load Resource to place in each group based on a random sampling of individual Load Resources.  At ERCOT’s discretion, ERCOT may deploy all Load Resources at any given time during EEA Level 2. 


(vi)
Unless a media appeal is already in effect, ERCOT shall issue an appeal through the public news media for voluntary energy conservation; and

(vii)
With the approval of the affected non-ERCOT Control Area, TSPs, DSPs, or their agents may implement transmission voltage level BLTs, which transfer Load from the ERCOT Control Area to non-ERCOT Control Areas in accordance with BLTs as defined in the Operating Guides. 

(b)
Confidentiality requirements regarding transmission operations and system capacity information will be lifted, as needed to restore reliability.
(3)
ERCOT may declare an EEA Level 3 when the clock-minute average system frequency falls below 59.91 Hz for 20 consecutive minutes.  ERCOT will declare an EEA Level 3 when PRC cannot be maintained above 1,430 MW or when the clock-minute average system frequency falls below 59.91 Hz for 25 consecutive minutes.  Upon declaration of an EEA Level 3, ERCOT will implement any measures associated with EEA Levels 1 and 2 that have not already been implemented. 
	[NOGRR216:  Insert paragraph (a) below and renumber accordingly upon system implementation of NPRR1002:]
(a) 
ERCOT shall instruct ESRs to suspend charging via a SCED Base Point instruction, or, if otherwise necessary, via a manual Dispatch instruction.  An ESR shall suspend charging unless providing Primary Frequency Response or LFC issues a charging instruction to ESRs that are carrying Regulation Down Service (Reg-Down).  However, an ESR co-located behind a POI with onsite generation that is incapable of exporting additional power to the ERCOT System may continue to charge as long as maximum output to the ERCOT System is maintained.


(a)
When PRC falls below 1,000 MW and is not projected to be recovered above 1,000 MW within 30 minutes, or when the clock-minute average frequency falls below 59.91 Hz for 25 consecutive minutes, ERCOT shall direct all TSPs and DSPs or their agents to shed firm Load, in 100 MW blocks, distributed as documented in these Operating Guides in order to maintain a steady state system frequency at a minimum of 59.91 Hz and to recover 1,000 MW of PRC within 30 minutes.  

(b)
In addition to measures associated with EEA Levels 1 and 2, TSPs and DSPs or their agents will keep in mind the need to protect the safety and health of the community and the essential human needs of the citizens.  Whenever possible, TSPs and DSPs or their agents shall not manually drop Load connected to under-frequency relays during the implementation of the EEA.

7.2.2

Metric of Availability

(1)
ICCP links must achieve availability as prescribed by the Telemetry Standards posted on the ERCOT website.  Availability metrics shall establish a process to coordinate downtime for ICCP links and database maintenance.  

(2)
ICCP links shall use fully redundant data communication from the Qualified Scheduling Entity (QSE) and Transmission Service Provider (TSP) control systems to the ERCOT System as required by the Protocols.

	[NOGRR177:  Replace paragraph (2) above with the following upon system implementation of NPRR857:]

(2)
ICCP links shall use fully redundant data communication from the WAN Participant control systems to the ERCOT System as required by the Protocols.


9.4.2
Resource-Specific Responsive Reserve Performance 

(1)
ERCOT shall develop monthly reports detailing Resource-specific Responsive Reserve (RRS) performance during deployments, including Load Resources, based on criteria described in Protocol Section 8.1.1.4.2, Responsive Reserve Service Energy Deployment Criteria.

(2)
ERCOT shall publish a daily report by 0930 or as soon as practicable on the ERCOT website for the sudden loss of generation greater than 450MW and shall include:

(a)
ERCOT Load at the time of each event;

(b)
Time of each event;

(c)
Amount of generation and Load lost contributing to the event;

(d)
Approximate lowest frequency; and

(e)
If there is no loss of generation, the report shall state “No Loss of generation greater than 450MW or greater.”

10.1 
Direct Current Tie Outage Information

(1)
In addition to requirements in Protocol Sections 3.1.4.4, Management of Resource or Transmission Forced Outages or Maintenance Outages, and 3.1.5.1, ERCOT Evaluation of Planned Outage and Maintenance Outage of Transmission Facilities, Transmission Service Providers (TSPs) shall also enter the following information into the Outage Scheduler:

	[NOGRR177:  Replace paragraph (1) above with the following upon system implementation of NPRR857:]

(1)
In addition to requirements in Protocol Sections 3.1.4.4, Management of Resource or Transmission Forced Outages or Maintenance Outages, and 3.1.5.1, ERCOT Evaluation of Planned Outage and Maintenance Outage of Transmission Facilities, Direct Current Tie Operators (DCTOs) shall also enter the following information into the Outage Scheduler:


(a)
Specific work being performed; and

(b)
If the Outage is due to work being performed on the Direct Current Tie (DC Tie) or if there is another Outage in the ERCOT Control Area which also requires an Outage on the DC Tie. 

(2)
As soon as practicable, ERCOT shall post the DC Tie name, start date/time, and end date/time for Forced Outages and Derates on the ERCOT website.

(3)
One Business Day following the approval or cancellation of a Transmission Facility’s Outage which requires a DC Tie Outage or DC Tie derate, ERCOT shall post the following information on the ERCOT website:

(a)
Equipment name of impacted Transmission Facilities;

(b)
Start date and time of impacted Transmission Facilities;

(c)
End date and time of impacted Transmission Facilities;

(d)
General description of work being performed on impacted Transmission Facilities; and

(e)
If the Outage is due to work being performed on the DC Tie or if there is a transmission Outage in the ERCOT Control Area which also requires an Outage on the DC Tie.

(4)
One Business Day following the approval or cancellation of a Resource Outage, which requires a DC Tie Outage or DC Tie derate, ERCOT shall post the following information on the ERCOT website:

(a)
Name of impacted DC Tie;

(b)
Start date and time of impacted DC Tie;

(c)
End date and time of expected DC Tie Outage or DC Tie; and

(d)
Explanation that the DC Tie Outage or DC Tie derate is due to a Resource Outage. 
�Please note NOGRR207 also proposes revisions to this section.


�Please note NOGRR207 also proposes revisions to this section.


�Please note NOGRR199 also proposes revisions to this section.





PRR_Template.doc
Page 2 of 2
PRR_Template.doc
Page 2 of 2
217NOGRR-12 Board Report 120820
Page 18 of 18
PUBLIC

_1669226045.unknown

_1669226046.unknown

_1669226043.unknown

_1669226044.unknown

_1669226042.unknown

_1669226041.unknown

