- Section 2:

PGRR082 – Revise Section 5 and Establish Small Generation Interconnection Process

This Planning Guide Revision Request (PGRR) creates a new interconnection process for generators and generator modifications that are less than ten MW in size.  This PGRR also extends the generator interconnection process to apply to distribution-connected Generation Resources and Settlement Only Generators (SOGs), and clarifies the roles of ERCOT and Transmission and/or Distribution Service Providers (TDSPs) in interconnecting these generators, and reorganizes Section 5, Generation Resource Interconnection or Change Request, eliminates duplicative language, and provides further clarifications of existing requirements.

Revised Subsection:  2.2 [effective upon system implementation]

- Section 3:

PGRR083 – Add RPG Project Number and TPIT Revisions

This Planning Guide Revision Request (PGRR) adds a requirement for ERCOT to assign a Regional Planning Group (RPG) project number for projects submitted for RPG review.  It also removes the specification of some Transmission Service Provider (TSP) provided Transmission Project Information Tracking (TPIT) information from the Planning Guide.  This PGRR also addresses a discrepancy related to the RPG comment period in paragraph (1) of Section 3.1.4.2, Use of Regional Transmission Plan.

Revised Subsections:  3.1.4.2, 3.1.5

PGRR084 – Related to NPRR1039, Replace the Term MIS Public Area with ERCOT Website

This Planning Guide Revision Request (PGRR) removes the defined term Market Information System (MIS) Public Area from the Planning Guide and replaces any references to MIS Public Area with “ERCOT website.”

Revised Subsections:  3.1.4.1.1, 3.1.8

- Section 5:

PGRR081 – Related to NPRR1026, BESTF-7 Self-Limiting Facilities

This Planning Guide Revision Request (PGRR) describes how Self-Limiting Facilities will be evaluated in the Generation Resource Interconnection or Change Request (GINR) process.

Revised Subsection:  5.2.3 (new) [effective upon system implementation]

PGRR082 – Revise Section 5 and Establish Small Generation Interconnection Process

See Section 2 above.

Revised Subsections:  5, 5.1, 5.1.1 (delete), 5.1.2 (delete), 5.2, 5.2.1, 5.2.2, 5.2.4 (new), 5.2.5 (new), 5.2.6 (new), 5.2.7 (new), 5.2.8 (new), 5.2.9 (new), 5.2.9.1 (new), 5.2.9.2 (new), 5.2.9.3 (new), 5.3, 5.3.1, 5.3.2, 5.3.2.1 (new), 5.3.2.2 (new), 5.3.2.3 (new), 5.3.2.4 (new), 5.3.2.4.1 (new), 5.3.2.4.2 (new), 5.3.2.4.3 (new), 5.3.2.4.4 (new), 5.3.2.5 (new), 5.3.3 (new), 5.3.4 (new), 5.3.5 (new), 5.4, 5.4.1, 5.4.2, 5.4.2.1 (delete), 5.4.2.2 (delete), 5.4.3, 5.4.4, 5.4.5 (delete), 5.4.6 (delete), 5.4.7 (delete), 5.4.8 (delete), 5.4.9 (delete), 5.4.10 (delete), 5.5, 5.5.1 (delete), 5.5.2 (delete), 5.5.3 (delete), 5.5.4 (delete), 5.6 (delete), 5.7 (delete), 5.7.1 (delete), 5.7.2 (delete), 5.7.3 (delete), 5.7.4 (delete), 5.7.5 (delete), 5.7.6 (delete), 5.7.7 (delete), 5.8 (delete), 5.8.1 (delete), 5.8.2 (delete), 5.9 (delete) [effective upon system implementation]

PGRR084 – Related to NPRR1039, Replace the Term MIS Public Area with ERCOT Website

See Section 3 above.

Revised Subsection:  5.2.1

- Section 6:

PGRR082 – Revise Section 5 and Establish Small Generation Interconnection Process

See Section 2 above.

Revised Subsection:  6.9 [effective upon system implementation]

PGRR083 – Add RPG Project Number and TPIT Revisions

See Section 3 above.

Revised Subsection:  6.4.3

PGRR084 – Related to NPRR1039, Replace the Term MIS Public Area with ERCOT Website

See Section 3 above.

Revised Subsections:  6.8, 6.8.1, 6.11

- Administrative Changes:

- Non-substantive administrative changes were made such as spelling corrections, formatting, and correcting Section numbering and references.

Revised Subsections:  3.1.4.1.1, 3.1.5, 3.1.8, 5.2.2, 5.2.5, 5.3.2, 5.3.2.5.1, 5.4.3, 5.9, 6.1, 6.7, 6.8.1, 6.10, 6.11