APPROVED

Minutes of the Reliability Operations Subcommittee (ROS) Meeting

Webex Only

Thursday, October 8, 2020 – 9:30 a.m.

| Attendance |  |  |
| --- | --- | --- |
| Members: |  |  |
| Alvarez, Eli | Brownsville PUB |  |
| Ayers-Brasher, Jennifer | RWE Renewables |  |
| Bowen, Kenneth | CPS Energy |  |
| Bunch, Kevin | EDF Trading North America |  |
| Claiborn-Pinto, Shawnee | OPUC |  |
| Ebrahimian, Reza | Austin Energy |  |
| Evans, Doug | South Texas Electric Cooperative |  |
| Greer, Clayton | Morgan Stanley |  |
| Haley, Ian | Luminant Generation |  |
| Hudson, Tony | Texas-New Mexico Power |  |
| Koenig, Chris | Golden Spread Electric Cooperative |  |
| Kunkel, Dennis | AEP Service Corporation |  |
| Lee, Billy | Garland Power and Light |  |
| Marr, Daniel | LCRA |  |
| Matt, Kevin | Reliant |  |
| Nashawati, Eithar | Oncor |  |
| Reed, Cyrus | Sierra Club |  |
| Reid, Mike | Air Liquide |  |
| Smith, Chase | Southern Power Co |  |
| Staples, Boone | Tenaska Power Services |  |
| Surendran, Resmi | Shell Energy |  |
| Valagura, Bill | Calpine Corporation |  |
| Woitt, Wes | CenterPoint Energy |  |

| - Guests: |  |  |  |  |
| --- | --- | --- | --- | --- |
| Aldridge, Ryan | AB Power Advisors |  |  |  |
| Barnes, Bill | NRG |  |  |  |
| Bivens, Carrie | Potomac Economics |  |  |  |
| Borkar, Sandeep | LCRA |  |  |  |
| Bruce, Mark | Cratylus Advisors |  |  |  |
| Burnett, Ben | CenterPoint Energy |  |  |  |
| Chatlani, Varsha | Boston Energy |  |  |  |
| Checkley, Jim | CTT |  |  |  |
| Cochran, Seth | DC Energy |  |  |  |
| Coleman, Diana | CPS Energy |  |  |  |
| Coleman, Katie | GSEC |  |  |  |
| Cook, Tim | CTT |  |  |  |
| Coultas, Ann | Enel |  |  |  |
| Cripe, Ramsey | Schneider Engineering |  |  |  |
| Donaldson, Rodica | EDF Renewables |  |  |  |
| Downey, Martin |  |  |  |  |
| Dreyfus, Mark | MD Energy Consulting |  |  |  |
| Du, Yan | Siemens |  |  |  |
| Dumas, John | LCRA |  |  |  |
| Egunjobi, Ransome | LCRA |  |  |  |
| Gillespie, Joe | Bank of America |  |  |  |
| Greaff, Venona | Oxy |  |  |  |
| Gross, Blake | AEPSC |  |  |  |
| Guo, Chenyan | Lone Star Transmission |  |  |  |
| Helton, Bob | ENGIE |  |  |  |
| Henderson, Norris | FERC |  |  |  |
| Henry, Mark | Texas Reliability Entity |  |  |  |
| Henson, Martha | Oncor |  |  |  |
| Jablonski, Ward | CenterPoint Energy |  |  |  |
| Jackson, Jimmy | CPS Energy |  |  |  |
| Jewell, Michael | Jewell and Associates |  |  |  |
| Johnson, Anthony | CenterPoint Energy |  |  |  |
| Johnson, Emma | Key Capture Energy |  |  |  |
| Jolly, Emily | LCRA |  |  |  |
| Joshi, Karan | Pattern Energy |  |  |  |
| Kandah, Amjed | Oncor |  |  |  |
| Karmakar, Abhijeet | EE+ |  |  |  |
| Keenan, Matthew | Enel |  |  |  |
| Khan, Naved | LCRA |  |  |  |
| Khayat, Maribel | CenterPoint Energy |  |  |  |
| Khripko, Ilya | Long Road Energy |  |  |  |
| Koellner, Kris | LCRA |  |  |  |
| Kopin, Dan | Utility Services |  |  |  |
| Lange, Clif | South Texas Electric Cooperative |  |  |  |
| Liu, Meng | Tenaska Power Services |  |  |  |
| Mahoor, Mohsen | DNVGL |  |  |  |
| Martin, Collin | Oncor |  |  |  |
| Mathew, Biju | LCRA |  |  |  |
| McClellan, Suzi | Good Company and Associates |  |  |  |
| Mercado, David | CenterPoint Energy |  |  |  |
| Mulholland, Chad | NRG |  |  |  |
| Musher, Danny | Key Capture Energy |  |  |  |
| Nagarajan, Ramya | CTT |  |  |  |
| Nguyen, Andy | LCRA |  |  |  |
| Pappu, Ajay | Invenergy |  |  |  |
| Penney, David | Texas Reliability Entity |  |  |  |
| Picone, Benjamin | RES |  |  |  |
| Preas, Dylan | LCRA |  |  |  |
| Pressler, Glenn | CPS Energy |  |  |  |
| Rainwater, Kim | LCRA |  |  |  |
| Ravulapati, Bharath | CTT |  |  |  |
| Reid, Walter | Advanced Power Alliance |  |  |  |
| Rich, Katie | GSEC |  |  |  |
| Richmond, Michele | TCPA |  |  |  |
| Rochelle-Bradburn, Jennifer | Customized Energy Solutions |  |  |  |
| Rollow, Brett | Orsted |  |  |  |
| Sams, Bryan | Calpine |  |  |  |
| Sauter, Megan | Oncor |  |  |  |
| Setzer, Jonas | CPS Energy |  |  |  |
| Schwarz, Brad | Sharyland |  |  |  |
| Siddiqi, Shams | Crescent Power Consulting |  |  |  |
| Simpson, Lori | Exelon |  |  |  |
| Sithuraj, Murali | Austin Energy |  |  |  |
| Smith, Chris | Austin Energy |  |  |  |
| Snyder, John | Clearway Energy |  |  |  |
| Stupar, Rob | Invenergy |  |  |  |
| Turner, Lucas | South Texas Electric Cooperative |  |  |  |
| Varnell, John | Tenaska Power Services |  |  |  |
| Velasquez, Ivan | Oncor |  |  |  |
| White, Lauri | AEP Texas |  |  |  |
| Whitworth, Doug | Texas Reliability Entity |  |  |  |
| Wittmeyer, Bob | Longhorn Power |  |  |  |
| Woods, Brad | Texas Reliability Entity |  |  |  |
| Yatar, J-M | CenterPoint Energy |  |  |  |
| Zhang, Li | Calpine |  |  |  |
| ERCOT Staff: |  |  |  |  |
| Albracht, Brittney |  |  |  |  |
| Bernecker, John |  |  |  |  |
| Bezzam, Joseph |  |  |  |  |
| Bigbee, Nathan |  |  |  |  |
| Billo, Jeff |  |  |  |  |
| Bracy, Phil |  |  |  |  |
| Chan Wu, Vanessa |  |  |  |  |
| Cheng, Yong |  |  |  |  |
| Cheng, Yunzhi |  |  |  |  |
| Clifton, Suzy |  |  |  |  |
| Cyphers, Darrell |  |  |  |  |
| Daryabak, Mehdi |  |  |  |  |
| Du, Pengwei |  |  |  |  |
| Ganjoo, Shalesh |  |  |  |  |
| Garcia, Freddy |  |  |  |  |
| Gnanam, Prabhu |  |  |  |  |
| Gonzalez, Emmanuel |  |  |  |  |
| Huang, Fred |  |  |  |  |
| Jones, Dan |  |  |  |  |
| Jowlabar, Nicholas |  |  |  |  |
| Kang, Sun Wook |  |  |  |  |
| Khan, Muhammad |  |  |  |  |
| Lasher, Warren |  |  |  |  |
| Lee, Raymund |  |  |  |  |
| Lofton, Amy |  |  |  |  |
| Mago, Nitika |  |  |  |  |
| Mereness, Matt |  |  |  |  |
| Miller, Megan |  |  |  |  |
| Orr, Robb |  |  |  |  |
| Phillips, Cory |  |  |  |  |
| Salinas, Justin |  |  |  |  |
| Sanchez, Daniel |  |  |  |  |
| Sanchez, Lilia |  |  |  |  |
| Sharma, Sandip |  |  |  |  |
| Solis, Stephen |  |  |  |  |
| Stice, Clayton |  |  |  |  |
| Teixeira, Jay |  |  |  |  |
| Thompson, Chad |  |  |  |  |
| Thuerwaechter, Kashia |  |  |  |  |
| Williams, Leslie |  |  |  |  |
| Woodfin, Dan |  |  |  |  |
| Wook Kang, Sun |  |  |  |  |
| Xiao, Hong |  |  |  |  |
| Yan, Ping |  |  |  |  |

Unless otherwise indicated, all Market Segments were present for a vote.

Kevin Bunch called the October 8, 2020 ROS meeting to order at 9:30 a.m.

Antitrust Admonition

Mr. Bunch directed attention to the Antitrust Admonition, which was displayed.

Agenda Review

Mr. Bunch reviewed items scheduled for a vote and noted changes to the agenda.

- Approval of Meeting Minutes (see Key Documents)

- September 3, 2020

- Market Participants reviewed the September 3, 2020 ROS meeting minutes.  Mr. Bunch noted this item could be considered for inclusion in the Combined Ballot.

- Technical Advisory Committee (TAC) Update and Assignments

Mr. Bunch reviewed the disposition of items considered at the September 23, 2020 TAC meeting.

- ERCOT Reports (see Key Documents)

- Operations Report

- Freddy Garcia reviewed the August 2020 Operations Report.

System Planning Report

Ping Yan presented the August 2020 System Planning Report.

West Texas Export GTC

Yunzhi Cheng summarized the West Texas Export Generic Transmission Constraint (GTC) study, including stability issues, historical data, results and impacts of future projects.   Mr. Cheng stated that after completion of the pending projects, and in consideration of additional installed capacity and Quarterly Stability Assessments (QSAs) there may be a need to use a different GTC or set of GTCs to manage the overall West Texas export instability, however he noted that alternative GTC interfaces may be more efficient once the online Transient Security Assessment Tool (TSAT) is available.  Market Participants and ERCOT Staff discussed the scope of future studies to address the stability issues as discussed at the September 15, 2020 Regional Planning Group (RPG) meeting, updates to the System Operating Limits (SOL) Methodology, potential impacts from Battery Energy Storage (BES) Resources, and the 2021 Regional Transmission Plan (RTP).

Real-Time Co-Optimization Task Force (RTCTF) Update (see Key Documents)

Nodal Operating Guide Revision Request (NOGRR) 211, RTC – NOG 2 and 9: System Operations and Control Requirements and Monitoring Programs

Matt Mereness summarized RTCTF activities, reviewed the proposed timeline for NOGRR211 to proceed through the stakeholder process on Urgent status, encouraged Market Participants to attend the October 21, 2020 RTCTF  meeting to discuss the technical issues in NOGRR211, and requested ROS consider NOGR211 at the November 5, 2020 ROS meeting.

New Protocol Revision Subcommittee (PRS) Referrals (see Key Documents)

Nodal Protocol Revision Request (NPRR) 1040, Compliance Metrics for Ancillary Service Supply Responsibility

John Dumas summarized NPRR1040 and discussion at the October 7, 2020 Wholesale Market Subcommittee (WMS) Meeting.  Market Participants discussed additional review of performance metrics by the Performance Disturbance Compliance Working Group (PDCWG) after WMS considered NPRR1040.  Mr. Bunch noted this item could be considered for inclusion in the Combined Ballot.

Revision Requests Tabled at PRS, Referred to ROS (see Key Documents)

NPRR979, Incorporate State Estimator Standards and Telemetry Standards into Protocols

ROS took no action on this item.

Review of ROS Revision Requests (see Key Documents)

Impact Analyses

Planning Guide Revision Request (PGRR) 083, Add RPG Project Number and TPIT Revisions

NOGRR207, Related to NPRR1001, Clarification of Definitions of Operating Condition Notice, Advisory, Watch, Emergency Notice, and Related Clarifications

Resource Registration Glossary Revision Request (RRGRR) 025, Related to NPRR1005, Clarify Definition of Point of Interconnection (POI) and Add Definition Point of Interconnection Bus (POIB)

NOGRR217, Related to NPRR1039, Replace the Term MIS Public Area with ERCOT Website

PGRR084, Related to NPRR1039, Replace the Term MIS Public Area with ERCOT Website

Market Participants reviewed the Impact Analyses for PGRR083, NOGRR207, RRGRR025, NOGRR217, and PGRR084.  Mr. Bunch noted these items could be considered for inclusion in the Combined Ballot.

NOGRR210, Related to NPRR1005, Clarify Definition of Point of Interconnection (POI) and Add Definition Point of Interconnection Bus (POIB)

Market Participants reviewed the 10/6/20 ERCOT comments and Impact Analysis for NOGRR210.  Mr. Bunch noted this item could be considered for inclusion in the Combined Ballot.

Language Review

NOGRR219, Related to NPRR1045, Transmission Operator Definition and Designation

Market Participants discussed NOGRR219 and requested review of the issues by the Operations Working Group (OWG).  Mr. Bunch noted this item could be considered for inclusion in the Combined Ballot.

NOGRR220, Greybox Baseline Updates re NOGRR212

Market Participants discussed NOGRR220.  Mr. Bunch noted this item could be considered for inclusion in the Combined Ballot.

PGRR085, Dynamic Model Improvements

Fred Huang summarized PGRR085.  Mr. Huang and Market Participants discussed the pros and cons of generic models and the importance of verifying model data and identifying potential issues as early as possible.  Market Participants requested review of the issues by the Planning Working Group (PLWG) and Dynamics Working Group (DWG).  Mr. Bunch noted this item could be considered for inclusion in the Combined Ballot.

RRGRR027, Clarify Models Required to Proceed with an FIS

PGRR086, Related to RRGRR027, Clarify Models Required to Proceed with an FIS

Ann Coultas summarized RRGRR027 and PGRR086.  Market Participants requested review of the issues by PLWG.  Mr. Bunch noted these items could be considered for inclusion in the Combined Ballot.

PGRR087, Remedial Action Scheme Planning Assumptions

Jeff Billo summarized PGR087 and requested PLWG review the issue.  Mr. Bunch noted this item could be considered for inclusion in the Combined Ballot.

Revision Requests Tabled at ROS (see Key Documents)

PGRR073, Related to NPRR956, Designation of Providers of Transmission Additions

NOGRR199, Related to NPRR979, Incorporate State Estimator Standards and Telemetry Standards into Protocols

ROS took no action on these items.

NOGRR215, Limit Use of Remedial Action Schemes

Katie Rich encouraged Market Participants to attend the November 2, 2020 Joint OWG and Congestion Management Working Group (CMWG) meeting to discuss NOGRR215.

PGRR081, Related to NPRR1026, BESTF-7 Self-Limiting Facilities and Self-Limiting Resources

Sandip Sharma summarized PGRR081 and the 9/22/20 ERCOT comments.  Mr. Bunch noted this item could be considered for inclusion in the Combined Ballot.

PGRR082, Revise Section 5 and Establish Small Generation Interconnection Process

Megan Miller summarized PGRR082 and the 10/2/20 ERCOT comments.  Mr. Bunch noted PLWG was in consensus to recommend ROS approve PGRR082 at the September 3, 2020 ROS meeting.  Mr. Bunch noted this item could be considered for inclusion in the Combined Ballot.

PDCWG (see Key Documents)

Chad Mulholland reviewed PDCWG activities.

NPRR1034, Frequency-Based Limits on DC Tie Imports or Exports

ROS took no action on this item.

OBDRR025, Clarification for the RRS Limit on Individual Non-Thermal Generation Resources (Waive Notice)

Mr. Mulholland summarized OBDRR025, the 10/5/20 NRG comments, and discussion at the September 8, 2020 PDCWG meeting.  Market Participants and ERCOT Staff discussed the Responsive Reserve (RRS) limit for individual non-thermal Generations Resources and potential clarifications, timeline, and appropriate procedural path forward.    Mr. Bunch requested PDCWG review the issues at the October 14, 2020 PDCWG meeting in an open forum.

Combined Ballot

Ian Haley moved to approve the Combined Ballot as follows:

- To approve the September 3, 2020 ROS meeting minutes as submitted

- To request PRS continue to table NPRR1040

- To endorse and forward to TAC the 9/3/20 ROS Report and the Impact Analysis for PGRR083

- To endorse and forward to TAC the 9/3/20 ROS Report and the Impact Analysis for NOGRR207

- To endorse and forward to TAC the 9/3/20 ROS Report, as amended by the 10/6/20 ERCOT comments, and Impact Analysis for NOGRR210

- To endorse and forward to TAC the 9/3/20 ROS Report and Impact Analysis for RRGRR025

- To endorse and forward to TAC the 9/3/20 ROS Report and Impact Analysis for NOGRR217

- To endorse and forward to TAC the 9/3/20 ROS Report and Impact Analysis for PGRR084

- To table NOGRR219 and refer the issue to OWG

- To recommend approval of NOGRR220 as submitted

- To table PGRR085 and refer the issue to PLWG and DWG

- To table RRGRR027 and refer the issue to PLWG

- To table PGRR086 and refer the issue to PLWG

- To table PGRR087 and refer the issue to PLWG

- To recommend approval of PGRR081 as amended by the 9/22/20 ERCOT comments

- To recommend approval of PGRR082 as amended by the 10/2/20 ERCOT comments

Shawnee Claiborn-Pinto seconded the motion.  The motion carried unanimously via roll call vote.  (Please see ballot posted with Key Documents.)

Network Data Support Working Group (NDSWG) (see Key Documents)

J-M Yatar reviewed NDSWG activities.

Planning Geomagnetic Disturbance Task Force (PGDTF) (see Key Documents)

Amjed Kandah reviewed PGDTF activities.

Steady State Working Group (SSWG) (see Key Documents)

Naved Khan reviewed SSWG activities.

Other Business

2021 ERCOT Membership/Segment Representative Elections

Suzy Clifton reminded Market Participants that the membership date of record is Friday, November 6, 2020, highlighted changes in membership and fee submittal due to COVID19 restrictions, and stated that 2021 Segment Representative Elections would begin on Monday, November 9, 2020.

Distributed Generation (DG) Resource Workshop X

Clayton Stice encouraged Market Participants to attend the October 15, 2020 DGR Workshop X by Webex only.

Review of Open Action Items

Market Participants took no action on this item.

No Report

- Black Start Working Group (BSWG)

- DWG

- Operations Training Group (OTWG)

- OWG

- PLWG

- System Protection Working Group (SPWG)

- Voltage Profile Working Group (VPWG)

Adjournment

Mr. Bunch adjourned the October 8, 2020 ROS meeting 12:57 p.m.

- Key Documents referenced in these minutes may be accessed on the ERCOT website at:

- http://www.ercot.com/calendar/2020/10/8/189417-ROS