## 1 - Misoperation Summary Form
Summary Field | Value
Data Submission Year
Data Submission Quarter
Entity Type
Entity Name
Has the Entity experienced a Misoperation this Quarter
Does the Entity own a Transmission or Generation Protection System
Does the Entity own an Undervoltage Load Shed (UVLS) Protection System
Does the Entity own an Underfrequency Load Shed (UFLS) Protection System
Does the Entity own a Special Protection System
Total Number of Protection System Misoperations | 0
Total Number of Protection System Events/Operations by Voltage Class (NERC Methodology outlined below)
138 kV | 0
345 kV | 0
HVdc | 0
Total Protection System Operations | 0

## 2-Misoperation Entry Form
Send form to: |  |  |  | transrep@ercot.com
Entity Name | Misoperation Date | Misoperation Time | Time zone | Facility Name (Location of Misoperation) | Equipment Name (protected by Protection System that Misoperated) | Select one or more TADS "Element IDs" of any TADS reportable elements outaged in the Misoperation. | Is this a GADS reportable outage? If the misoperation caused a generator forced outage, select the generator | Equipment Type | Facility Voltage | Equipment Removed from Service | Event Description | Misoperation Category | Protection Systems/Components that Misoperated | Relay Technology | Analysis and Corrective Action Status | Corrective Action Plan | Actual Analysis Completion Date | Actual Corrective Action Completion Date | Reported By | Phone | E-Mail | Date Reported
Name of Entity (NERC Registration Name) | Enter the date of the Misoperation in this MM/DD/YYYY format. When copying, use "Paste_Values" to retain format. | Enter the time of the misoperation in (24 hr.) HH:MM:SS format | Select time zone from drop-down list. Detailed Definitions are available under the next sheet "Definitions". | Identify the name of the facility (i.e., substation or generating station) where the Misoperation occurred. (Name used in Network Operations Model per TAC approved naming convention) | Identify by name the generator, transmission line, transformer, bus or equipment protected by the Protection System that Misoperated. (Name used in Network Operations Model per TAC approved naming convention) | If a TADS reportable element was outaged due to the Misoperation, report the element(s) in a comma-separated list. | If the Misoperation caused a generator forced outage, select one or more Generation Availability Data System (GADS) "Unit IDs" of any GADS reportable elements outaged in the Misoperation. If there are multiple generators involved, please select the first generator that had a forced outage. | Select type of equipment being protected ( e.g., Line, Transformer, etc.) from drop-down list | Select system voltage (in kV) of the protected element (if transformer, high side kV) from drop-down list. | Enter names of the equipment becoming unavailable due to the event (Equipment only refers to circuits, transformers, busses, but not breakers UNLESS the breaker is the only element). Breaker should be used only if a single breaker tripped and did not disconnect any element at one of its terminals (one breaker in a multiple breaker protected line, bus tie breaker, etc.). | Provide a brief description of the event including: 1. Initiating event: include a description of any internal or external fault causes, any abnormal system conditions which may have contributed to the Misoperation, or state that the Misoperation occurred under normal operating conditions. 2. Facilities involved that operated correctly and/or incorrectly concurrent with the Misoperation. 3. Component(s) of the Protection System(s) that failed and/or did not function correctly. 4. Detailed description of root causes determined by completed Corrective Action Plans. | Select Misoperation Category from drop-down list. Detailed definitions of the categories are available under the next sheet "Definitions". | Only provide information on the components/protection systems that misoperated. If the "Cause of Misoperation" is "Relay failures/malfunctions" or "Incorrect settings/logic/design errors" and the cause is associated with a relay, list relay models (types) and protection schemes. | If the Cause of Misoperation is "Relay failures/malfunctions" or "Incorrect settings/logic/design errors", identify the relay technology installed. Select Electromechanical, Solid State, or Micro Processor from drop-down list | Select the status from drop-down list. In general, misoperation analysis is conducted first, then a Corrective Action Plan will be developed and implemented to mitigate the misoperation. | Identify the corrective action(s) | If analysis is complete, enter actual completion date MM/DD/YYYY | Enter the actual completion date of the Corrective Action Plan MM/DD/YYYY | Enter the name of the person filling out the report. | Enter the reporting person's phone number. | Enter the reporting E-MAIL address. | Enter the report date in this MM/DD/YYYY format. When copying, use "Paste Values" to retain format.
[8 empty] | Line | 138 |  |  | Failure to Trip |  | Electromechanical | Analysis - In Progress
[8 empty] | Transformer | 345 |  |  | Slow Trip |  | Solid State | Analysis - Completed
[8 empty] | Generator | HVdc |  |  | Unnecessary Trip During a Fault |  | MicroProcessor | Corrretive Action - In Progress
[8 empty] | Shunt Capacitor |  |  |  | Unnecessary Trip Other Than Fault |  |  | Corective Action - Completed
Series Capacitor
Bus
Series Reactor/Inductor
Shunt Reactor/Inductor
Dynamic Var Systems
Breaker
HVdc
SPS/RAS
BES UFLS
BES UVLS
Others

## 1-RAS Summary Form
Send Form To: ras_cmp@ercot.com
Summary Field | Value
Regional Entity Name | Texas Reliability Entity
Data Submission Year
Data Submission Quarter
RAS Entity Type
RAS Entity Name(s)
RAS Entity NCR
Has the RAS Entity experienced a RAS Misoperation this Quarter
Limited Impact? Y or N
Total Number of Remedial Action Scheme Operations
Total Number of Remedial Action Scheme Misoperations
Name (Print):
Title:
Date:

## 2-RAS Ops and Misops
Send form to: ras_cmp@ercot.com
Quarterly RAS Operation Reporting Form
RAS Operation ID | Regional Entity | RAS Entity Name(s) | Company ID | RAS Name | RAS Category Type | Limited Impact | RAS Operation Date | RAS Operation Time | RAS Operation Category | RAS Operation Cause | Event Description | NERC Event Analysis Tracking ID | TADS Elements Outaged by RAS Operation | GADS Units Outaged by RAS Operation | Analysis and Corrective Action Status | Corrective Action Plan | Target Completion Date | Actual Completion Date | Reported By | Phone | E-Mail | Date Reported
RAS Operation ID for each unique operation. If you are resubmitting an operation from a prior quarter, please use the same operation id as the operation from the prior quarter. | Enter the Regional Entity that has the RAS included in its RAS regional database/inventory. | Name of Entity(ies) (NERC Registration Name) | NERC ID (Format: NCR#####) of the primary RAS owner that has responsibility for reporting RAS operations. If the entity does not have a NERC ID, please enter the entity name. | Enter the RAS name as it appears in the regional inventory. | Enter the category type of the RAS. Detailed definitions for RAS Types and additional instructions are included in the Definitions tab. | Y or N? | Enter the date of the operation in this MM/DD/YYYY/ format. When copying, use "Paste_Values" to retain format. | Enter the time of the operation in (24 hr.) HH:MM:SS format. | Select Operation Category from drop-down list. Detailed definitions of the categories are available under the Definitions tab. | Select Operation Cause from Detailed definitions for Operation Causes and add any additional information that might apply. Also, if the Operation cause is not in the definitions, please explain the Operation cause with the information that you have. Additional instructions are included in the Definitions tab. | Include a description of the RAS operation. Identify all elements removed from service, any generation reduction (MW), or any loadshed that occurred (MW). If the operation was correct, verify that the system conditions were as expected and the mitigation was sufficient. If a misoperation, include a detailed description of root causes determined by completed corrective action plans. | If applicable, please enter the NERC Event Analysis tracking ID for the RAS operation. | If applicable, please enter (in a comma separated list with no spaces) the TADS Element identifier for each TADS Element that was outaged as a result of the RAS operation. | If the operation involved a generator forced outage, please enter the GADS ID of the generator. If there are multiple generators involved, please enter each generator that had a forced outage in a comma separated list with no spaces. | Select the status from drop-down list. In general, misoperation analysis is conducted first, then a Corrective Action Plan will be developed and implemented to mitigate the misoperation. If a correct operation, select Correct Operation- N/A. If a Corrective Action Plan (CAP) is necessary, the RAS-entity must submit it within six full calendar months to its Reliability Coordinator (ERCOT). | Identify the corrective actions. If a correct operation, leave blank. | If analysis or corrective actions are not complete, estimate when either will be complete. If a correct operation, leave blank. Enter date in this MM/DD/YYYY format. When copying, use "Paste Values" to retain format. | If corrective actions are complete, enter actual completion date in this MM/DD/YYYY format. When copying, use "Paste Values" to retain format. If a correct operation, leave blank. | Enter the name of the person filling out the report. | Enter the reporting person's phone number. | Enter the reporting E-mail address. | Enter the report date in this MM/DD/YYYY format. When copying, use "Paste Values" to retain format.

## RAS Definitions
RAS Definitions
Entry of the RAS Type in Column F is voluntary. Entering the Type per the following catgories does not require a change to existing Regional RAS Types and does not require that an RAS be modified to meet any of the proposed requirements in the RAS Report (insert actual report name and hyperlink).
RAS Category Type
PS (Planning Significant) | A scheme designed to meet system performance requirements identified in the NERC Reliability Standards, where failure or inadvertent operation of the scheme can have a significant impact on the BES.
PL (Planning Limited) | A scheme designed to meet system performance requirements identified in the NERC Reliability Standards, where failure or inadvertent operation of the scheme can have only a limited impact on the BES.
ES (Extreme Significant) | A scheme designed to limit the impact of two or more elements removed, an extreme event, or Cascading, where failure or inadvertent operation of the scheme can have a significant impact on the BES.
EL (Extreme Limited) | A scheme designed to limit the impact of two or more elements removed, an extreme event, or Cascading, where failure or inadvertent operation of the scheme can have only a limited impact on the BES.
RAS Operation Category
Correct Operation | A RAS operation that correctly initiated an action in response to the power system conditions for which it is designed to operate and the mitigation was effective. RAS arming or disarming is not by itself an RAS operation.
Misoperation- Failure to Operate | Any failure of a RAS to perform its intended function within the designed time when power system conditions intended to trigger the RAS occur.
Misoperation- Unnecessary Operation | Any operation of a RAS that occurs without the occurrence of the intended system trigger condition(s).
Misoperation- Unintended System Response | A RAS operates for the system conditions it was designed to operate for but the RAS operation results in an unintended adverse power system response.
Misoperation- Failure to Mitigate | A RAS operates for the system conditions it was designed to operate for but fails to mitigate the power system conditions it was designed to address.
Misoperation- Failure to Arm | Any failure of a RAS to automatically arm itself when power system conditions that are intended to arm the RAS occur
Misoperation- Failure to Disarm or Reset | Any failure of a RAS to automatically disarm or reset itself when power system conditions that are intended to disarm the RAS occur.
Limited Impact Remedial Action Scheme (RAS): A RAS that by inadvertent operation or failure to operate does not cause or contribute to ERCOT System cascading, uncontrolled separation, angular instability, voltage instability, voltage collapse, or unacceptably damped oscillations.
A RAS is classified as having a significant impact on the BES if failure or inadvertent operation of the scheme results in any of the following:
● Non‐Consequential Load Loss ≥ 300 MW
● Generation loss > the largest unit within the interconnection
● Loss of synchronism between two or more portions of the system each including more than one generating plant
● Negatively damped oscillations
If none of these criteria are met, the RAS is classified as having a limited impact on the BES.
RAS Operation Cause Codes
Correct Operation | The RAS operated correctly for the expected system conditions and the mitigation was effective.
AC System | This category includes misoperations due to problems in the ac inputs to the protection system. Examples would include misoperations associated with CT saturation, loss of potential,or rodent damaged wiring in voltage or current circuit.
As-left Personnel Error | This category includes misoperations due to the as-left condition of the protection system following maintenance or construction procedures. These include test switches left open, wiring errors not associated with incorrect drawings, carrier grounds left in place, or settings placed in the wrong relay, or incorrect field settings left in the relay that do not match engineering approved settings.
Communication Failures | This category includes misoperations due to failures in the communication systems associated with protection schemes inclusive of transmitters and receivers. Examples would include misoperations caused by loss of carrier, spurious transfer trips associated with noise, Telco errors resulting in malperformance of communications over leased lines, loss of fiber optic communication equipment, or microwave problems associated with weather conditions.
DC System | This category includes misoperations due to problems in the DC control circuits. These include problems in the battery or charging systems, trip wiring to breakers, or loss of dc power to a relay or communication device.
EMS or SCADA Failure/Errors | The Energy Management System (EMS) or SCADA experienced a failure or error that resulted in the RAS misoperation.
Incorrect Settings | This category includes misoperations due to issued setting errors, including those caused by modeling errors, associated with electromechanical and solid state relays, and the protection element settings in microprocessor-based relays (excluding logic errors discussed in the Logic error cause code).
Logic Errors | This category includes misoperations due to issued logic setting errors associated with programming microprocessor relay inputs, outputs, custom user logic, or protection function mapping to communication or physical I/O points.
Design Errors | This category includes misoperations due to incorrect physical design. Examples would inlcude incorrect configuration on ac or dc schematic or wiring drawings, or incorrectly applied protective equipment (hardware or firmware).
Relay Failures/Malfunctions | This category includes misoperations due to improper operation of the relays themselves. These may be due to component failures, physical damage to a device, firmware problems, or manufacturer errors. Examples would include misoperations caused by changes in relay characteristic due to capacitor aging, misfiring thyristors, relay power supply failure, or internal wiring/logic error. Failures of auxiliary tripping relays fall under this category.
Metering Failure/Error | The failure of metered data that is necessary for the correct operation of the RAS.
Processor/Computer Failure | The failure of a non-relay-based microprocessor or computer that is necessary for the correct operation of the RAS.
Planning Design Error | Design errors that result in undesired response of the RAS. Examples would include using a proxy value (MW flow, breaker status, voltage, etc.) that does not properly capture the system conditions that require the RAS to operate. Another example would be insufficient (or excessive) mitigation for the expected system conditions. Another example would be unidentified system conditions that require the RAS to operate.
Analysis - In Progress | The RAS misoperated, but analysis is still in progress.
Other/Explainable | This category includes misoperations that were determined to have an identified cause but they do not fit into any of the above categories. For example, temporary changes in network topology that because of their low probability of occurrence are not accounted for in the design of the RAS, or environmental issues such as damage due to water from a leaking roof or animal intrusion. Please provide a root cause within the Event Description field for this case.
Unknown/Unexplainable | This category includes misoperations where no clear cause can be determined. Requires extensive documentation of investigative actions if this cause code is utilized. Do not use this cause code if the analysis is still in progress.

## RevisionTable
Rev # | Preparer | Rev Date | Summary of Changes
0 | Unknown | 2014-03-07 | TREs Protection System Misoperations Reporting Procedure - Attachment 2
0 | Unknown | 2018-11-01 | TREs Protection System Misoperations Reporting Procedure - Attachment 2
1 | Lilia Sanchez | 2020-12-04 | Updated to add RAS Information in preparation for PRC-012-2