## Slide 1
PDCWG Report to ROS
Chair: Chad Mulholland, NRG
Vice Chair: Jimmy Jackson, CPS
ROS
January 7th, 2021

## Slide 2: Report Overview & Notes
Report Overview
  Meeting Minutes
  BAL-001-TRE-2 FMEs & IMFR
    4 FMEs in the month of November
  Frequency Control Report

## Slide 3: Meeting Minutes
PDCWG Meeting 12/09/2020
  ERCOT Discussion of RFI – combined cycle unit frequency response for high frequency events
  NPRR 1040 – Compliance Metrics for Ancillary Service Supply Responsibility
  Status Update of PUCT Directives 3 & 9
  Discussion of ERCOT Study Proposal for RRS Limits
  Update on BAL-001-TRE, SAR 12
  Analysis of ESR frequency response performance
  ERCOT Reports

## Slide 4: Interconnection Minimum Frequency Response (IMFR) Performance

## Slide 5: Interconnection Minimum Frequency Response (IMFR) Performance
IMFR Performance currently 1101.96 MW/0.1Hz
Frequency Response Obligation (FRO): 425 MW/0.1 Hz

## Slide 6: Frequency Control Report
October 2020

## Slide 7: CPS1 Performance

## Slide 8: RMS1 Performance of ERCOT Frequency

## Slide 9: Frequency Profile Analysis

## Slide 10: Time Error Corrections

## Slide 11: ERCOT Total Energy
Notes: 31,210,036 MWh

## Slide 12: ERCOT Total Energy from Wind Generation
Notes: 7,264,919 MWh

## Slide 13: ERCOT % Energy from Wind Generation
Notes: 23.28%

## Slide 14: ERCOT Total Energy from Solar Generation
Notes: 682,932 MWh

## Slide 15: ERCOT % Energy from Solar Generation
Notes: 2.19%

## Slide 16
Questions?