## Summary
Missed Postings - January 2020
EMIL ID | Report Type ID | Product Name | GEN FREQ | # Missed
NP6-215-CD | 11024 | Real Time Dynamic Rating Data | Chron - 15 Minutes | 1
NP5-911-CD | 12345 | NSA Inactive Constraints | Chron - 5 Minutes | 2
NP6-291-CD | 12309 | Topology Consistency | Chron - 5 Minutes | 1
NP6-619-CD | 12308 | State Estimator Real-Time Transmission Line Flows | Chron - 5 Minutes | 1
NP4-733-CD | 13071 | Wind Power Production - Actual 5-minute averaged values | Chron - 5 Minutes | 2
NP4-743-CD | 14788 | Wind Power Production - Actual 5-Minute Averaged Values by Geographical Region | Chron - 5 Minutes | 2
NP4-738-CD | 13484 | Solar Power Production - Actual 5-minute averaged values | Chron - 5 Minutes | 1
NP4-739-SG | 13498 | Aggregated Solar Resource Power Potential Forecast | Chron - Hourly | 3
Missed Postings - February 2020
EMIL ID | Report Type ID | Product Name | GEN FREQ | # Missed
NP6-607-CD | 16013 | SCED Settlement Point Shift Factors | Chron - Hourly | 1
Missed Postings - March 2020
EMIL ID | Report Type ID | Product Name | GEN FREQ | # Missed
NP6-215-CD | 11024 | Real Time Dynamic Rating Data | Chron - 15 Minutes | 1
NP5-911-CD | 12345 | NSA Inactive Constraints | Chron - 5 Minutes | 3
NP6-291-CD | 12309 | Topology Consistency | Chron - 5 Minutes | 3
NP6-619-CD | 12308 | State Estimator Real-Time Transmission Line Flows | Chron - 5 Minutes | 3
NP4-733-CD | 13071 | Wind Power Production - Actual 5-minute averaged values | Chron - 5 Minutes | 3
NP4-743-CD | 14788 | Wind Power Production - Actual 5-Minute Averaged Values by Geographical Region | Chron - 5 Minutes | 3
NP4-738-CD | 13484 | Solar Power Production - Actual 5-minute averaged values | Chron - 5 Minutes | 3
NP4-751-CD | 16554 | Intra-Hour Wind Power Forecast By Geographical Region | Chron - 5 Minutes | 3
NP3-562-CD | 16553 | Intra-Hour Load Forecast by Weather Zone | Chron - 5 Minutes | 3
Missed Postings - April 2020
EMIL ID | Report Type ID | Product Name | GEN FREQ | # Missed
NP5-911-CD | 12345 | NSA Inactive Constraints | Chron - 5 Minutes | 2
NP6-291-CD | 12309 | Topology Consistency | Chron - 5 Minutes | 2
NP6-619-CD | 12308 | State Estimator Real-Time Transmission Line Flows | Chron - 5 Minutes | 1
NP4-733-CD | 13071 | Wind Power Production - Actual 5-minute averaged values | Chron - 5 Minutes | 2
NP4-743-CD | 14788 | Wind Power Production - Actual 5-Minute Averaged Values by Geographical Region | Chron - 5 Minutes | 2
NP4-738-CD | 13484 | Solar Power Production - Actual 5-minute averaged values | Chron - 5 Minutes | 2
NP4-751-CD | 16554 | Intra-Hour Wind Power Forecast By Geographical Region | Chron - 5 Minutes | 3
NP3-562-CD | 16553 | Intra-Hour Load Forecast by Weather Zone | Chron - 5 Minutes | 2
NP3-217-CD | 12346 | Forecasted Temperature Adjusted Dynamic Ratings | Chron - Hourly | 1
NP3-560-CD | 12311 | Seven-Day Load Forecast by Forecast Zone | Chron - Hourly | 1
NP3-561-CD | 12312 | Seven-Day Load Forecast by Weather Zone | Chron - Hourly | 1
NP3-565-CD | 14837 | Seven Day Load Forecast by Model and Weather Zone | Chron - Hourly | 1
NP4-739-SG | 13498 | Aggregated Solar Resource Power Potential Forecast | Chron - Hourly | 2
NP4-736-SG | 13482 | Solar Generation Resource Power Potential Forecast | Chron - Hourly | 2
NP3-566-CD | 15953 | Seven-Day Load Forecast by Model and Study Area | Chron - Hourly | 1
Missed Postings - May 2020
EMIL ID | Report Type ID | Product Name | GEN FREQ | # Missed
NP6-215-CD | 11024 | Real Time Dynamic Rating Data | Chron - 15 Minutes | 2
NP5-911-CD | 12345 | NSA Inactive Constraints | Chron - 5 Minutes | 5
NP6-291-CD | 12309 | Topology Consistency | Chron - 5 Minutes | 5
NP6-619-CD | 12308 | State Estimator Real-Time Transmission Line Flows | Chron - 5 Minutes | 6
NP4-733-CD | 13071 | Wind Power Production - Actual 5-minute averaged values | Chron - 5 Minutes | 6
NP4-743-CD | 14788 | Wind Power Production - Actual 5-Minute Averaged Values by Geographical Region | Chron - 5 Minutes | 6
NP4-738-CD | 13484 | Solar Power Production - Actual 5-minute averaged values | Chron - 5 Minutes | 6
NP4-751-CD | 16554 | Intra-Hour Wind Power Forecast By Geographical Region | Chron - 5 Minutes | 5
NP3-562-CD | 16553 | Intra-Hour Load Forecast by Weather Zone | Chron - 5 Minutes | 5
NP3-560-CD | 12311 | Seven-Day Load Forecast by Forecast Zone | Chron - Hourly | 1
NP3-561-CD | 12312 | Seven-Day Load Forecast by Weather Zone | Chron - Hourly | 1
NP3-565-CD | 14837 | Seven Day Load Forecast by Model and Weather Zone | Chron - Hourly | 1
GEN-55-CD | 13499 | Hourly Real-Time Load vs. Actual Report | Chron - Hourly | 1
NP4-739-SG | 13498 | Aggregated Solar Resource Power Potential Forecast | Chron - Hourly | 4
NP4-736-SG | 13482 | Solar Generation Resource Power Potential Forecast | Chron - Hourly | 3
NP3-566-CD | 15953 | Seven-Day Load Forecast by Model and Study Area | Chron - Hourly | 1
Missed Postings - June 2020
EMIL ID | Report Type ID | Product Name | GEN FREQ | # Missed
NP6-215-CD | 11024 | Real Time Dynamic Rating Data | Chron - 15 Minutes | 1
NP5-911-CD | 12345 | NSA Inactive Constraints | Chron - 5 Minutes | 1
NP6-291-CD | 12309 | Topology Consistency | Chron - 5 Minutes | 1
NP6-619-CD | 12308 | State Estimator Real-Time Transmission Line Flows | Chron - 5 Minutes | 1
NP4-733-CD | 13071 | Wind Power Production - Actual 5-minute averaged values | Chron - 5 Minutes | 1
NP4-743-CD | 14788 | Wind Power Production - Actual 5-Minute Averaged Values by Geographical Region | Chron - 5 Minutes | 1
NP4-738-CD | 13484 | Solar Power Production - Actual 5-minute averaged values | Chron - 5 Minutes | 1
NP4-751-CD | 16554 | Intra-Hour Wind Power Forecast By Geographical Region | Chron - 5 Minutes | 1
NP3-562-CD | 16553 | Intra-Hour Load Forecast by Weather Zone | Chron - 5 Minutes | 1
NP3-217-CD | 12346 | Forecasted Temperature Adjusted Dynamic Ratings | Chron - Hourly | 1
NP4-739-SG | 13498 | Aggregated Solar Resource Power Potential Forecast | Chron - Hourly | 5
NP4-736-SG | 13482 | Solar Generation Resource Power Potential Forecast | Chron - Hourly | 3
Missed Postings - July 2020
EMIL ID | Report Type ID | Product Name | GEN FREQ | # Missed
NP3-562-CD | 16553 | Intra-Hour Load Forecast by Weather Zone | Chron - 5 Minutes | 2
NP4-751-CD | 16554 | Intra-Hour Wind Power Forecast By Geographical Region | Chron - 5 Minutes | 2
NP5-911-CD | 12345 | NSA Inactive Constraints | Chron - 5 Minutes | 2
NP4-738-CD | 13484 | Solar Power Production - Actual 5-minute averaged values | Chron - 5 Minutes | 2
NP6-291-CD | 12309 | Topology Consistency | Chron - 5 Minutes | 2
NP6-619-CD | 12308 | State Estimator Real-Time Transmission Line Flows | Chron - 5 Minutes | 2
NP4-733-CD | 13071 | Wind Power Production - Actual 5-minute averaged values | Chron - 5 Minutes | 2
NP4-743-CD | 14788 | Wind Power Production - Actual 5-Minute Averaged Values by Geographical Region | Chron - 5 Minutes | 2
NP6-215-CD | 11024 | Real Time Dynamic Rating Data | Chron - 15 Minutes | 1
NP4-739-SG | 13498 | Aggregated Solar Resource Power Potential Forecast | Chron - Hourly | 1
NP4-736-SG | 13482 | Solar Generation Resource Power Potential Forecast | Chron - Hourly | 1
Missed Postings - August 2020
EMIL ID | Report Type ID | Product Name | GEN FREQ | # Missed
NP4-738-CD | 13484 | Solar Power Production - Actual 5-minute averaged values | Chron - 5 Minutes | 1
NP6-619-CD | 12308 | State Estimator Real-Time Transmission Line Flows | Chron - 5 Minutes | 1
NP6-291-CD | 12309 | Topology Consistency | Chron - 5 Minutes | 1
NP4-733-CD | 13071 | Wind Power Production - Actual 5-minute averaged values | Chron - 5 Minutes | 1
NP4-743-CD | 14788 | Wind Power Production - Actual 5-Minute Averaged Values by Geographical Region | Chron - 5 Minutes | 1
NP6-215-CD | 11024 | Real Time Dynamic Rating Data | Chron - 15 Minutes | 1
NP5-911-CD | 12345 | NSA Inactive Constraints | Chron - 5 Minutes | 1
NP4-736-SG | 13482 | Solar Generation Resource Power Potential Forecast | Chron - Hourly | 2
NP4-739-SG | 13498 | Aggregated Solar Resource Power Potential Forecast | Chron - Hourly | 2
Missed Postings - September 2020
EMIL ID | Report Type ID | Product Name | GEN FREQ | # Missed
NP6-970-CD | 13073 | RTD Indicative LMPs by Resource Nodes, Load Zones and Hubs | Chron - 5 Minutes | 10
NP6-325-CD | 13222 | RTD Indicative ORDC and Reliability Deployment Price Adders and Reserves | Event - Per SCED run | 10
NP6-215-CD | 11024 | Real Time Dynamic Rating Data | Chron - 15 Minutes | 1
NP3-562-CD | 16553 | Intra-Hour Load Forecast by Weather Zone | Chron - 5 Minutes | 1
NP4-751-CD | 16554 | Intra-Hour Wind Power Forecast By Geographical Region | Chron - 5 Minutes | 1
NP5-911-CD | 12345 | NSA Inactive Constraints | Chron - 5 Minutes | 1
NP4-738-CD | 13484 | Solar Power Production - Actual 5-minute averaged values | Chron - 5 Minutes | 2
NP6-619-CD | 12308 | State Estimator Real-Time Transmission Line Flows | Chron - 5 Minutes | 2
NP6-291-CD | 12309 | Topology Consistency | Chron - 5 Minutes | 2
NP4-733-CD | 13071 | Wind Power Production - Actual 5-minute averaged values | Chron - 5 Minutes | 2
NP4-743-CD | 14788 | Wind Power Production - Actual 5-Minute Averaged Values by Geographical Region | Chron - 5 Minutes | 2
Missed Postings - October 2020
EMIL ID | Report Type ID | Product Name | GEN FREQ | # Missed
NP4-739-SG | 13498 | Aggregated Solar Resource Power Potential Forecast | Chron - Hourly | 2
NP4-736-SG | 13482 | Solar Generation Resource Power Potential Forecast | Chron - Hourly | 2
NP6-324-CD | 13220 | Real-Time ORDC and Reliability Deployment Prices for 15-minute Settlement Interval | Chron - 15 Minutes | 1
NP3-562-CD | 16553 | Intra-Hour Load Forecast by Weather Zone | Chron - 5 Minutes | 2
NP4-751-CD | 16554 | Intra-Hour Wind Power Forecast By Geographical Region | Chron - 5 Minutes | 2
NP5-911-CD | 12345 | NSA Inactive Constraints | Chron - 5 Minutes | 2
NP4-738-CD | 13484 | Solar Power Production - Actual 5-minute averaged values | Chron - 5 Minutes | 1
NP6-619-CD | 12308 | State Estimator Real-Time Transmission Line Flows | Chron - 5 Minutes | 1
NP6-291-CD | 12309 | Topology Consistency | Chron - 5 Minutes | 1
NP4-733-CD | 13071 | Wind Power Production - Actual 5-minute averaged values | Chron - 5 Minutes | 1
NP4-743-CD | 14788 | Wind Power Production - Actual 5-Minute Averaged Values by Geographical Region | Chron - 5 Minutes | 1
GEN-55-CD | 13499 | Hourly Real-Time Load vs. Actual Report | Chron - Hourly | 1
Missed Postings - November 2020
EMIL ID | Report Type ID | Product Name | GEN FREQ | # Missed
NP4-739-SG | 13498 | Aggregated Solar Resource Power Potential Forecast | Chron - Hourly | 4
NP4-736-SG | 13482 | Solar Generation Resource Power Potential Forecast | Chron - Hourly | 4
NP3-562-CD | 16553 | Intra-Hour Load Forecast by Weather Zone | Chron - 5 Minutes | 2
NP4-751-CD | 16554 | Intra-Hour Wind Power Forecast By Geographical Region | Chron - 5 Minutes | 2
NP5-911-CD | 12345 | NSA Inactive Constraints | Chron - 5 Minutes | 2
NP4-738-CD | 13484 | Solar Power Production - Actual 5-minute averaged values | Chron - 5 Minutes | 1
NP6-619-CD | 12308 | State Estimator Real-Time Transmission Line Flows | Chron - 5 Minutes | 1
NP6-291-CD | 12309 | Topology Consistency | Chron - 5 Minutes | 1
NP4-733-CD | 13071 | Wind Power Production - Actual 5-minute averaged values | Chron - 5 Minutes | 1
NP4-743-CD | 14788 | Wind Power Production - Actual 5-Minute Averaged Values by Geographical Region | Chron - 5 Minutes | 1
GEN-55-CD | 13499 | Hourly Real-Time Load vs. Actual Report | Chron - Hourly | 1
NP4-731-SG | 12320 | Wind Generation Resource Power Potential Forecast | Chron - Hourly | 1
NP6-215-CD | 11024 | Real Time Dynamic Rating Data | Chron - 15 Minutes | 1
Missed Postings - December 2020
EMIL ID | Report Type ID | Product Name | GEN FREQ | # Missed
NP4-739-SG | 13498 | Aggregated Solar Resource Power Potential Forecast | Chron - Hourly | 1
NP4-736-SG | 13482 | Solar Generation Resource Power Potential Forecast | Chron - Hourly | 1
NP4-738-CD | 13484 | Solar Power Production - Actual 5-minute averaged values | Chron - 5 Minutes | 1
NP6-619-CD | 12308 | State Estimator Real-Time Transmission Line Flows | Chron - 5 Minutes | 1
NP6-291-CD | 12309 | Topology Consistency | Chron - 5 Minutes | 1
NP4-733-CD | 13071 | Wind Power Production - Actual 5-minute averaged values | Chron - 5 Minutes | 1
NP4-743-CD | 14788 | Wind Power Production - Actual 5-Minute Averaged Values by Geographical Region | Chron - 5 Minutes | 1

## Detail
Missed Postings - January 2020
Product Name | EMIL ID | Report Type ID | Intervals Missed (DD/MM/YYYY) | Reason
Real Time Dynamic Rating Data | NP6-215-CD | 11024 | 17/01/2020 15:30 - 17/01/2020 15:45 | M-A011620-01 - Site Failover
NSA Inactive Constraints | NP5-911-CD | 12345 | 17/01/2020 15:35 - 17/01/2020 15:40 17/01/2020 15:40 - 17/01/2020 15:45 | M-A011620-01 - Site Failover
Topology Consistency | NP6-291-CD | 12309 | 17/01/2020 15:40 - 17/01/2020 15:45 | M-A011620-01 - Site Failover
State Estimator Real-Time Transmission Line Flows | NP6-619-CD | 12308 | 17/01/2020 15:40 - 17/01/2020 15:45 | M-A011620-01 - Site Failover
Wind Power Production - Actual 5-minute averaged values | NP4-733-CD | 13071 | 17/01/2020 15:35 - 17/01/2020 15:40 17/01/2020 15:40 - 17/01/2020 15:45 | M-A011620-01 - Site Failover
Wind Power Production - Actual 5-Minute Averaged Values by Geographical Region | NP4-743-CD | 14788 | 17/01/2020 15:35 - 17/01/2020 15:40 17/01/2020 15:40 - 17/01/2020 15:45 | M-A011620-01 - Site Failover
Solar Power Production - Actual 5-minute averaged values | NP4-738-CD | 13484 | 17/01/2020 15:40 - 17/01/2020 15:45 | M-A011620-01 - Site Failover
Aggregated Solar Resource Power Potential Forecast | NP4-739-SG | 13498 | 08/01/2020 11:00 - 08/01/2020 12:00 17/01/2020 17:00 - 17/01/2020 18:00 24/01/2020 15:00 - 24/01/2020 16:00 | Database issue M-A011620-01 - Site Failover Database issue
Missed Postings - February 2020
Product Name | EMIL ID | Report Type ID | Intervals Missed (DD/MM/YYYY) | Reason
SCED Settlement Point Shift Factors | NP6-607-CD | 16013 | 26/02/2020 01:00 - 26/02/2020 02:00 | Database issue
Missed Postings - March 2020
Product Name | EMIL ID | Report Type ID | Intervals Missed (DD/MM/YYYY) | Reason
Real Time Dynamic Rating Data | NP6-215-CD | 11024 | 16/03/2020 15:30 - 16/03/2020 15:45 | M-A031020-01 - Site Failover
NSA Inactive Constraints | NP5-911-CD | 12345 | 16/03/2020 15:35 - 16/03/2020 15:40 16/03/2020 15:40 - 16/03/2020 15:45 18/03/2020 17:15 - 18/03/2020 17:20 | M-A031020-01 - Site Failover M-C031020-01 - Site Failover
Topology Consistency | NP6-291-CD | 12309 | 16/03/2020 15:40 - 16/03/2020 15:45 16/03/2020 15:45 - 16/03/2020 15:50 18/03/2020 17:15 - 18/03/2020 17:20 | M-A031020-01 - Site Failover M-C031020-01 - Site Failover
State Estimator Real-Time Transmission Line Flows | NP6-619-CD | 12308 | 16/03/2020 15:40 - 16/03/2020 15:45 16/03/2020 15:45 - 16/03/2020 15:50 18/03/2020 17:15 - 18/03/2020 17:20 | M-A031020-01 - Site Failover M-C031020-01 - Site Failover
Wind Power Production - Actual 5-minute averaged values | NP4-733-CD | 13071 | 16/03/2020 15:40 - 16/03/2020 15:45 16/03/2020 15:45 - 16/03/2020 15:50 18/03/2020 17:15 - 18/03/2020 17:20 | M-A031020-01 - Site Failover M-C031020-01 - Site Failover
Wind Power Production - Actual 5-Minute Averaged Values by Geographical Region | NP4-743-CD | 14788 | 16/03/2020 15:40 - 16/03/2020 15:45 16/03/2020 15:45 - 16/03/2020 15:50 18/03/2020 17:15 - 18/03/2020 17:20 | M-A031020-01 - Site Failover M-C031020-01 - Site Failover
Solar Power Production - Actual 5-minute averaged values | NP4-738-CD | 13484 | 16/03/2020 15:40 - 16/03/2020 15:45 16/03/2020 15:45 - 16/03/2020 15:50 18/03/2020 17:15 - 18/03/2020 17:20 | M-A031020-01 - Site Failover M-C031020-01 - Site Failover
Intra-Hour Wind Power Forecast By Geographical Region | NP4-751-CD | 16554 | 16/03/2020 15:35 - 16/03/2020 15:40 16/03/2020 15:40 - 16/03/2020 15:45 18/03/2020 17:15 - 18/03/2020 17:20 | M-A031020-01 - Site Failover M-C031020-01 - Site Failover
Intra-Hour Load Forecast by Weather Zone | NP3-562-CD | 16553 | 16/03/2020 15:35 - 16/03/2020 15:40 16/03/2020 15:40 - 16/03/2020 15:45 18/03/2020 17:15 - 18/03/2020 17:20 | M-A031020-01 - Site Failover M-C031020-01 - Site Failover
Missed Postings - April 2020
Product Name | EMIL ID | Report Type ID | Intervals Missed (DD/MM/YYYY) | Reason
NSA Inactive Constraints | NP5-911-CD | 12345 | 15/04/2020 10:45 - 15/04/2020 10:50 23/04/2020 16:25 - 23/04/2020 16:30 | DB Password Change M-B041520-01 - Planned system Maintenance
Topology Consistency | NP6-291-CD | 12309 | 15/04/2020 10:45 - 15/04/2020 10:50 23/04/2020 16:30 - 23/04/2020 16:35 | DB Password Change M-B041520-01 - Planned system Maintenance
State Estimator Real-Time Transmission Line Flows | NP6-619-CD | 12308 | 23/04/2020 16:30 - 23/04/2020 16:35 | M-B041520-01 - Planned system Maintenance
Wind Power Production - Actual 5-minute averaged values | NP4-733-CD | 13071 | 15/04/2020 10:45 - 15/04/2020 10:50 23/04/2020 16:30 - 23/04/2020 16:35 | DB Password Change M-B041520-01 - Planned system Maintenance
Wind Power Production - Actual 5-Minute Averaged Values by Geographical Region | NP4-743-CD | 14788 | 15/04/2020 10:45 - 15/04/2020 10:50 23/04/2020 16:30 - 23/04/2020 16:35 | DB Password Change M-B041520-01 - Planned system Maintenance
Solar Power Production - Actual 5-minute averaged values | NP4-738-CD | 13484 | 15/04/2020 10:45 - 15/04/2020 10:50 23/04/2020 16:30 - 23/04/2020 16:35 | DB Password Change M-B041520-01 - Planned system Maintenance
Intra-Hour Wind Power Forecast By Geographical Region | NP4-751-CD | 16554 | 15/04/2020 10:45 - 15/04/2020 10:50 23/04/2020 16:25 - 23/04/2020 16:30 23/04/2020 16:35 - 23/04/2020 16:40 | DB Password Change M-B041520-01 - Planned system Maintenance
Intra-Hour Load Forecast by Weather Zone | NP3-562-CD | 16553 | 15/04/2020 10:45 - 15/04/2020 10:50 23/04/2020 16:25 - 23/04/2020 16:30 | DB Password Change M-B041520-01 - Planned system Maintenance
Forecasted Temperature Adjusted Dynamic Ratings | NP3-217-CD | 12346 | 23/04/2020 16:00 - 23/04/2020 17:00 | M-B041520-01 - Planned system Maintenance
Seven-Day Load Forecast by Forecast Zone | NP3-560-CD | 12311 | 23/04/2020 16:00 - 23/04/2020 17:00 | M-B041520-01 - Planned system Maintenance
Seven-Day Load Forecast by Weather Zone | NP3-561-CD | 12312 | 23/04/2020 16:00 - 23/04/2020 17:00 | M-B041520-01 - Planned system Maintenance
Seven Day Load Forecast by Model and Weather Zone | NP3-565-CD | 14837 | 23/04/2020 16:00 - 23/04/2020 17:00 | M-B041520-01 - Planned system Maintenance
Aggregated Solar Resource Power Potential Forecast | NP4-739-SG | 13498 | 21/04/2020 02:00 - 21/04/2020 03:00 21/04/2020 03:00 - 21/04/2020 04:00 | No data from vendor
Solar Generation Resource Power Potential Forecast | NP4-736-SG | 13482 | 21/04/2020 02:00 - 21/04/2020 03:00 21/04/2020 03:00 - 21/04/2020 04:00 | No data from vendor
Seven-Day Load Forecast by Model and Study Area | NP3-566-CD | 15953 | 23/04/2020 16:00 - 23/04/2020 17:00 | M-B041520-01 - Planned system Maintenance
Missed Postings - May 2020
Product Name | EMIL ID | Report Type ID | Intervals Missed (DD/MM/YYYY) | Reason
Real Time Dynamic Rating Data | NP6-215-CD | 11024 | 11/05/2020 15:30 - 11/05/2020 15:45 13/05/2020 17:15 - 13/05/2020 17:30 | M-B050520-01 SFO M-A050520-01 SFO (posted late)
NSA Inactive Constraints | NP5-911-CD | 12345 | 11/05/2020 15:35 - 11/05/2020 15:40 11/05/2020 15:40 - 11/05/2020 15:45 13/05/2020 17:15 - 13/05/2020 17:20 13/05/2020 17:20 - 13/05/2020 17:25 13/05/2020 17:25 - 13/05/2020 17:30 | M-B050520-01 SFO M-A050520-01 SFO (posted late)
Topology Consistency | NP6-291-CD | 12309 | 11/05/2020 15:40 - 11/05/2020 15:45 11/05/2020 15:45 - 11/05/2020 15:50 13/05/2020 17:20 - 13/05/2020 17:25 13/05/2020 17:25 - 13/05/2020 17:30 13/05/2020 17:30 - 13/05/2020 17:35 | M-B050520-01 SFO M-A050520-01 SFO (posted late)
State Estimator Real-Time Transmission Line Flows | NP6-619-CD | 12308 | 11/05/2020 15:40 - 11/05/2020 15:45 11/05/2020 15:45 - 11/05/2020 15:50 13/05/2020 17:15 - 13/05/2020 17:20 13/05/2020 17:20 - 13/05/2020 17:25 13/05/2020 17:25 - 13/05/2020 17:30 13/05/2020 17:30 - 13/05/2020 17:35 | M-B050520-01 SFO M-A050520-01 SFO (posted late)
Wind Power Production - Actual 5-minute averaged values | NP4-733-CD | 13071 | 11/05/2020 15:40 - 11/05/2020 15:45 11/05/2020 15:45 - 11/05/2020 15:50 13/05/2020 17:15 - 13/05/2020 17:20 13/05/2020 17:20 - 13/05/2020 17:25 13/05/2020 17:25 - 13/05/2020 17:30 13/05/2020 17:30 - 13/05/2020 17:35 | M-B050520-01 SFO M-A050520-01 SFO (posted late)
Wind Power Production - Actual 5-Minute Averaged Values by Geographical Region | NP4-743-CD | 14788 | 11/05/2020 15:40 - 11/05/2020 15:45 11/05/2020 15:45 - 11/05/2020 15:50 13/05/2020 17:15 - 13/05/2020 17:20 13/05/2020 17:20 - 13/05/2020 17:25 13/05/2020 17:25 - 13/05/2020 17:30 13/05/2020 17:30 - 13/05/2020 17:35 | M-B050520-01 SFO M-A050520-01 SFO (posted late)
Solar Power Production - Actual 5-minute averaged values | NP4-738-CD | 13484 | 11/05/2020 15:40 - 11/05/2020 15:45 11/05/2020 15:45 - 11/05/2020 15:50 13/05/2020 17:15 - 13/05/2020 17:20 13/05/2020 17:20 - 13/05/2020 17:25 13/05/2020 17:25 - 13/05/2020 17:30 13/05/2020 17:30 - 13/05/2020 17:35 | M-B050520-01 SFO M-A050520-01 SFO (posted late)
Intra-Hour Wind Power Forecast By Geographical Region | NP4-751-CD | 16554 | 11/05/2020 15:35 - 11/05/2020 15:40 11/05/2020 15:40 - 11/05/2020 15:45 13/05/2020 17:15 - 13/05/2020 17:20 13/05/2020 17:20 - 13/05/2020 17:25 13/05/2020 17:25 - 13/05/2020 17:30 | M-B050520-01 SFO M-A050520-01 SFO (posted late)
Intra-Hour Load Forecast by Weather Zone | NP3-562-CD | 16553 | 11/05/2020 15:35 - 11/05/2020 15:40 11/05/2020 15:40 - 11/05/2020 15:45 13/05/2020 17:15 - 13/05/2020 17:20 13/05/2020 17:20 - 13/05/2020 17:25 13/05/2020 17:25 - 13/05/2020 17:30 | M-B050520-01 SFO M-A050520-01 SFO (posted late)
Seven-Day Load Forecast by Forecast Zone | NP3-560-CD | 12311 | 13/05/2020 17:00 - 13/05/2020 18:00 | M-A050520-01 SFO (posted late)
Seven-Day Load Forecast by Weather Zone | NP3-561-CD | 12312 | 13/05/2020 17:00 - 13/05/2020 18:00 | M-A050520-01 SFO (posted late)
Seven Day Load Forecast by Model and Weather Zone | NP3-565-CD | 14837 | 13/05/2020 17:00 - 13/05/2020 18:00 | M-A050520-01 SFO (posted late)
Hourly Real-Time Load vs. Actual Report | GEN-55-CD | 13499 | 13/05/2020 17:00 - 13/05/2020 18:00 | M-A050520-01 SFO (posted late)
Aggregated Solar Resource Power Potential Forecast | NP4-739-SG | 13498 | 05/05/2020 10:00 - 05/05/2020 11:00 11/05/2020 15:00 - 11/05/2020 16:00 25/05/2020 00:00 - 25/05/2020 01:00 28/05/2020 11:00 - 28/05/2020 12:00 | no data from vendor M-B050520-01 SFO no data from vendor no data from vendor
Solar Generation Resource Power Potential Forecast | NP4-736-SG | 13482 | 05/05/2020 10:00 - 05/05/2020 11:00 25/05/2020 00:00 - 25/05/2020 01:00 28/05/2020 11:00 - 28/05/2020 12:00 | no data from vendor
Seven-Day Load Forecast by Model and Study Area | NP3-566-CD | 15953 | 13/05/2020 17:00 - 13/05/2020 18:00 | M-A050520-01 SFO (posted late)
Missed Postings - June 2020
Product Name | EMIL ID | Report Type ID | Intervals Missed (DD/MM/YYYY) | Reason
Real Time Dynamic Rating Data | NP6-215-CD | 11024 | 18/06/2020 15:30 - 18/06/2020 15:45 | DB Password Change
NSA Inactive Constraints | NP5-911-CD | 12345 | 18/06/2020 15:30 - 18/06/2020 15:45 | DB Password Change
Topology Consistency | NP6-291-CD | 12309 | 18/06/2020 15:30 - 18/06/2020 15:45 | DB Password Change
State Estimator Real-Time Transmission Line Flows | NP6-619-CD | 12308 | 18/06/2020 15:30 - 18/06/2020 15:45 | DB Password Change
Wind Power Production - Actual 5-minute averaged values | NP4-733-CD | 13071 | 18/06/2020 15:30 - 18/06/2020 15:45 | DB Password Change
Wind Power Production - Actual 5-Minute Averaged Values by Geographical Region | NP4-743-CD | 14788 | 18/06/2020 15:30 - 18/06/2020 15:45 | DB Password Change
Solar Power Production - Actual 5-minute averaged values | NP4-738-CD | 13484 | 18/06/2020 15:30 - 18/06/2020 15:45 | DB Password Change
Intra-Hour Wind Power Forecast By Geographical Region | NP4-751-CD | 16554 | 18/06/2020 15:30 - 18/06/2020 15:45 | DB Password Change
Intra-Hour Load Forecast by Weather Zone | NP3-562-CD | 16553 | 18/06/2020 15:30 - 18/06/2020 15:45 | DB Password Change
Forecasted Temperature Adjusted Dynamic Ratings | NP3-217-CD | 12346 | 15/06/2020 16:00 - 15/06/2020 17:00 | System maintenance
Aggregated Solar Resource Power Potential Forecast | NP4-739-SG | 13498 | 03/06/2020 12:00 - 03/06/2020 13:00 03/06/2020 17:00 - 03/06/2020 18:00 05/06/2020 11:00 - 05/06/2020 12:00 07/06/2020 06:00 - 07/06/2020 07:00 09/06/2020 02:00 - 09/06/2020 03:00 | No data from vendor
Solar Generation Resource Power Potential Forecast | NP4-736-SG | 13482 | 05/06/2020 11:00 - 05/06/2020 12:00 07/06/2020 06:00 - 07/06/2020 07:00 09/06/2020 02:00 - 09/06/2020 03:00 | No data from vendor
Missed Postings - July 2020
Product Name | EMIL ID | Report Type ID | Intervals Missed (DD/MM/YYYY) | Reason
Intra-Hour Load Forecast by Weather Zone | 16553 | NP3-562-CD | 20/07/2020 15:35 - 20/07/2020 15:40 20/07/2020 15:40 - 20/07/2020 15:45 | M-B071420-02 SFO
Intra-Hour Wind Power Forecast By Geographical Region | 16554 | NP4-751-CD | 20/07/2020 15:35 - 20/07/2020 15:40 20/07/2020 15:40 - 20/07/2020 15:45 | M-B071420-02 SFO
NSA Inactive Constraints | 12345 | NP5-911-CD | 20/07/2020 15:35 - 20/07/2020 15:40 20/07/2020 15:40 - 20/07/2020 15:45 | M-B071420-02 SFO
Solar Power Production - Actual 5-minute averaged values | 13484 | NP4-738-CD | 20/07/2020 15:40 - 20/07/2020 15:45 20/07/2020 15:45 - 20/07/2020 15:50 | M-B071420-02 SFO
Topology Consistency | 12309 | NP6-291-CD | 20/07/2020 15:40 - 20/07/2020 15:45 20/07/2020 15:45 - 20/07/2020 15:50 | M-B071420-02 SFO
State Estimator Real-Time Transmission Line Flows | 12308 | NP6-619-CD | 20/07/2020 15:40 - 20/07/2020 15:45 20/07/2020 15:45 - 20/07/2020 15:50 | M-B071420-02 SFO
Wind Power Production - Actual 5-minute averaged values | 13071 | NP4-733-CD | 20/07/2020 15:40 - 20/07/2020 15:45 20/07/2020 15:45 - 20/07/2020 15:50 | M-B071420-02 SFO
Wind Power Production - Actual 5-Minute Averaged Values by Geographical Region | 14788 | NP4-743-CD | 20/07/2020 15:40 - 20/07/2020 15:45 20/07/2020 15:45 - 20/07/2020 15:50 | M-B071420-02 SFO
Real Time Dynamic Rating Data | 11024 | NP6-215-CD | 20/07/2020 15:30 - 20/07/2020 15:45 | M-B071420-02 SFO
Aggregated Solar Resource Power Potential Forecast | 13498 | NP4-739-SG | 27/07/2020 17:00 - 27/07/2020 18:00 | No data from vendor
Solar Generation Resource Power Potential Forecast | 13482 | NP4-736-SG | 27/07/2020 17:00 - 27/07/2020 18:00 | No data from vendor
Missed Postings - August 2020
Product Name | EMIL ID | Report Type ID | Intervals Missed (DD/MM/YYYY) | Reason
Solar Power Production - Actual 5-minute averaged values | 13484 | NP4-738-CD | 04/08/2020 16:40 - 04/08/2020 16:45 | M-B070220-03 Planned system Maintenance
State Estimator Real-Time Transmission Line Flows | 12308 | NP6-619-CD | 04/08/2020 16:40 - 04/08/2020 16:46 | M-B070220-03 Planned system Maintenance
Topology Consistency | 12309 | NP6-291-CD | 04/08/2020 16:40 - 04/08/2020 16:47 | M-B070220-03 Planned system Maintenance
Wind Power Production - Actual 5-minute averaged values | 13071 | NP4-733-CD | 04/08/2020 16:40 - 04/08/2020 16:48 | M-B070220-03 Planned system Maintenance
Wind Power Production - Actual 5-Minute Averaged Values by Geographical Region | 14788 | NP4-743-CD | 04/08/2020 16:40 - 04/08/2020 16:49 | M-B070220-03 Planned system Maintenance
Real Time Dynamic Rating Data | 11024 | NP6-215-CD | 04/08/2020 16:40 - 04/08/2020 16:50 | M-B070220-03 Planned system Maintenance
NSA Inactive Constraints | 12345 | NP5-911-CD | 06/08/2020 15:40 - 06/08/2020 15:45 | M-B070220-03 Planned system Maintenance
Solar Generation Resource Power Potential Forecast | 13482 | NP4-736-SG | 30/08/2020 05:00 - 30/08/2020 06:00 30/08/2020 06:00 - 30/08/2020 07:00 | M-A08302020-01 Unplanned System Outage
Aggregated Solar Resource Power Potential Forecast | 13498 | NP4-739-SG | 30/08/2020 05:00 - 30/08/2020 06:00 30/08/2020 06:00 - 30/08/2020 07:00 | M-A08302020-01 Unplanned System Outage
Missed Postings - September 2020
Product Name | EMIL ID | Report Type ID | Intervals Missed (DD/MM/YYYY) | Reason
RTD Indicative LMPs by Resource Nodes, Load Zones and Hubs | NP6-970-CD | 13073 | 16/09/2020 00:00 - 16/09/2020 00:05 16/09/2020 00:05 - 16/09/2020 00:10 16/09/2020 00:10 - 16/09/2020 00:15 16/09/2020 00:15 - 16/09/2020 00:20 16/09/2020 00:20 - 16/09/2020 00:25 16/09/2020 00:25 - 16/09/2020 00:30 16/09/2020 00:30 - 16/09/2020 00:35 16/09/2020 00:35 - 16/09/2020 00:40 16/09/2020 00:40 - 16/09/2020 00:45 16/09/2020 00:45 - 16/09/2020 00:50 | Database issues
RTD Indicative ORDC and Reliability Deployment Price Adders and Reserves | NP6-325-CD | 13222 | 16/09/2020 00:00 - 16/09/2020 00:05 16/09/2020 00:05 - 16/09/2020 00:10 16/09/2020 00:10 - 16/09/2020 00:15 16/09/2020 00:15 - 16/09/2020 00:20 16/09/2020 00:20 - 16/09/2020 00:25 16/09/2020 00:25 - 16/09/2020 00:30 16/09/2020 00:30 - 16/09/2020 00:35 16/09/2020 00:35 - 16/09/2020 00:40 16/09/2020 00:40 - 16/09/2020 00:45 16/09/2020 00:45 - 16/09/2020 00:51 | Database issues
Real Time Dynamic Rating Data | NP6-215-CD | 11024 | 21/09/2020 15:30 - 21/09/2020 15:45 | M-B091520-02 Planned system Maintenance
Intra-Hour Load Forecast by Weather Zone | NP3-562-CD | 16553 | 21/09/2020 15:35 - 21/09/2020 15:40 | M-B091520-02 Planned system Maintenance
Intra-Hour Wind Power Forecast By Geographical Region | NP4-751-CD | 16554 | 21/09/2020 15:35 - 21/09/2020 15:40 | M-B091520-02 Planned system Maintenance
NSA Inactive Constraints | NP5-911-CD | 12345 | 21/09/2020 15:35 - 21/09/2020 15:40 | M-B091520-02 Planned system Maintenance
Solar Power Production - Actual 5-minute averaged values | NP4-738-CD | 13484 | 21/09/2020 15:35 - 21/09/2020 15:40 21/09/2020 15:40 - 21/09/2020 15:45 | M-B091520-02 Planned system Maintenance
State Estimator Real-Time Transmission Line Flows | NP6-619-CD | 12308 | 21/09/2020 15:35 - 21/09/2020 15:40 21/09/2020 15:40 - 21/09/2020 15:45 | M-B091520-02 Planned system Maintenance
Topology Consistency | NP6-291-CD | 12309 | 21/09/2020 15:35 - 21/09/2020 15:40 21/09/2020 15:40 - 21/09/2020 15:45 | M-B091520-02 Planned system Maintenance
Wind Power Production - Actual 5-minute averaged values | NP4-733-CD | 13071 | 21/09/2020 15:35 - 21/09/2020 15:40 21/09/2020 15:40 - 21/09/2020 15:45 | M-B091520-02 Planned system Maintenance
Wind Power Production - Actual 5-Minute Averaged Values by Geographical Region | NP4-743-CD | 14788 | 21/09/2020 15:35 - 21/09/2020 15:40 21/09/2020 15:40 - 21/09/2020 15:45 | M-B091520-02 Planned system Maintenance
Missed Postings - October 2020
Product Name | EMIL ID | Report Type ID | Intervals Missed (DD/MM/YYYY) | Reason
Aggregated Solar Resource Power Potential Forecast | NP4-739-SG | 13498 | 06/10/2020 19:00 - 06/10/2020 20:00 06/10/2020 20:00 - 06/10/2020 21:00 | No data from vendor
Solar Generation Resource Power Potential Forecast | NP4-736-SG | 13482 | 06/10/2020 19:00 - 06/10/2020 20:00 06/10/2020 20:00 - 06/10/2020 21:00 | No data from vendor
Real-Time ORDC and Reliability Deployment Prices for 15-minute Settlement Interval | NP6-324-CD | 13220 | 13/10/2020 16:45 - 13/10/2020 17:00 | M-A091420-03 Planned system Maintenance
Intra-Hour Load Forecast by Weather Zone | NP3-562-CD | 16553 | 13/10/2020 16:40 - 13/10/2020 16:45 20/10/2020 10:35 - 20/10/2020 10:40 | M-A091420-03 Planned system Maintenance M-A101620-02 Planned system Maintenance
Intra-Hour Wind Power Forecast By Geographical Region | NP4-751-CD | 16554 | 13/10/2020 16:40 - 13/10/2020 16:45 20/10/2020 10:35 - 20/10/2020 10:40 | M-A091420-03 Planned system Maintenance M-A101620-02 Planned system Maintenance
NSA Inactive Constraints | NP5-911-CD | 12345 | 13/10/2020 16:40 - 13/10/2020 16:45 20/10/2020 10:35 - 20/10/2020 10:40 | M-A091420-03 Planned system Maintenance M-A101620-02 Planned system Maintenance
Solar Power Production - Actual 5-minute averaged values | NP4-738-CD | 13484 | 13/10/2020 16:45 - 13/10/2020 16:50 | M-A091420-03 Planned system Maintenance
State Estimator Real-Time Transmission Line Flows | NP6-619-CD | 12308 | 13/10/2020 16:45 - 13/10/2020 16:50 | M-A091420-03 Planned system Maintenance
Topology Consistency | NP6-291-CD | 12309 | 13/10/2020 16:45 - 13/10/2020 16:50 | M-A091420-03 Planned system Maintenance
Wind Power Production - Actual 5-minute averaged values | NP4-733-CD | 13071 | 13/10/2020 16:45 - 13/10/2020 16:50 | M-A091420-03 Planned system Maintenance
Wind Power Production - Actual 5-Minute Averaged Values by Geographical Region | NP4-743-CD | 14788 | 13/10/2020 16:45 - 13/10/2020 16:50 | M-A091420-03 Planned system Maintenance
Hourly Real-Time Load vs. Actual Report | GEN-55-CD | 13499 | 21/10/2020 17:00 - 21/10/2020 18:00 | M-A101620-01 Planned system Maintenance
Missed Postings - November 2020
Product Name | EMIL ID | Report Type ID | Intervals Missed (DD/MM/YYYY) | Reason
Aggregated Solar Resource Power Potential Forecast | NP4-739-SG | 13498 | 25/11/2020 09:00 - 25/11/2020 10:00 25/11/2020 10:00 - 25/11/2020 11:00 07/11/2020 06:00 - 07/11/2020 07:00 05/11/2020 20:00 - 05/11/2020 21:01 | No data from vendor
Solar Generation Resource Power Potential Forecast | NP4-736-SG | 13482 | 25/11/2020 09:00 - 25/11/2020 10:00 25/11/2020 10:00 - 25/11/2020 11:00 07/11/2020 06:00 - 07/11/2020 07:00 05/11/2020 20:00 - 05/11/2020 21:00 | No data from vendor
Intra-Hour Load Forecast by Weather Zone | NP3-562-CD | 16553 | 16/11/2020 15:35 - 16/11/2020 15:40 16/11/2020 15:40 - 16/11/2020 15:45 | M-C111220-02 Planned system Maintenance
Intra-Hour Wind Power Forecast By Geographical Region | NP4-751-CD | 16554 | 16/11/2020 15:35 - 16/11/2020 15:40 16/11/2020 15:40 - 16/11/2020 15:46 | M-C111220-02 Planned system Maintenance
NSA Inactive Constraints | NP5-911-CD | 12345 | 16/11/2020 15:35 - 16/11/2020 15:40 16/11/2020 15:40 - 16/11/2020 15:47 | M-C111220-02 Planned system Maintenance
Solar Power Production - Actual 5-minute averaged values | NP4-738-CD | 13484 | 16/11/2020 15:40 - 16/11/2020 15:45 | M-C111220-02 Planned system Maintenance
State Estimator Real-Time Transmission Line Flows | NP6-619-CD | 12308 | 16/11/2020 15:40 - 16/11/2020 15:46 | M-C111220-02 Planned system Maintenance
Topology Consistency | NP6-291-CD | 12309 | 16/11/2020 15:40 - 16/11/2020 15:47 | M-C111220-02 Planned system Maintenance
Wind Power Production - Actual 5-minute averaged values | NP4-733-CD | 13071 | 16/11/2020 15:40 - 16/11/2020 15:48 | M-C111220-02 Planned system Maintenance
Wind Power Production - Actual 5-Minute Averaged Values by Geographical Region | NP4-743-CD | 14788 | 16/11/2020 15:40 - 16/11/2020 15:49 | M-C111220-02 Planned system Maintenance
Hourly Real-Time Load vs. Actual Report | GEN-55-CD | 13499 | 18/11/2020 17:00 - 18/11/2020 18:00 | M-D111220-02 Planned system Maintenance
Wind Generation Resource Power Potential Forecast | NP4-731-SG | 12320 | 16/11/2020 15:00 - 16/11/2020 16:00 | M-C111220-02 Planned system Maintenance
Real Time Dynamic Rating Data | NP6-215-CD | 11024 | 16/11/2020 15:30 - 16/11/2020 15:45 | M-C111220-02 Planned system Maintenance
Missed Postings - December 2020
Product Name | EMIL ID | Report Type ID | Intervals Missed (DD/MM/YYYY) | Reason
Aggregated Solar Resource Power Potential Forecast | NP4-739-SG | 13498 | 15/12/2020 23:00 - 16/12/2020 00:00 | No data from vendor
Solar Generation Resource Power Potential Forecast | NP4-736-SG | 13482 | 15/12/2020 23:00 - 16/12/2020 00:00 | No data from vendor
Solar Power Production - Actual 5-minute averaged values | NP4-738-CD | 13484 | 15/12/2020 10:45 - 15/12/2020 10:50 | DB Password Change
State Estimator Real-Time Transmission Line Flows | NP6-619-CD | 12308 | 15/12/2020 10:45 - 15/12/2020 10:50 | DB Password Change
Topology Consistency | NP6-291-CD | 12309 | 15/12/2020 10:45 - 15/12/2020 10:50 | DB Password Change
Wind Power Production - Actual 5-minute averaged values | NP4-733-CD | 13071 | 15/12/2020 10:45 - 15/12/2020 10:50 | DB Password Change
Wind Power Production - Actual 5-Minute Averaged Values by Geographical Region | NP4-743-CD | 14788 | 15/12/2020 10:45 - 15/12/2020 10:50 | DB Password Change