## R1 - February - 30 day
Change ID | Market Notice Description | Systems and Processes Impacted
337-01 NPRR902 | Creation of new Market Participant role to access ECEII information due to NPRR902 ERCOT Critical Energy Infrastructure Info project: • ICE_M_VIEW_ECEII | MPIM
PR334-04 NOGRR195 | ERCOT will implement changes to the EMS operator displays in February 2021, as a result of the approval of NOGRR195, which changes the Voltage Setpoint deviation alarming tolerance bands from a static +/- 2% band for all kV levels to kV specific tolerance bands captured in a table in section 2.7.3.5 of the Nodal Operating Guides. For a given Voltage Set Point target- a kV based tolerance band will be identified based on the Nominal kV of the Voltage Set Point target. Additional Nominal Voltages will be added: 230, 115. Notification requirements for deviations from a Voltage Set Point will be updated in Operating Guide paragraphs 2.2.10 (2), (3) and 2.7.3.5 (3), (4) from “as soon as practicable” to a maximum time frame of 15 minutes from receipt of the applicable instruction or 30 minutes from deviation from the tolerance band for an existing Voltage Set Point as identified in paragraph (4) of Section 2.7.3.5. | Energy Management System