ERCOT Planning Guide

- Table of Contents

- January 1, 2021

1	Overview	1

1.1	Purpose	1

1.2	Process for Planning Guide Revision	1

1.2.1	Introduction	1

1.2.2	Submission of a Planning Guide Revision Request	2

1.2.4	Planning Guide Revision Procedure	4

1.2.3.1	Review and Posting of Planning Guide Revision Requests	4

1.2.3.2	Withdrawal of aPlanning Guide Revision Request	4

1.2.3.3	ROS Review and Action	5

1.2.3.4	Comments to the ROS Report	6

1.2.3.5	Planning Guide Revision Request Impact Analysis	6

1.2.3.6	ROS Review of Impact Analysis	7

1.2.3.7	Wholesale Market Subcommittee Review	7

1.2.3.8	ERCOT Impact Analysis Based on ROS Report	9

1.2.3.9	PRS Review of Project Prioritization	9

1.2.3.10	Technical Advisory Committee Vote	9

1.2.3.11	ERCOT Impact Analysis Based on Technical Advisory Committee Report	10

1.2.3.12	ERCOT Board Vote	11

1.2.3.13	Appeal of Action	11

1.2.5	Urgent Requests	12

1.2.6	Planning Guide Revision Implementation	13

2	Definitions and Acronyms	2-1

2.1	Definitions	2-1

2.2 	Acronyms	2-4

3	Regional Planning	3-1

3.1	Communications	1

3.1.1	Overview of Major Transmission Planning Activities	1

3.1.1.1	Long-Term System Assessment	1

3.1.1.2	Regional Transmission Plan	1

3.1.1.3	Regional Planning Group Project Reviews	2

3.1.1.4	Generation Interconnection Process	2

3.1.1.4	Geomagnetic Disturbance (GMD) Vulnerability Assessment	3

3.1.2	Regional Planning Group Project Submission	3

3.1.2.1	All Projects	3

3.1.3	Project Evaluation	4

3.1.3.1	Definitions of Reliability-Driven and Economic-Driven Projects	5

3.1.3.2	Reliability-Driven Project Evaluation	6

3.1.4	Regional Transmission Plan Development Process	6

3.1.4.1	Development of Regional Transmission Plan	6

3.1.4.1.1	Regional Transmission Plan Cases	7

3.1.4.2	Use of Regional Transmission Plan	7

3.1.5	Regional Planning Group Comment Process	8

3.1.6	Notify PUCT of Recommended Transmission Projects	9

3.1.7	Steady State Transmission Planning Load Forecast	9

3.1.8	Planning Geomagnetic Disturbance (GMD) Activities	10

3.1.9	Transmission Interconnection Study	12

4	Transmission Planning Criteria	4-1

4.1	Introduction	1

4.1.1	Reliability Criteria	2

4.1.1.1	Planning Assumptions	2

4.1.1.2	Reliability Performance Criteria	2

4.1.1.3	Voltage Stability Margin	5

4.1.1.4	Steady State Voltage Response Criteria	5

4.1.1.5	Transient Voltage Response Criteria	6

4.1.1.6	Damping Criteria	6

5	Generation Resource Interconnection or Change Request	5-1

5.1	Introduction	1

5.1	Introduction	2

5.1.1	Applicability	2

5.2	General Provisions	3

5.2.1	Applicability	3

5.1.2	Responsibilities	4

5.2	Generation Interconnection Process	5

5.2.1	Generation Interconnection or Change Request Application	5

5.2.2	Initiation of Generator Interconnection or Modification	6

5.2.2	Generation Interconnection or Change Request Submission Requirements	8

5.2.3	Self-Limiting Facilities	9

5.2.4	Confidentiality	9

5.2.5	Duty to Update Project Information and Respond to ERCOT and TDSP Requests for Information	10

5.2.6	Inactive Status	11

5.2.7	Project Cancellation Due to Failure to Comply with Requirements	13

5.2.8	Voluntary Project Cancellation	14

5.2.9	Interconnection Agreements and Procedures	14

5.2.9.1	Standard Generation Interconnection Agreement for Transmission-Connected Generators	14

5.2.9.2	Interconnection Agreement for Distribution-Connected Generators	14

5.2.9.3	Provisions for Municipally Owned Utilities and Cooperatives	15

5.3	Full Interconnection Study Request	15

5.3.1	Full Interconnection Study Submission Requirements	16

5.3.2	Modifications to Request Declarations of Resource Data Accuracy	17

5.4	Study Processes and Procedures	18

5.3	Interconnection Study Procedures for Large Generators	18

5.4.1	Security Screening Study	19

5.3.1	Security Screening Study	20

5.4.2	Full Interconnection Study	21

5.3.2	Full Interconnection Study	22

5.3.2.1	Proof of Site Control	24

5.4.2.1	Full Interconnection Study Process Overview	24

5.3.2.2	Full Interconnection Study Scoping Process	26

5.4.2.2	Full Interconnection Study Elements	27

5.3.2.3	Full Interconnection Study Description and Methodology	28

5.4.3	Steady-State Analysis	29

5.3.2.4	Full Interconnection Study Elements	30

5.3.2.4.1	Steady-State Analysis	30

5.4.4	System Protection (Short-Circuit) Analysis	31

5.3.2.4.2	System Protection (Short-Circuit) Analysis	31

5.4.5	Dynamic and Transient Stability (Unit Stability, Voltage) Analysis	31

5.3.2.4.3	Dynamic and Transient Stability (Unit Stability, Voltage) Analysis	33

5.4.6	Facility Study	34

5.3.2.4.4	Facility Study	34

5.4.7	Economic Study	35

5.4.8	FIS Study Report and Follow-up	36

5.3.2.5	FIS Report and Follow-up	37

5.3.3	ERCOT Economic Study	38

5.3.4	Reactive Study	39

5.3.5	ERCOT Quarterly Stability Assessment	40

5.4.9	Proof of Site Control	42

5.4.10	Confidentiality	42

5.5	Interconnection Agreement	45

5.5.1	Standard Generation Interconnection Agreement	45

5.5	Generator Commissioning	45

5.5.2	Other Arrangements for Transmission Service	45

5.5.3	Provisions for Municipally Owned Utilities and Cooperatives	46

5.5.4	Notification to ERCOT Concerning Certain Project Developments	46

5.6	Intentionally Left Blank	47

5.7	Interconnection Data, Fees, and Timetables	47

5.7.1	Generation Resource and Settlement Only Generator Data Requirements	47

5.7.2	Interconnection Study Fees	50

5.7.3	Generation Interconnection and Full Interconnection Study Application Fees	51

5.7.4	Full Interconnection Study Fee/Cost	51

5.7.5	Interconnection Process Timetables	52

5.7.6	Inactive Status	54

5.7.7	Cancellation of a Project Due to Failure to Comply with Requirements	55

5.8	General and Technical Standards	55

5.8.1	Other Standards	55

5.8.2	Transformer Tap Position	56

5.9	Quarterly Stability Assessment	56

6	Data/Modeling	6-1

6.1	Steady-State Model Development	1

6.2	Dynamics Model Development	2

6.2.1	Dynamics Data Requirements for Generation Resources and Settlement Only Generators	5

6.2.2	Dynamics Data Requirements for Load Resources	5

6.2.3	Dynamics Data Requirements for and Transmission and/or Distribution Service Providers	5

6.2.4 	Dynamics Data Screening and Maintenance	6

6.3	Process for Developing Short Circuit Cases	7

6.4	Transmission Project Information and Tracking Report and Data Requirements	8

6.4.1	Transmission Project Information and Tracking Report	8

6.4.2	ERCOT Responsibilities	8

6.4.3	TSP Responsibilities	8

6.4.4 	Regional Transmission Plan Projects in Transmission Project Information and Tracking Report	9

6.4.5	Content of the Transmission Project Information and Tracking Report	9

6.5	Annual Load Data Request	9

6.6	Intentionally Left Blank	10

6.7	Data Dictionary	10

6.8	Resource Registration Procedures	11

6.8.1	Resource Registration	11

6.8.2	Resource Registration Process	12

6.9	Addition of Proposed Generation to the Planning Models	13

6.10	Contingency Filing Requirements	15

6.11	Process for Developing Geomagnetically-Induced Current (GIC) System Models	16

6.12	Addition of a Proposed DC Tie to the Planning Models	17

7	Market Data Transparency	7-1

7.1	Planning Data and Information	1

8	Attachments	8-1

Declaration of Resource Data Accuracy	8(A)

Declaration of Adequate Water Supplies	8(B)

Declaration of Department of Defense Notification	8(C)

9	RESERVED	9-1