| PGRR Number | 088 | PGRR Title | Include Financial Security Amount in the Monthly Generator Interconnection Status Report |
| --- | --- | --- | --- |

| Date | January 12, 2021 |
| --- | --- |

| Submitter’s Information |  |
| --- | --- |
| Name | Bill Barnes, Nathan Bigbee (Joint Commenters) |
| E-mail Address | bill.barnes@nrg.com, nathan.bigbee@ercot.com |
| Company | Reliant Energy Retail Services LLC, ERCOT |
| Phone Number | 512-691-6137 |
| Cell Number | 315-885-5925 |
| Market Segment | Independent Retail Electric Provider (IREP), Not applicable |

Comments

Following the January 7th, 2021 ROS discussion, Joint Commenters coordinated on revisions to PGRR088 to clarify language describing the process to provide financial security information to ERCOT including when the Transmission Service Provider (TSP) deems it confidential.  These comments reflect those clarifications.

Revised Cover Page Language

| Planning Guide Sections Requiring Revision | 5.2.9, Interconnection Agreements and Procedures 5.2.9.1, Standard Generation Interconnection Agreement for Transmission-Connected Generators 5.5.4, Notification to ERCOT Concerning Certain Project Developments |
| --- | --- |

Market Rules Notes

Please note that the baseline language in the following sections has been updated to reflect the incorporation of the following PGRRs into the Planning Guide:

- PGRR082, Revise Section 5 and Establish Small Generation Interconnection Process

  - Section 5.7.1 (incorporated 1/1/2021)

Revised Proposed Guide Language

[PGRR082: Insert Sections 5.2.9 and 5.2.9.1 below upon system implementation:] - 5.2.9 Interconnection Agreements and Procedures 5.2.9.1 Standard Generation Interconnection Agreement for Transmission-Connected Generators (1) As a condition for obtaining transmission service, an IE for any transmission-connected generator must execute a Standard Generation Interconnection Agreement (SGIA) with its TSP. A template of the SGIA can be found on the ERCOT website. (2) The TSP must submit a change request via the online RIOO system to transmit a copy of the signed SGIA to ERCOT within ten Business Days of execution. The change request shall include the amount of financial security if that amount is not redacted in the public version of the SGIA filed with the Public Utility Commission of Texas (PUCT). ERCOT will include in the monthly Generator Interconnection Status report the name of the interconnecting TSP and the total amount of financial security sufficient to fund the interconnection facilities if provided by the TSP.

5.5.4	Notification to ERCOT Concerning Certain Project Developments

(1)	The following submissions shall be provided to ERCOT via the online Resource Integration and Ongoing Operations (RIOO) system:

(a)	The TSP must submit a change request via the online RIOO system within ten Business Days upon completion of the following events:

(i)	Signing of the FIS study scope agreement; and

(ii)	Funding of the FIS study scope agreement.

(b)	The TSP must submit a change request via the online RIOO system to transmit a copy of the signed SGIA to ERCOT within ten Business Days of execution.

(c)	The TSP must submit a change request via the online RIOO system within ten Business Days of execution, a copy of any financially binding agreement between the IE and the TSP under which the interconnection for a Generation Resource will be constructed.

(d)	The TSP must submit a change request via the online RIOO system within ten Business Days after it receives both a notice to proceed with construction of the interconnection for the Generation Resource and the financial security sufficient to fund the interconnection facilities pursuant to either agreement addressed in items (b) or (c) above.  The change request shall include the amount of financial security if that amount is not redacted in the public version of the SGIA filed with the Public Utility Commission of Texas (PUCT).  ERCOT will include in the monthly Generator Interconnection Status report the name of the interconnecting TSP and the total amount of financial security sufficient to fund the interconnection facilities if provided by the TSP.

(e)	An MOU or EC must submit a change request via the online RIOO system confirming the Entity’s intent to construct and operate a proposed Generation Resource and interconnect such Generation Resource to its own transmission system.

(f)	Except for IEs proposing to interconnect Generation Resources powered by wind or photovoltaic solar energy, the IE must submit a change request via the online RIOO system to provide Section 8, Attachment B, Declaration of Adequate Water Supplies, for each proposed Generation Resource within ten Business Days of securing the relevant water supply rights, or, for Resources that do not require a water supply right to operate (other than wind or photovoltaic solar), within ten Business Days of executing the SGIA.

[PGRR082: Delete Section 5.5.4 above upon system implementation.]