## Slide 1: 2021 PGDTF Leadership
Chair: Chu Liang, WETT.
Vice Chair: Jorge Canamar, Sharyland.

## Slide 2: 2021 PGDTF Activities

## Slide 3: TPL-007-4 R4. Benchmark GMD Vulnerability Assessment
R4. “Each responsible entity, as determined in Requirement R1, shall complete a benchmark GMD Vulnerability Assessment of the Near-Term Transmission Planning Horizon at least once every 60 calendar months. This benchmark GMD Vulnerability Assessment shall use a study or studies based on models identified in Requirement R2, document assumptions, and document summarized results of the steady state analysis”. – TPL-007-4
Notes: The development of corrective action plans for supplemental event

## Slide 4: TPL-007-4 R7. Develop CAPs for Benchmark GMD Vulnerability Assessment
R7. “Each responsible entity, as determined in Requirement R1, that concludes through the benchmark GMD Vulnerability Assessment conducted in Requirement R4 that their System does not meet the performance requirements for the steady state planning benchmark GMD event contained in Table 1, shall develop a Corrective Action Plan (CAP) addressing how the performance requirements will be met”. – TPL-007-4
Notes: The development of corrective action plans for supplemental event

## Slide 5: TPL-007-4 R8. Develop CAPs for Benchmark GMD Vulnerability Assessment
R8. “Each responsible entity, as determined in Requirement R1, shall complete a supplemental GMD Vulnerability Assessment of the Near-Term Transmission Planning Horizon at least once every 60 calendar months. This supplemental GMD Vulnerability Assessment shall use a study or studies based on models identified in Requirement R2, document assumptions, and document summarized results of the steady state analysis”. – TPL-007-4
ERCOT is planning to perform and present the Benchmark GMD vulnerability assessment in 2021.
Notes: The development of corrective action plans for supplemental event

## Slide 6: Determine acceptable system steady state voltage performance criteria.
R3. “Each responsible entity, as determined in Requirement R1, shall have criteria for acceptable System steady state voltage performance for its System during the GMD events described in Attachment 1”. – TPL-007-4
Attachment 1 “Steady State: Voltage collapse, Cascading and uncontrolled islanding shall not occur”.
Draft criteria: 0.88 p.u – 1.05 p.u voltage at load serving buses above 100kV.

## Slide 7: Frequency and Working Group to update GIC models
Majority support developing model every 60 month.
SSWG
SPWG
DWG
PGDWG

## Slide 8: PGDTF Documents
Scope, Procedure Manual, Planning guides and etc.

## Slide 9: Federal And State Activities
NERC GMDTF.
Monitor GMD-related activities at FERC, IEEE, EPRI.

## Slide 10: Supplemental GMDVA Equipment Outages Submittal
Deadline for providing ERCOT a list of equipment susceptible to be removed as a result from GMD supplemental event was in December.
Notes: Standard requires building the cases every 5 years

## Slide 11: Questions or Comments?

## Slide 12: Future Meetings
March 16, 2021.
Notes: Standard requires building the cases every 5 years