## Slide 1
NPRR 1060: Improvements to ERS Testing Requirements and Other ERS Items
Protocol Revisions Subcommittee – January 14, 2021
Demand Side Working Group – January 22, 2021

## Slide 2: NPRR 1060 summary of changes
In the NPRR summary items below and in the proceeding slides, the four items that are italicized with blue highlights indicate changes to the ERS program. The remaining items are primarily for clarification.
ERS Generator metering requirements
  Moved and rephrased ERS Generator metering requirements from Section 8 to Section 3 and TRSOW to improve clarity and consolidation
Co-located Resources test/event performance
  Rearranged paragraphs and simplified the language for co-located Resources related to self-serve capacity limits and separate evaluations for Loads on alternate baselines to improve clarity

## Slide 3: NPRR 1060 summary of changes
Time Period Availability – Loads
  Simplified language referring to unavailability to improve clarity and relocated language from TRSOW addressing missing meter data
  Corrected language referring to ERS Contract Period to ERS Standard Contract Term
Time Period Availability – Generators
  Changed planned maintenance requirements for ERS Generators to align with requirements for ERS Loads and integrated self-testing into planned maintenance to improve efficiency
  Relocated metering requirements to Section 3
  See sub-bullet a) from item 3 above
  See sub-bullet b) from item 3 above

## Slide 4: NPRR 1060 summary of changes
Testing – All Resources
  To account for multiple events within a SCT, modified requirement from passing any event to passing all events for a resource to avoid testing
  Simplified language related to a resource that has passed all events in the SCT and moves from ERS10 to ERS30 does not need to be tested
  Replaced the word “Load” with “Resource” for clarification
  Added testing requirement if sites within a single Premise are in more than 1 resource – all resources will be tested
  ERS Co-located resources – Added language to clarify that separate evaluations are not considered jointly

## Slide 5: NPRR 1060 summary of changes
Resource performance during events
  Modified requirement so ERSTESTPF will be changed to 1 (pass) if the resource passes all events, rather than any event during an SCT
QSE Availability and Event Performance clarity improvements
  Reworded and rearranged structure for QSE Availability
  Reworded and rearranged structure for QSE Event Performance
  Added table with variable definition

## Slide 6: Timeline
PRS Language Consideration 01/14/21
WMS 02/03/21
PRS Impact Analysis Review 02/11/21
TAC Consideration 02/24/21
Board Consideration 04/13/21
Effective date (JunSep21 SCT) 06/01/21

## Slide 7: Questions?
ON
OFF
Contact ERS@ercot.com with additional questions