## Slide 1
Generation Resource Energy and Regulation Deployment Performance Report for December 2020

## Slide 2: Non-IRR GREDP < 85% – December 2020
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 241 | 60 | 87 | 1.29 | 68.97
Unit 255 | 15 | 20 | 0.95 | 75.00
Unit 261 | 11 | 13 | 1.00 | 84.62
Unit 262 | 8 | 10 | 0.78 | 80.00
Unit 263 | 7 | 9 | 0.47 | 77.78
Unit 266 | 0 | 1 | 0.49 | 0.00

## Slide 3: IRR Summary – December 2020
IRR | Fleet | < 95% | > 100 INT, < 95%
GREDP Average (%) | 87.91 | 75.67 | 83.55
GREDP Median (%) | 95.45 | 85.48 | 87.82
Average MW Error | 3.40 | 3.36 | 3.40
Median MW Error | 3.29 | 3.29 | 3.25
Total Intervals Scored | 86,752 | 32,239 | 31,310
100+ Intervals Scored | 109 | 146 | 52
Total Intervals Scored Average | 338.88 | 402.99 | 602.12

## Slide 4: IRR ≥ 95%, ≥ 100 Scored Intervals – Dec. 2020
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 1 | 2,671 | 2,736 | 4.22 | 97.62
Unit 2 | 2,684 | 2,705 | 5.96 | 99.22
Unit 3 | 2,576 | 2,635 | 4.46 | 97.76
Unit 4 | 2,368 | 2,395 | 3.15 | 98.87
Unit 5 | 2,321 | 2,344 | 7.67 | 99.02
Unit 7 | 2,130 | 2,177 | 4.23 | 97.84
Unit 8 | 1,929 | 2,012 | 1.85 | 95.87
Unit 9 | 1,995 | 1,995 | 4.39 | 100.00
Unit 11 | 1,542 | 1,613 | 1.40 | 95.60
Unit 12 | 1,478 | 1,503 | 2.84 | 98.34
Unit 13 | 1,470 | 1,483 | 2.91 | 99.12
Unit 14 | 1,323 | 1,382 | 2.91 | 95.73
Unit 15 | 1,325 | 1,338 | 3.69 | 99.03
Unit 18 | 1,280 | 1,283 | 3.17 | 99.77
Unit 19 | 1,282 | 1,282 | 2.78 | 100.00
Unit 20 | 1,267 | 1,267 | 2.96 | 100.00
Unit 22 | 1,173 | 1,175 | 3.68 | 99.83

## Slide 5: IRR ≥ 95%, ≥ 100 Scored Intervals – Dec. 2020
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 24 | 1,075 | 1,094 | 2.71 | 98.26
Unit 26 | 939 | 983 | 1.70 | 95.52
Unit 30 | 913 | 945 | 2.48 | 96.61
Unit 31 | 897 | 941 | 3.27 | 95.32
Unit 35 | 885 | 913 | 2.63 | 96.93
Unit 36 | 881 | 902 | 3.54 | 97.67
Unit 40 | 824 | 826 | 4.35 | 99.76
Unit 41 | 796 | 816 | 3.23 | 97.55
Unit 42 | 794 | 807 | 3.55 | 98.39
Unit 43 | 784 | 798 | 4.49 | 98.25
Unit 44 | 761 | 761 | 1.60 | 100.00
Unit 45 | 716 | 719 | 3.62 | 99.58
Unit 47 | 699 | 705 | 3.37 | 99.15
Unit 48 | 687 | 700 | 3.59 | 98.14
Unit 49 | 680 | 697 | 2.97 | 97.56
Unit 51 | 621 | 630 | 3.20 | 98.57
Unit 52 | 616 | 616 | 1.44 | 100.00

## Slide 6: IRR ≥ 95%, ≥ 100 Scored Intervals – Dec. 2020
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 55 | 575 | 589 | 1.69 | 97.62
Unit 58 | 533 | 553 | 3.90 | 96.38
Unit 60 | 514 | 517 | 4.29 | 99.42
Unit 63 | 483 | 508 | 1.30 | 95.08
Unit 65 | 471 | 488 | 1.46 | 96.52
Unit 67 | 468 | 482 | 3.55 | 97.10
Unit 68 | 462 | 477 | 7.98 | 96.86
Unit 69 | 471 | 473 | 1.95 | 99.58
Unit 70 | 456 | 466 | 4.68 | 97.85
Unit 75 | 417 | 430 | 4.30 | 96.98
Unit 77 | 410 | 417 | 6.30 | 98.32
Unit 78 | 400 | 414 | 1.01 | 96.62
Unit 82 | 390 | 396 | 5.23 | 98.48
Unit 83 | 372 | 391 | 6.04 | 95.14
Unit 84 | 380 | 381 | 2.43 | 99.74
Unit 86 | 347 | 351 | 6.11 | 98.86
Unit 87 | 335 | 351 | 1.91 | 95.44

## Slide 7: IRR ≥ 95%, ≥ 100 Scored Intervals – Dec. 2020
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 91 | 291 | 297 | 1.88 | 97.98
Unit 94 | 204 | 204 | 2.66 | 100.00
Unit 95 | 182 | 187 | 3.50 | 97.33
Unit 97 | 172 | 172 | 3.51 | 100.00
Unit 98 | 154 | 161 | 4.25 | 95.65
Unit 99 | 147 | 154 | 3.94 | 95.45

## Slide 8: IRR < 95%, ≥ 100 Scored Intervals – Dec. 2020
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 6 | 1,568 | 2,294 | 4.09 | 68.35
Unit 10 | 1,308 | 1,618 | 0.98 | 80.84
Unit 16 | 1,118 | 1,305 | 3.19 | 85.67
Unit 17 | 1,193 | 1,291 | 2.56 | 92.41
Unit 21 | 1,140 | 1,203 | 5.78 | 94.76
Unit 23 | 843 | 1,152 | 5.10 | 73.18
Unit 25 | 802 | 1,051 | 5.39 | 76.31
Unit 27 | 918 | 972 | 5.05 | 94.44
Unit 28 | 894 | 967 | 3.73 | 92.45
Unit 29 | 857 | 946 | 3.95 | 90.59
Unit 32 | 887 | 934 | 3.71 | 94.97
Unit 33 | 857 | 918 | 5.09 | 93.36
Unit 34 | 850 | 917 | 2.42 | 92.69
Unit 37 | 850 | 901 | 5.13 | 94.34
Unit 38 | 842 | 897 | 2.98 | 93.87
Unit 39 | 784 | 847 | 4.69 | 92.56
Unit 46 | 515 | 706 | 3.86 | 72.95

## Slide 9: IRR < 95%, ≥ 100 Scored Intervals – Dec. 2020
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 50 | 598 | 694 | 3.78 | 86.17
Unit 53 | 512 | 599 | 1.57 | 85.48
Unit 54 | 523 | 599 | 3.76 | 87.31
Unit 56 | 531 | 586 | 1.10 | 90.61
Unit 57 | 487 | 575 | 1.14 | 84.70
Unit 59 | 397 | 537 | 2.95 | 73.93
Unit 61 | 340 | 512 | 3.29 | 66.41
Unit 62 | 447 | 511 | 3.04 | 87.48
Unit 64 | 381 | 505 | 3.22 | 75.45
Unit 66 | 406 | 487 | 1.91 | 83.37
Unit 71 | 418 | 464 | 4.34 | 90.09
Unit 72 | 357 | 462 | 4.37 | 77.27
Unit 73 | 311 | 444 | 2.70 | 70.05
Unit 74 | 401 | 434 | 2.69 | 92.40
Unit 76 | 89 | 423 | 9.29 | 21.04
Unit 79 | 365 | 414 | 1.67 | 88.16
Unit 80 | 372 | 402 | 1.11 | 92.54

## Slide 10: IRR < 95%, ≥ 100 Scored Intervals – Dec. 2020
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 81 | 327 | 402 | 3.96 | 81.34
Unit 85 | 258 | 360 | 5.97 | 71.67
Unit 88 | 228 | 330 | 2.47 | 69.09
Unit 89 | 282 | 307 | 2.12 | 91.86
Unit 90 | 285 | 301 | 1.89 | 94.68
Unit 92 | 249 | 272 | 4.55 | 91.54
Unit 93 | 228 | 243 | 1.90 | 93.83
Unit 96 | 159 | 176 | 5.49 | 90.34
Unit 100 | 136 | 148 | 4.74 | 91.89
Unit 101 | 129 | 144 | 1.06 | 89.58
Unit 102 | 120 | 140 | 3.31 | 85.71
Unit 103 | 106 | 140 | 2.02 | 75.71
Unit 104 | 117 | 137 | 2.10 | 85.40
Unit 105 | 126 | 136 | 5.13 | 92.65
Unit 106 | 128 | 135 | 1.99 | 94.81
Unit 107 | 47 | 132 | 4.86 | 35.61
Unit 108 | 118 | 129 | 1.85 | 91.47

## Slide 11: IRR < 95%, ≥ 100 Scored Intervals – Dec. 2020
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 109 | 82 | 116 | 9.55 | 70.69