## Slide 1
Item 10: PRS Report
Martha Henson
PRS Chair
Technical Advisory Committee (TAC) Meeting
ERCOT Public
January 27, 2021

## Slide 2: Summary of PRS Update
2021 PRS Leadership
Chair: Martha Henson, Oncor
Vice Chair: Melissa Trevino, Occidental Chemical
Revision Requests Recommended for Approval by PRS – Unopposed and No Impact (Vote):
NPRR1044, Enhancement of SSR Mitigation Requirement [ERCOT]*
NPRR1048, Clarification on NPRR978 Short-Term Adequacy Reports [ERCOT]*
NPRR1049, Management of DC Tie Load Zone Modifications [ERCOT]*
NPRR1053, BESTF-9 Exemption from Ancillary Service Supply Compliance Requirements for Energy Storage Resources Affected by EEA Level 3 Charging Suspensions [ERCOT]*
(* denotes no impact)

## Slide 3: Summary of PRS Update
Revision Requests Recommended for Approval by PRS – Unopposed with Impacts (Vote):
NPRR1024, Determination of Significance with Respect to Price Corrections [ERCOT]
  IA: Less than $5k (O&M) Priority N/A; Rank N/A
NPRR1034, Frequency-Based Limits on DC Tie Imports or Exports [Southern Cross]
  IA: Between $50k and $70k Priority 2021; Rank 3280
    Costs to implement borne by Southern Cross pursuant to Public Utility Commission of Texas (PUCT) in Project No. 46304 and the terms of a Memorandum of Understanding between ERCOT and Southern Cross
NPRR1040, Compliance Metrics for Ancillary Service Supply Responsibility [LCRA/STEC/Reliant]
  IA: Between $20k and $30k Priority 2021; Rank 3290

## Slide 4: Summary of PRS Update
Revision Requests Recommended for Approval by PRS – Unopposed with Impacts (Vote):
NPRR1050, Change to the Summer Commercial Operations Date Deadline for Including Planned Generation Capacity in Reports on the Capacity, Demand and Reserves in the ERCOT Region [ERCOT]
  IA: Less than $5k (O&M) Priority N/A; Rank N/A
NPRR1051, Removal of the Price Floor Applied to Day-Ahead Settlement Point Prices [ERCOT]
  IA: Between $10k and $20k Priority 2021; Rank 2705
NPRR1052, Load Zone Pricing for Settlement Only Storage Prior to NPRR995 Implementation [ERCOT]
  IA: Less than $5k (O&M) Priority N/A; Rank N/A

## Slide 5: Summary of PRS Update
Revision Requests Recommended for Approval by PRS – Unopposed with Impacts (Vote):
NPRR1054, Removal of Oklaunion Exemption Language [AEP]
  IA: Between $10k and $15k Priority 2021; Rank 3300
Revision Requests Recommended for Approval by PRS – With Opposing Votes (Vote):
NPRR994, Clarify Generator Interconnection Neutral Project Classification [ERCOT]*
(* denotes no impact)

## Slide 6: Appendix

## Slide 7: NPRR994, Clarify Generator Interconnection Neutral Project Classification [ERCOT]
Proposed Effective Date: March 1, 2021
ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; ERCOT grid operations and practices will be updated.
Revision Description: This NPRR clarifies which transmission improvement projects associated with the interconnection of new Generation Resources should be classified as “neutral” projects, including new substations. This NPRR also provides clarity in regards to which Generation Resource interconnection Transmission Facilities are considered when determining if ERCOT should perform an economic analysis pursuant to paragraph (2) of Section 3.11.6, Generation Interconnection Process.
PRS Decision: On 11/11/20, PRS voted via roll call to recommend approval of NPRR994 as amended by the 4/15/20 ERCOT comments. There were two opposing votes from the Independent Generator (EDP Renewables) and Independent Power Marketer (IPM) (Morgan Stanley) Market Segments, and four abstentions from the Independent Generator (3) (ENGIE, Broad Reach Power, Enel Green Power NA) and IPM (Tenaska Power Services) Market Segments. On 12/10/20, PRS voted via roll call to endorse and forward to TAC the 11/11/20 PRS Report and the Impact Analysis for NPRR994. There were two opposing votes from the Independent Generator (Invenergy) and IPM (Morgan Stanley) Market Segments, and one abstention from the Consumer (Sierra Club) Market Segment.

## Slide 8: NPRR1024, Determination of Significance with Respect to Price Corrections [ERCOT]
Proposed Effective Date: Upon system implementation
ERCOT Impact Analysis: Less than $5k (O&M); no impacts to ERCOT staffing; impacts to BI & Data Analytics; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR gives ERCOT the authority to consider significance in determining whether to perform a price correction for the Day-Ahead Market (DAM) or Real-Time Market (RTM). Specifically, this NPRR introduces metrics for determining when ERCOT will perform a price correction or request ERCOT Board approval for a price correction.
PRS Decision: On 12/10/20, PRS unanimously voted via roll call to recommend approval of NPRR1024 as amended by the 11/9/20 ERCOT comments. On 1/14/21, PRS voted via roll call to endorse and forward to TAC the 12/10/20 PRS Report and Impact Analysis for NPRR1024. There was one abstention from the IPM (Morgan Stanley) Market Segment.

## Slide 9: NPRR1034, Frequency-Based Limits on DC Tie Imports or Exports [Southern Cross]
Proposed Effective Date: Upon system implementation – Priority 2021; Rank 3280
ERCOT Impact Analysis: Between $50k and $70k (borne by Southern Cross pursuant to Public Utility Commission of Texas (PUCT) in Project No. 46304 and the terms of a Memorandum of Understanding between ERCOT and Southern Cross); no impacts to ERCOT staffing; impacts to Grid Application Displays, Market Management Systems (MMS), Data and Information Products (DAIP), NoticeBuilder, and Data Access & Transparency; no impacts to ERCOT business processes; ERCOT grid operations and practices will be updated.
Revision Description: This NPRR creates new Protocol Section 4.4.4.3, Frequency-Based Limits on DC Tie Imports or Exports, to allow ERCOT to establish import or export limits on Direct Current Ties (DC Ties) to avoid the risk of any unacceptable frequency deviation that may be identified in the event of an unexpected loss of one or more DC Ties when importing or exporting. Revisions to Section 4.4.4, DC Tie Schedules, would allow ERCOT to curtail DC Tie Schedules on a DC Tie on a last-in-first-out basis when necessary to address this risk. The last-in-first-out curtailment methodology is consistent with current practice documented in the ERCOT DC Tie Operating Procedure Manual. ERCOT would be required to post on the ERCOT website the operating conditions and associated limits that it would expect to use.
PRS Decision: On 11/11/20, PRS unanimously voted via roll call to recommend approval of NPRR1034 as amended by the 10/22/20 SCT comments. On 1/14/21, PRS voted via roll call to endorse and forward to TAC the 12/10/20 PRS Report and Impact Analysis for NPRR1034 with a recommended priority of 2021 and rank of 3280. There was one abstention from the IPM (Morgan Stanley) Market Segment.

## Slide 10: NPRR1040, Compliance Metrics for Ancillary Service Supply Responsibility [LCRA/STEC/Reliant]
Proposed Effective Date: Upon system implementation – Priority 2021; Rank 3290
ERCOT Impact Analysis: Between $20k and $30k; no impacts to ERCOT staffing; impacts to BI & Data Analytics and Data Access & Transparency; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR establishes compliance metrics for Ancillary Service Supply Responsibility.
PRS Decision: On 12/10/20, PRS unanimously voted via roll call to recommend approval of NPRR1040 as amended by the 12/3/20 Luminant comments. On 1/14/21, PRS voted via roll call to endorse and forward to TAC the 12/10/20 PRS Report and Impact Analysis for NPRR1040 with a recommended priority of 2021 and rank of 3290. There was one abstention from the IPM (Morgan Stanley) Market Segment.

## Slide 11: NPRR1044, Clarify Generator Interconnection Neutral Project Classification [ERCOT]
Proposed Effective Date: March 1, 2021
ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; ERCOT grid operations and practices will be updated.
Revision Description: This NPRR requires Generation Resources and Energy Storage Resources (ESRs) to develop and implement Subsynchronous Resonance (SSR) Mitigation plans to address SSR vulnerabilities in the event of six or fewer concurrent transmission Outages, instead of the current threshold of four or fewer Outages. Generation Resources and ESRs that satisfied Planning Guide Section 6.9, Addition of Proposed Generation to the Planning Models, before September 1, 2020 would be allowed to elect SSR monitoring to address SSR vulnerabilities in the event of five or six concurrent transmission Outages.
PRS Decision: On 12/10/20, PRS unanimously voted via roll call to recommend approval of NPRR1044 as amended by the 11/23/20 ERCOT comments. On 1/14/21, PRS voted via roll call to endorse and forward to TAC the 12/10/20 PRS Report and Impact Analysis for NPRR1044. There was one abstention from the IPM (Morgan Stanley) Market Segment.

## Slide 12: NPRR1048, Clarification on NPRR978 Short-Term Adequacy Reports [ERCOT]
Proposed Effective Date: Upon system implementation of NPRR978
ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations.
Revision Description: This NPRR changes certain reports required by Section 3.2.3, System Adequacy Reports, from being aggregated “by Load Zone” to being aggregated “by Forecast Zone.” “Forecast Zones”, which have the same boundaries as the 2003 ERCOT Congestion Management Zones (CMZs), consist of North, South, West, and Houston.
PRS Decision: On 11/11/20, PRS unanimously voted via roll call to recommend approval of NPRR1048 as submitted. On 12/10/20, PRS unanimously voted via roll call to endorse and forward to TAC the 11/11/20 PRS Report and Impact Analysis for NPRR1048.

## Slide 13: NPRR1049, Management of DC Tie Load Zone Modifications [ERCOT]
Proposed Effective Date: March 1, 2021
ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations.
Revision Description: This NPRR removes the requirement to obtain ERCOT Board approval to add, delete, or change a DC Tie Load Zone. This NPRR also removes the 48-month waiting period before such actions can go into effect. Further, this NPRR aligns the timeline for deleting DC Tie Load Zones with the timeline for removing Resource Nodes associated with a retiring Generation Resource.
PRS Decision: On 11/11/20, PRS unanimously voted via roll call to recommend approval of NPRR1049 as submitted. On 12/10/20, PRS unanimously voted via roll call to endorse and forward to TAC the 11/11/20 PRS Report and the Impact Analysis for NPRR1049.

## Slide 14: NPRR1050, Change to the Summer Commercial Operations Date Deadline for Including Planned Generation Capacity in Reports on the Capacity, Demand and Reserves in the ERCOT Region [ERCOT]
Proposed Effective Date: March 1, 2021
ERCOT Impact Analysis: Less than $5k (O&M); no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; ERCOT grid operations and practices will be updated.
Revision Description: This NPRR changes the summer projected Commercial Operations Date deadline from the start of the summer Peak Load Season to July 1. Also, to be consistent with establishing a specific Commercial Operations Date deadline for the summer Peak Load Season, this NPRR adds the date of the start of the winter Peak Load Season.
PRS Decision: On 11/11/20, PRS unanimously voted via roll call to recommend approval of NPRR1050 as submitted. On 12/10/20, PRS unanimously voted via roll call to endorse and forward to TAC the 11/11/20 PRS Report and Impact Analysis for NPRR1050.

## Slide 15: NPRR1051, Removal of the Price Floor Applied to Day-Ahead Settlement Point Prices [ERCOT]
Proposed Effective Date: Upon system implementation – Priority 2021; Rank 2705
ERCOT Impact Analysis: Between $10k and $20k; no impacts to ERCOT staffing; impacts to MMS; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR removes the administrative price floor of -$251/MWh from all Day-Ahead Settlement Point Prices (DASPPs).
PRS Decision: On 11/11/20, PRS unanimously voted via roll call to recommend approval of NPRR1051 as submitted. On 12/10/20, PRS unanimously voted via roll call to endorse and forward to TAC the 11/11/20 PRS Report and Impact Analysis for NPRR1051 with a recommended priority of 2021 and rank of 2705.

## Slide 16: NPRR1052, Load Zone Pricing for Settlement Only Storage Prior to NPRR995 Implementation [ERCOT]
Proposed Effective Date: Upon system implementation of NPRR917
ERCOT Impact Analysis: Less than $5k (O&M); no impacts to ERCOT staffing; impacts to Resource Integration; ERCOT business processes will be updated; no impacts to ERCOT grid operations.
Revision Description: This NPRR ensures that Energy Storage Systems (ESSs) that are registered with ERCOT as Settlement Only Generators (SOGs) will continue to have their injections and withdrawals settled at Load Zone pricing until nodal pricing for injections and withdrawals is approved and implemented.
PRS Decision: On 11/11/20, PRS unanimously voted via roll call to recommend approval of NPRR1052 as submitted. On 12/10/20, PRS unanimously voted via roll call to endorse and forward to TAC the 11/11/20 PRS Report and Impact Analysis for NPRR1052.

## Slide 17: NPRR1053, BESTF-9 Exemption from Ancillary Service Supply Compliance Requirements for Energy Storage Resources Affected by EEA Level 3 Charging Suspensions [ERCOT]
Proposed Effective Date: March 1, 2021
ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; ERCOT business processes will be updated; no impacts to ERCOT grid operations.
Revision Description: This NPRR establishes an exemption from Ancillary Service supply compliance requirements for any Qualified Scheduling Entity (QSE) representing an Energy Storage Resource (ESR) whose ability to charge is restricted during an Energy Emergency Alert (EEA) Level 3 event. The NPRR clarifies that the compliance exemption does not impact the QSE’s financial responsibility due to the Ancillary Service insufficiency. Upon implementation of the Real-Time Co-optimization (RTC) Project, these provisions will no longer be necessary, and the language inserted by this NPRR will be removed.
PRS Decision: On 12/10/20, PRS unanimously voted via roll call to recommend approval of NPRR1053 as amended by the 12/8/20 ERCOT comments. On 1/14/21, PRS voted via roll call to endorse and forward to TAC the 12/10/20 PRS Report and Impact Analysis for NPRR1053. There was one abstention from the IPM (Morgan Stanley) Market Segment.

## Slide 18: NPRR1054, Removal of Oklaunion Exemption Language [AEP]
Proposed Effective Date: March 1, 2021 (Sections 4.2.1.2, 4.4.4, and 4.4.4.2); Upon system implementation (all remaining language) – Priority 2021; Rank 3300
ERCOT Impact Analysis: Between $10k and $15k; no impacts to ERCOT staffing; impacts to Market Settlements (S&B) and Integration; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR removes all references to Oklaunion Exemption from the ERCOT Protocols and adjusts the affected sections’ remaining language accordingly.
PRS Decision: On 12/10/20, PRS unanimously voted via roll call to recommend approval of NPRR1054 as amended by the 12/8/20 ERCOT comments. On 1/14/21, PRS voted via roll call to endorse and forward to TAC the 12/10/20 PRS Report and Impact Analysis for NPRR1054 with a recommended effective date of March 1, 2021 for Sections 4.2.1.2, 4.4.4, and 4.4.4.2; and upon system implementation for all remaining language with a recommended priority of 2021 and rank of 3300. There was one abstention from the IPM (Morgan Stanley) Market Segment.

## Slide 19: 2020 Releases – Board Approved NPRRs / SCRs / xGRRs
Go-live dates can differ from Protocol effective dates – Please refer to market notices for more details
Release targets are subject to change
APPENDIX
Red Text: New additions and target release changes
Strike-Through Text: Previous target release
(a), (b), etc.: Multiple phase release
February 2/4 – 2/6 | April 3/31 – 4/2 | May 5/26 – 5/29 | August 8/4 – 8/6 | October 10/13 – 10/15 | December 12/8 – 12/10
NPRR873 SCR797 NPRR877 Ph2 NPRR968 NPRR943 EMIL Web Interface NPRR863 FFR NPRR960 NOGRR187 OBDRR011 | SCR802 NPRR928 NPRR929 NPRR978(a) NPRR988 NPRR953 | NPRR856 NPRR884 OBDRR006 SCR803 NPRR887 NPRR907 NPRR985 RMGRR163 NPRR837 NPRR930(a) NPRR933 RRGRR021 | NPRR935(a) NPRR951 NPRR977 NPRR955 NOGRR183 SCR781(a) RRGRR016 RRGRR019 | MIS Go-Live RIOO R2 MMS/OS Refresh | SCR806 NPRR978(b)
Project Status Codes
NS = Not Started
I = Initiation
P = Planning
E = Execution
H = On Hold
R1
R2
R3
R4
R5
R6
3/1
NPRR930(a) – O&M portion
NPRR935(a) – Sections 4.2.2 (1) (6), 4.2.5
NPRR935(b) – Sections 2.1, 2.2, 4.2.3
NPRR978(a) – Initial report decommissions
NPRR978(b) – Non-Forecast Zone scope
PGRR070(b) – Remaining PGRR language
SCR781(a) – View / Edit capability
MMS/OS Upgrade “Chill”
MMS/OS Upgrade “Freeze”
ü
ü
ü
December
Off-Cycle
1/1
1/19
E
ü
ü
ü
CMM Release 2a
1/30
8/1
November
RIOO – 9/3
RARF Go-Live - View/Update
ü
ü
ü
ü
ü
ü
ü
ü
ü
5/1
ü
7/1
ü
ü
ü
ü
ü
ü
ü
ü
ü
ü
ü
ü
ü
ü
ü
ü
ü
ü
10/1
ü
ü
ü
ü
ü
ü

## Slide 20: 2021 Release Targets – Board Approved NPRRs / SCRs / xGRRs
Go-live dates can differ from Protocol effective dates – Please refer to market notices for more details
Release targets are subject to change
APPENDIX
Red Text: New additions and target release changes
Strike-Through Text: Previous target release
(a), (b), etc.: Multiple phase release
February 2/2 – 2/4 | April 3/30 – 4/1 | May 5/25 – 5/27 | July 7/27 – 7/29 | October 10/5 – 10/7 | December 12/7 – 12/9
NPRR902(a) NPRR974 NPRR978(c) NOGRR195 NPRR1055 | NPRR902(b) NPRR905 NPRR971 NPRR974 NPRR978(c) NPRR986 NPRR998 NPRR1043 | NPRR904 NPRR905 NPRR1006 NPRR930 NPRR998 NPRR1019 OBDRR009 | NPRR867 | NPRR484 NPRR829 SCR781(b) | FFR Advancement (NPRR863 FFR) NPRR1015 NPRR863 ECRS NPRR1015
Project Status Codes
NS = Not Started
I = Initiation
P = Planning
E = Execution
H = On Hold
R1
R2
R3
R4
R5
R6
NPRR902(a) – ECEII Market Participant MPIM role
NPRR902(b) – MIS links updated for ECEII reports
NPRR978(c) – Forecast Zone scope
SCR781(b) – “Add” capability
TBD Items | 2018 | 2019 / 2020 / 2021
 | NPRR825(b), NPRR867, NPRR841 | NPRRs: 826, 857, 879, 885, 918, 935(b), 936, 939, 941, 962, 965, 1020, 1030, PGRR066, SCR799, SCR800, SCR805
E
E
P
E
P
I
I
P
E
E
E
E
E
E
On Hold
2024 Go-Lives
RIOO – Q4 2021
RARF Add Functionality Go-Live
TBD Go-Live
E
SCR804
Go-Live – 3/18/2021
TO training in Feb.
P
I
Impacts of the MMS/OS Tech Refresh delay on other projects is being evaluated
ECMS – May
Market Info & Grid Info to new platform
Improved dashboards and displays
Replace NoticeBuilder
ECMS – Dec.
Combine ERCOT.com and MIS
Improved search
New navigation
TBD Go-Lives Due to MMS/OS Delay
NPRR904 / NPRR1006 / OBDRR009
NPRR930
NPRR1019
Risk of Delay to R3
NPRR986 / NPRR971 / NPR1043
1/1
ü
June
P