## Slide 1
ROS Report – January 2021
Chase Smith
Technical Advisory Committee (TAC) Meeting
ERCOT Public

## Slide 2: Voting Items
PGRR085 - Dynamic Model Improvements
PGRR086 - Related to RRGRR027, Clarify Models Required to Proceed with an FIS
PGRR087 - Remedial Action Scheme Planning Assumptions
RRGRR027 - Clarify Models Required to Proceed with an FIS

## Slide 3: 2021 ROS Leadership
Chair: Chase Smith (Southern Power Co.)
Vice-Chair: Katie Rich (Golden Spread Electric Cooperative)

## Slide 4: Discussion Items
Valley GTC Updates
  New Valley Export GTC, update Lobo and Ajo GTCs
  New generation connecting in Valley is driving GTC updates to manage regional stability issues
Southern Cross Directive #8, DC Tie Voltage Support Service
  ROS endorses ERCOT’s proposal
  Any DC Tie facility that has an initial energization date after January 1, 2021, and any DC Tie facility that is replaced after that date, shall have at least 0.95 power factor leading/lagging reactive power capability

## Slide 5: Discussion Items
TAC Assignment: Reliability considerations regarding Outage Activity Related to Operating Condition Notice (OCN)
  Action Item Complete
  NOGRR207 – Related to NPRR1001, Clarification of Definition of OCN, Advisory, Watch, Emergency Notice, and Related Clarifications
Resource Integration Working Group
  New “Other Group” that will focus on interconnection process

## Slide 6: Future Meetings
ROS
  Next Regularly Scheduled Meeting – February 4th