APPROVED

Minutes of the Reliability Operations Subcommittee (ROS) Meeting

Webex Only

Thursday, November 5, 2020 – 9:30 a.m.

| Attendance |  |  |
| --- | --- | --- |
| Members: |  |  |
| Alvarez, Eli | Brownsville PUB |  |
| Ayers-Brasher, Jennifer | RWE Renewables |  |
| Bowen, Kenneth | CPS Energy |  |
| Bunch, Kevin | EDF Trading North America |  |
| Claiborn-Pinto, Shawnee | OPUC |  |
| Ebrahimian, Reza | Austin Energy |  |
| Evans, Doug | South Texas Electric Cooperative |  |
| Greer, Clayton | Morgan Stanley |  |
| Haley, Ian | Luminant Generation |  |
| Hudson, Tony | Texas-New Mexico Power |  |
| Koenig, Chris | Golden Spread Electric Cooperative |  |
| Kroskey, Tony | Brazos Electric Power Cooperative |  |
| Kunkel, Dennis | AEP Service Corporation |  |
| Lee, Billy | Garland Power and Light |  |
| Marr, Daniel | LCRA |  |
| Matt, Kevin | Reliant |  |
| McCranor, Billy | Tenaska Power Services | Alt. Rep. for Boone Staples |
| Nashawati, Eithar | Oncor |  |
| Reed, Cyrus | Sierra Club |  |
| Reid, Mike | Air Liquide |  |
| Smith, Chase | Southern Power Co |  |
| Surendran, Resmi | Shell Energy |  |
| Valagura, Bill | Calpine Corporation |  |
| Woitt, Wes | CenterPoint Energy |  |

| Guests: |  |  |
| --- | --- | --- |
| Aldridge, Ryan | AB Power Advisors |  |
| Alford, Anthony | CenterPoint Energy |  |
| Arrigo, Garrett | Shell Energy |  |
| Ashley, Kristy | Customized Energy Solutions |  |
| Barnes, Bill | NRG |  |
| Bruce, Mark | Cratylus Advisors |  |
| Burke, Tom | Invenergy |  |
| Chatlani, Varsha | Boston Energy |  |
| Cochran, Seth | DC Energy |  |
| Cook, Tim | CTT |  |
| Cortez, Sarai | Hunt Utility |  |
| Cortinas, Cesar | Brownsville PUB |  |
| Coultas, Ann | Enel |  |
| Cripe, Ramsey | Schneider Engineering |  |
| Crouch, Rebekah | PUCT |  |
| Dewitt, Charles | PEC |  |
| Donaldson, Rodica | EDF Renewables |  |
| Donohoo, Kenneth | EPE Consulting |  |
| Downey, Martin |  |  |
| Dreyfus, Mark | MD Energy Consulting |  |
| Dumas, John | LCRA |  |
| Egunjobi, Ransome | LCRA |  |
| Elhabr, Tony | EDF Trading |  |
| Farhangi, Anoush | Demand Control 2 |  |
| Floyd, Rickey | Oncor |  |
| Fogarty, Audrey | Jupiter Power |  |
| Goff, Eric | Residential Consumer |  |
| Gross, Blake | AEPSC |  |
| Hayden, Mario | EGPNA |  |
| Henderson, Norris | FERC |  |
| Henry, Mark | Texas Reliability Entity |  |
| Henson, Martha | Oncor |  |
| Huynh, Thuy | Potomac Economics |  |
| Jackson, Jimmy | CPS Energy |  |
| Jewell, Michael | Jewell and Associates |  |
| Johnson, Anthony | CenterPoint Energy |  |
| Jolly, Emily | LCRA |  |
| Joshi, Karan | Pattern Energy |  |
| Kandah, Amjed | Oncor |  |
| Karlik, John | Austin Energy |  |
| Kee, David | CPS Energy |  |
| Khayat, Maribel | CenterPoint Energy |  |
| King, Kenesha | Oncor |  |
| Kopin, Dan | Utility Services |  |
| Kota, Naga | National Grid Renewables |  |
| Lange, Clif | South Texas Electric Cooperative |  |
| Martin, Collin | Oncor |  |
| Mathew, Biju | LCRA |  |
| Mathew, Shirley | Austin Energy |  |
| McClellan, Suzi | Good Company and Associates |  |
| McGinnis, Timothy | RWE Renewables |  |
| Memic, Amir | Lone Star Transmission |  |
| Mendoza, Albert | Oxy |  |
| Mercado, David | CenterPoint Energy |  |
| Miller, Alexandra | EDF Renewables |  |
| Miller, Daniel | DC Energy |  |
| Morris, Sandy | Direct Energy |  |
| Mulholland, Chad | NRG |  |
| Musher, Danny | Key Capture Energy |  |
| Nagarajan, Ramya | CTT |  |
| Oberski, Nicholas | LCRA |  |
| Penney, David | Texas Reliability Entity |  |
| Peters, Patrick | CenterPoint Energy |  |
| Picone, Benjamin | RES Group |  |
| Powell, Christian | PEC |  |
| Preas, Dylan | LCRA |  |
| Pressler, Glenn | CPS Energy |  |
| Pyka, Greg | Schneider Engineering |  |
| Rainwater, Kim | LCRA |  |
| Ravulapati, Bharath | CTT |  |
| Reader, Raborn | Enterprise Productions |  |
| Reid, Walter | Advanced Power Alliance |  |
| Rich, Katie | GSEC |  |
| Richmond, Michele | TCPA |  |
| Roberts, Vincent | TNMP |  |
| Sams, Bryan | Calpine |  |
| Schauer, Trent | AB Power Advisors |  |
| Schwarz, Brad | Sharyland |  |
| Shah, Parag | Enchanted Rock |  |
| Shumate, Walt |  |  |
| Siddiqi, Shams | Crescent Power Consulting |  |
| Simpson, Lori | Exelon |  |
| Smith, Caitlin | AB Power Advisors |  |
| Smith, Chris | Austin Energy |  |
| Snyder, John | Clearway Energy |  |
| Striedel, James | GDS and Associates |  |
| Turner, Lucas | South Texas Electric Cooperative |  |
| Varnell, John | Tenaska Power Services |  |
| Velasquez, Ivan | Oncor |  |
| Wang, Shuai | Roscommon Analytics |  |
| White, Lauri | AEP Texas |  |
| Williams, Wes | BTU |  |
| Wittmeyer, Bob | Broad Reach Power |  |
| Woods, Brad | Texas Reliability Entity |  |
| Yatar, J-M | CenterPoint Energy |  |
| ERCOT Staff: |  |  |
| Al-Homsi, Alex |  |  |
| Albracht, Brittney |  |  |
| Anderson, Connor |  |  |
| Anderson, Troy |  |  |
| Ayson, Janice |  |  |
| Bernecker, John |  |  |
| Bigbee, Nathan |  |  |
| Billo, Jeff |  |  |
| Boren, Ann |  |  |
| Boswell, Bill |  |  |
| Bracy, Phil |  |  |
| Chan Wu, Vanessa |  |  |
| Cheng, Yong |  |  |
| Cheng, Yunzhi |  |  |
| Clifton, Suzy |  |  |
| Cyphers, Darrell |  |  |
| Daryabak, Mehdi |  |  |
| Devadhas-Mohanadha, Thinesh |  |  |
| Du, Pengwei |  |  |
| Fernandes, Jenifer |  |  |
| Fohn, Douglas |  |  |
| Garcia, Freddy |  |  |
| Gnanam, Prabhu |  |  |
| Guiyab, Rochie |  |  |
| Huang, Fred |  |  |
| Jenkins, Darrell |  |  |
| Jones, Dan |  |  |
| Jowlabar, Nicholas |  |  |
| Kane, Erika |  |  |
| Kang, Sun Wook |  |  |
| Lasher, Warren |  |  |
| Lee, Alex |  |  |
| Lee, Raymund |  |  |
| Mago, Nitika |  |  |
| Meier, Eric |  |  |
| Mereness, Matt |  |  |
| Miller, Megan |  |  |
| Neiberger, Valery |  |  |
| Nikouei, Farhad |  |  |
| Phillips, Cory |  |  |
| Rickerson, Woody |  |  |
| Rose, Jonathan |  |  |
| Sanchez, Daniel |  |  |
| Sanchez, Lilia |  |  |
| Schmall, John |  |  |
| Sharma, Sandip |  |  |
| Shaw, Pamela |  |  |
| Solis, Stephen |  |  |
| Stice, Clayton |  |  |
| Teixeira, Jay |  |  |
| Thompson, Chad |  |  |
| Thuerwaechter, Kashia |  |  |
| Troublefield, Jordan |  |  |
| Williams, Leslie |  |  |
| Woodfin, Dan |  |  |
| Xiao, Hong |  |  |
| Yan, Ping |  |  |
| Zhang, Yang |  |  |

Unless otherwise indicated, all Market Segments were present for a vote.

Kevin Bunch called the November 5, 2020 ROS meeting to order at 9:30 a.m.

Antitrust Admonition

Mr. Bunch directed attention to the Antitrust Admonition, which was displayed.

Agenda Review

Mr. Bunch reviewed items scheduled for a vote and noted changes to the agenda.

# Approval of Meeting Minutes (see Key Documents)

# October 8, 2020

# Market Participants reviewed the October 8, 2020 ROS meeting minutes.  Mr. Bunch noted this item could be considered for inclusion in the Combined Ballot.

# Technical Advisory Committee (TAC) Update and Assignments

Mr. Bunch reviewed the disposition of items considered at the October 28, 2020 TAC meeting.

# ERCOT Reports (see Key Documents)

# Operations Report

# Freddy Garcia reviewed the September 2020 Operations Report.

System Planning Report

Ping Yan presented the September 2020 System Planning Report.

Downstream Production Change (DPC) Review

Bill Blevins summarized the DPC Change process for the various network model types, reviewed the revised November 1, 2020 DPC request form, and presented DPC trends. Mr. Blevins stated that ERCOT Modeling Staff anticipates hosting a Transmission Service Provider (TSP) Contingency Workshop in January 2021.

Proposed Changes to Ancillary Service Methodology for 2021

Nitika Mago presented the proposed ERCOT Methodologies for Determining Minimum Ancillary Service Requirements for 2021, summarized the analyses, and reviewed changes to incorporate new solar adjustment tables.  Market Participants discussed the methodology, the 125 MW Responsive Reserve (RRS) limit proposed in Other Binding Document Revision Request (OBDRR) 025, Clarification for the RRS Limit on Individual Non-Thermal Generation Resources as discussed at previous Performance Disturbance Compliance Working Group (PDCWG) meetings, and potential Primary Frequency Response (PFR) limits for energy storage investments.  Market Participants requested the PDCWG review the total amount of RRS and PFR that can come from Energy Storage Resources (ESRs), and with ERCOT determine if there will be any limits applied to ESRs so that Stakeholders can identify restrictions applicable to developing projects. Mr. Bunch noted this item could be considered for inclusion in the Combined Ballot.

Annual update on unannounced testing

Ms. Mago summarized the Nodal Protocol requirements for conducting Generation Resource tests to verify High Sustained Limit (HSL) reported by telemetry and ERCOT’s annual report of the aggregated results.

Southern Cross Directive #3 Ramp Rate Restrictions Whitepaper (see Key Documents)

Ms. Mago reviewed ERCOT's Determination for Directive #3 as reflected in the Whitepaper, "PUC Project No. 46304 Oversight Relating to the Southern Cross Transmission (SCT) DC Tie Ramp Rate Considerations (Directive 3)” and summarized discussions at previous PDCWG meetings in 2019 and 2020.   Mr. Bunch noted this item could be considered for inclusion in the Combined Ballot.

Real-Time Co-Optimization Task Force (RTCTF) Update (see Key Documents)

Matt Mereness presented the RTCTF Revision Request summary, reviewed the harmonizing of RTC and Battery Energy Storage (BES) concepts, and summarized the next steps for Nodal Operating Guide Revision Request (NOGRR) 211, RTC – NOG 2 and 9: System Operations and Control Requirements and Monitoring Programs, including the request for Urgent status and consideration at the November 5, 2020 ROS meeting to advance to the December 8, 2020 Urgent Board of Directors meeting to align with ERCOT’s Passport program timeline.

Urgency Vote(s) (see Key Documents)

NOGRR211, RTC – NOG 2 and 9: System Operations and Control Requirements and Monitoring Programs

Market Participants discussed the request for Urgent status and reviewed NOGRR211, the 8/18/20 and 10/23/20 ERCOT comments, and the Impact Analysis for NOGRR211.  Mr. Bunch noted this item could be considered for inclusion in the Combined Ballot.

OBDRR025, Clarification for the RRS Limit on Individual Non-Thermal Generation Resources (see Key Documents)

Chad Mulholland summarized OBDRR025, the 10/28/20 NRG comments, discussion at the October 14,

2020 PDCWG meeting, and draft PDCWG comments for sponsorship clarifications.  Market Participants and ERCOT Staff discussed the RRS limit for individual non-thermal Generation Resources, ESRs, and Controllable Load Resources, and offered potential clarifications.  Market Participants expressed support for PDCWG to file comments to OBDRR025, and requested additional time to review the issues.   Mr. Bunch noted this item could be considered for inclusion in the Combined Ballot.

New Protocol Revision Subcommittee (PRS) Referrals (see Key Documents)

Nodal Protocol Revision Request (NPRR) 1044, Enhancement of SSR Mitigation Requirement

Market Participants discussed NPRR1044 and requested additional review of the issues by the Planning Working Group (PLWG) and Dynamics Working Group (DWG).  Mr. Bunch noted this item could be considered for inclusion in the Combined Ballot.

NPRR1045, Transmission Operator Definition and Designation

Douglas Fohn summarized NPRR1045 and noted NOGRR219, Related to NPRR1045, Transmission Operator Definition and Designation was referred to the Operations Working Group (OWG).  Market Participants requested review of NPRR1045 by the OWG.  Mr. Bunch noted this item could be considered for inclusion in the Combined Ballot.

Revision Requests Tabled at PRS, Referred to ROS (see Key Documents)

NPRR979, Incorporate State Estimator Standards and Telemetry Standards into Protocols

ROS took no action on this item.

NPRR1040, Compliance Metrics for Ancillary Service Supply Responsibility

Clif Lange summarized the 10/27/20 LCRA STEC Reliant comments and noted the Wholesale Market Subcommittee (WMS) endorsed NPRR1040 at its 11/4/20 meeting.  Market Participants discussed the performance metrics and compliance timeline.  Mr. Bunch requested PDCWG review the issue and provide their recommendation at the 12/3/20 ROS meeting.

Review of ROS Revision Requests (see Key Documents)

Impact Analyses

NOGRR220, Greybox Baseline Updates re NOGRR212

Planning Guide Revision Request (PGRR) 081, Related to NPRR1026, BESTF-7 Self-Limiting Facilities and Self-Limiting Resources

Mr. Bunch noted these items could be considered for inclusion in the Combined Ballot.

PGRR082, Revise Section 5 and Establish Small Generation Interconnection Process

Market Participants reviewed the Impact Analysis, recommended priority and rank, and Business case for PGRR082.  Mr. Bunch noted this item could be considered for inclusion in the Combined Ballot.

Language Review

PGRR088, Include Financial Security Amount in the Monthly Generator Interconnection Status Report

Bill Barnes summarized PGRR088 and noted the desire for additional review of the issues by PLWG.  Mr. Bunch noted this item could be considered for inclusion in the Combined Ballot.

Revision Requests Tabled at ROS (see Key Documents)

PGRR073, Related to NPRR956, Designation of Providers of Transmission Additions

NOGRR199, Related to NPRR979, Incorporate State Estimator Standards and Telemetry Standards into Protocols

ROS took no action on these items.

PDCWG (see Key Documents)

Mr. Mulholland reviewed PDCWG activities.

NPRR1034, Frequency-Based Limits on DC Tie Imports or Exports

Mark Bruce summarized NPRR1034 and the 10/22/20 SCT comments.  Mr. Bunch noted this item could be considered for inclusion in the Combined Ballot.

OWG (see Key Documents)

Rickey Floyd reviewed OWG activities.

NOGRR215, Limit Use of Remedial Action Schemes

NOGRR219, Related to NPRR1045, Transmission Operator Definition and Designation

ROS took no action on these items.

PLWG (see Key Documents)

Tim Cook reviewed PLWG activities, including the review of ERCOT proposals for adding Distributed Energy Resource (DER) information in planning models and encouraged Market Participants to contact John Bernecker, ERCOT with comment and suggestions.  Mr. Cook summarized the transmission issues related to the Generation Constraints (GTC) workshop discussed at the October 19, 2020 PLWG meeting.

PGRR085, Dynamic Model Improvements

Mr. Cook summarized PGRR085 and noted PLWG was in consensus to advance it.  ERCOT Staff noted that PGRR085 will be discussed at the November 11, 2020 DWG meeting.

Resource Registration Glossary Revision Request (RRGRR) 027, Clarify Models Required to Proceed with an FIS

PGRR086, Related to RRGRR027, Clarify Models Required to Proceed with an FIS

Mr. Cook summarized RRGRR027 and PGRR086 and noted PLWG was in consensus to recommend ROS approve both Revision Requests.  Mr. Bunch noted these items could be considered for inclusion in the Combined Ballot.

PGRR087, Remedial Action Scheme Planning Assumptions

Mr. Cook summarized PGRR087 and noted PLWG was in consensus to advance it.  Mr. Bunch noted this item could be considered for inclusion in the Combined Ballot. In response to Market Participant concerns to advance PGRR087 with NOGRR215, ERCOT Staff noted the revisions are not dependent upon each other and the items can move independently through the stakeholder process.

Planning Geomagnetic Disturbance Task Force (PGDTF) (see Key Documents)

PGDTF Scope

Amjed Kandah reviewed PGDTF activities and presented the PGDTF scope.  Market Participants requested inclusion of the updated Planning Guide references.

Combined Ballot

Dennis Kunkel moved to approve the Combined Ballot as follows:

- To approve the October 8, 2020 ROS meeting minutes as submitted

- To endorse the ERCOT Methodologies for Determining Minimum Ancillary Service Requirements for 2021 as recommended by ERCOT

- To endorse ERCOT's Determination for Directive #3 as reflected in the Whitepaper, "PUC Project No. 46304 Oversight Relating to the Southern Cross Transmission (SCT) DC Tie

Ramp Rate Considerations (Directive 3)” as presented

- To grant NOGRR211 Urgent status; to recommend approval of NOGRR211 as amended by the 10/23/20 ERCOT comments; and to forward to TAC NOGRR211 and the Impact Analysis

- To approve filing of draft PDCWG comments changing sponsor, to request TAC continue to table OBDRR025

- To request PRS continue to table NPRR1044 to allow for review by the PLWG and DWG

- To request PRS continue to table NPRR1045 to allow for review by the OWG

- To endorse and forward to TAC the 10/8/20 ROS Report and Impact Analysis for NOGRR220

- To endorse and forward to TAC the 10/8/20 ROS Report and the Impact Analysis for PGRR081

- To endorse and forward to TAC the 10/8/20 ROS Report and the Impact Analysis for PGRR082 with a recommended priority of 2020 and rank of 3070

- To table PGRR088 and refer the issue to PLWG

- To endorse NPRR1034 as amended by the 10/22/20 SCT comments

- To recommend approval of RRGRR027 as submitted

- To recommend approval of PGRR086 as submitted

- To recommend approval of PGRR087 as submitted

Ian Haley seconded the motion.  The motion carried unanimously via roll call vote.  (Please see ballot posted with Key Documents.)

Network Data Support Working Group (NDSWG) (see Key Documents)

J-M Yatar reviewed NDSWG activities.

Voltage Profile Working Group (VPWG) (see Key Documents)

Biju Mathew reviewed VPWG activities.

Other Business

2021 ERCOT Membership/Segment Representative Elections

Suzy Clifton reminded Market Participants that the membership date of record is Friday, November 6, 2020, highlighted changes in membership and fee submittal due to COVID19 restrictions, and stated that 2021 Segment Representative Elections would begin on Monday, November 9, 2020.

Review of Open Action Items

Market Participants took no action on this item.

No Report

- Black Start Working Group (BSWG)

- DWG

- Operations Training Group (OTWG)

- System Protection Working Group (SPWG)

- System State Working Group (SSWG)

Adjournment

Mr. Bunch adjourned the November 5, 2020 ROS meeting 1:46 p.m.

# Footnotes

# Key Documents referenced in these minutes may be accessed on the ERCOT website at:

# http://www.ercot.com/calendar/2020/11/5/189423-ROS