## Slide 1: Wholesale Market Working Group Report to WMS
David Detelich
Murali Sithuraj
February 3, 2021
From January 25 WMWG Meeting

## Slide 2: NPRR1056 Market Impact Generic Transmission Constraint (GTC) Notification
WMWG discussed ERCOT comments on this NPRR
  This information is ERCOT Critical Energy Infrastructure Information (ECEII) that poses a high level of security risk and is subject to limited access
  NPRR902 should become effective in April
  ERCOT is willing to have more discussions on whether there is a way to make this information available through a secure means
Also discussed the technical requirements for identifying the GTC’s that have the level of impact requested by the NPRR
Discussion on a special working group like PDCWG to discuss the GTC.
  Some participants concerned that the disclosure method chosen could provide an information advantage and will set the precedent
Author to submit comments based on the discussions at PLWG, OWG and WMWG

## Slide 3: NPRR1058 Resource Offer Modernization for Real-Time Co-Optimization
WMWG discussed the IMM comments on this NPRR and concerns of participants
  Business case should include examples of the reasons this will be used
  The reason should be available for the disclosure reports. Freeform reasons may reveal too much information. Possibly have a drop down with standard reasons.
  Should the acceptable reasons be listed in the protocols?
  Some disagreement on the deletion of the multipliers and mitigation
ERCOT to issue comments concerning the mechanics and other sections of the protocols that will need revisions
Authors to submit comments for further discussion

## Slide 4: Participation in SCED and AS – Behind-The-Meter (BTM) resources
Presentation on the current state of rules for BTM resources
  Load resources (CLR) and generation resources behind a single POI cannot participate simultaneously in the market
  Netting load and generation at a POI with customer load impacts the ERCOT real-time load summation and load forecasting
  Generation is settled nodally and load is settled zonally.
  Many other impacts that would have to be assessed to determine the scale of project needed to allow this participation
Presentation on a proposal to allow the participation of various generation and load resources by netting of the participating load and generation to determine the net change as there is a growing demand for this capability
ERCOT to socialize Shams proposal with broader internal groups and provide feedback at future WMWG meetings.

## Slide 5: Day-Ahead Market (DAM) Performance Issue (DAM Delays)
ERCOT presented analysis on the inputs to the DAM and the leading causes of the delays
Total PTP Intervals, Total number of Constraints and Total Energy Only Offer (EOO) intervals appears to be the three most significant variables affecting the Total DAM Run time.
  Of these three variables, Total PTP Intervals is the most influential variable affecting Total DAM Run time.
  The average yearly volume of PTP intervals had doubled over the last five years
  The Total number of constraints has a strong relationship to the PTP intervals
The number of QSE’s and counterparties has been increasing as well
  Are the counterparties affiliated to get around the bid limits?
Market Participants are concerned that discouraging PTP bids would lead to increase in alternate submission behavior (Energy-Only Offer and Energy Bid submissions in lieu of PTP)
ERCOT will provide additional analysis at the next WMWG meeting

## Slide 6: Next meeting
WMWG February 18
March meeting date changed to 3/22/21
Any questions?