## Slide 1: Operations Working Group
Chair- Rickey Floyd
Vice-Chair- Shawn McCreary
HITE List Sub-Chair – Pushkar Chhajed
02/04/2021

## Slide 2: NOGRR215 – Limited Use of RAS
Joint meeting was held with CMWG on 1/22/2021
One suggestion from joint meeting was for ERCOT to add additional resources and tools to have the capability to study impact where multiple RAS were installed
  At OWG ERCOT indicated that this was being reviewed
Discussions will continue at joint meeting with CMWG on 02/15/2021
Remains tabled

## Slide 3: NPRR1056, Market Impact Generic Transmission Constraint (GTC) Notification
ERCOT expressed concerns about the risk of this type of data being too accessible and used to harm the ERCOT system
There were several suggestions by stakeholder on possible options to maintain security.
  Limit access and require a signed discloser agreement
  Private working group
  Removing the operating limit from the verbiage
Discussions on the item will continue at the next OWG meeting.