**Section 2:**

**NOGRR195 – Generator Voltage Control Tolerance Band**

This Nodal Operating Guide Revision Request (NOGRR) addresses ERCOT audit recommendations from Texas Reliability Entity, Inc. (Texas RE) and modifies generator voltage control tolerance bands.

**Revised Subsections: 2.2.10, 2.7.3.1, 2.7.3.3, 2.7.3.4, 2.7.3.5 [unboxed due to system implementation]**

**Administrative Changes:**

Non-substantive administrative changes were made such as spelling corrections, formatting, and correcting Section numbering and references.

**Revised Subsections: 2.2.5, 2.2.10, 2.7.3.5**