## Slide 1
Distributed Generation Update
SAWG
2/5/2021

## Slide 2: Settlement-Only Distributed Generation in ERCOT 2010-2020
Chart: 
| Prior to 2010 | Q1 2010 | Q2 2010 | Q3 2010 | Q4 2010 | Q1 2011 | Q2 2011 | Q3 2011 | Q4 2011 | Q1 2012 | Q2 2012 | Q3 2012 | Q4 2012 | Q1 2013 | Q2 2013 | Q3 2013 | Q4 2013 | Q1 2014 | Q2 2014 | Q3 2014 | Q4 2014 | Q1 2015 | Q2 2015 | Q3 2015 | Q4 2015 | Q1 2016 | Q2 2016 | Q3 2016 | Q4 2016 | Q1 2017 | Q2 2017 | Q3 2017 | Q4 2017 | Q1 2018 | Q2 2018 | Q3 2018 | Q4 2018 | Q1 2019 | Q2 2019 | Q3 2019 | Q4 2019 | Q1 2020 | Q2 2020 | Q3 2020 | Q4 2020
ACCUMULATED MW | 79.36 | 84.16 | 84.16 | 99.02 | 107.22 | 110.42 | 110.42 | 121.22 | 121.22 | 150.02 | 200.58 | 200.58 | 200.58 | 200.58 | 350.66 | 362.93 | 372.31 | 392.07 | 396.07 | 401.07 | 413.34 | 432.61 | 456.34 | 465.47 | 467.05 | 470.31 | 479.44 | 490.44 | 499.1 | 507.14 | 535 | 568.3 | 633.59 | 649.93 | 686.1 | 712.5 | 782.73 | 788.73 | 812.83 | 836.53 | 848.93 | 860.63 | 874.53 | 910.53 | 930.93
Renewable MW | 67.66 | 72.46 | 72.46 | 87.32 | 87.32 | 90.52 | 90.52 | 93.72 | 93.72 | 122.52 | 133.08 | 133.08 | 133.08 | 133.08 | 133.08 | 133.08 | 133.08 | 143.07 | 143.07 | 143.07 | 143.07 | 152.57 | 154.57 | 154.57 | 156.15 | 156.15 | 157.72 | 168.72 | 168.72 | 168.72 | 168.72 | 177.51 | 213.06 | 215.64 | 215.64 | 225.64 | 285.64 | 285.64 | 300.64 | 313.14 | 323.14 | 323.14 | 323.14 | 323.14 | 333.14
ACCUMULATED COUNT | 14 | 15 | 15 | 17 | 18 | 19 | 19 | 21 | 21 | 24 | 30 | 30 | 30 | 30 | 46 | 48 | 49 | 53 | 54 | 55 | 57 | 60 | 64 | 65 | 66 | 68 | 70 | 72 | 79 | 91 | 111 | 122 | 139 | 152 | 178 | 194 | 213 | 218 | 223 | 233 | 236 | 241 | 252 | 283 | 292
Renewables
Non-renewables
Accumulated Count
SODGs are:
<10 MW
If >1 MW and inject to grid, must register with ERCOT
If <1 MW, registration optional

## Slide 3: Discussion on Unregistered DG
ERCOT has presented at various modeling group meetings on how to capture Unregistered DG
  Aug 2020-Jan 2021 SSWG mtgs
    Presentations typically not posted
  Sept/Oct 2020 PLWG mtgs
    http://www.ercot.com/content/wcm/key_documents_lists/191727/DER_Proposal_Update_October2020_RPG_PLWG.PDF
  Nov 2020 PWG
    http://www.ercot.com/content/wcm/key_documents_lists/195117/PWG_Load_Profile_Proposal_11062020_V1.pptx
2017 DER Reliability Whitepaper outlined the future requirement for Including accumulations of unregistered DG in the ERCOT network model http://www.ercot.com/content/wcm/lists/121384/DERs_Reliability_Impacts_FINAL.pdf

## Slide 4: Next Steps
Unregistered DG values reported from TDSPs
  Premise data provided as part of Load Profile Template
    Excel spreadsheet method was originally acceptable for small numbers of Unregistered DG
    Not really viable long-term for larger volumes of information(>2,000/month)
Unregistered DG values reported from NOIEs
  Aggregate values provided per NPRR891
    Annual or Quarterly basis depending on amount in NOIE
New method(s) for reporting accumulations of UDG will be needed
  Series of Workshops will be held
    First workshop limited to TDSPs and NOIEs to better understand options.
      Feb 19
      http://www.ercot.com/calendar/2021/2/19/223989
    Future workshops will be open to the wider audience