## Slide 1
ERCOT Frequency Control Report
January 2021
ERCOT
Operations Planning
PDCWG | February 12th, 2021

## Slide 2: Summary of December 2020
CPS1: 172.03%
Current CPS1 12-Month Rolling Average: 170.97%
1 BAAL Exceedance(s)
0 hourly CPS1 score below 100%
BAAL-003 Events have updated through 2019
2019 BAAL-003 FRM Performance: -811.14
2021 RMS1 Statistics
  Mean: 15.82 mHz
  Min: 13.56 mHz
  Max: 18.6 mHz
Energy Statistics
  Total Energy: 30,759437 MWh
  Wind Energy: 7,706899 MWh
  Percent Energy from Wind: 25.06%
  Solar Energy: 711282 MWh
  Percent Energy from Solar: 2.31%
Minimum System Inertia
  Mean: 185886
  Max: 270782 on Jan 11th
  Min: 136,033 on Jan 30th
Notes: 2018 BAAL-003 FRM Performance: -843.17

## Slide 3: Frequency Control
CPS1, BAAL, & RMS1

## Slide 4: Hourly CPS1 by Day

## Slide 5: BAAL Exceedances & Violations
There was 1 BAAL exceedance(s) in Jan
Notes: Occurred on 01/03/2021

## Slide 6: 15-Minute Average CPS1%
Jan-21 CPS1 (%): 172.03

## Slide 7: 12-Month Rolling Average CPS1
Current 12-Month Rolling Average: 170.97%

## Slide 8: Daily RMS1 of ERCOT Frequency by Year
Notes:   Mean: 15.82 mHz
  Min: 13.56 mHz
  Max: 18.6 mHz

## Slide 9: Daily RMS1 of ERCOT Frequency by Month

## Slide 10: Daily RMS1 of ERCOT Frequency by Month

## Slide 11: Frequency Profile Comparison

## Slide 12: Frequency Profile Comparison

## Slide 13: Frequency Profile Comparison

## Slide 14: Time Error Correction

## Slide 15: ERCOT Daily Time Error

## Slide 16: Time Error Corrections Log Summary
There have been no time error corrections since December 2016

## Slide 17: BAL-003 Performance

## Slide 18: Op. Year 2019 BAL-003 Selected Events – Update
Notes: BAL-003

## Slide 19: Op. Year 2019 BAL-003 FRM Performance - Update
Notes: OP2018: FRO = -381.0, FRM_median = -843.17, FRM_average = -959.7
OP2019: FRO = -381.0, FRM_median = -811.14, FRM_average = -892.5
OP2020: FRO = -425.0,

## Slide 20: ERCOT Energy Statistics

## Slide 21: Total Energy
Notes: 30,759437 MWh

## Slide 22: Total Energy from Wind Generation
Notes: 7,706899 MWh

## Slide 23: % Energy from Wind Generation
Notes: 25.06%

## Slide 24: Total Energy From Solar Generation
Notes: 711282 MWh

## Slide 25: % Energy from Solar Generation
Notes: 2.31%

## Slide 26: ERCOT System Inertia

## Slide 27: Daily Minimum System Inertia
Notes: Minimum Inertia = 136,033 MW*s on 1/30/2021
Previous Minimum was 128,759 MW*s on 11/3/2018.
Data:
Mean: 185886
Max: 270782 on Jan 11th
Min: 136,033 on Jan 30th

## Slide 28: Questions?
Thank you!