- Section 3:

PGRR087 – Remedial Action Scheme Planning Assumptions

This Planning Guide Revision Request (PGRR) clarifies that Remedial Action Schemes (RASs) should not be relied upon to resolve planning criteria violations.

Revised Subsection:  3.1.4.1.1

- Section 4:

PGRR087 – Remedial Action Scheme Planning Assumptions

See Section 3 above.

Revised Subsection:  4.1.1.2

- Section 5:

PGRR085 – Dynamic Model Improvements

This Planning Guide Revision Request (PGRR) adds a requirement for Resource Entities, Interconnecting Entities (IEs), and transmission owners to provide reports benchmarking the Power System Computer Aided Design (PSCAD) model against actual hardware testing and to provide parameter verification documentation confirming model settings match those implemented in the field.

Revised Subsections:  5.5 and 5.7.1

PGRR086 – Related to RRGRR027, Clarify Models Required to Proceed with an FIS

This Planning Guide Revision Request (PGRR) clarifies the models Resource Entities and Interconnecting Entities (IEs) are required to provide to complete a Full Interconnection Study (FIS) application.  Dynamic model data and model quality tests should be provided prior to the start of a stability study.

Revised Subsections:  5.3 and 5.7.1

- Section 6:

PGRR085 – Dynamic Model Improvements

See Section 5 above.

Revised Subsections:  6.2

- Administrative Changes:

- Non-substantive administrative changes were made such as spelling corrections, formatting, and correcting Section numbering and references.

Revised Subsection:  5.3.1, 5.3.2.2, 5.4.1, 5.4.2.1,