- Section 2:

RRGRR027 – Clarify Models Required to Proceed with an FIS

This Resource Registration Glossary Revision Request (RRGRR) clarifies the models Resource Entities and Interconnecting Entities (IEs) are required to provide to complete a Full Interconnection Study (FIS) application.  Dynamic model data and model quality tests should be provided prior to the start of a stability study.  Similarly, Power System Computer Aided Design (PSCAD) models should be required prior to the applicable quarterly stability assessment deadline.

Revised Section:  2