APPROVED

Minutes of the Reliability Operations Subcommittee (ROS) Meeting

Webex Only

Thursday, January 7, 2021 – 9:30 a.m.

| Attendance |  |  |
| --- | --- | --- |
| Members: |  |  |
| Alvarez, Eli | Brownsville PUB |  |
| Ayers-Brasher, Jennifer | RWE Renewables |  |
| Bowen, Kenneth | CPS Energy |  |
| Claiborn-Pinto, Shawnee | OPUC |  |
| Cochran, Seth | DC Energy |  |
| Ebrahimian, Reza | Austin Energy |  |
| Evans, Doug | South Texas Electric Cooperative |  |
| Farhangi, Anoush | Demand Control 2 |  |
| Greer, Clayton | Morgan Stanley |  |
| Haley, Ian | Exelon | Alt. Rep. for Lori Simpson |
| Hudson, Tony | Texas-New Mexico Power |  |
| Kroskey, Tony | Brazos Electric Power Cooperative |  |
| Kunkel, Dennis | AEP Service Corporation |  |
| Lee, Billy | Garland Power and Light |  |
| Marr, Daniel | LCRA |  |
| Matt, Kevin | Reliant |  |
| Reed, Cyrus | Sierra Club |  |
| Reid, Mike | Air Liquide |  |
| Rich, Katie | Golden Spread Electric Cooperative |  |
| Smith, Chase | Southern Power Co |  |
| Surendran, Resmi | Shell Energy |  |
| Valagura, Bill | Calpine Corporation |  |
| Varnell, John | Tenaska Power Services | Alt. Rep. for Boone Staples |
| Velasquez, Ivan | Oncor | Alt. Rep. for Eithar Nashawati |
| Woitt, Wes | CenterPoint Energy |  |

| Guests: |  |  |
| --- | --- | --- |
| Alford, Anthony | CenterPoint Energy |  |
| Anderson, Kevin | Customized Energy Solutions |  |
| Ashley, Kristy | Customized Energy Solutions |  |
| Barnes, Bill | NRG |  |
| Benson, Mariah | PUCT |  |
| Bivens, Carrie | Potomac Economics |  |
| Borkar, Sandeep | LCRA |  |
| Bruce, Mark | Cratylus Advisors |  |
| Bunch, Kevin | EDF Trading |  |
| Burke, Tom | Invenergy |  |
| Burnett, Ben | CenterPoint Energy |  |
| Chatlani, Varsha | Boston Energy |  |
| Chilton, Tamme | CenterPoint Energy |  |
| Coleman, Diana | CPS Energy |  |
| Cook, Tim | CTT |  |
| Cortez, Sarai | Hunt Utility |  |
| Cortinas, Cesar | Brownsville PUB |  |
| Coultas, Ann | Enel |  |
| Crouch, Rebekah | PUCT |  |
| Dewitt, Charles | PEC |  |
| Donohoo, Kenneth | EPE Consulting |  |
| Downey, Marty |  |  |
| Dreyfus, Mark | MD Energy Consulting |  |
| Egunjobi, Ransome | LCRA |  |
| Floyd, Rickey | Oncor |  |
| Goff, Eric |  |  |
| Gross, Blake | AEPSC |  |
| Guo, Chenyan | Lone Star Transmission |  |
| Hanson, Kevin | National Grid |  |
| Hayden, Mario | EGPNA |  |
| Henry, Mark | Texas Reliability Entity |  |
| Henson, Martha | Oncor |  |
| Huynh, Thuy | Potomac Economics |  |
| Jablonski, Edward | LCRA |  |
| Jewell, Michael | Jewell and Associates |  |
| Johnson, Anthony | CenterPoint Energy |  |
| Jolly, Emily | LCRA |  |
| Karlik, John | Austin Energy |  |
| Kee, David | CPS Energy |  |
| Keenan, Matthew | Enel |  |
| Khan, Naved | LCRA |  |
| Khayat, Maribel | CenterPoint Energy |  |
| King, Blake | RES Group |  |
| King, Kenesha | Oncor |  |
| Kota, Naga | National Grid Renewables |  |
| Lange, Clif | South Texas Electric Cooperative |  |
| Mathew, Biju | LCRA |  |
| McClellan, Suzi | Good Company and Associates |  |
| Mercado, David | CenterPoint Energy |  |
| Morris, Sandy | Direct Energy |  |
| Morse, Richard | Map Energy |  |
| Mulholland, Chad | NRG |  |
| Nagarajan, Ramya | CTT |  |
| Picone, Benjamin | RES Group |  |
| Powell, Christian | PEC |  |
| Preas, Dylan | LCRA |  |
| Pyka, Greg | Schneider Engineering |  |
| Rainwater, Kim | LCRA |  |
| Reid, Walter | Advanced Power Alliance |  |
| Richmond, Michele | Competitive Power |  |
| Sams, Bryan | Calpine |  |
| Schwarz, Brad | Sharyland |  |
| Shumate, Walt |  |  |
| Siddiqi, Shams | Crescent Power Consulting |  |
| Singh Rastogi, Rama | PUCT |  |
| Sithuraj, Murali | Austin Energy |  |
| Smith, Caitlin | AB Power Advisors |  |
| Smith, Chris | Austin Energy |  |
| Stanfield, Leonard |  |  |
| Turner, Lucas | STEC |  |
| White, Lauri | AEP Texas |  |
| Williams, Wes | BTU |  |
| Wittmeyer, Bob | Longhorn Power |  |
| Woods, Brad | Texas Reliability Entity |  |
| Yater, J-M | CenterPoint Energy |  |
| ERCOT Staff: |  |  |
| Albracht, Brittney |  |  |
| Anderson, Connor |  |  |
| Bernecker, John |  |  |
| Bigbee, Nathan |  |  |
| Billo, Jeff |  |  |
| Boren, Ann |  |  |
| Boswell, Bill |  |  |
| Bracy, Phil |  |  |
| Cheng, Yong |  |  |
| Cheng, Yunzhi |  |  |
| Clifton, Suzy |  |  |
| Conto, Jose |  |  |
| Cyphers, Darrell |  |  |
| Daryabak, Mehdi |  |  |
| De la Garza, Mario |  |  |
| Du, Pengwei |  |  |
| Fohn, Douglas |  |  |
| Ganjoo, Shalesh |  |  |
| Garcia, Freddy |  |  |
| Gnanam, Prabhu |  |  |
| Huang, Fred |  |  |
| Jasper, Madeline |  |  |
| Levine, Jonathan |  |  |
| Kane, Erika |  |  |
| Kang, Sun Wook |  |  |
| Khodabakhsh, Fred |  |  |
| Lasher, Warren |  |  |
| Lee, Anson |  |  |
| Mantena, Dan |  |  |
| Matevosyan, Julia |  |  |
| Miller, Megan |  |  |
| Morehead, Juliana |  |  |
| Nikouei, Farhad |  |  |
| Phillips, Cody |  |  |
| Phillips, Cory |  |  |
| Rose, Jonathan |  |  |
| Sanchez, Lilia |  |  |
| Schmall, John |  |  |
| Solis, Stephen |  |  |
| Stice, Clayton |  |  |
| Teixeira, Jay |  |  |
| Thompson, Chad |  |  |
| Thompson, Lori |  |  |
| Thuerwaechter, Kashia |  |  |
| Troublefield, Jordan |  |  |
| Warnken, Pete |  |  |
| Woodfin, Dan |  |  |
| Xiao, Hong |  |  |
| Yan, Ping |  |  |
| Zhang, Yang |  |  |

Unless otherwise indicated, all Market Segments were present for a vote.

Suzy Clifton called the January 7, 2021 ROS meeting to order at 9:30 a.m.

Antitrust Admonition

Ms. Clifton directed attention to the Antitrust Admonition, which was displayed.

Election of 2021 ROS Chair and Vice Chair

Ms. Clifton reviewed the leadership election process codified in the Technical Advisory Committee Procedures and opened the floor for nominations.

Jennifer Ayers-Brasher nominated Chase Smith for 2021 ROS Chair.  Mr. Smith accepted the nomination.  Mr. Smith was named 2021 ROS Chair by acclamation.

Shawnee Claiborn-Pinto nominated Katie Rich for 2021 ROS Vice Chair.  Ms. Rich accepted the nomination.  Ms. Rich was named 2021 ROS Vice Chair by acclamation

Agenda Review

Mr. Smith reviewed items scheduled for a vote and noted changes to the agenda.

# TAC/Subcommittee Stakeholder Process Overview

Phil Bracy presented an overview of the TAC and TAC Subcommittee process, including the committee structure, voting, filing of Revision Requests, TAC Procedures, and Stakeholder meeting guidelines.

# Approval of Meeting Minutes (see Key Documents)

# November 5, 2020

# December 3, 2020

Market Participants reviewed the November 5 and December 3, 2020 ROS Meeting minutes.  Mr. Smith noted these items could be considered for inclusion in the Combined Ballot.

# ERCOT Reports (see Key Documents)

# Operations Report

# Freddy Garcia reviewed the November 2020 Operations Report.

System Planning Report

Ping Yan presented the November 2020 System Planning Report, noted that the 2021 long-term forecasting page on the ERCOT website has been updated with the 2021 Long-Term Load Forecast, and encouraged Market Participants to attend the February 23, 2021 Transmission Workshop, Technologies to Improve Power Transfer Capability Transmission.

Generic Transmission Constraint (GTC) Update

Prabhu Gnanam summarized updates to the Rio Hondo Generic GTC and the Nelson Sharpe – Rio Hondo GTC, stating that both were related to topology changes and that a Market notice was sent for each on January 5, 2021.

New Protocol Revision Subcommittee (PRS) Referrals (see Key Documents)

Nodal Protocol Revision Request (NPRR) 1056, Market Impact Generic Transmission Constraint (GTC) Notification

Tom Burke summarized NPRR1056.  Jonathan Levine summarized the 12/30/21 ERCOT comments.  Market Participants discussed the potential to provide GTC information in a more generic format and requested the Operations Working Group (OWG) and Planning Working Group (PLWG) review the issues.  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

Revision Requests Tabled at PRS, Referred to ROS (see Key Documents)

NPRR979, Incorporate State Estimator Standards and Telemetry Standards into Protocols

Market Participants noted the 1/4/21 CenterPoint Calpine comments and requested additional time to provide further clarifications.  ROS took no action on this item.

Review of ROS Revision Requests (see Key Documents)

Impact Analyses

Planning Guide Revision Request (PGRR) 085, Dynamic Model Improvements

Market Participants reviewed the Impact Analysis for PGRR085.  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

Language Review

Resource Registration Glossary Revision Request (RRGRR) 028, Transformer Impedance Clarifications

John Karlik summarized RRGRR028 and the discussions in previous System Protection Working Group (SPWG) meetings.   In response to Market Participant concerns, Mr. Karlik stated that the proposed changes were not intended to be retroactive.  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

Revision Requests Tabled at ROS (see Key Documents)

PGRR073, Related to NPRR956, Designation of Providers of Transmission Additions

Nodal Operating Guide Revision Request (NOGRR) 199, Related to NPRR979, Incorporate State Estimator Standards and Telemetry Standards into Protocols

ROS took no action on these items.

Operations Working Group (OWG) (see Key Documents)

Rickey Floyd reviewed OWG activities.

NOGRR215, Limit Use of Remedial Action Schemes

Mr. Floyd encouraged Market Participants to attend the January 11, 2021 Congestion Management Working Group Meeting and joint discussion with OWG on NOGRR215.  ROS took no action on this item.

NPRR1045, Transmission Operator Definition and Designation

NOGRR219, Related to NPRR1045, Transmission Operator Definition and Designation

Mr. Floyd summarized NPRR1045 and NOGRR2019 and discussion at the December 17, 2020 PLWG meeting.  Douglas Fohn summarized the 12/16/20 ERCOT comments to NPRR1045 and NOGRR219.  Mr. Floyd stated that PLWG was in consensus to advance NPRR1045 and NOGRR219 with the 12/16/20 ERCOT comments.  Mr. Smith noted these items could be considered for inclusion in the Combined Ballot.

Planning Working Group (PLWG) (see Key Documents)

Tim Cook reviewed PLWG activities.

PGRR088, Include Financial Security Amount in the Monthly Generator Interconnection Status Report

Mr. Cook summarized PGRR088 and discussion at the December 16, 2020 PLWG meeting.  Bill Barnes summarized the 12/18/20 Reliant comments to PGRR088.  Market Participants expressed concern for the implementation timeline for PGRR088 in consideration of the Resource Integration and Ongoing Operations (RIOO) Project.  Market Participants and ERCOT Staff discussed the Interconnection agreement and confidentiality issues.  Market Participants requested time to provide additional clarifications.  ROS took no action on this item.

Performance Disturbance Compliance Working Group (PDCWG) (see Key Documents)

Chad Mulholland reviewed PDCWG activities.

Other Binding Document Revision Request (OBDRR) 025, Clarification for the RRS Limit on Individual Non-Thermal Generation Resources

Mr. Mulholland summarized OBDRR025 and discussion at the December 9, 2020 PDCWG meeting, and noted that Market Participants requested time to provide clarifications.   In response to Market Participant questions, Dan Woodfin stated that ERCOT was continuing to develop the Request for Proposal to determine the appropriate Responsive Reserve Service (RRS) limit for individual non-thermal Generation Resources, Energy Storage Resources (ESRs), and Controllable Load Resources and will present it at a future PDWG meeting for Stakeholder input.

Steady State Working Group (SSWG) (see Key Documents)

SSWG Procedure Manual

Naved Khan presented the SSWG Procedure Manual.  Market Participants offered administrative edits.  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

Combined Ballot

Ms. Ayers-Brasher moved to approve the Combined Ballot as follows:

| Request PRS continue to table NPRR1056 for review by the Operations Working Group (OWG) and the Planning Working Group (PLWG). |  |  |
| --- | --- | --- |
| To approve the November 5, 2020 ROS Meeting minutes as submitted To approve the December 3, 2020 ROS Meeting minutes as submitted To request PRS continue to table NPRR1056 for review by the OWG and the PLWG To endorse and forward to TAC the 12/3/20 ROS Report and the Impact Analysis for PGRR085 To recommend approval of RRGRR028 as submitted To endorse NPRR1045 as amended by the 12/16/20 ERCOT comments To recommend approval of NOGRR219 as amended by the 12/16/20 ERCOT comments To approve the SSWG Procedure Manual as revised by ROS |

Cyrus Reed seconded the motion.  The motion carried unanimously via roll call vote.  (Please see ballot posted with Key Documents.)

Dynamic Working Group (DWG)

Ransome Egunjobi summarized DWG activities.

Network Data Support Working Group (NDSWG) (see Key Documents)

Kenesha King reviewed NDSWG activities.

Black Start Working Group (BSWG) (see Key Documents)

Tony Kroskey reviewed BSWG activities, including 2021 Black Start Plans and 2021 remote training.

Operations Training Group (OTWG)

Tamme Chilton Reviewed OTWG activities.

Other Business

Resource Integration Group

Jay Teixeira noted the activities of the Resource Integration Workshops in 2017 through 2019, stated that the newly formed Resource Integration Working Group (RIWG) can be located under Other Groups on the ERCOT website, and encouraged Market Participants to subscribe to the listserv and attend the February 10, 2021 RIWG meeting.

DGR Workshop XI

Clayton Stice encouraged Market Participants to attend the January 13, 2021 Distribution Generation Resource (DGR) Workshop XI.

2021 ROS Goals

Market Participants and ERCOT Staff discussed potential 2021 ROS Goals.  Mr. Smith requested Market Participants provide clarifications to the 2021 Goals for consideration at the February 4, 2021 ROS meeting.

2021 ROS Working Group and Task Force Leadership

Mr. Smith encouraged Market Participants to consider Leadership opportunities at ROS Working Groups and Task Forces, and stated that Leadership will be considered at the February 4, 2021 ROS meeting.

Review of Open Action Items

Market Participants reviewed the Open Action Items list and removed the completed items:

- Develop Methodology for ESR and below studies as requested by Battery Energy Storage Task Force (BESTF) (OWG/PLWG)

- TAC Assignment:  Reliability considerations regarding Outage Activity Related to Operating Condition Notice (OCN) (OWG)

No Report

- Planning Geomagnetic Disturbance Task Force (PGDTF)

- SPWG

- Voltage Profile Working Group (VPWG)

Adjournment

Mr. Smith adjourned the January 7, 2021 ROS meeting 12:23 p.m.

# Footnotes

# Key Documents referenced in these minutes may be accessed on the ERCOT website at:

# http://www.ercot.com/calendar/2021/1/7/213997-ROS