## Slide 1: DWG Report to ROS
ROS Meeting
March 4th, 2021

## Slide 2: Planning Model Software Update
DWG intends to replace the current planning model software with a new version
  Current software: Siemens PTI PSSE v33
  New software: Siemens PTI PSSE v35
Intended schedule 2022/2023 DWG Flatstart Case Build
  Dynamic models compatible with v35 needed by July 1st, 2022
  Entities will need to provide models compatible with both v33 and v35 until the full transition to v35 is complete
DWG will formally request ERCOT to notify Resource Entities that may need to provide updated models as necessary
  Based on previous version upgrades, it takes about a year to collect all updated models

## Slide 3: Q & A
Why move to v35?
  PSSE v33 is no longer supported by Siemens PTI
  V35 has new features that are unavailable in v33, such as improved dynamic modeling capabilities to represent DER, IBR and load
Does this mean SSWG will move to v35 as well?
  DWG is uncertain of SSWG’s direction at this point
  DWG should be able to utilize earlier version seed cases from SSWG