## Slide 1: WMS Winter Storm Items
Resmi Surendran
TAC Meeting – MARCH 2021

## Slide 2: Overview
WMS stakeholders provided an extensive list of items for TAC consideration
Identified items spanned the scope of WMS, some were in scope of multiple subcommittees, and some were out of WMS’ scope and/or require policy direction at a higher level
Issues within WMS scope can be categorized into three buckets:
  Items requiring immediate attention
  Process review
  Performance review

## Slide 3: Items Requiring Immediate Attention
Changes to recover short fall while minimizing potential for further default
    $2.5M / 30 days default uplift invoice cap
    Process for replenishing CARD funds
    Should netting be done at Counter Party level?
Low hanging fruits with high impact
    DAM Ancillary Service price with Demand Curve or price cap
    Including firm load shed in Reliability Deployment Price Adder

## Slide 4: Process Review
  CDR/SARA - reflecting reliability risk, risk of range of ERCOT emergency events - average Vs sensitivities Vs worst case, extreme and overlapping events, gas market coincident and offsetting risks, fuel supply – firm/non-firm/storage
  Study assumption changes – RMR, MERM/EORM, Load forecast
  Reserves Requirement – Winter Vs Summer, higher AS quantities, New AS types, higher EEA trigger level
  Credit exposure calculations – DC tie historic Vs Actual, Net DAM/RT Vs separate
  RT Operations
    Situation Awareness - fuel availability, PRD available
    Cost recovery - compensation for firm fuel, exceptional fuel price process, RUCing

## Slide 5: Performance Review
  Resource performance:
    ERS – would more help, self curtailment, critical assets
    DR – payment for deployment beyond obligation, AS imbalance, critical assets
    Batteries – FFR, charging
    Others – SODG/DER – could more help; DC Tie – update planning assumption
  RT Operation
    Congestion management
    ORDC and PRC convergence
  Metering/ Billing/ Settlement

## Slide 6: Questions