## Summary
Registered Entity: |  |  | *Relay data(i.e. buss information, location, and relay ID numbers) is necessary for this Survey. Please enter information on the "RELAY information" tab.
Date/Time of Survey: | 5/13/2021, 11:00 AM
Size and location of customer load, or percentage of connected load to be interrupted. |  | Frequency Set Points | [7 empty] | • Any other schemes that are part of or impact the UFLS programs such as related generation protection, islanding schemes, automatic load restoration schemes, and Special Protection Systems. • Please indicate any other ERCOT-registered Transmission/Distribution Service Providers (TDSPs) whose load is represented by your company in this survey.
|  | 59.3 Hz |  | 58.9 Hz |  |  | 58.5 Hz
|  | At least 5% of TO Load |  | Total of at least 15% of TO Load |  |  | Total of at least 25% of TO Load
Load Area | Total Area Load (MW) | Load Dropped (MW) | % Load Dropped | Load Dropped (MW) | % Load Dropped | Cumulative Total | Load Dropped (MW) | % Load Dropped | Cumulative Total | Comments
Total TO Load Submitted | 0 | 0 | 0% | 0 | 0% | 0% | 0 | 0% | 0%
Total percentage

## Relay Information
|  |  |  | Block 1 | Block 2 | Block 3
|  |  |  | 59.3 Hz | 58.9 Hz | 58.5 Hz
Location/Load Area | PSSE Bus No | Circuit Designation | Load (MW) | Load Dropped for Block 1 (MW) | Load Dropped for Block 2 (MW) | Load Dropped for Block 3 (MW)
|  |  |  | #REF! | #REF! | #REF!
Total |  |  | 6 | 4.2 | 1.8 | 2.6