## Slide 1
Assessing Outage Conditions in FIS
John Schmall/Yang Zhang
ERCOT
RIWG Meeting
March 17, 2021

## Slide 2: Proposal for FIS Stability Studies
Assess impact of double circuit contingency during single or double circuit outage condition (P1/P7 + P7)
Consistency with QSA and GTC implementation
  FIS should identify all potential stability issues
  Should not need GTC limitation if FIS concludes that there are no stability issues

## Slide 3: Implementation
ERCOT
  Update the FIS pre-kickoff email to reflect this requirement
  Bring it up during the FIS kickoff meeting
  Check the requirement in the FIS scope/study reviews
TSP
  Include the requirement in the FIS stability study scope
Tentative schedule
  INRs with the FIS kickoff meetings after March 17, 2021

## Slide 4
QUESTIONS?