## Slide 1: Frequency and Working Groups to develop GIC Model
Chu Liang
3/16/2021

## Slide 2: Frequency to Develop GIC Models
Current NERC standard requires developing model at least once every 60 month.
Majority supports standard.

## Slide 3: Working Groups to Develop Models
PGDWG
NDSWG
SPWG
SSWG
DWG

## Slide 4: PGDWG
Establish a GMD working group.
Limited scope considering development is only required once every 60 month.

## Slide 5: NDSWG (Network Data Support WG)
Maintain some data at the NDSWG level.
Does not have experience with PSSE.

## Slide 6: SPWG (System Protection)
Have experience with some GIC data.
Use Aspen OneLiner and does not have experience with PSSE.
Develop 5 cases over a 6-month timeframe.

## Slide 7: SSWG (Steady State)
Familiar with PSSE and Siemens MOD.
Might not have experience with GIC data.
Develop 54 cases over 11-month timeframe.

## Slide 8: DWG (Dynamic)
Similar process in developing DWG cases.
Developing 3 cases over a 6-month timeframe.