## Slide 1
Generation Resource Energy and Regulation Deployment Performance Report for February 2021

## Slide 2: Non-IRR GREDP < 85% – February 2021
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 234 | 1,390 | 1,664 | 2.12 | 83.53
Unit 245 | 1,036 | 1,485 | 4.39 | 69.76
Unit 307 | 172 | 203 | 2.84 | 84.73

## Slide 3: IRR Summary – February 2021
IRR | Fleet | < 95% | > 100 INT, < 95%
GREDP Average (%) | 87.05 | 75.38 | 81.06
GREDP Median (%) | 95.16 | 84.42 | 87.49
Average MW Error | 3.51 | 3.76 | 3.70
Median MW Error | 2.36 | 2.43 | 2.29
Total Intervals Scored | 101,810 | 48,859 | 47,664
100+ Intervals Scored | 149 | 114 | 74
Total Intervals Scored Average | 384.19 | 493.53 | 644.11

## Slide 4: IRR ≥ 95%, ≥ 100 Scored Intervals – Feb. 2021
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 1 | 2,709 | 2,712 | 3.60 | 99.89
Unit 2 | 2,583 | 2,626 | 3.73 | 98.36
Unit 5 | 1,937 | 2,033 | 3.53 | 95.28
Unit 6 | 1,641 | 1,675 | 3.55 | 97.97
Unit 10 | 1,533 | 1,538 | 4.83 | 99.67
Unit 12 | 1,428 | 1,436 | 2.27 | 99.44
Unit 13 | 1,423 | 1,431 | 3.44 | 99.44
Unit 16 | 1,340 | 1,372 | 2.19 | 97.67
Unit 19 | 1,322 | 1,331 | 2.58 | 99.32
Unit 22 | 1,159 | 1,220 | 2.42 | 95.00
Unit 23 | 1,124 | 1,158 | 1.62 | 97.06
Unit 24 | 1,133 | 1,150 | 1.93 | 98.52
Unit 26 | 1,119 | 1,143 | 1.52 | 97.90
Unit 27 | 1,103 | 1,134 | 1.85 | 97.27
Unit 28 | 1,078 | 1,114 | 1.43 | 96.77
Unit 29 | 1,065 | 1,072 | 6.57 | 99.35
Unit 31 | 1,033 | 1,034 | 0.79 | 99.90
Unit 32 | 1,019 | 1,031 | 3.09 | 98.84

## Slide 5: IRR ≥ 95%, ≥ 100 Scored Intervals – Feb. 2021
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 33 | 992 | 1,006 | 2.48 | 98.61
Unit 35 | 899 | 917 | 2.89 | 98.04
Unit 37 | 862 | 890 | 1.90 | 96.85
Unit 38 | 866 | 880 | 2.71 | 98.41
Unit 39 | 867 | 868 | 2.62 | 99.88
Unit 40 | 861 | 862 | 2.70 | 99.88
Unit 41 | 852 | 859 | 2.78 | 99.19
Unit 42 | 858 | 859 | 3.18 | 99.88
Unit 44 | 839 | 846 | 5.59 | 99.17
Unit 45 | 814 | 844 | 3.16 | 96.45
Unit 50 | 781 | 794 | 3.77 | 98.36
Unit 56 | 688 | 723 | 8.17 | 95.16
Unit 57 | 700 | 713 | 2.75 | 98.18
Unit 58 | 708 | 713 | 5.18 | 99.30
Unit 59 | 700 | 710 | 5.91 | 98.59
Unit 60 | 689 | 695 | 4.19 | 99.14
Unit 63 | 653 | 676 | 1.93 | 96.60
Unit 64 | 646 | 675 | 5.97 | 95.70

## Slide 6: IRR ≥ 95%, ≥ 100 Scored Intervals – Feb. 2021
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 65 | 659 | 674 | 2.40 | 97.77
Unit 68 | 642 | 652 | 2.31 | 98.47
Unit 69 | 617 | 649 | 7.60 | 95.07
Unit 70 | 598 | 624 | 2.19 | 95.83
Unit 73 | 543 | 570 | 1.28 | 95.26
Unit 74 | 548 | 563 | 4.03 | 97.34
Unit 77 | 515 | 527 | 4.90 | 97.72
Unit 85 | 440 | 448 | 2.78 | 98.21
Unit 86 | 436 | 445 | 2.90 | 97.98
Unit 87 | 439 | 445 | 6.66 | 98.65
Unit 89 | 413 | 421 | 2.66 | 98.10
Unit 90 | 396 | 414 | 1.19 | 95.65
Unit 94 | 387 | 395 | 1.62 | 97.97
Unit 98 | 364 | 382 | 1.55 | 95.29
Unit 105 | 285 | 296 | 1.52 | 96.28
Unit 106 | 283 | 283 | 2.86 | 100.00
Unit 109 | 273 | 274 | 1.99 | 99.64
Unit 110 | 263 | 266 | 2.94 | 98.87

## Slide 7: IRR ≥ 95%, ≥ 100 Scored Intervals – Feb. 2021
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 111 | 244 | 248 | 7.46 | 98.39
Unit 113 | 226 | 232 | 1.60 | 97.41
Unit 114 | 223 | 231 | 3.11 | 96.54
Unit 115 | 222 | 231 | 1.64 | 96.10
Unit 117 | 220 | 224 | 4.40 | 98.21
Unit 120 | 214 | 215 | 3.57 | 99.53
Unit 121 | 206 | 207 | 3.45 | 99.52
Unit 125 | 197 | 202 | 3.09 | 97.52
Unit 126 | 201 | 201 | 6.16 | 100.00
Unit 128 | 200 | 200 | 6.17 | 100.00
Unit 131 | 176 | 176 | 3.53 | 100.00
Unit 132 | 166 | 171 | 2.18 | 97.08
Unit 133 | 140 | 146 | 1.21 | 95.89
Unit 136 | 122 | 126 | 0.64 | 96.83
Unit 142 | 109 | 109 | 1.12 | 100.00
Unit 144 | 105 | 108 | 3.89 | 97.22
Unit 145 | 107 | 108 | 1.74 | 99.07
Unit 146 | 107 | 107 | 3.62 | 100.00

## Slide 8: IRR ≥ 95%, ≥ 100 Scored Intervals – Feb. 2021
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 147 | 103 | 105 | 1.24 | 98.10
Unit 148 | 104 | 104 | 3.62 | 100.00

## Slide 9: IRR < 95%, ≥ 100 Scored Intervals – Feb. 2021
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 3 | 1,446 | 2,420 | 1.25 | 59.75
Unit 4 | 1,954 | 2,071 | 2.50 | 94.35
Unit 7 | 1,405 | 1,572 | 1.77 | 89.38
Unit 8 | 1,263 | 1,566 | 5.77 | 80.65
Unit 9 | 1,390 | 1,550 | 1.21 | 89.68
Unit 11 | 1,361 | 1,531 | 1.98 | 88.90
Unit 14 | 1,342 | 1,426 | 2.43 | 94.11
Unit 15 | 1,044 | 1,417 | 3.84 | 73.68
Unit 17 | 1,260 | 1,359 | 2.25 | 92.72
Unit 18 | 1,155 | 1,340 | 2.46 | 86.19
Unit 20 | 1,108 | 1,292 | 5.62 | 85.76
Unit 21 | 1,195 | 1,263 | 3.40 | 94.62
Unit 25 | 1,015 | 1,145 | 4.06 | 88.65
Unit 30 | 984 | 1,036 | 2.50 | 94.98
Unit 34 | 575 | 946 | 5.00 | 60.78
Unit 36 | 576 | 899 | 4.25 | 64.07
Unit 43 | 575 | 856 | 2.78 | 67.17
Unit 46 | 792 | 844 | 1.05 | 93.84

## Slide 10: IRR < 95%, ≥ 100 Scored Intervals – Feb. 2021
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 47 | 737 | 840 | 3.58 | 87.74
Unit 48 | 682 | 823 | 2.39 | 82.87
Unit 49 | 747 | 807 | 2.94 | 92.57
Unit 51 | 732 | 779 | 2.17 | 93.97
Unit 52 | 666 | 765 | 3.25 | 87.06
Unit 53 | 569 | 764 | 5.20 | 74.48
Unit 54 | 562 | 763 | 6.32 | 73.66
Unit 55 | 677 | 745 | 3.38 | 90.87
Unit 61 | 658 | 695 | 4.77 | 94.68
Unit 62 | 618 | 690 | 6.70 | 89.57
Unit 66 | 619 | 659 | 2.28 | 93.93
Unit 67 | 584 | 653 | 5.31 | 89.43
Unit 71 | 335 | 611 | 9.84 | 54.83
Unit 72 | 541 | 571 | 6.92 | 94.75
Unit 75 | 343 | 539 | 5.81 | 63.64
Unit 76 | 508 | 538 | 3.26 | 94.42
Unit 78 | 428 | 515 | 3.82 | 83.11
Unit 79 | 83 | 507 | 5.75 | 16.37

## Slide 11: IRR < 95%, ≥ 100 Scored Intervals – Feb. 2021
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 80 | 478 | 504 | 5.47 | 94.84
Unit 81 | 459 | 496 | 3.04 | 92.54
Unit 82 | 449 | 492 | 3.95 | 91.26
Unit 83 | 417 | 478 | 3.94 | 87.24
Unit 84 | 419 | 470 | 1.43 | 89.15
Unit 88 | 342 | 432 | 3.71 | 79.17
Unit 91 | 367 | 409 | 4.48 | 89.73
Unit 92 | 382 | 406 | 3.67 | 94.09
Unit 93 | 363 | 405 | 1.81 | 89.63
Unit 95 | 369 | 393 | 3.93 | 93.89
Unit 96 | 347 | 389 | 2.33 | 89.20
Unit 97 | 336 | 387 | 6.41 | 86.82
Unit 99 | 276 | 364 | 5.92 | 75.82
Unit 100 | 157 | 346 | 4.83 | 45.38
Unit 101 | 311 | 334 | 3.27 | 93.11
Unit 102 | 273 | 314 | 2.51 | 86.94
Unit 103 | 253 | 314 | 0.95 | 80.57
Unit 104 | 199 | 308 | 0.54 | 64.61

## Slide 12: IRR < 95%, ≥ 100 Scored Intervals – Feb. 2021
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 107 | 254 | 281 | 3.40 | 90.39
Unit 108 | 204 | 276 | 2.25 | 73.91
Unit 112 | 127 | 235 | 0.61 | 54.04
Unit 116 | 218 | 231 | 2.46 | 94.37
Unit 118 | 106 | 224 | 1.81 | 47.32
Unit 119 | 158 | 218 | 1.93 | 72.48
Unit 122 | 186 | 204 | 2.65 | 91.18
Unit 123 | 185 | 204 | 2.59 | 90.69
Unit 124 | 149 | 204 | 0.71 | 73.04
Unit 127 | 96 | 201 | 3.40 | 47.76
Unit 129 | 159 | 200 | 1.51 | 79.50
Unit 130 | 156 | 185 | 6.52 | 84.32
Unit 134 | 127 | 134 | 4.12 | 94.78
Unit 135 | 109 | 130 | 1.64 | 83.85
Unit 137 | 105 | 125 | 3.32 | 84.00
Unit 138 | 80 | 124 | 3.80 | 64.52
Unit 139 | 114 | 121 | 2.46 | 94.21
Unit 140 | 85 | 111 | 3.99 | 76.58

## Slide 13: IRR < 95%, ≥ 100 Scored Intervals – Feb. 2021
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 141 | 32 | 109 | 1.39 | 29.36
Unit 143 | 99 | 109 | 3.64 | 90.83
Unit 149 | 71 | 100 | 4.35 | 71.00