## Slide 1
Item 8: PRS Report
Martha Henson
PRS Chair
Technical Advisory Committee (TAC) Meeting
ERCOT Public
March 24, 2021

## Slide 2: Summary of PRS Update
Revision Requests Recommended for Approval by PRS – Unopposed and No Impact (Vote):
NPRR1045, Transmission Operator Definition and Designation [ERCOT]
NPRR1059, Ability for MOUs and ECs to Send Non-BUSIDRRQ Interval Data [Nueces]
NPRR1065, Implementation Adjustment for NPRR917
NPRR1066, Interconnection of Existing Generation Owned by a Municipally Owned Utility (MOU) or Electric Cooperative (EC) Transferring Load into the ERCOT System [ERCOT]
NPRR1069, Align Ancillary Service Responsibility for ESRs with NPRR987 – URGENT [ERCOT]
(* denotes no impact)

## Slide 3: Summary of PRS Update
Revision Requests Recommended for Approval by PRS – Unopposed with Impacts (Vote):
NPRR1023, Change to CRR Repossession Process [ERCOT]
  IA: Between $250k and $350k Priority 2022; Rank 3500
NPRR1057, Modification to Real-Time Hub Price Formulas for Fully De-Energized Hubs [ERCOT]
  IA: Between $15k and $30k Priority 2021; Rank 3310
Revision Requests Recommended for Approval by PRS – With Opposing Votes (Vote):
NPRR1060, Improvements to ERS Testing Requirements and Other ERS Items [ERCOT]
  IA: Less than $5k (O&M) Priority N/A; Rank N/A

## Slide 4: Summary of PRS Update
Other Binding Document List (Vote)
Pursuant to paragraph (3) of Section 1.1, Summary of the ERCOT Protocols Document, PRS reviewed and approved the addition of the “Resource Entity Access to Auxiliary Load Telemetry System Notification Form” to the Other Binding Documents List.
  On 8/11/20, the ERCOT Board approved NPRR1020, Allow Some Integrated Energy Storage Designs to Calculate Internal Loads
  On 2/9/21, the ERCOT Board approved SMOGRR024, Implement NPRR1020
2021 PRS Goals (Vote)

## Slide 5: Appendix

## Slide 6: NPRR1023, Change to CRR Repossession Process [ERCOT]
Proposed Effective Date: Upon system implementation – Priority 2022; Rank 3500
ERCOT Impact Analysis: Between $250k and $350k; no impacts to ERCOT staffing; impacts to Congestion Revenue Right (CRR); ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR modifies the way that ERCOT handles the repossession of a CRR portfolio resulting from a Market Participant default. The current process of offering the repossessed CRRs in a one-time auction may not fully realize the potential value of the repossessed CRR portfolio, which can in turn result in increased uplift to the market. This NPRR establishes a means for liquidating a repossessed CRR portfolio over time by utilizing the Financial Security held by ERCOT for the Defaulting CRR Account Holder for Settlement purposes. This NPRR also modifies the process for forfeiture of CRRs resulting from non-payment or late payment of an Invoice by a CRR Account Holder, and proposes liquidating forfeited CRRs in the same manner as repossessed CRRs.
PRS Decision: On 2/11/21, PRS voted via roll call to recommend approval of NPRR1023 as amended by the 1/25/21 ERCOT comments. There were two abstentions from the Independent Generator (Luminant, Calpine) Market Segment. On 3/11/21, PRS unanimously voted via roll call to endorse and forward to TAC the 2/11/21 PRS Report and Revised Impact Analysis for NPRR1023 with a recommended priority of 2022 and rank of 3500. The Independent Retail Electric Provider (IREP) Market Segment did not participate in the vote.

## Slide 7: NPRR1045, Transmission Operator Definition and Designation [ERCOT]
Proposed Effective Date: May 1, 2021
ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR moves and revises the definition of Transmission Operator (TO) from the Nodal Operating Guide to the Protocols and adds new Section 16.19, Designation of Transmission Operators, that clarifies the designation process and basic qualifications for TOs. This NPRR also replaces references to “designated agent” in Section 6.5.7.8, Dispatch Procedures, with the term “TO.”
PRS Decision: On 1/14/21, PRS voted via roll call to recommend approval of NPRR1045 as amended by the 1/13/21 ERCOT comments. There was one abstention from the Independent Power Marketer (IPM) (Morgan Stanley) Market Segment. On 2/11/21, PRS voted via roll call to endorse and forward to TAC the 1/14/21 PRS Report and Impact Analysis for NPRR1045. There were two abstentions from the Independent Generator (Luminant, Calpine) Market Segment.

## Slide 8: NPRR1057, Modification to Real-Time Hub Price Formulas for Fully De-Energized Hubs [ERCOT]
Proposed Effective Date: Upon system implementation – Priority 2021; Rank 3310
ERCOT Impact Analysis: Between $15k and $30k; no impacts to ERCOT staffing; impacts to Market Management Systems (MMS); no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR revises paragraph (2) of Section 6.6.1.5, Hub LMPs, to apply the Hub Locational Marginal Price (LMP) formulas to the Panhandle 345 kV Hub and the Lower Rio Grande Valley 138/345 kV Hub. In the case of the Lower Rio Grande Valley 138/345 kV Hub, this proposed change would only apply after implementation of NPRR941, Create a Lower Rio Grande Valley Hub. The proposed revisions also eliminate the portions of Hub Real-Time Settlement Point Prices (RTSPPs) formulas that are designed to address the condition of all Hub Buses within a Hub being de-energized. The RTSPP logic is redundant with what occurs in the calculation of LMPs and the formulas are unclear regarding how to manage the case in which all the Hub Buses are de-energized for only a portion of a 15-minute Settlement Interval.
PRS Decision: On 1/14/21, PRS voted via roll call to recommend approval of NPRR1057 as amended by the 1/8/21 ERCOT comments. There was one abstention from the IPM (Morgan Stanley) Market Segment. On 2/11/21, PRS voted via roll call to endorse and forward to TAC the 1/14/21 PRS Report and Impact Analysis for NPRR1057 with a recommended priority of 2021 and rank of 3310. There were two abstentions from the Independent Generator (Luminant, Calpine) Market Segment.

## Slide 9: NPRR1059, Ability for MOUs and ECs to Send Non-BUSIDRRQ Interval Data [Nueces]
Proposed Effective Date: May 1, 2021
ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR creates the ability to send interval readings for non-Interval Data Recorder (IDR) Meters, such as residential accounts with consumption under 700 kW, to be able to settle on actual usage/generation instead of the Load Profile.
PRS Decision: On 1/14/21, PRS voted via roll call to recommend approval of NPRR1059 as submitted. There was one abstention from the IPM (Morgan Stanley) Market Segment. On 2/11/21, PRS voted via roll call to endorse and forward to TAC the 1/14/21 PRS Report and Impact Analysis for NPRR1059. There were two abstentions from the Independent Generator (Luminant, Calpine) Market Segment.

## Slide 10: NPRR1060, Improvements to ERS Testing Requirements and Other ERS Items [ERCOT]
Proposed Effective Date: Upon system implementation
ERCOT Impact Analysis: Less than $5k (O&M); no impacts to ERCOT staffing; impacts to BI & Data Analytics; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR: makes a number of revisions pertaining to Emergency Response Service (ERS), including: 1) Modifying and adding language related to the testing of ERS Resources, sites that participate in more than one ERS Resource, and availability determinations; 2) Simplifying the process for notifying ERCOT of planned maintenance and self-testing for ERS Generators, in order to align the process with requirements for ERS Loads; 3) Clarifying language related to metering requirements for ERS Generators; 4) Clarifying language related to the performance of co-located ERS Generators; and 5) Adding language to address how ERCOT will treat ERS Resources with missing meter data for purposes of availability calculations.
PRS Decision: On 2/11/21, PRS voted via roll call to recommend approval of NPRR1060 as amended by the 1/8/21 ERCOT comments. There was one opposing vote from the IPM (Morgan Stanley) Market Segment, and one abstention from the Independent Generator (Luminant) Market Segment. On 3/11/21, PRS voted via roll call to endorse and forward to TAC the 2/11/21 PRS Report and the Impact Analysis for NPRR1060. There was one opposing vote from the IPM (Morgan Stanley) Market Segment, and one abstention from the Independent Generator (Luminant) Market Segment.

## Slide 11: NPRR1065, Implementation Adjustment for NPRR917
Proposed Effective Date: Upon system implementation of NPRR917, Nodal Pricing for Settlement Only Distribution Generators (SODGs) and Settlement Only Transmission Generators (SOTGs)
ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR strikes a sentence from Section 6.6.3.9, Real-Time Payment or Charge for Energy from a Settlement Only Distribution Generator (SODG) or a Settlement Only Transmission Generator (SOTG), that describes the energy volumes for a Settlement Only Generator (SOG) subject to nodal vs. zonal pricing and replaces that sentence with a formula; revises the name and definition of a related billing determinant, from “OFSOG” to “MEBSOG”, to more accurately describe the data it represents; and adjusts the Default Uplift Settlement described in paragraph (2) of Section 9.19.1, Default Uplift Invoices, to combine SOG generation with other generation for the Counter-Party.
PRS Decision: On 2/11/21, PRS voted via roll call to recommend approval of NPRR1065 as revised by PRS. There were two abstentions from the Independent Generator (Luminant, Calpine) Market Segment. On 3/11/21, PRS unanimously voted via roll call to endorse and forward to TAC the 2/11/21 PRS Report and Impact Analysis for NPRR1065. The IREP Market Segment did not participate in the vote.

## Slide 12: NPRR1066, Interconnection of Existing Generation Owned by a Municipally Owned Utility (MOU) or Electric Cooperative (EC) Transferring Load into the ERCOT System [ERCOT]
Proposed Effective Date: May 1, 2021
ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; ERCOT grid operations and practices will be updated.
Revision Description: This NPRR grants ERCOT the discretion to apply existing standards that are applicable to older Generation Resources registered with ERCOT (a “grandfathered” standard) to an existing generation unit owned by a Municipally Owned Utility (MOU) or Electric Cooperative (EC) that is transferring Load into ERCOT and seeks to interconnect the existing generation unit to the ERCOT Transmission Grid in conjunction with the Load transfer. ERCOT will only apply a grandfathered standard if the MOU or EC provides a written explanation as to why it cannot comply with the standard imposed on new Generation Resources, and demonstrates to ERCOT’s satisfaction that allowing the generation unit to comply with the grandfathered standard is reasonable and will not create a risk to reliability of the ERCOT System. This NPRR also clarifies that, should an MOU or EC interconnect an older generation unit to the ERCOT Transmission System as part of a Load integration, the unit will not qualify the MOU or EC to receive Pre-Assigned Congestion Revenue Rights (PCRRs).
PRS Decision: On 2/11/21, PRS voted via roll call to recommend approval of NPRR1066 as revised by PRS. There were two abstentions from the Independent Generator (Calpine, Luminant) Market Segment. On 3/11/21, PRS unanimously voted to endorse and forward to TAC NPRR1066 as recommended by PRS in the 2/11/21 PRS Report. The IREP Market Segment did not participate in the vote.

## Slide 13: NPRR1069, Align Ancillary Service Responsibility for ESRs with NPRR987 – URGENT [ERCOT]
Proposed Effective Date: Upon system implementation of NPRR987, BESTF-3 Energy Storage Resource Contribution to Physical Responsive Capability and Real-Time On-Line Reserve Capacity Calculations.
ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR provides clarification to Settlement billing determinants to ensure that the capacity for an Energy Storage Resource (ESR) is not counted in the Off-Line Reserve Imbalance of the Real-Time Ancillary Service Imbalance Payment or Charge.
PRS Decision: On 3/11/21, PRS unanimously voted via roll call to grant NPRR1069 Urgent status; to recommend approval of NPRR1069 as revised by PRS; and to forward to TAC NPRR1069 and the Impact Analysis. The IREP Market Segment did not participate the vote.

## Slide 14: 2021 Release Targets – Board Approved NPRRs / SCRs / xGRRs
Go-live dates can differ from Protocol effective dates – Please refer to market notices for more details
Release targets are subject to change
APPENDIX
Red Text: New additions and target release changes
Strike-Through Text: Previous target release
(a), (b), etc.: Multiple phase release
February 2/2 – 2/4 | April 3/30 – 4/1 | May 5/25 – 5/27 | July 7/27 – 7/29 | October 10/5 – 10/7 | December 12/7 – 12/9
NPRR902(a) NOGRR195 NPRR1055 OBDRR023(a) NPRR1020 | NPRR902(b) NPRR971 NPRR974 NPRR978(c) NPRR986 NPRR998 NPRR1043 VCMRR027 NPRR974 NPRR978(c) | NPRR902(b) NPRR905 SCR811 | NPRR867 | NPRR484 NPRR829 OBDRR023(b) SCR781(b) | FFR Advancement (NPRR863 FFR) NPRR1015 NPRR863 ECRS NPRR1015
Project Status Codes
NS = Not Started
I = Initiation
P = Planning
E = Execution
H = On Hold
R1
R2
R3
R4
R5
R6
NPRR902(a) – ECEII Market Participant MPIM role
NPRR902(b) – MIS links updated for ECEII reports
NPRR978(c) – Forecast Zone scope
SCR781(b) – “Add” capability
OBDRR023(a) – ERS Expenditure Limit
OBDRR023(b) – 4 Standard Contract Terms/Year
TBD Items | NPRRs: 825(b), 826, 841, 857, 879, 885, 918, 935(b), 936, 939, 941, 945, 962, 965, 1004, 1020, 1030, 1032, 1034, 1040, 1051 SCRs: 789 P, 799, 800, 805, 809, 812 Others: PGRR066
E
E
P
E
E
E
E
E
E
E
2024 Go-Lives
RIOO – Q4 2021
RARF Add Functionality Go-Live
TBD Go-Live
E
SCR804
Go-Live – April 2021
TO training in March
P
I
ECMS – May
Market Info & Grid Info to new platform
Improved dashboards and displays
Replace NoticeBuilder
ECMS – Dec.
Combine ERCOT.com and MIS
Improved search
New navigation
TBD Go-Lives Due to MMS/OS Delay
NPRR904, NPRR1006, OBDRR009
NPRR930
NPRR1019
1/1
ü
June
P
ü
ü
2/1
10/1
4/29
3/15
ü