APPROVED

Minutes of the Reliability Operations Subcommittee (ROS) Meeting

Webex Only

Thursday, February 4, 2021 – 9:30 a.m.

| Attendance |  |  |
| --- | --- | --- |
| Members: |  |  |
| Alvarez, Eli | Brownsville PUB |  |
| Ayers-Brasher, Jennifer | RWE Renewables |  |
| Bowen, Kenneth | CPS Energy |  |
| Cochran, Seth | DC Energy |  |
| Ebrahimian, Reza | Austin Energy |  |
| Evans, Doug | South Texas Electric Cooperative |  |
| Farhangi, Anoush | Demand Control 2 |  |
| Goff, Eric | OPUC | Alt. Rep. for Shawnee Claiborn-Pinto |
| Greer, Clayton | Morgan Stanley |  |
| Hudson, Tony | Texas-New Mexico Power |  |
| Kroskey, Tony | Brazos Electric Power Cooperative |  |
| Kunkel, Dennis | AEP Service Corporation |  |
| Lee, Billy | Garland Power and Light |  |
| Marr, Daniel | LCRA |  |
| Matt, Kevin | Reliant |  |
| Reed, Cyrus | Sierra Club |  |
| Reid, Mike | Air Liquide |  |
| Rich, Katie | Golden Spread Electric Cooperative |  |
| Simpson, Lori | Exelon |  |
| Smith, Chase | Southern Power Co |  |
| Staples, Boone | Tenaska Power Services |  |
| Surendran, Resmi | Shell Energy |  |
| Valagura, Bill | Calpine Corporation |  |
| Velasquez, Ivan | Oncor | Alt. Rep. for Eithar Nashawati |
| Woitt, Wes | CenterPoint Energy |  |

| - Guests: |  |  |  |
| --- | --- | --- | --- |
| Aldridge, Ryan | AB Power Advisors |  |  |
| Alford, Anthony | CenterPoint Energy |  |  |
| Anderson, Amelia | CenterPoint Energy |  |  |
| Ballard, James | Rayburn EC |  |  |
| Barnes, Bill | NRG |  |  |
| Bivens, Carrie | Potomac Economics |  |  |
| Bruce, Mark | Pattern Energy |  |  |
| Burke, Tom | Invenergy |  |  |
| Chatlani, Varsha | Boston Energy |  |  |
| Chilton, Tamme | CenterPoint Energy |  |  |
| Coleman, Diana | CPS Energy |  |  |
| Cook, Tim | CTT |  |  |
| Cortinas, Cesar | Brownsville PUB |  |  |
| Coultas, Ann | Enel |  |  |
| Cripe, Ramsey | Schneider Engineering |  |  |
| Crouch, Rebekah | NBU |  |  |
| Daignealt, Ralph | Potomac Economics |  |  |
| Danielson, Christian | EPE Consulting |  |  |
| Dewitt, Charles | PEC |  |  |
| Donohoo, Kenneth | Lubbock Power and Light |  |  |
| Downey, Marty | Jupiter Power |  |  |
| Dreyfus, Mark | MD Energy Consulting |  |  |
| Floyd, Rickey | Oncor |  |  |
| Greaff, Venona | Oxy |  |  |
| Guo, Chenyan | Lone Star Transmission |  |  |
| Hanson, Kevin | National Grid |  |  |
| Hayden, Mario | EGPNA |  |  |
| Henry, Mark | Texas Reliability Entity |  |  |
| Henson, Martha | Oncor |  |  |
| Hedayati, Mojgan | ABB |  |  |
| Huynh, Thuy | Potomac Economics |  |  |
| Jablonski, Edward | LCRA |  |  |
| Jewell, Michael | Jewell and Associates |  |  |
| Johnson, Anthony | CenterPoint Energy |  |  |
| Jolly, Emily | LCRA |  |  |
| Joshi, Karan | Pattern Energy |  |  |
| Jung, Sam | Oncor |  |  |
| Kandah, Amjed | Oncor |  |  |
| Karlik, John | Austin Energy |  |  |
| Liang, Chu | Wind Energy of Texas |  |  |
| Keenan, Matthew | Enel |  |  |
| Khayat, Maribel | CenterPoint Energy |  |  |
| Kilroy, Taylor | TPPA |  |  |
| Kopin, Dan | Utility Services |  |  |
| Lange, Clif | South Texas Electric Cooperative |  |  |
| Mathew, Biju | LCRA |  |  |
| McClellan, Suzi | Good Company and Associates |  |  |
| Mercado, David | CenterPoint Energy |  |  |
| Miller, Alexandra | EDF Renewables |  |  |
| Morris, Sandy | Customized Energy Solutions |  |  |
| Mulholland, Chad | NRG |  |  |
| Nagarajan, Ramya | CTT |  |  |
| Narvarte, John | NBU |  |  |
| Oberski, Nicholas | LCRA |  |  |
| Pappu, Ajay | Invenergy |  |  |
| Penney, David | Texas Reliability Entity |  |  |
| Peters, Patrick | CenterPoint Energy |  |  |
| Plew, Jeffrey | NextEra Energy |  |  |
| Powell, Christian | PEC |  |  |
| Preas, Dylan | LCRA |  |  |
| Pushkar, Chhajed | LCRA |  |  |
| Pyka, Greg | Schneider Engineering |  |  |
| Rainwater, Kim | LCRA |  |  |
| Reid, Walter | Advanced Power Alliance |  |  |
| Richmond, Michele | Competitive Power |  |  |
| Ritch, John | Gexa Energy |  |  |
| Sams, Bryan | Calpine |  |  |
| Schauer, Trent | AB Power Advisors |  |  |
| Schwarz, Brad | Sharyland |  |  |
| Shumate, Walt |  |  |  |
| Siddiqi, Shams | Crescent Power Consulting |  |  |
| Smith, Caitlin | AB Power Advisors |  |  |
| Smith, Chris | Austin Energy |  |  |
| Snyder, John | Clearway Energy |  |  |
| Striedel, James | GDS Associates |  |  |
| Turner, Lucas | STEC |  |  |
| Walke, Pranil | Calpine |  |  |
| White, Lauri | AEP Texas |  |  |
| Williams, Scot | Oncor |  |  |
| Williams, Wes | BTU |  |  |
| Wittmeyer, Bob | Longhorn Power |  |  |
| Yater, J-M | CenterPoint Energy |  |  |
| ERCOT Staff: |  |  |  |
| Albracht, Brittney |  |  |  |
| Anderson, Connor |  |  |  |
| Bernecker, John |  |  |  |
| Bigbee, Nathan |  |  |  |
| Billo, Jeff |  |  |  |
| Blevins, Bill |  |  |  |
| Boren, Ann |  |  |  |
| Bracy, Phil |  |  |  |
| Chan Wu, Vanessa |  |  |  |
| Cheng, Yong |  |  |  |
| Cheng, Yunzhi |  |  |  |
| Clifton, Suzy |  |  |  |
| Conto, Jose |  |  |  |
| Daryabak, Mehdi |  |  |  |
| Du, Pengwei |  |  |  |
| Garcia, Freddy |  |  |  |
| Gnanam, Prabhu |  |  |  |
| Guiyab, Rochie |  |  |  |
| Hartmann, Jimmy |  |  |  |
| Huang, Fred |  |  |  |
| Jowlabar, Nicholas |  |  |  |
| Kadel, Nemica |  |  |  |
| Kang, Sun Wook |  |  |  |
| Lasher, Warren |  |  |  |
| Meier, Eric |  |  |  |
| Miller, Megan |  |  |  |
| Mohanadha,Thinesh Devadhas |  |  |  |
| Morehead, Juliana |  |  |  |
| Neiberger, Valery |  |  |  |
| Phillips, Cory |  |  |  |
| Ragsdale, Kenneth |  |  |  |
| Sanchez, Daniel |  |  |  |
| Sanchez, Lilia |  |  |  |
| Schmall, John |  |  |  |
| Solis, Stephen |  |  |  |
| Stice, Clayton |  |  |  |
| Teixeira, Jay |  |  |  |
| Thompson, Chad |  |  |  |
| Thompson, Lori |  |  |  |
| Thuerwaechter, Kashia |  |  |  |
| Troublefield, Jordan |  |  |  |
| Wang, Shawn |  |  |  |
| Williams, Leslie |  |  |  |
| Woodfin, Dan |  |  |  |
| Xiao, Hong |  |  |  |
| Yan, Ping |  |  |  |

Unless otherwise indicated, all Market Segments were present for a vote.

Chase Smith called the February 4, 2021 ROS meeting to order at 9:30 a.m.

Antitrust Admonition

Mr. Smith directed attention to the Antitrust Admonition, which was displayed.

Agenda Review

There were no changes to the agenda.

- Approval of Meeting Minutes (see Key Documents)

- January 7, 2021

Market Participants reviewed the January 7, 2021 ROS Meeting minutes.  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

Technical Advisory Committee (TAC) Update

Mr. Smith reviewed the disposition of items considered at the January 27, 2021 TAC meeting, including the Real-Time Co-Optimization Task Force (RTCTF) and Battery Energy Storage Task Force (BESTF) Revision Requests and next steps.  Mr. Smith summarized the Passport Program timeline and ERCOT recommendation for managing future Revision Requests and projects, including an assessment of impacts to the Passport Program for Stakeholder consideration.

2021 ROS Working Group/Task Force Leadership (see Key Documents)

Mr. Smith presented the 2021 ROS Working Group and Task Force Leadership and noted noted this item could be considered for inclusion in the Combined Ballot.

2021 ROS Goals (see Key Documents)

Market Participants reviewed 2021 Goals and requested additional time to review in consideration of TAC formalizing 2021 Goals.  Mr. Smith encouraged Market Participants to offer clarifications for the 2021 Goals for consideration at the March 4, 2022 ROS meeting.

- ERCOT Reports (see Key Documents)

- Operations Report

- Freddy Garcia reviewed the December 2020 Operations Report.  Market Participants suggested clarifications to the Congestion analysis in the Operations Report to include project impacts to congestion relief.

System Planning Report

Ping Yan presented the December 2020 System Planning Report.

Generic Transmission Constraint (GTC) Update

Yunzhi Cheng summarized GTC updates.

South Texas Stability Assessment Update

John Schmall summarized the Valley Export GTC, exit alternatives and the Valley Region stability assessment and stated that ERCOT plans to complete the study by June 2021.  In response to Market Participant questions, Mr. Schmall summarized the Regional Planning Group (RPG) project review, planning process and impacts of incremental adjustments in long term planning.

Revision Requests Tabled at PRS, Referred to ROS (see Key Documents)

Nodal Protocol Revision Request (NPRR) 979, Incorporate State Estimator Standards and Telemetry Standards into Protocols

Daniel Marr summarized the 2/3/21 CenterPoint LCRA comments to NPRR979.  Market Participants requested additional time to review the issues.  ROS took no action on this item.

Review of ROS Revision Requests (see Key Documents)

Impact Analyses

Resource Registration Glossary Revision Request (RRGRR) 028, Transformer Impedance Clarifications

Market Participants reviewed the 1/19/21 SPWG comments and 2/1/21 ERCOT comments, and expressed support for the alternative schedule for development of the Impact Analysis for RRGRR028.  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

NOGRR219, Related to NPRR1045, Transmission Operator Definition and Designation

Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

Revision Requests Tabled at ROS (see Key Documents)

Planning Guide Revision Request (PGRR) 073, Related to NPRR956, Designation of Providers of Transmission Additions

Nodal Operating Guide Revision Request (NOGRR) 199, Related to NPRR979, Incorporate State Estimator Standards and Telemetry Standards into Protocols

ROS took no action on these items.

PGRR088, Include Financial Security Amount in the Monthly Generator Interconnection Status Report

Bill Barnes summarized the 1/12/21 Joint Commenters comments to PGRR088.  Martha Henson

summarized the 2/2/21 Joint TSP Commenters comments to PGRR088.  Market Participants and ERCOT Staff discussed additional clarifications to PGRR088 and requested additional time to review the issues.  ROS took no action on this item.

Operations Working Group (OWG) (see Key Documents)

NOGRR215, Limit Use of Remedial Action Schemes

NPRR1056, Market Impact Generic Transmission Constraint (GTC) Notification

Rickey Floyd reviewed OWG activities, including NOGRR215 and NPRR1056.

Planning Working Group (PLWG) (see Key Documents)

Tim Cook reviewed PLWG activities, including NPRR1056.  Mr. Cook summarized GTC discussions at the January 19, 2021 PLWG meeting and noted presentations on proposed enhancements to the Quarterly Stability Assessment (QSA) and GTC study, and changes to the criteria and modeling for evaluating GTC exit strategies are posted to the meeting page.  Mr. Cook encouraged Market Participants to attend the February 16, 2021 PLWG meeting to further discuss the issues.

Performance Disturbance Compliance Working Group (PDCWG) (see Key Documents)

Chad Mulholland reviewed PDCWG activities, including the Annual ERCOT Inertia analysis report.

Other Binding Document Revision Request (OBDRR) 025, Clarification for the RRS Limit on Individual Non-Thermal Generation Resources

Mr. Mulholland summarized OBDRR025 and discussion at the December 9, 2020 and January 12, 2021 PDCWG meetings.  In response to Market Participant questions, Jeff Billo stated that the Request for Proposal for Evaluation of the Need for Limitations on Resources Providing Responsive Reserve Service-Primary Frequency Response (RRS-PFR) is located on the ERCOT website at http://www.ercot.com/about/procurement/rfp/.

Dynamic Working Group (DWG)

DWG Procedure Manual

Sam Jung reviewed DWG activities and presented the DWG Procedure Manual.  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

Combined Ballot

Clayton Greer moved to approve the Combined Ballot as follows:

- To approve the January 7, 2021 ROS Meeting minutes as submitted

- To approve the 2021 ROS WG/TF Leadership as presented

- To table RRGRR028

- To endorse and forward to TAC the 1/7/21 ROS Report and Impact Analysis for NOGRR219

- To approve the DWG Procedure Manual with an effective date of March 1, 2021

Dennis Kunkel seconded the motion.  The motion carried unanimously via roll call vote.  (Please see ballot posted with Key Documents.)

Black Start Working Group (BSWG) (see Key Documents)

Tony Kroskey reviewed BSWG activities.

Planning Geomagnetic Disturbance Task Force (PGDTF) (see Key Documents)

Chu Liang reviewed PGDTF activities.

Operations Training Group (OTWG)

James Ballard reviewed OTWG activities.

Other Business

February 19, 2021 Unregistered Distributed Generation (DG) Workshop I

Bill Blevins announced the February 19, 2021 Unregistered DG Workshop I, noted it would be an opportunity for Transmission and/or Distribution Service Providers (TDSPs) and Non-Opt-In Entities (NOIEs) to assist ERCOT in assessing the availability of data and its utility in system planning, and stated that future workshops would be open to a broader audience.

No Report

- Network Data Support Working Group (NDSWG)

- Steady State Working Group (SSWG)

- System Protection Working Group (SPWG)

- Voltage Profile Working Group (VPWG)

Adjournment

Mr. Smith adjourned the February 4, 2021 ROS meeting 12:31 p.m.

- Key Documents referenced in these minutes may be accessed on the ERCOT website at:

- http://www.ercot.com/calendar/2021/2/4/214001-ROS