## Proposed Posting
COMPANY_OWNER | VOLTAGE_LEVEL | LINE_NAME | RATING_SET_ID | TEMPERATURE | LIMIT_TYPE | RATING_TYPE | LIMIT
ERCOT TSP Owner Name A (TDSP) | 138 | SingleStatic1 | A | static | normalRating | staticRating | 166
ERCOT TSP Owner Name A (TDSP) | 138 | SingleStatic1 | A | static | twoHourRating | staticRating | 209
ERCOT TSP Owner Name A (TDSP) | 138 | SingleStatic1 | A | static | fifteenminuteRating | staticRating | 209
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | static | normalRating | staticRating | 166
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | static | twoHourRating | staticRating | 209
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | static | fifteenminuteRating | staticRating | 209
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 20 | fifteenminuteRating | dynamicRating | 264
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 20 | normalRating | dynamicRating | 264
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 20 | twoHourRating | dynamicRating | 264
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 25 | fifteenminuteRating | dynamicRating | 264
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 25 | normalRating | dynamicRating | 264
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 25 | twoHourRating | dynamicRating | 264
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 30 | fifteenminuteRating | dynamicRating | 264
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 30 | normalRating | dynamicRating | 264
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 30 | twoHourRating | dynamicRating | 264
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 35 | normalRating | dynamicRating | 262
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 35 | fifteenminuteRating | dynamicRating | 264
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 35 | twoHourRating | dynamicRating | 264
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 40 | normalRating | dynamicRating | 257
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 40 | fifteenminuteRating | dynamicRating | 264
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 40 | twoHourRating | dynamicRating | 264
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 45 | normalRating | dynamicRating | 251
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 45 | fifteenminuteRating | dynamicRating | 264
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 45 | twoHourRating | dynamicRating | 264
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 50 | normalRating | dynamicRating | 245
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 50 | fifteenminuteRating | dynamicRating | 264
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 50 | twoHourRating | dynamicRating | 264
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 55 | normalRating | dynamicRating | 240
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 55 | fifteenminuteRating | dynamicRating | 264
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 55 | twoHourRating | dynamicRating | 264
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 60 | normalRating | dynamicRating | 234
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 60 | fifteenminuteRating | dynamicRating | 264
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 60 | twoHourRating | dynamicRating | 264
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 65 | normalRating | dynamicRating | 227
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 65 | fifteenminuteRating | dynamicRating | 258
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 65 | twoHourRating | dynamicRating | 258
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 70 | normalRating | dynamicRating | 220
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 70 | fifteenminuteRating | dynamicRating | 253
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 70 | twoHourRating | dynamicRating | 253
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 75 | normalRating | dynamicRating | 214
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 75 | fifteenminuteRating | dynamicRating | 247
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 75 | twoHourRating | dynamicRating | 247
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 80 | normalRating | dynamicRating | 207
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 80 | fifteenminuteRating | dynamicRating | 241
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 80 | twoHourRating | dynamicRating | 241
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 85 | normalRating | dynamicRating | 199
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 85 | twoHourRating | dynamicRating | 235
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 85 | fifteenminuteRating | dynamicRating | 236
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 90 | normalRating | dynamicRating | 191
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 90 | twoHourRating | dynamicRating | 229
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 90 | fifteenminuteRating | dynamicRating | 236
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 95 | normalRating | dynamicRating | 184
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 95 | twoHourRating | dynamicRating | 223
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 95 | fifteenminuteRating | dynamicRating | 236
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 100 | normalRating | dynamicRating | 175
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 100 | fifteenminuteRating | dynamicRating | 216
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 100 | twoHourRating | dynamicRating | 216
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 105 | normalRating | dynamicRating | 166
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 105 | fifteenminuteRating | dynamicRating | 209
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 105 | twoHourRating | dynamicRating | 209
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 110 | normalRating | dynamicRating | 157
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 110 | fifteenminuteRating | dynamicRating | 202
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 110 | twoHourRating | dynamicRating | 202
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 115 | normalRating | dynamicRating | 146
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 115 | fifteenminuteRating | dynamicRating | 195
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 115 | twoHourRating | dynamicRating | 195
ERCOT TSP Owner Name A (TDSP) | 138 | JointStatic1 | A | static | normalRating | staticRating | 166
ERCOT TSP Owner Name A (TDSP) | 138 | JointStatic1 | A | static | twoHourRating | staticRating | 209
ERCOT TSP Owner Name A (TDSP) | 138 | JointStatic1 | A | static | fifteenminuteRating | staticRating | 209
ERCOT TSP Owner Name B (TDSP) | 138 | JointStatic1 | B | static | normalRating | staticRating | 166
ERCOT TSP Owner Name B (TDSP) | 138 | JointStatic1 | B | static | twoHourRating | staticRating | 209
ERCOT TSP Owner Name B (TDSP) | 138 | JointStatic1 | B | static | fifteenminuteRating | staticRating | 209
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | static | normalRating | staticRating | 166
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | static | twoHourRating | staticRating | 209
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | static | fifteenminuteRating | staticRating | 209
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 20 | fifteenminuteRating | dynamicRating | 264
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 20 | normalRating | dynamicRating | 264
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 20 | twoHourRating | dynamicRating | 264
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 25 | fifteenminuteRating | dynamicRating | 264
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 25 | normalRating | dynamicRating | 264
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 25 | twoHourRating | dynamicRating | 264
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 30 | fifteenminuteRating | dynamicRating | 264
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 30 | normalRating | dynamicRating | 264
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 30 | twoHourRating | dynamicRating | 264
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 35 | normalRating | dynamicRating | 262
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 35 | fifteenminuteRating | dynamicRating | 264
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 35 | twoHourRating | dynamicRating | 264
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 40 | normalRating | dynamicRating | 257
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 40 | fifteenminuteRating | dynamicRating | 264
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 40 | twoHourRating | dynamicRating | 264
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 45 | normalRating | dynamicRating | 251
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 45 | fifteenminuteRating | dynamicRating | 264
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 45 | twoHourRating | dynamicRating | 264
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 50 | normalRating | dynamicRating | 245
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 50 | fifteenminuteRating | dynamicRating | 264
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 50 | twoHourRating | dynamicRating | 264
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 55 | normalRating | dynamicRating | 240
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 55 | fifteenminuteRating | dynamicRating | 264
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 55 | twoHourRating | dynamicRating | 264
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 60 | normalRating | dynamicRating | 234
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 60 | fifteenminuteRating | dynamicRating | 264
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 60 | twoHourRating | dynamicRating | 264
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 65 | normalRating | dynamicRating | 227
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 65 | fifteenminuteRating | dynamicRating | 258
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 65 | twoHourRating | dynamicRating | 258
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 70 | normalRating | dynamicRating | 220
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 70 | fifteenminuteRating | dynamicRating | 253
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 70 | twoHourRating | dynamicRating | 253
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 75 | normalRating | dynamicRating | 214
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 75 | fifteenminuteRating | dynamicRating | 247
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 75 | twoHourRating | dynamicRating | 247
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 80 | normalRating | dynamicRating | 207
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 80 | fifteenminuteRating | dynamicRating | 241
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 80 | twoHourRating | dynamicRating | 241
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 85 | normalRating | dynamicRating | 199
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 85 | twoHourRating | dynamicRating | 235
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 85 | fifteenminuteRating | dynamicRating | 236
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 90 | normalRating | dynamicRating | 191
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 90 | twoHourRating | dynamicRating | 229
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 90 | fifteenminuteRating | dynamicRating | 236
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 95 | normalRating | dynamicRating | 184
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 95 | twoHourRating | dynamicRating | 223
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 95 | fifteenminuteRating | dynamicRating | 236
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 100 | normalRating | dynamicRating | 175
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 100 | fifteenminuteRating | dynamicRating | 216
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 100 | twoHourRating | dynamicRating | 216
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 105 | normalRating | dynamicRating | 166
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 105 | fifteenminuteRating | dynamicRating | 209
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 105 | twoHourRating | dynamicRating | 209
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 110 | normalRating | dynamicRating | 157
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 110 | fifteenminuteRating | dynamicRating | 202
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 110 | twoHourRating | dynamicRating | 202
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 115 | normalRating | dynamicRating | 146
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 115 | fifteenminuteRating | dynamicRating | 195
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 115 | twoHourRating | dynamicRating | 195
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | static | normalRating | staticRating | 166
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | static | twoHourRating | staticRating | 209
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | static | fifteenminuteRating | staticRating | 209
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 20 | normalRating | dynamicRating | 448
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 20 | twoHourRating | dynamicRating | 448
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 20 | fifteenminuteRating | dynamicRating | 488
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 25 | normalRating | dynamicRating | 445
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 25 | twoHourRating | dynamicRating | 445
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 25 | fifteenminuteRating | dynamicRating | 485
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 30 | normalRating | dynamicRating | 442
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 30 | twoHourRating | dynamicRating | 442
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 30 | fifteenminuteRating | dynamicRating | 482
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 35 | normalRating | dynamicRating | 439
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 35 | twoHourRating | dynamicRating | 439
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 35 | fifteenminuteRating | dynamicRating | 478
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 40 | normalRating | dynamicRating | 436
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 40 | twoHourRating | dynamicRating | 436
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 40 | fifteenminuteRating | dynamicRating | 475
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 45 | normalRating | dynamicRating | 433
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 45 | twoHourRating | dynamicRating | 433
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 45 | fifteenminuteRating | dynamicRating | 472
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 50 | normalRating | dynamicRating | 430
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 50 | twoHourRating | dynamicRating | 430
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 50 | fifteenminuteRating | dynamicRating | 468
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 55 | normalRating | dynamicRating | 427
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 55 | twoHourRating | dynamicRating | 427
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 55 | fifteenminuteRating | dynamicRating | 465
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 60 | normalRating | dynamicRating | 424
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 60 | twoHourRating | dynamicRating | 424
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 60 | fifteenminuteRating | dynamicRating | 462
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 65 | normalRating | dynamicRating | 420
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 65 | twoHourRating | dynamicRating | 420
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 65 | fifteenminuteRating | dynamicRating | 458
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 70 | normalRating | dynamicRating | 417
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 70 | twoHourRating | dynamicRating | 417
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 70 | fifteenminuteRating | dynamicRating | 455
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 75 | normalRating | dynamicRating | 414
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 75 | twoHourRating | dynamicRating | 414
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 75 | fifteenminuteRating | dynamicRating | 451
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 80 | normalRating | dynamicRating | 410
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 80 | twoHourRating | dynamicRating | 410
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 80 | fifteenminuteRating | dynamicRating | 447
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 85 | normalRating | dynamicRating | 407
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 85 | twoHourRating | dynamicRating | 407
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 85 | fifteenminuteRating | dynamicRating | 444
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 90 | normalRating | dynamicRating | 404
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 90 | twoHourRating | dynamicRating | 404
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 90 | fifteenminuteRating | dynamicRating | 440
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 95 | normalRating | dynamicRating | 400
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 95 | twoHourRating | dynamicRating | 400
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 95 | fifteenminuteRating | dynamicRating | 436
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 100 | normalRating | dynamicRating | 397
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 100 | twoHourRating | dynamicRating | 397
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 100 | fifteenminuteRating | dynamicRating | 432
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 105 | normalRating | dynamicRating | 393
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 105 | twoHourRating | dynamicRating | 393
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 105 | fifteenminuteRating | dynamicRating | 428
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 110 | normalRating | dynamicRating | 390
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 110 | twoHourRating | dynamicRating | 390
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 110 | fifteenminuteRating | dynamicRating | 425
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 115 | normalRating | dynamicRating | 386
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 115 | twoHourRating | dynamicRating | 386
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 115 | fifteenminuteRating | dynamicRating | 421
Example-this tab is what would be posted for the NPRR (which includes all other tabs)

## Ex-Single Rated Static Line
COMPANY_OWNER | VOLTAGE_LEVEL | LINE_NAME | RATING_SET_ID | TEMPERATURE | LIMIT_TYPE | RATING_TYPE | LIMIT
ERCOT TSP Owner Name A (TDSP) | 138 | SingleStatic1 | A | static | normalRating | staticRating | 166
ERCOT TSP Owner Name A (TDSP) | 138 | SingleStatic1 | A | static | twoHourRating | staticRating | 209
ERCOT TSP Owner Name A (TDSP) | 138 | SingleStatic1 | A | static | fifteenminuteRating | staticRating | 209
Example for Single Owner Static Rated line

## Ex-Single Rated Dynamic Line
COMPANY_OWNER | VOLTAGE_LEVEL | LINE_NAME | RATING_SET_ID | TEMPERATURE | LIMIT_TYPE | RATING_TYPE | LIMIT
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | static | normalRating | staticRating | 166
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | static | twoHourRating | staticRating | 209
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | static | fifteenminuteRating | staticRating | 209
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 20 | fifteenminuteRating | dynamicRating | 264
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 20 | normalRating | dynamicRating | 264
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 20 | twoHourRating | dynamicRating | 264
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 25 | fifteenminuteRating | dynamicRating | 264
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 25 | normalRating | dynamicRating | 264
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 25 | twoHourRating | dynamicRating | 264
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 30 | fifteenminuteRating | dynamicRating | 264
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 30 | normalRating | dynamicRating | 264
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 30 | twoHourRating | dynamicRating | 264
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 35 | normalRating | dynamicRating | 262
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 35 | fifteenminuteRating | dynamicRating | 264
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 35 | twoHourRating | dynamicRating | 264
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 40 | normalRating | dynamicRating | 257
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 40 | fifteenminuteRating | dynamicRating | 264
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 40 | twoHourRating | dynamicRating | 264
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 45 | normalRating | dynamicRating | 251
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 45 | fifteenminuteRating | dynamicRating | 264
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 45 | twoHourRating | dynamicRating | 264
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 50 | normalRating | dynamicRating | 245
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 50 | fifteenminuteRating | dynamicRating | 264
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 50 | twoHourRating | dynamicRating | 264
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 55 | normalRating | dynamicRating | 240
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 55 | fifteenminuteRating | dynamicRating | 264
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 55 | twoHourRating | dynamicRating | 264
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 60 | normalRating | dynamicRating | 234
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 60 | fifteenminuteRating | dynamicRating | 264
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 60 | twoHourRating | dynamicRating | 264
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 65 | normalRating | dynamicRating | 227
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 65 | fifteenminuteRating | dynamicRating | 258
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 65 | twoHourRating | dynamicRating | 258
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 70 | normalRating | dynamicRating | 220
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 70 | fifteenminuteRating | dynamicRating | 253
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 70 | twoHourRating | dynamicRating | 253
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 75 | normalRating | dynamicRating | 214
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 75 | fifteenminuteRating | dynamicRating | 247
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 75 | twoHourRating | dynamicRating | 247
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 80 | normalRating | dynamicRating | 207
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 80 | fifteenminuteRating | dynamicRating | 241
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 80 | twoHourRating | dynamicRating | 241
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 85 | normalRating | dynamicRating | 199
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 85 | twoHourRating | dynamicRating | 235
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 85 | fifteenminuteRating | dynamicRating | 236
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 90 | normalRating | dynamicRating | 191
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 90 | twoHourRating | dynamicRating | 229
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 90 | fifteenminuteRating | dynamicRating | 236
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 95 | normalRating | dynamicRating | 184
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 95 | twoHourRating | dynamicRating | 223
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 95 | fifteenminuteRating | dynamicRating | 236
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 100 | normalRating | dynamicRating | 175
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 100 | fifteenminuteRating | dynamicRating | 216
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 100 | twoHourRating | dynamicRating | 216
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 105 | normalRating | dynamicRating | 166
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 105 | fifteenminuteRating | dynamicRating | 209
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 105 | twoHourRating | dynamicRating | 209
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 110 | normalRating | dynamicRating | 157
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 110 | fifteenminuteRating | dynamicRating | 202
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 110 | twoHourRating | dynamicRating | 202
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 115 | normalRating | dynamicRating | 146
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 115 | fifteenminuteRating | dynamicRating | 195
ERCOT TSP Owner Name A (TDSP) | 138 | SingleDynamic1 | A | 115 | twoHourRating | dynamicRating | 195
Example for Single Owner Dynamic Rated line

## Ex-Jointly Rated Static Line
COMPANY_OWNER | VOLTAGE_LEVEL | LINE_NAME | RATING_SET_ID | TEMPERATURE | LIMIT_TYPE | RATING_TYPE | LIMIT
ERCOT TSP Owner Name A (TDSP) | 138 | JointStatic1 | A | static | normalRating | staticRating | 166
ERCOT TSP Owner Name A (TDSP) | 138 | JointStatic1 | A | static | twoHourRating | staticRating | 209
ERCOT TSP Owner Name A (TDSP) | 138 | JointStatic1 | A | static | fifteenminuteRating | staticRating | 209
ERCOT TSP Owner Name B (TDSP) | 138 | JointStatic1 | B | static | normalRating | staticRating | 166
ERCOT TSP Owner Name B (TDSP) | 138 | JointStatic1 | B | static | twoHourRating | staticRating | 209
ERCOT TSP Owner Name B (TDSP) | 138 | JointStatic1 | B | static | fifteenminuteRating | staticRating | 209

## Jointly Rated Dynamic Line
COMPANY_OWNER | VOLTAGE_LEVEL | LINE_NAME | RATING_SET_ID | TEMPERATURE | LIMIT_TYPE | RATING_TYPE | LIMIT
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | static | normalRating | staticRating | 166
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | static | twoHourRating | staticRating | 209
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | static | fifteenminuteRating | staticRating | 209
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 20 | fifteenminuteRating | dynamicRating | 264
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 20 | normalRating | dynamicRating | 264
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 20 | twoHourRating | dynamicRating | 264
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 25 | fifteenminuteRating | dynamicRating | 264
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 25 | normalRating | dynamicRating | 264
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 25 | twoHourRating | dynamicRating | 264
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 30 | fifteenminuteRating | dynamicRating | 264
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 30 | normalRating | dynamicRating | 264
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 30 | twoHourRating | dynamicRating | 264
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 35 | normalRating | dynamicRating | 262
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 35 | fifteenminuteRating | dynamicRating | 264
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 35 | twoHourRating | dynamicRating | 264
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 40 | normalRating | dynamicRating | 257
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 40 | fifteenminuteRating | dynamicRating | 264
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 40 | twoHourRating | dynamicRating | 264
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 45 | normalRating | dynamicRating | 251
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 45 | fifteenminuteRating | dynamicRating | 264
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 45 | twoHourRating | dynamicRating | 264
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 50 | normalRating | dynamicRating | 245
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 50 | fifteenminuteRating | dynamicRating | 264
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 50 | twoHourRating | dynamicRating | 264
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 55 | normalRating | dynamicRating | 240
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 55 | fifteenminuteRating | dynamicRating | 264
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 55 | twoHourRating | dynamicRating | 264
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 60 | normalRating | dynamicRating | 234
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 60 | fifteenminuteRating | dynamicRating | 264
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 60 | twoHourRating | dynamicRating | 264
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 65 | normalRating | dynamicRating | 227
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 65 | fifteenminuteRating | dynamicRating | 258
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 65 | twoHourRating | dynamicRating | 258
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 70 | normalRating | dynamicRating | 220
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 70 | fifteenminuteRating | dynamicRating | 253
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 70 | twoHourRating | dynamicRating | 253
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 75 | normalRating | dynamicRating | 214
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 75 | fifteenminuteRating | dynamicRating | 247
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 75 | twoHourRating | dynamicRating | 247
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 80 | normalRating | dynamicRating | 207
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 80 | fifteenminuteRating | dynamicRating | 241
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 80 | twoHourRating | dynamicRating | 241
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 85 | normalRating | dynamicRating | 199
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 85 | twoHourRating | dynamicRating | 235
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 85 | fifteenminuteRating | dynamicRating | 236
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 90 | normalRating | dynamicRating | 191
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 90 | twoHourRating | dynamicRating | 229
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 90 | fifteenminuteRating | dynamicRating | 236
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 95 | normalRating | dynamicRating | 184
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 95 | twoHourRating | dynamicRating | 223
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 95 | fifteenminuteRating | dynamicRating | 236
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 100 | normalRating | dynamicRating | 175
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 100 | fifteenminuteRating | dynamicRating | 216
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 100 | twoHourRating | dynamicRating | 216
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 105 | normalRating | dynamicRating | 166
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 105 | fifteenminuteRating | dynamicRating | 209
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 105 | twoHourRating | dynamicRating | 209
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 110 | normalRating | dynamicRating | 157
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 110 | fifteenminuteRating | dynamicRating | 202
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 110 | twoHourRating | dynamicRating | 202
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 115 | normalRating | dynamicRating | 146
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 115 | fifteenminuteRating | dynamicRating | 195
ERCOT TSP Owner Name A (TDSP) | 138 | JointDynamic1 | A | 115 | twoHourRating | dynamicRating | 195
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | static | normalRating | staticRating | 166
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | static | twoHourRating | staticRating | 209
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | static | fifteenminuteRating | staticRating | 209
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 20 | normalRating | dynamicRating | 448
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 20 | twoHourRating | dynamicRating | 448
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 20 | fifteenminuteRating | dynamicRating | 488
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 25 | normalRating | dynamicRating | 445
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 25 | twoHourRating | dynamicRating | 445
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 25 | fifteenminuteRating | dynamicRating | 485
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 30 | normalRating | dynamicRating | 442
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 30 | twoHourRating | dynamicRating | 442
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 30 | fifteenminuteRating | dynamicRating | 482
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 35 | normalRating | dynamicRating | 439
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 35 | twoHourRating | dynamicRating | 439
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 35 | fifteenminuteRating | dynamicRating | 478
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 40 | normalRating | dynamicRating | 436
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 40 | twoHourRating | dynamicRating | 436
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 40 | fifteenminuteRating | dynamicRating | 475
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 45 | normalRating | dynamicRating | 433
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 45 | twoHourRating | dynamicRating | 433
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 45 | fifteenminuteRating | dynamicRating | 472
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 50 | normalRating | dynamicRating | 430
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 50 | twoHourRating | dynamicRating | 430
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 50 | fifteenminuteRating | dynamicRating | 468
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 55 | normalRating | dynamicRating | 427
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 55 | twoHourRating | dynamicRating | 427
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 55 | fifteenminuteRating | dynamicRating | 465
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 60 | normalRating | dynamicRating | 424
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 60 | twoHourRating | dynamicRating | 424
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 60 | fifteenminuteRating | dynamicRating | 462
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 65 | normalRating | dynamicRating | 420
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 65 | twoHourRating | dynamicRating | 420
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 65 | fifteenminuteRating | dynamicRating | 458
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 70 | normalRating | dynamicRating | 417
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 70 | twoHourRating | dynamicRating | 417
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 70 | fifteenminuteRating | dynamicRating | 455
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 75 | normalRating | dynamicRating | 414
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 75 | twoHourRating | dynamicRating | 414
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 75 | fifteenminuteRating | dynamicRating | 451
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 80 | normalRating | dynamicRating | 410
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 80 | twoHourRating | dynamicRating | 410
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 80 | fifteenminuteRating | dynamicRating | 447
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 85 | normalRating | dynamicRating | 407
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 85 | twoHourRating | dynamicRating | 407
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 85 | fifteenminuteRating | dynamicRating | 444
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 90 | normalRating | dynamicRating | 404
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 90 | twoHourRating | dynamicRating | 404
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 90 | fifteenminuteRating | dynamicRating | 440
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 95 | normalRating | dynamicRating | 400
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 95 | twoHourRating | dynamicRating | 400
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 95 | fifteenminuteRating | dynamicRating | 436
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 100 | normalRating | dynamicRating | 397
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 100 | twoHourRating | dynamicRating | 397
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 100 | fifteenminuteRating | dynamicRating | 432
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 105 | normalRating | dynamicRating | 393
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 105 | twoHourRating | dynamicRating | 393
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 105 | fifteenminuteRating | dynamicRating | 428
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 110 | normalRating | dynamicRating | 390
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 110 | twoHourRating | dynamicRating | 390
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 110 | fifteenminuteRating | dynamicRating | 425
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 115 | normalRating | dynamicRating | 386
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 115 | twoHourRating | dynamicRating | 386
ERCOT TSP Owner Name B (TDSP) | 138 | JointDynamic1 | B | 115 | fifteenminuteRating | dynamicRating | 421