ERCOT VOLTAGE PROFILE WORKING GROUP (VPWG)

## April 2021 Report to ROS

### Recent Webex March 9

- VPWG kicked off the Summer-Fall Voltage Profiles study. The VPWG will request feedback from generators and QSEs on any issues related to voltage profiles at the April 6 VPWG Webex.

- ERCOT gave a quick update on the implementation of NOGRR195 which became effective Feb 5.  TSPs mentioned a few initial coordination challenges.

- VPWG worked jointly with SSWG on generator voltage coordination in SSWG cases, including better estimates for new plant voltage set points and new validation rules for checking unit and device coordination.

- Since voltage control will be a key factor in making Energy Storage Resources (ESRs) a success in the ERCOT region, the VPWG discussed some potential challenges of monitoring ESR compliance with voltage control. Among the challenges are whether ESR power flow magnitudes and directions change too often to use current monitoring techniques, the need to monitor the potential impacts on nearby Resources and reactive reserves, and the need for new TSP procedures on voltage control of transient intermittent ESR loads (charging).

- CNP discussed a few examples of POI facility topologies and its proposed comments to the POIB definition language in NPRR1005.

### Future Planned Webex

- Next VPWG will be held jointly with PDCWG on April 6.

Scot Williams	Maribel Khayat

VPWG Chair	VPWG Vice-Chair